## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 07-Dec-2021 01:00 PM Tender Title: Job contract for Operation Maintenance of E and M Installations Various Capacity of DG Sets at Katihar ACS for the year 2021-22 Tender ID: 2021_AAI_91486_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Job contract for Operation & Maintenance of E&M Installations, Various Capacity of DG Sets at Katihar ACS for the year 2021-22.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | CZONE ENGINEERS PVT LTD.(GSTN-22AADCC7320H2Z3) |  | Ruhi Electronics(GSTN-10ABYPJ8411H1ZM) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Maintenance Services of Electrical & Mechanical Installations viz 11 KV power supply system of Substation/power house, transformers, 11 KV VCBs, AVRs & LT panels, fire alarm system, DG sets. covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/monthly/ quarterly/ halfyearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis, each shift of 8 hours) on all days including Sundays & Holidays at MSSR and DVOR site at katihar & as per direction of EIC. | 12.00 | Month |  | 176636.00 | 2119632.00 | 195000.00 | 2340000.00 | 175300.00 | 2103600.00 | 174333.00 | 2091996.00 | 200000.00 | 2400000.00 | 2091996.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Annual maintenance contract of following make DG sets ( Engine+Panel) including AMF panel with other accessories from OEM/authorised service agencies. Job includes monthly visit for carrying out preventive maintenance & attending any number of breakdown calls as & when required , minor repairs etc. as per manufacturer"s recomondations/standard practice and as per the scope of work, complete as required.
2.01 | 25 KVA soundproof Kirloskar Green DG set- 03 nos. ( one at MSSR & Two nos. at DVOR). | 12.00 | Month |  | 4000.00 | 48000.00 | 1500.00 | 18000.00 | 1100.00 | 13200.00 | 2940.00 | 35280.00 | 200.00 | 2400.00 | 2400.00 | SAURABH ENTERPRISES
2.02 | 160 KVA DG set { Engine- Cummins model no 6BTA5.9 G5, Alternator -stampford } at MSSR Katihar.-01 no. | 12.00 | Month |  | 5000.00 | 60000.00 | 2500.00 | 30000.00 | 1700.00 | 20400.00 | 3263.00 | 39156.00 | 300.00 | 3600.00 | 3600.00 | SAURABH ENTERPRISES
2.03 | 250 KVA DG set { Engine-Cummins model no 6CTA8.3 G4, Alternator - Crompton } at MSSR Katihar .- 01 no. | 12.00 | Month |  | 6000.00 | 72000.00 | 3500.00 | 42000.00 | 1800.00 | 21600.00 | 3675.00 | 44100.00 | 300.00 | 3600.00 | 3600.00 | SAURABH ENTERPRISES
3.00 | Supply of B-Checks kit & carried out of B-Check of following DG sets as given specification & terms & condition etc as required.
3.01 | 25 KVA soundproof Kirloskar Green DG set- 03 nos. ( one at MSSR & Two nos. at DVOR). B check kit consist of following materials as per under given below. (i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 7.5 ltr (v) coolent-01. | 6.00 | Job |  | 10000.00 | 60000.00 | 4500.00 | 27000.00 | 2200.00 | 13200.00 | 12600.00 | 75600.00 | 200.00 | 1200.00 | 1200.00 | SAURABH ENTERPRISES
3.02 | 160 KVA DG set { Engine- Cummins model no 6BTA 5.9G5, Alternator -stampford } at MSSR Katihar.(i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 40.0 ltr (v) coolent-01. | 2.00 | Job |  | 18000.00 | 36000.00 | 7500.00 | 15000.00 | 9650.00 | 19300.00 | 16194.00 | 32388.00 | 300.00 | 600.00 | 600.00 | SAURABH ENTERPRISES
3.03 | 250 KVA DG set { Engine-Cummins model no 6CTA8.3G4, Alternator - Crompton } at MSSR Katihar .(i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 40.0 ltr (v) coolent-01. | 2.00 | Job |  | 30000.00 | 60000.00 | 10500.00 | 21000.00 | 12200.00 | 24400.00 | 36334.00 | 72668.00 | 400.00 | 800.00 | 800.00 | SAURABH ENTERPRISES
4.00 | Supply of 12volts 150 AH Lead maintenance free Battery make - Exide EP150 or equivalent. | 3.00 | Each |  | 9500.00 | 28500.00 | 18000.00 | 54000.00 | 10200.00 | 30600.00 | 11025.00 | 33075.00 | 5000.00 | 15000.00 | 15000.00 | SAURABH ENTERPRISES
5.00 | Providing Maintenance Services of fire alarm systems installed at MSSR & auto dialer at DVOR, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance , maintenance of records/documentation etc. as per scope of work given in special conditions of contract as per direction of EIC. ( Note:- Materials shall be provided by AAI). | 12.00 | Month |  | 2500.00 | 30000.00 | 3500.00 | 42000.00 | 5000.00 | 60000.00 | 2625.00 | 31500.00 | 1000.00 | 12000.00 | 12000.00 | SAURABH ENTERPRISES
6.00 | Supplying & topping of new insulating transformer oil (ISI mark conforming to IS 335-1993) having BDV not less than 50 KV on existing 11kV transformer and also filterate etc. complete as required. | 525.00 | Ltr |  | 90.00 | 47250.00 | 20.00 | 10500.00 | 100.00 | 52500.00 | 116.00 | 60900.00 | 100.00 | 52500.00 | 10500.00 | CZONE ENGINEERS PVT LTD.
7.00 | Servicing of ACBs of various make having capacity of 400A to 800A i/c drawing out of breaker, cleaning of all contact parts, applying gel, termination of all control wires etc. Repositioning the same, testing and commissioning the breaker, submission of reports etc complete as required. | 4.00 | Job |  | 3000.00 | 12000.00 | 4500.00 | 18000.00 | 2100.00 | 8400.00 | 4200.00 | 16800.00 | 2000.00 | 8000.00 | 8000.00 | SAURABH ENTERPRISES
8.00 | Servicing of Kirloskar electric - Make, 11 KV VCBs i/c drawing out of breaker, cleaning of all contact parts, applying gel, termination of all control wires etc. Repositioning the same, testing and commissioning the breaker, submission of reports etc complete as required. | 2.00 | Job |  | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 12700.00 | 25400.00 | 10500.00 | 21000.00 | 3000.00 | 6000.00 | 6000.00 | SAURABH ENTERPRISES
9.00 | Calibration and testing of IDMT relays through secondary injection machine which is having valid calibration certificate and submission of test reports as required. | 6.00 | Job |  | 6500.00 | 39000.00 | 5500.00 | 33000.00 | 3650.00 | 21900.00 | 2625.00 | 15750.00 | 1000.00 | 6000.00 | 6000.00 | SAURABH ENTERPRISES
10.00 | Calibration and testing of Buchlotz Relay for 11/.433 KV Indoor Oil Cooled Transformers and submission of test reports as required. | 1.00 | Job |  | 6500.00 | 6500.00 | 2577.00 | 2577.00 | 3400.00 | 3400.00 | 2625.00 | 2625.00 | 2000.00 | 2000.00 | 2000.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 2628882.00 |  | 2662077.00 |  | 2417900.00 |  | 2572838.00 |  | 2513700.00
Lowest Amount Quoted BY: Ruhi Electronics(2417900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job contract for Operation Maintenance of E and M Installations Various Capacity of DG Sets at Katihar ACS for the year 2021-22 Tender ID: 2021_AAI_91486_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ruhi Electronics | 2417900.00 | L1
| 2 | SAURABH ENTERPRISES | 2513700.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 2572838.00 | L3
| 4 | INTEGER INFRATECH PRIVATE LIMITED | 2628882.00 | L4
| 5 | CZONE ENGINEERS PVT LTD. | 2662077.00 | L5