## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 10-Nov-2021 03:14 PM Tender Title: Supply Installation and Testing of batteries for GLF UPS and other installations at Calicut Airport Tender ID: 2021_AAI_91836_1
Tender Inviting Authority: Asst. General Manager (E-E) - I
Name of Work : Supply, Installation & Testing of batteries for GLF UPS and other installations at Calicut Airport
Ref No: AAI/CL/ENGG(E)/127/NIT-10/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PEE PEE BATTERIES(GSTN-32APBPP8657G1ZQ) |  | STAR ENTERPRISES(GSTN-32AECPJ4660B1Z5) |  | INFONPOWER SYSTEMS PVT LTD(GSTN-29AAECI5109D1ZS) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply Installation testing and commissioning of 12 V 100 Ah VRLA C 10 design maintenance free battery along with interconnection wires to form a battery bank of 30 nos. of 12V 100 Ah batteries including placing the batteries in the existing rack, making necessary interconnections, dismantling the old batteries from the rack and shifting the same to AAI store. The size of the battery shall not exceed 21 cm (H) x 41 cm (L) x 17 cm (W) for installation in existing battery rack. Minimum warranty required for batteries shall be 02 years. | 133.00 | Each |  | 6450.00 | 857850.00 | 6820.00 | 907060.00 | 6930.00 | 921690.00 | 7490.00 | 996170.00 | 857850.00 | PEE PEE BATTERIES
| Total in Figures |  |  |  |  | 857850.00 |  | 907060.00 |  | 921690.00 |  | 996170.00
Lowest Amount Quoted BY: PEE PEE BATTERIES(857850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply Installation and Testing of batteries for GLF UPS and other installations at Calicut Airport Tender ID: 2021_AAI_91836_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PEE PEE BATTERIES | 857850.00 | L1
| 2 | STAR ENTERPRISES | 907060.00 | L2
| 3 | INFONPOWER SYSTEMS PVT LTD | 921690.00 | L3
| 4 | Balaji Engineering | 996170.00 | L4