## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 16-Nov-2021 10:29 AM Tender Title: ARMO OF ENM INSTALLATIONS AT VIJAYAWADA AIRPORT. SH REPLACEMENT OF BATTERIES AT VARIOUS LOCATIONS AT VIJAYAWADA AIRPORT, VIJAYAWADA Tender ID: 2021_AAI_92126_1
Tender Inviting Authority: Joint General Manager [Engg-E], AAI, Vijayawada Airport
Name of Work: ARMO E&M Installations at Vijayawada Airport. SH: Replacement of Batteries at Various locations at Vijayawada Airport, Vijayawada
Contract No: <2021_AAI_92126 _1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INFONPOWER SYSTEMS PVT LTD(GSTN-29AAECI5109D1ZS) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation & testing of following type Batteries at various locations of Vijayawada airport
1.01 | SITC of Heavy duty golf cart batteries 6V-220/230AH, 225Ah @ 20hr rate, 171AH@ 5hr rate or 115 minutes @ 75 Amps, 445 minutes @ 25 amps (Exide 6C 225 or US battery model: US 2000) for Boom lift | 8.00 | Each | 13200.00 | 13050.00 | 104400.00 | 16927.20 | 135417.60 | 104400.00 | INFONPOWER SYSTEMS PVT LTD
1.02 | SITC of 12V, 180 AH, Lead Acid Battery for DG sets (Exide XP 1800 or its equivalent from AAI list of Approved makes) | 2.00 | Each | 13565.00 | 12600.00 | 25200.00 | 13489.47 | 26978.94 | 25200.00 | INFONPOWER SYSTEMS PVT LTD
1.03 | SITC of 12V, 200 AH, Lead acid Battery for Runway online 2x160KVA UPS (Exide EP 200-12 or its equivalent from AAI list of Approved makes) | 80.00 | Each | 13000.00 | 13104.00 | 1048320.00 | 17677.04 | 1414163.20 | 1048320.00 | INFONPOWER SYSTEMS PVT LTD
1.04 | SITC of 12V, 42 AH, SMF Battery for UPS (Exide EP 42-12 or its equivalent from AAI list of Approved makes) | 2.00 | Each | 2800.00 | 3060.00 | 6120.00 | 4006.88 | 8013.76 | 6120.00 | INFONPOWER SYSTEMS PVT LTD
1.05 | SITC of 12V, 18 AH, SMF Battery for UPS (Exide EP 18-12 or its equivalent from AAI list of Approved makes) | 38.00 | Each | 1750.00 | 1620.00 | 61560.00 | 2045.76 | 77738.88 | 61560.00 | INFONPOWER SYSTEMS PVT LTD
1.06 | SITC of 12V, 26 AH, SMF Battery for UPS (Exide EP 26-12 or its equivalent from AAI list of Approved makes) | 40.00 | Each | 2000.00 | 2034.00 | 81360.00 | 2680.24 | 107209.60 | 81360.00 | INFONPOWER SYSTEMS PVT LTD
1.07 | SITC of 12V, 10 AH, SMF Battery for DG panel (Exide EP 12-10 or its equivalent from AAI list of Approved makes) | 4.00 | Each | 1000.00 | 900.00 | 3600.00 | 1815.04 | 7260.16 | 3600.00 | INFONPOWER SYSTEMS PVT LTD
1.08 | SITC of 12V, 12 AH, SMF Battery for Lift (Exide EP 12-12 or its equivalent from AAI list of Approved makes) | 12.00 | Each | 1350.00 | 1026.00 | 12312.00 | 1815.04 | 21780.48 | 12312.00 | INFONPOWER SYSTEMS PVT LTD
1.09 | SITC of 12V, 7 AH, SMF Battery for Lift/fire alarm pael (Exide CS7-12 or its equivalent from AAI list of Approved makes) | 3.00 | Each | 690.00 | 702.00 | 2106.00 | 892.16 | 2676.48 | 2106.00 | INFONPOWER SYSTEMS PVT LTD
2.00 | Buy back of following type batteries as is on basis.
2.01 | deep cycle 6V-220/230AH 220Ah @ 20hr rate, 115 minutes @ 75 Amps, 445 minutes @ 25 amps (US battery model: US 2000) | 8.00 | Each | 2100.00 | 2250.00 | -18000.00 | 1730.40 | -13843.20 | -18000.00 | INFONPOWER SYSTEMS PVT LTD
2.02 | 12V, 180 AH, Battery for DG sets (Make Exide) | 2.00 | Each | 2800.00 | 3600.00 | -7200.00 | 1730.40 | -3460.80 | -7200.00 | INFONPOWER SYSTEMS PVT LTD
2.03 | 12V, 200 AH, Battery for UPS (Make Exide) | 80.00 | Each | 4800.00 | 4500.00 | -360000.00 | 2307.20 | -184576.00 | -360000.00 | INFONPOWER SYSTEMS PVT LTD
2.04 | 12V, 42 AH, SMF Battery for UPS | 2.00 | Each | 1030.00 | 900.00 | -1800.00 | 692.16 | -1384.32 | -1800.00 | INFONPOWER SYSTEMS PVT LTD
2.05 | 12V, 18 AH, SMF Battery for UPS | 38.00 | Each | 375.00 | 360.00 | -13680.00 | 346.08 | -13151.04 | -13680.00 | INFONPOWER SYSTEMS PVT LTD
2.06 | 12V, 26 AH, SMF Battery for UPS | 40.00 | Each | 645.00 | 576.00 | -23040.00 | 461.44 | -18457.60 | -23040.00 | INFONPOWER SYSTEMS PVT LTD
2.07 | 12V, 10 AH, SMF Battery for DG panel | 4.00 | Each | 265.00 | 207.00 | -828.00 | 173.04 | -692.16 | -828.00 | INFONPOWER SYSTEMS PVT LTD
2.08 | 12V, 12 AH, SMF Battery for Lift | 12.00 | Each | 265.00 | 252.00 | -3024.00 | 115.36 | -1384.32 | -3024.00 | INFONPOWER SYSTEMS PVT LTD
2.09 | 12V, 7 AH, SMF Battery for Lift/fire alarm pael | 9.00 | Each | 140.00 | 107.00 | -963.00 | 115.36 | -1038.24 | -1038.24 | Yash Energy Pvt. Ltd
| Total in Figures |  |  |  |  | 916443.00 |  | 1563251.42
Lowest Amount Quoted BY: INFONPOWER SYSTEMS PVT LTD(916443.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO OF ENM INSTALLATIONS AT VIJAYAWADA AIRPORT. SH REPLACEMENT OF BATTERIES AT VARIOUS LOCATIONS AT VIJAYAWADA AIRPORT, VIJAYAWADA Tender ID: 2021_AAI_92126_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | INFONPOWER SYSTEMS PVT LTD | 916443.00 | L1
| 2 | Yash Energy Pvt. Ltd | 1563251.42 | L2