## BoQ1
Government eProcurement System Created By: Partha Samanta Created Date/Time: 16-Dec-2021 11:19 AM Tender Title: Extension and Establishment of IT infrastructure for upcoming ATC Tower cum Technical Block at Gaya Airport Tender ID: 2021_AAI_92480_1
Tender Inviting Authority: Joint General Manager IT Division, RHQ ER, Airports Authority of India
Name of Work: Extension and Establishment of IT infrastructure for upcoming ATC Tower cum Technical Block at Gaya Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sandeep Tradex Pvt Ltd(GSTN-19AAECS0389R1ZI) |  | Benchmark Infotech Services Pvt. Ltd.(GSTN-19AADCB0892P1Z4) |  | Embee Software Private Limited(GSTN-19AAACE6958L1Z1)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Active Components
1.01 | Supply, Installation, Configuration, Testing & Commissioning of Point-to-Point Radio with 5-Years warranty | 1.00 | Pair |  | 131100.00 | 131100.00 | 325486.00 | 325486.00 | 303625.00 | 303625.00 | 131100.00 | Sandeep Tradex Pvt Ltd
1.02 | Supply, Installation, Configuration, Testing & Commissioning of Wireless Controller with 5-year warranty | 1.00 | Nos. |  | 619541.00 | 619541.00 | 759893.90 | 759893.90 | 599783.80 | 599783.80 | 599783.80 | Embee Software Private Limited
1.03 | Supply, Installation, Configuration, Testing & Commissioning of Wireless Access Point with 5-year warranty | 12.00 | Nos. |  | 85974.00 | 1031688.00 | 105451.97 | 1265423.64 | 89173.75 | 1070085.00 | 1031688.00 | Sandeep Tradex Pvt Ltd
1.04 | Supply, Installation, Configuration, Testing & Commissioning of Online 2KVA UPS with integrated batteries 30 minutes back up time & 5-year warranty for ups & Batteries. | 6.00 | Nos. |  | 32200.00 | 193200.00 | 77036.60 | 462219.60 | 71862.50 | 431175.00 | 193200.00 | Sandeep Tradex Pvt Ltd
1.05 | Supply, Installation, Configuration, Testing & Commissioning of IP PBX with Redundant Server | 1.00 | Nos. |  | 2216998.00 | 2216998.00 | 2410590.32 | 2410590.32 | 2901953.00 | 2901953.00 | 2216998.00 | Sandeep Tradex Pvt Ltd
1.06 | SIP user licences | 100.00 | Nos. |  | 651.00 | 65100.00 | 6030.00 | 603000.00 | 3750.00 | 375000.00 | 65100.00 | Sandeep Tradex Pvt Ltd
1.07 | Supply, Installation, Configuration, Testing & Commissioning of Management software (IP PBX) | 1.00 | Nos. |  | 17250.00 | 17250.00 | 26800.00 | 26800.00 | 187500.00 | 187500.00 | 17250.00 | Sandeep Tradex Pvt Ltd
1.08 | Supply, Installation, Configuration, Testing & Commissioning of Call recording facility in IP PBX | 1.00 | Nos. |  | 28750.00 | 28750.00 | 20100.00 | 20100.00 | 156250.00 | 156250.00 | 20100.00 | Benchmark Infotech Services Pvt. Ltd.
1.09 | Supply, Installation, Configuration, Testing & Commissioning of Billing software | 1.00 | Nos. |  | 19549.00 | 19549.00 | 26195.66 | 26195.66 | 93750.00 | 93750.00 | 19549.00 | Sandeep Tradex Pvt Ltd
1.10 | Supply, Installation, Configuration, Testing & Commissioning of Soft Operator Console with IP Phone, Operator and management console/device | 2.00 | Nos. |  | 60939.00 | 121878.00 | 81658.26 | 163316.52 | 187500.00 | 375000.00 | 121878.00 | Sandeep Tradex Pvt Ltd
1.11 | Supply, Installation, Configuration, Testing & Commissioning of UPS 1 KVA | 2.00 | Nos. |  | 15502.00 | 31004.00 | 12060.00 | 24120.00 | 20250.00 | 40500.00 | 24120.00 | Benchmark Infotech Services Pvt. Ltd.
1.12 | Supply, Installation, Configuration, Testing & Commissioning of Low-End IP phones | 85.00 | Nos. |  | 12457.00 | 1058845.00 | 16768.76 | 1425344.60 | 9500.00 | 807500.00 | 807500.00 | Embee Software Private Limited
1.13 | Supply, Installation, Configuration, Testing & Commissioning of High-End video IP phones with inbuilt camera | 15.00 | Nos. |  | 67077.00 | 1006155.00 | 81520.24 | 1222803.60 | 33750.00 | 506250.00 | 506250.00 | Embee Software Private Limited
1.14 | Supply, Installation, Configuration, Testing & Commissioning of Online integrated 2 KVA UPS in HOT standby with 30 minutes backup | 2.00 | Nos. |  | 107152.00 | 214304.00 | 77036.60 | 154073.20 | 71862.50 | 143725.00 | 143725.00 | Embee Software Private Limited
2.00 | Passive Components
2.01 | Supply of CAT6 UTP Cable (LSZH) | 2000.00 | Mtr. |  | 26.62 | 53240.00 | 31.85 | 63703.60 | 32.50 | 65000.00 | 53240.00 | Sandeep Tradex Pvt Ltd
2.02 | Supply of CAT6 outdoor Cable (LSZH) | 300.00 | Mtr. |  | 51.75 | 15525.00 | 76.88 | 23062.74 | 73.77 | 22131.00 | 15525.00 | Sandeep Tradex Pvt Ltd
2.03 | Supply of CAT6 Patch Cord 1Mtrs | 300.00 | Nos |  | 149.50 | 44850.00 | 194.30 | 58290.00 | 190.00 | 57000.00 | 44850.00 | Sandeep Tradex Pvt Ltd
2.04 | Supply of CAT6 Patch Cord 2 Mtrs | 100.00 | Nos |  | 172.50 | 17250.00 | 238.52 | 23852.00 | 225.00 | 22500.00 | 17250.00 | Sandeep Tradex Pvt Ltd
2.05 | Supply of CAT6 Patch Cord 5 Mtrs | 75.00 | Nos |  | 247.25 | 18543.75 | 667.32 | 50049.00 | 531.25 | 39843.75 | 18543.75 | Sandeep Tradex Pvt Ltd
2.06 | Supply of CAT6 I/O Module | 170.00 | Nos |  | 138.00 | 23460.00 | 238.52 | 40548.40 | 225.00 | 38250.00 | 23460.00 | Sandeep Tradex Pvt Ltd
2.07 | Supply of Single Face plate | 50.00 | Nos |  | 57.50 | 2875.00 | 73.70 | 3685.00 | 60.00 | 3000.00 | 2875.00 | Sandeep Tradex Pvt Ltd
2.08 | Supply of Dual Face plate | 10.00 | Nos |  | 57.50 | 575.00 | 80.40 | 804.00 | 70.00 | 700.00 | 575.00 | Sandeep Tradex Pvt Ltd
2.09 | Supply of RJ45 Connector | 200.00 | Nos |  | 5.75 | 1150.00 | 46.90 | 9380.00 | 47.50 | 9500.00 | 1150.00 | Sandeep Tradex Pvt Ltd
2.10 | Supply, Installation, Configuration, Testing & Commissioning of Cat6 12 port Jack Panel (Un-Loaded) | 10.00 | Nos |  | 1437.50 | 14375.00 | 1608.00 | 16080.00 | 1937.50 | 19375.00 | 14375.00 | Sandeep Tradex Pvt Ltd
2.11 | Supply, Installation, Configuration, Testing & Commissioning of Cat6 24 port Jack Panel (Fully Loaded) | 16.00 | Nos |  | 4197.50 | 67160.00 | 6499.00 | 103984.00 | 7187.50 | 115000.00 | 67160.00 | Sandeep Tradex Pvt Ltd
2.12 | Supply of Outdoor OFC Cable 24 Core SM | 13000.00 | Mtr. |  | 124.00 | 1612000.00 | 154.10 | 2003300.00 | 206.25 | 2681250.00 | 1612000.00 | Sandeep Tradex Pvt Ltd
2.13 | Supply of Outdoor OFC Cable 12 Core SM | 3000.00 | Mtr. |  | 60.00 | 180000.00 | 69.68 | 209040.00 | 70.00 | 210000.00 | 180000.00 | Sandeep Tradex Pvt Ltd
2.14 | Supply of Outdoor fibre Joint Enclosure for 24 Core | 15.00 | Nos |  | 51.75 | 776.25 | 7705.00 | 115575.00 | 10887.50 | 163312.50 | 776.25 | Sandeep Tradex Pvt Ltd
2.15 | Supply of Fiber Patch Cord (SM) (duplex 2 Mtr, LC-LC) | 100.00 | Nos |  | 1092.50 | 109250.00 | 1474.00 | 147400.00 | 1843.75 | 184375.00 | 109250.00 | Sandeep Tradex Pvt Ltd
2.16 | Supply, Installation, Configuration, Testing & Commissioning of Fully Loaded LIU for 24 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 12.00 | Nos |  | 14280.00 | 171360.00 | 15410.00 | 184920.00 | 20625.00 | 247500.00 | 171360.00 | Sandeep Tradex Pvt Ltd
2.17 | Supply, Installation, Configuration, Testing & Commissioning of Fully Loaded LIU for 48 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 7.00 | Nos |  | 24407.00 | 170849.00 | 20770.00 | 145390.00 | 37125.00 | 259875.00 | 145390.00 | Benchmark Infotech Services Pvt. Ltd.
2.18 | Supply, Installation, Configuration, Testing & Commissioning of Fully Loaded LIU for 96 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 3.00 | Nos |  | 62470.00 | 187410.00 | 46900.00 | 140700.00 | 78125.00 | 234375.00 | 140700.00 | Benchmark Infotech Services Pvt. Ltd.
3.00 | Network/Server Rack
3.01 | Supply, Installation, Configuration, Testing & Commissioning of Indoor Wall Mount 12U Rack with 5-year warranty | 4.00 | Nos. |  | 12615.00 | 50460.00 | 23065.42 | 92261.68 | 16577.50 | 66310.00 | 50460.00 | Sandeep Tradex Pvt Ltd
3.02 | Supply, Installation, Configuration, Testing & Commissioning of Indoor Wall Mount 15U Rack with 5-year warranty | 6.00 | Nos. |  | 13339.00 | 80034.00 | 24390.68 | 146344.08 | 17305.00 | 103830.00 | 80034.00 | Sandeep Tradex Pvt Ltd
3.03 | Supply, Installation, Configuration, Testing & Commissioning of indoor floor mount 27U Rack with 5-years warranty | 2.00 | Nos |  | 37739.00 | 75478.00 | 71309.44 | 142618.88 | 38122.50 | 76245.00 | 75478.00 | Sandeep Tradex Pvt Ltd
3.04 | Supply, Installation, Configuration, Testing & Commissioning of Smart Server Rack with 5-year warranty | 1.00 | Nos |  | 2961250.00 | 2961250.00 | 2498241.06 | 2498241.06 | 2494056.00 | 2494056.00 | 2494056.00 | Embee Software Private Limited
4.00 | Other Miscellaneous Items
4.01 | Supply of Earthing copper cable | 200.00 | Mtrs. |  | 69.00 | 13800.00 | 804.00 | 160800.00 | 538.12 | 107624.00 | 13800.00 | Sandeep Tradex Pvt Ltd
4.02 | Supply of PVC back box | 60.00 | Nos |  | 57.50 | 3450.00 | 67.00 | 4020.00 | 35.00 | 2100.00 | 2100.00 | Embee Software Private Limited
4.03 | Supply of Console Cable & RS232 to USB Cable | 4.00 | Nos |  | 5175.00 | 20700.00 | 2010.00 | 8040.00 | 1875.00 | 7500.00 | 7500.00 | Embee Software Private Limited
4.04 | Supply of PVC Flexible | 75.00 | Mtr. |  | 32.20 | 2415.00 | 26.80 | 2010.00 | 43.12 | 3234.00 | 2010.00 | Benchmark Infotech Services Pvt. Ltd.
4.05 | Supply of Metal Flexible | 800.00 | Mtr. |  | 86.25 | 69000.00 | 100.50 | 80400.00 | 87.06 | 69648.00 | 69000.00 | Sandeep Tradex Pvt Ltd
4.06 | Supply of HDPE Pipe | 10000.00 | Mtr. |  | 62.10 | 621000.00 | 71.02 | 710200.00 | 68.12 | 681200.00 | 621000.00 | Sandeep Tradex Pvt Ltd
4.07 | Supply of GI Conduit | 50.00 | Mtr. |  | 63.25 | 3162.50 | 234.50 | 11725.00 | 375.00 | 18750.00 | 3162.50 | Sandeep Tradex Pvt Ltd
4.08 | Supply of PVC Channel | 100.00 | Mtr. |  | 80.50 | 8050.00 | 46.90 | 4690.00 | 500.00 | 50000.00 | 4690.00 | Benchmark Infotech Services Pvt. Ltd.
4.09 | Supply of PVC Conduit | 100.00 | Mtr. |  | 40.25 | 4025.00 | 40.20 | 4020.00 | 53.12 | 5312.00 | 4020.00 | Benchmark Infotech Services Pvt. Ltd.
4.10 | Supply of Box Channel (Min 4"X4") | 20.00 | Mtr. |  | 161.00 | 3220.00 | 107.20 | 2144.00 | 68.75 | 1375.00 | 1375.00 | Embee Software Private Limited
4.11 | Supply of MS cable Trays (6"x6") | 20.00 | Mtr. |  | 517.50 | 10350.00 | 469.00 | 9380.00 | 625.00 | 12500.00 | 9380.00 | Benchmark Infotech Services Pvt. Ltd.
4.12 | Supply of MS-Pole - Usable height 6 Mtr | 2.00 | Nos. |  | 4025.00 | 8050.00 | 13400.00 | 26800.00 | 37500.00 | 75000.00 | 8050.00 | Sandeep Tradex Pvt Ltd
4.13 | Supply of OFC Route Marker - Concrete (For city side) | 15.00 | Nos. |  | 1725.00 | 25875.00 | 4288.00 | 64320.00 | 625.00 | 9375.00 | 9375.00 | Embee Software Private Limited
4.14 | Supply of OFC Route Marker - Frangible (Air side) | 170.00 | Nos. |  | 1437.50 | 244375.00 | 2948.00 | 501160.00 | 1562.50 | 265625.00 | 244375.00 | Sandeep Tradex Pvt Ltd
4.15 | Supply of Network multipurpose tool set kit with tool bag | 2.00 | Nos. |  | 5175.00 | 10350.00 | 6700.00 | 13400.00 | 2812.50 | 5625.00 | 5625.00 | Embee Software Private Limited
4.16 | Supply of Fibre optic tools kit with tool bag | 2.00 | Nos. |  | 45750.00 | 91500.00 | 33500.00 | 67000.00 | 5687.50 | 11375.00 | 11375.00 | Embee Software Private Limited
4.17 | Supply of aluminium ladder- (Height-6 Ft) | 1.00 | Nos. |  | 3450.00 | 3450.00 | 8710.00 | 8710.00 | 13125.00 | 13125.00 | 3450.00 | Sandeep Tradex Pvt Ltd
4.18 | Supply of aluminium ladder Height-10 ft | 1.00 | Nos. |  | 6900.00 | 6900.00 | 10720.00 | 10720.00 | 20625.00 | 20625.00 | 6900.00 | Sandeep Tradex Pvt Ltd
5.00 | Services
5.01 | Laying of CAT6/CAT6A UTP/ Outdoor /STP Cable through Channel/ Conduit/ Raceway/ Cable Tray/ HDPE Pipe/ GI Conduit / Wall/building shaft/false ceiling etc. | 2300.00 | Mtr. |  | 24.00 | 55200.00 | 24.12 | 55476.00 | 22.50 | 51750.00 | 51750.00 | Embee Software Private Limited
5.02 | Fixing, Termination, Testing and Commissioning of IO Box (Single Module) including Back box & Face plate with Marking | 50.00 | Nos. |  | 31.05 | 1552.50 | 26.80 | 1340.00 | 62.50 | 3125.00 | 1340.00 | Benchmark Infotech Services Pvt. Ltd.
5.03 | Fixing, Termination, Testing and Commissioning of IO Box (Dual Module) including Back box & Face plate with Marking | 10.00 | Nos. |  | 31.05 | 310.50 | 26.80 | 268.00 | 125.00 | 1250.00 | 268.00 | Benchmark Infotech Services Pvt. Ltd.
5.04 | Crimping and Testing of RJ45 Connector with Marking | 200.00 | Nos. |  | 11.05 | 2210.00 | 13.40 | 2680.00 | 62.50 | 12500.00 | 2210.00 | Sandeep Tradex Pvt Ltd
5.05 | Laying of Outdoor OFC Cable 12 core/24 Core SM through HDPE Pipe/ GI Conduit/Raceway/ Cable Tray/building/trench/building shaft, roof etc. | 16000.00 | Mtr. |  | 30.00 | 480000.00 | 24.12 | 385920.00 | 43.75 | 700000.00 | 385920.00 | Benchmark Infotech Services Pvt. Ltd.
5.06 | Fixing, Termination, Testing and Commissioning of Outdoor Enclosure for 24 Core OFC including Pigtail Connectors, Patch Cords, Splicing, Marking etc. | 15.00 | Nos. |  | 7500.00 | 112500.00 | 2680.00 | 40200.00 | 4875.00 | 73125.00 | 40200.00 | Benchmark Infotech Services Pvt. Ltd.
5.07 | Laying of PVC/ Metal Flexible | 875.00 | Mtr. |  | 19.00 | 16625.00 | 87.10 | 76212.50 | 22.50 | 19687.50 | 16625.00 | Sandeep Tradex Pvt Ltd
5.08 | Laying of HDPE Pipe/ GI Conduit through Wall/ Raceway/ Cable Tray/ Existing Trench/shaft etc. | 1000.00 | Mtr. |  | 40.00 | 40000.00 | 20.10 | 20100.00 | 37.50 | 37500.00 | 20100.00 | Benchmark Infotech Services Pvt. Ltd.
5.09 | Laying of HDPE Pipe/ GI Conduit through Soft Soil digging and back filling with sand & brick | 500.00 | Mtr. |  | 300.00 | 150000.00 | 120.60 | 60300.00 | 481.50 | 240750.00 | 60300.00 | Benchmark Infotech Services Pvt. Ltd.
5.10 | Laying of HDPE Pipe/ GI Conduit through Hard Soil digging and back filling with sand & brick | 500.00 | Mtr. |  | 450.00 | 225000.00 | 294.80 | 147400.00 | 662.50 | 331250.00 | 147400.00 | Benchmark Infotech Services Pvt. Ltd.
5.11 | Laying of HDPE Pipe/ GI Conduit through Concrete cutting and back filling with sand & brick including restoration of Concrete | 100.00 | Mtr. |  | 517.50 | 51750.00 | 402.00 | 40200.00 | 912.50 | 91250.00 | 40200.00 | Benchmark Infotech Services Pvt. Ltd.
5.12 | Laying of HDPE Pipe/ GI Conduit through Road cutting and back filling with sand & brick including restoration of Road | 100.00 | Mtr. |  | 517.50 | 51750.00 | 469.00 | 46900.00 | 1037.50 | 103750.00 | 46900.00 | Benchmark Infotech Services Pvt. Ltd.
5.13 | Laying of HDPE Pipe/ GI Conduit through Micro- Tunnelling (HDD) | 9000.00 | Mtr. |  | 189.00 | 1701000.00 | 469.00 | 4221000.00 | 875.00 | 7875000.00 | 1701000.00 | Sandeep Tradex Pvt Ltd
5.14 | Laying/ Fixing of PVC Channel/ Conduit/ Box Channel through Wall/ Raceway/ Cable Tray/ Existing Trench/ False Ceiling/shaft etc. | 220.00 | Mtr. |  | 42.55 | 9361.00 | 93.80 | 20636.00 | 62.50 | 13750.00 | 9361.00 | Sandeep Tradex Pvt Ltd
5.15 | Laying/Fixing of cable Tray through Wall/Trench/Ceiling/shaft etc including required accessories | 20.00 | Mtr. |  | 28.75 | 575.00 | 40.20 | 804.00 | 250.00 | 5000.00 | 575.00 | Sandeep Tradex Pvt Ltd
5.16 | Installation of MS-Pole - 6 Mtr | 2.00 | Nos. |  | 5175.00 | 10350.00 | 4288.00 | 8576.00 | 131.25 | 262.50 | 262.50 | Embee Software Private Limited
5.17 | Installation of OFC Route Marker - Concrete | 15.00 | Nos. |  | 170.50 | 2557.50 | 402.00 | 6030.00 | 625.00 | 9375.00 | 2557.50 | Sandeep Tradex Pvt Ltd
5.18 | Installation of OFC Route Marker - Frangible | 170.00 | Nos. |  | 110.00 | 18700.00 | 402.00 | 68340.00 | 1250.00 | 212500.00 | 18700.00 | Sandeep Tradex Pvt Ltd
5.19 | Laying of earthing cable through wall/conduit/Box chanel/cable tray | 200.00 | Mtrs. |  | 28.75 | 5750.00 | 160.80 | 32160.00 | 62.50 | 12500.00 | 5750.00 | Sandeep Tradex Pvt Ltd
5.20 | Supply, Fixing & Installation of Manhole Chambers along with Cover | 40.00 | Nos. |  | 7500.00 | 300000.00 | 16080.00 | 643200.00 | 33750.00 | 1350000.00 | 300000.00 | Sandeep Tradex Pvt Ltd
5.21 | OTDR & Report Submission | 1.00 | Job |  | 35500.00 | 35500.00 | 67000.00 | 67000.00 | 171000.00 | 171000.00 | 35500.00 | Sandeep Tradex Pvt Ltd
5.22 | Penta Scan & Report Submission for UTP Cable for entire solution | 1.00 | Job |  | 20000.00 | 20000.00 | 67000.00 | 67000.00 | 250000.00 | 250000.00 | 20000.00 | Sandeep Tradex Pvt Ltd
5.23 | Complete documentation, Design, Testing & Commissioning of Entire Solution | 1.00 | Job |  | 203009.00 | 203009.00 | 201000.00 | 201000.00 | 62500.00 | 62500.00 | 62500.00 | Embee Software Private Limited
5.24 | Training on IP PBX, Management & Billing Software | 1.00 | Job |  | 25571.00 | 25571.00 | 53600.00 | 53600.00 | 125000.00 | 125000.00 | 25571.00 | Sandeep Tradex Pvt Ltd
| Total in Figures |  |  |  |  | 17282177.00 |  | 23064477.98 |  | 28218343.05
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | Sandeep Tradex Pvt Ltd | 17282177 | 14517025.00 | One Crore Fourty Five Lakh Seventeen Thousand Twenty Five
2 | Embee Software Private Limited | 17282177 | 14430614.00 | One Crore Fourty Four Lakh Thirty Thousand Six Hundred and Fourteen
3 | Benchmark Infotech Services Pvt. Ltd. | 17282177 | Not Quoted | Not Quoted
Lowest Amount Quoted BY: Embee Software Private Limited(1.4430614E7)

## BOQ Summary
BOQ Summary Details Tender Title: Extension and Establishment of IT infrastructure for upcoming ATC Tower cum Technical Block at Gaya Airport Tender ID: 2021_AAI_92480_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sandeep Tradex Pvt Ltd | 17282177.00 | L1
| 2 | Benchmark Infotech Services Pvt. Ltd. | 23064477.98 | L2
| 3 | Embee Software Private Limited | 28218343.05 | L3