## BoQ1
Government eProcurement System Created By: BIJU K G Created Date/Time: 12-Nov-2021 01:23 PM Tender Title: ARMO of E and M Installations at Tuticorin Airport during 2021-22. SH Supply of Electrical Spares at Tuticorin Airport Tender ID: 2021_AAI_92488_1
Tender Inviting Authority: Airports Authority of India, Tuticorin Airport, Tuticorin - 628103.
Name of Work: ARMO of E&M Installations at Tuticorin Airport during 2021-22. SH: Supply of Electrical Spares at Tuticorin Airport.
Tender ID: 2021_AAI_92488_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Fairway Marine Services(GSTN-33AAFPV5837M1Z4) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 200 W, 6.6 A Bi-pin halogen lamp suitable for existing runway elevated type bi directional high intensity edge/end/threshold/PAPI light fitting of OSRAM make & CAT no: 64386 or equivalent. | 80.00 | Each |  | 425.00 | 34000.00 | 460.00 | 36800.00 | 420.00 | 33600.00 | 33600.00 | electromach sales agencies
2.00 | Halogen lamp holder suitable for existing elevated type HIRL and PAPI fitting suitable for OSRAM bi-pin lamp of CAT no. 64386 or equivalent. | 50.00 | Each |  | 198.00 | 9900.00 | 180.00 | 9000.00 | 210.00 | 10500.00 | 9000.00 | Fairway Marine Services
3.00 | LED driver of input 230 V AC, 50 Hz, and output current range of 10 - 12A at 12V suitable for Terminal Building Sign board comprising of LED strips. | 5.00 | Each |  | 950.00 | 4750.00 | 1550.00 | 7750.00 | 450.00 | 2250.00 | 2250.00 | electromach sales agencies
4.00 | LED driver of input 230 V AC, 50 Hz, and output current range of 5 - 6 A at 12V suitable for Terminal Building Sign board comprising of LED strips. | 5.00 | Each |  | 490.00 | 2450.00 | 650.00 | 3250.00 | 450.00 | 2250.00 | 2250.00 | electromach sales agencies
5.00 | Single pole MCB conforming to IEC 60898-1/IEC 60947-2 and breaking capacity of 10 kA of following rating as required. 6 A, 'C' Curve, | 10.00 | Each |  | 122.00 | 1220.00 | 90.00 | 900.00 | 165.00 | 1650.00 | 900.00 | Fairway Marine Services
6.00 | Four pole MCB conforming to IEC 60898-1/IEC 60947-2 and breaking capacity of 10 kA of following rating. 32 A, 'C' Curve | 5.00 | Each |  | 950.00 | 4750.00 | 920.00 | 4600.00 | 1400.00 | 7000.00 | 4600.00 | Fairway Marine Services
7.00 | Double pole, (single phase and neutral), 240V, 25A, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the etc. as required. | 5.00 | Each |  | 1585.00 | 7925.00 | 2000.00 | 10000.00 | 2700.00 | 13500.00 | 7925.00 | Bafna Electric Corp
8.00 | 125 A MCCB of L&T make Cat ref no: DU 125D 3 pole of breaking capacity- 18 kA, with thermal magnetic release suitable for replacing the existing MCCB. | 1.00 | Each |  | 3700.00 | 3700.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 3700.00 | Bafna Electric Corp
9.00 | 1.1 KV grade, XLPE insulated, Aluminium conductor armoured Power Cable conforming to IS 7098 Part-I 1985 with Upto date amendments complete as required as per specifications. 3.5 core, 50 sq.mm | 300.00 | Metre |  | 298.00 | 89400.00 | 295.00 | 88500.00 | 470.00 | 141000.00 | 88500.00 | Fairway Marine Services
10.00 | 1.1 KV grade, XLPE insulated, Aluminium conductor armoured Power Cable conforming to IS 7098 Part-I 1985 with up to date amendments complete as required as per specifications. 2 core, 16 sq.mm | 200.00 | Metre |  | 108.00 | 21600.00 | 105.00 | 21000.00 | 174.00 | 34800.00 | 21000.00 | Fairway Marine Services
11.00 | 1.1 KV grade, XLPE insulated, Aluminium conductor armoured Power Cable conforming to IS 7098 Part-I 1985 with up to date amendments complete as required as per specifications. 4 core, 10 sq.mm | 200.00 | Metre |  | 155.00 | 31000.00 | 145.00 | 29000.00 | 180.00 | 36000.00 | 29000.00 | Fairway Marine Services
12.00 | PVC insulated FRLS single core copper conductor cable of following size with ISI mark suitable for operation on 1100 V AC supply. 1.5 Sq.mm | 5.00 | Coil |  | 1455.00 | 7275.00 | 1550.00 | 7750.00 | 2400.00 | 12000.00 | 7275.00 | Bafna Electric Corp
13.00 | PVC insulated FRLS single core copper conductor cable of following size with ISI mark suitable for operation on 1100 V AC supply. 2.5 Sq.mm | 2.00 | Coil |  | 2442.00 | 4884.00 | 2604.00 | 5208.00 | 4000.00 | 8000.00 | 4884.00 | Bafna Electric Corp
14.00 | PVC insulated FRLS single core copper conductor cable of following size with ISI mark suitable for operation on 1100 V AC supply. 4 Sq.mm | 2.00 | Coil |  | 3600.00 | 7200.00 | 4900.00 | 9800.00 | 6700.00 | 13400.00 | 7200.00 | Bafna Electric Corp
15.00 | Capacitor of 2.5 micro farad capacity suitable for operation on 230V, 50 Hz AC Supply. | 20.00 | Each |  | 24.00 | 480.00 | 800.00 | 16000.00 | 30.00 | 600.00 | 480.00 | Bafna Electric Corp
16.00 | Capacitor of 5 micro farad capacitor suitable for operation on 230V, 50 Hz AC Supply. | 5.00 | Each |  | 45.00 | 225.00 | 850.00 | 4250.00 | 45.00 | 225.00 | 225.00 | electromach sales agencies, Bafna Electric Corp
17.00 | Wall mounted Hand Dryer with touch free infrared activation of 304 G stainless steel body with auto cut-off, carbon brush type motor with noise level < 75 dB, air speed not less than 95m/s, drying time <10 sec, fully automatic Hand dryer model suitable for a input supply of 220-230V,50Hz (Make. Technocrats, Ref Model no: T 888, 1800 W.) | 2.00 | Each |  | 17110.00 | 34220.00 | 10000.00 | 20000.00 | 14300.00 | 28600.00 | 20000.00 | Fairway Marine Services
| Total in Figures |  |  |  |  | 264979.00 |  | 278808.00 |  | 349875.00
Lowest Amount Quoted BY: Bafna Electric Corp(264979.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Tuticorin Airport during 2021-22. SH Supply of Electrical Spares at Tuticorin Airport Tender ID: 2021_AAI_92488_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bafna Electric Corp | 264979.00 | L1
| 2 | Fairway Marine Services | 278808.00 | L2
| 3 | electromach sales agencies | 349875.00 | L3