## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 06-Dec-2021 02:26 PM Tender Title: Interal Wirings for the output power distribution of UPS and Earthing works for New INRES Room at GAGAN Complex Tender ID: 2021_AAI_92979_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Internal Wirings for the output power distribution of UPS for New IRES Room at GAGAN Complex
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-29AAUCS9791D1ZE)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I ( Internal & External Electrification)
1.10 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed PVC conduit as required. a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 50.00 | Meter |  | 180.00 | 9000.00 | 128.00 | 6400.00 | 195.00 | 9750.00 | 6400.00 | Yash Energy Pvt. Ltd
2.00 | Supplying and fixing following modular switch / socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
2.10 | a) 15/16 amps switch | 1.00 | Each |  | 140.00 | 140.00 | 206.00 | 206.00 | 375.00 | 375.00 | 140.00 | KALKI ELECTRICALS
2.20 | b) 15/16 amp socket outlet | 1.00 | Each |  | 160.00 | 160.00 | 273.00 | 273.00 | 415.00 | 415.00 | 160.00 | KALKI ELECTRICALS
3.00 | Supplying and fixing following size / modules, GI box along with modular base & cover plate for modular switches in recess etc as required. a) 3 Module | 1.00 | Each |  | 300.00 | 300.00 | 260.00 | 260.00 | 200.00 | 200.00 | 200.00 | SRI VASUKI POWER SYSTEMS PVT LTD
4.00 | Supplying and fixing following way,3 phase, sheet steel, MCB distribution board,240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar,din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 3 phase, 4 ways, Double door | 3.00 | Each |  | 3200.00 | 9600.00 | 4235.00 | 12705.00 | 7500.00 | 22500.00 | 9600.00 | KALKI ELECTRICALS
5.00 | Supplying and fixing following rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required.
5.10 | a) 25A FP ,300mA RCCB | 3.00 | Each |  | 3200.00 | 9600.00 | 2330.00 | 6990.00 | 4642.00 | 13926.00 | 6990.00 | Yash Energy Pvt. Ltd
5.20 | b) 5 amps to 32 amps Single pole MCB | 9.00 | Each |  | 180.00 | 1620.00 | 240.00 | 2160.00 | 201.00 | 1809.00 | 1620.00 | KALKI ELECTRICALS
6.00 | Supply, Installation, Testing and commissioning of integral aviation obstruction light over the antenna, connecting with the power wiring circui etc. as required. | 1.00 | Each |  | 10000.00 | 10000.00 | 6680.00 | 6680.00 | 12500.00 | 12500.00 | 6680.00 | Yash Energy Pvt. Ltd
7.00 | SH: II Earthing
7.10 | Earthing with Copper earth plate 600 mm x 600 mm x 3 mm thick including accessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc., ( with charcoal / coke and salt) as required. | 2.00 | Set |  | 16000.00 | 32000.00 | 32857.00 | 65714.00 | 27000.00 | 54000.00 | 32000.00 | KALKI ELECTRICALS
7.20 | Providing and fixing 25 mm X 5 mm Copper strip on surface or in recess for connections etc. as required. | 185.00 | Mtr |  | 800.00 | 148000.00 | 1008.00 | 186480.00 | 1995.00 | 369075.00 | 148000.00 | KALKI ELECTRICALS
7.30 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 12.00 | Mtr |  | 1500.00 | 18000.00 | 1380.00 | 16560.00 | 3500.00 | 42000.00 | 16560.00 | Yash Energy Pvt. Ltd
| Total in Figures |  |  |  |  | 238420.00 |  | 304428.00 |  | 526550.00
Lowest Amount Quoted BY: KALKI ELECTRICALS(238420.00)

## BOQ Summary
BOQ Summary Details Tender Title: Interal Wirings for the output power distribution of UPS and Earthing works for New INRES Room at GAGAN Complex Tender ID: 2021_AAI_92979_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KALKI ELECTRICALS | 238420.00 | L1
| 2 | Yash Energy Pvt. Ltd | 304428.00 | L2
| 3 | SRI VASUKI POWER SYSTEMS PVT LTD | 526550.00 | L3