## BoQ1
Government eProcurement System Created By: DINESH KHATRI Created Date/Time: 26-Nov-2021 11:58 AM Tender Title: Annual comprehensive maintenance of air conditioning units and water coolers at M.P. Airport, Udaipur (Year 2021-24). Tender ID: 2021_AAI_93213_1
Tender Inviting Authority: Asstt. GM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: Annual comprehensive maintenance of air conditioning units and water coolers at M.P. Airport, Udaipur (Year 2021-24).
Contract No: AAI/UDR/ENGG(E)/AC & WC/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANUJ COOL WORKS(GSTN-07DCNPS8384H1ZQ) |  | M/s Shri Shyam Enterprises(GSTN-08ADXPR8123R1ZA) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | vinayak cooling services(GSTN-08AXJPS5197G1ZT) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | BHARDWAJ REFRIGERATION(GSTN-NA) |  | PARMA CLIMA TECHNOLOGIES INDIA PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance of 1.5 TR Split AC Units of all makes at different locations including providing all necessary consumables and spares complete as required as per special condition of contract for One unit per month.
1.10 | Rate for 1st Year | 816.00 | Job | 0.00 | 200.00 | 163200.00 | 145.30 | 118564.80 | 90.00 | 73440.00 | 222.00 | 181152.00 | 350.00 | 285600.00 | 300.00 | 244800.00 | 200.00 | 163200.00 | 195.30 | 159364.80 | 93.75 | 76500.00 | 73440.00 | SNOWMEX ENGINEERS LIMITED
1.20 | Rate for 2nd Year | 816.00 | Job | 0.00 | 200.00 | 163200.00 | 145.30 | 118564.80 | 100.00 | 81600.00 | 220.00 | 179520.00 | 400.00 | 326400.00 | 310.00 | 252960.00 | 200.00 | 163200.00 | 205.30 | 167524.80 | 98.40 | 80294.40 | 80294.40 | PARMA CLIMA TECHNOLOGIES INDIA PVT LTD
1.30 | Rate for 3rd Year | 816.00 | Job | 0.00 | 200.00 | 163200.00 | 145.30 | 118564.80 | 110.00 | 89760.00 | 220.00 | 179520.00 | 450.00 | 367200.00 | 320.00 | 261120.00 | 200.00 | 163200.00 | 225.15 | 183722.40 | 103.50 | 84456.00 | 84456.00 | PARMA CLIMA TECHNOLOGIES INDIA PVT LTD
2.00 | Comprehensive Maintenance of 2 TR wall mounted / Cassette type split AC Units of all makes at different locations including providing all necessary consumables and spares complete as required as per special condition of contract for One unit per month.
2.10 | Rate for 1st Year | 600.00 | Job | 0.00 | 200.00 | 120000.00 | 218.20 | 130920.00 | 120.00 | 72000.00 | 220.00 | 132000.00 | 350.00 | 210000.00 | 320.00 | 192000.00 | 210.00 | 126000.00 | 198.10 | 118860.00 | 125.00 | 75000.00 | 72000.00 | SNOWMEX ENGINEERS LIMITED
2.20 | Rate for 2nd Year | 600.00 | Job | 0.00 | 200.00 | 120000.00 | 218.20 | 130920.00 | 130.00 | 78000.00 | 220.00 | 132000.00 | 400.00 | 240000.00 | 330.00 | 198000.00 | 210.00 | 126000.00 | 285.35 | 171210.00 | 131.25 | 78750.00 | 78000.00 | SNOWMEX ENGINEERS LIMITED
2.30 | Rate for 3rd Year | 600.00 | Job | 0.00 | 200.00 | 120000.00 | 218.20 | 130920.00 | 140.00 | 84000.00 | 220.00 | 132000.00 | 450.00 | 270000.00 | 340.00 | 204000.00 | 210.00 | 126000.00 | 305.20 | 183120.00 | 137.00 | 82200.00 | 82200.00 | PARMA CLIMA TECHNOLOGIES INDIA PVT LTD
3.00 | Comprehensive Maintenance of 3 TR 1/3 Phase wall mounted / Tower /Cassette type split AC Units of all makes at different locations including providing all necessary consumables and spares complete as required as per special condition of contract for One unit per month.
3.10 | Rate for 1st Year | 312.00 | Job | 0.00 | 400.00 | 124800.00 | 314.50 | 98124.00 | 250.00 | 78000.00 | 310.00 | 96720.00 | 400.00 | 124800.00 | 350.00 | 109200.00 | 210.00 | 65520.00 | 185.50 | 57876.00 | 250.00 | 78000.00 | 57876.00 | BHARDWAJ REFRIGERATION
3.20 | Rate for 2nd Year | 312.00 | Job | 0.00 | 400.00 | 124800.00 | 314.50 | 98124.00 | 260.00 | 81120.00 | 310.00 | 96720.00 | 450.00 | 140400.00 | 360.00 | 112320.00 | 210.00 | 65520.00 | 205.35 | 64069.20 | 262.50 | 81900.00 | 64069.20 | BHARDWAJ REFRIGERATION
3.30 | Rate for 3rd Year | 312.00 | Job | 0.00 | 400.00 | 124800.00 | 314.50 | 98124.00 | 270.00 | 84240.00 | 310.00 | 96720.00 | 500.00 | 156000.00 | 370.00 | 115440.00 | 210.00 | 65520.00 | 255.10 | 79591.20 | 275.50 | 85956.00 | 65520.00 | M K ENTERPRISES
4.00 | Comprehensive Maintenance of 4 TR, 3 Phase Cassette type AC Units of all makes at different locations including providing all necessary consumables and spares complete as required as per special condition of contract for One unit per month.
4.10 | Rate for 1st Year | 48.00 | Job | 0.00 | 500.00 | 24000.00 | 415.30 | 19934.40 | 300.00 | 14400.00 | 450.00 | 21600.00 | 400.00 | 19200.00 | 360.00 | 17280.00 | 250.00 | 12000.00 | 505.33 | 24255.84 | 500.00 | 24000.00 | 12000.00 | M K ENTERPRISES
4.20 | Rate for 2nd Year | 48.00 | Job | 0.00 | 500.00 | 24000.00 | 415.30 | 19934.40 | 310.00 | 14880.00 | 480.00 | 23040.00 | 450.00 | 21600.00 | 370.00 | 17760.00 | 250.00 | 12000.00 | 550.50 | 26424.00 | 525.00 | 25200.00 | 12000.00 | M K ENTERPRISES
4.30 | Rate for 3rd Year | 48.00 | Job | 0.00 | 500.00 | 24000.00 | 415.30 | 19934.40 | 320.00 | 15360.00 | 500.00 | 24000.00 | 500.00 | 24000.00 | 380.00 | 18240.00 | 250.00 | 12000.00 | 605.30 | 29054.40 | 551.00 | 26448.00 | 12000.00 | M K ENTERPRISES
5.00 | Comprehensive Maintenance of 17 TR ductable package type AC units (make voltas) installed at Operational Offices Building including providing all necessary consumables and spares complete as required as per special condition of contract for One unit per month.
5.10 | Rate for 1st Year | 120.00 | Job | 0.00 | 1700.00 | 204000.00 | 2290.00 | 274800.00 | 1200.00 | 144000.00 | 1500.00 | 180000.00 | 1000.00 | 120000.00 | 400.00 | 48000.00 | 1100.00 | 132000.00 | 1750.55 | 210066.00 | 2283.00 | 273960.00 | 48000.00 | NATIONAL SAFETY ENGINEERS
5.20 | Rate for 2nd Year | 120.00 | Job | 0.00 | 1700.00 | 204000.00 | 2290.00 | 274800.00 | 1300.00 | 156000.00 | 1500.00 | 180000.00 | 1500.00 | 180000.00 | 430.00 | 51600.00 | 1100.00 | 132000.00 | 1980.10 | 237612.00 | 2404.00 | 288480.00 | 51600.00 | NATIONAL SAFETY ENGINEERS
5.30 | Rate for 3rd Year | 120.00 | Job | 0.00 | 1700.00 | 204000.00 | 2290.00 | 274800.00 | 1400.00 | 168000.00 | 1800.00 | 216000.00 | 2000.00 | 240000.00 | 450.00 | 54000.00 | 1100.00 | 132000.00 | 2210.55 | 265266.00 | 2530.00 | 303600.00 | 54000.00 | NATIONAL SAFETY ENGINEERS
6.00 | Comprehensive Maintenance of 14.2 TR Precision type AC's Model PCX - 502 DVR -I of all makes at different locations including providing all necessary consumables and spares complete as required as per special condition of contract for One unit per month.
6.10 | Rate for 1st Year | 24.00 | Job | 0.00 | 2500.00 | 60000.00 | 2290.00 | 54960.00 | 1100.00 | 26400.00 | 1200.00 | 28800.00 | 800.00 | 19200.00 | 450.00 | 10800.00 | 1200.00 | 28800.00 | 1825.55 | 43813.20 | 2958.00 | 70992.00 | 10800.00 | NATIONAL SAFETY ENGINEERS
6.20 | Rate for 2nd Year | 24.00 | Job | 0.00 | 2500.00 | 60000.00 | 2290.00 | 54960.00 | 1200.00 | 28800.00 | 1400.00 | 33600.00 | 1200.00 | 28800.00 | 480.00 | 11520.00 | 1200.00 | 28800.00 | 1910.35 | 45848.40 | 3106.50 | 74556.00 | 11520.00 | NATIONAL SAFETY ENGINEERS
6.30 | Rate for 3rd Year | 24.00 | Job | 0.00 | 2500.00 | 60000.00 | 2290.00 | 54960.00 | 1300.00 | 31200.00 | 1500.00 | 36000.00 | 1600.00 | 38400.00 | 500.00 | 12000.00 | 1200.00 | 28800.00 | 2050.25 | 49206.00 | 3261.50 | 78276.00 | 12000.00 | NATIONAL SAFETY ENGINEERS
7.00 | Comprehensive Maintenance of up to and including 150 / 150 Ltrs. capacity Water Coolers of all makes at different locations including providing all necessary consumables and spare complete as required as per special condition for One unit per month.
7.10 | Rate for 1st Year | 204.00 | Job | 0.00 | 150.00 | 30600.00 | 145.30 | 29641.20 | 100.00 | 20400.00 | 270.00 | 55080.00 | 300.00 | 61200.00 | 260.00 | 53040.00 | 160.00 | 32640.00 | 140.00 | 28560.00 | 333.00 | 67932.00 | 20400.00 | SNOWMEX ENGINEERS LIMITED
7.20 | Rate for 2nd Year | 204.00 | Job | 0.00 | 150.00 | 30600.00 | 145.30 | 29641.20 | 110.00 | 22440.00 | 280.00 | 57120.00 | 350.00 | 71400.00 | 270.00 | 55080.00 | 160.00 | 32640.00 | 160.00 | 32640.00 | 350.00 | 71400.00 | 22440.00 | SNOWMEX ENGINEERS LIMITED
7.30 | Rate for 3rd Year | 204.00 | Job | 0.00 | 150.00 | 30600.00 | 145.30 | 29641.20 | 120.00 | 24480.00 | 300.00 | 61200.00 | 400.00 | 81600.00 | 285.00 | 58140.00 | 160.00 | 32640.00 | 220.00 | 44880.00 | 367.50 | 74970.00 | 24480.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Periodical preventive Maintenance & Upkeeping of 17 TR ductable package type AC unit (make voltas) installed at Operational Offices Building including providing all necessary consumables and spares to maintain the units in working condition as per special conditions for One unit per month.
8.10 | Rate for 1st Year | 24.00 | Job | 0.00 | 1200.00 | 28800.00 | 1390.00 | 33360.00 | 1100.00 | 26400.00 | 700.00 | 16800.00 | 1000.00 | 24000.00 | 300.00 | 7200.00 | 1100.00 | 26400.00 | 1950.50 | 46812.00 | 2408.30 | 57799.20 | 7200.00 | NATIONAL SAFETY ENGINEERS
8.20 | Rate for 2nd Year | 24.00 | Job | 0.00 | 1200.00 | 28800.00 | 1390.00 | 33360.00 | 1100.00 | 26400.00 | 750.00 | 18000.00 | 1500.00 | 36000.00 | 300.00 | 7200.00 | 1100.00 | 26400.00 | 2100.25 | 50406.00 | 2528.00 | 60672.00 | 7200.00 | NATIONAL SAFETY ENGINEERS
8.30 | Rate for 3rd Year | 24.00 | Job | 0.00 | 1200.00 | 28800.00 | 1390.00 | 33360.00 | 1200.00 | 28800.00 | 800.00 | 19200.00 | 2000.00 | 48000.00 | 300.00 | 7200.00 | 1100.00 | 26400.00 | 2350.50 | 56412.00 | 2655.00 | 63720.00 | 7200.00 | NATIONAL SAFETY ENGINEERS
9.00 | Operation of 17 TR package type AC units, note down the complains related to AC units, carrying out routine works etc.. This job includes deployment of following minimum manpower in shift duty for all days including Sunday and holidays but exluding weekly off. a) AC operator (Semi-Skilled)- 02 No. | 36.00 | Month | 0.00 | 40000.00 | 1440000.00 | 28300.00 | 1018800.00 | 45000.00 | 1620000.00 | 31500.00 | 1134000.00 | 1200.00 | 43200.00 | 28000.00 | 1008000.00 | 31000.00 | 1116000.00 | 59000.00 | 2124000.00 | 36112.00 | 1300032.00 | 43200.00 | vinayak cooling services
10.00 | Dismantling and re-installation of 1.5 TR / 2 TR Split AC Units type up to 5 mtrs refrigerant piping including mounting of arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene / PVC piping etc. complete as required. | 6.00 | Job | 0.00 | 4000.00 | 24000.00 | 2500.00 | 15000.00 | 150.00 | 900.00 | 1000.00 | 6000.00 | 5500.00 | 33000.00 | 900.00 | 5400.00 | 1900.00 | 11400.00 | 1050.00 | 6300.00 | 3000.00 | 18000.00 | 900.00 | SNOWMEX ENGINEERS LIMITED
11.00 | Dismantling and re-installation of 3 TR 1 Phase/3 TR 3 Phase Split AC Units type up to 5 mtrs refrigerant piping including mounting of arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene / PVC piping etc. complete as required. | 6.00 | Job | 0.00 | 5000.00 | 30000.00 | 4300.00 | 25800.00 | 200.00 | 1200.00 | 1500.00 | 9000.00 | 6500.00 | 39000.00 | 1000.00 | 6000.00 | 1900.00 | 11400.00 | 1800.00 | 10800.00 | 4000.00 | 24000.00 | 1200.00 | SNOWMEX ENGINEERS LIMITED
12.00 | Supply, Installation, Testing and Commissioning of refrigerant piping including insulation, PVC protection piping for suction and discharge line for split AC Units. | 75.00 | Meter | 0.00 | 450.00 | 33750.00 | 944.00 | 70800.00 | 250.00 | 18750.00 | 280.00 | 21000.00 | 800.00 | 60000.00 | 600.00 | 45000.00 | 450.00 | 33750.00 | 1085.00 | 81375.00 | 800.00 | 60000.00 | 18750.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 3793950.00 |  | 3411313.20 |  | 3110970.00 |  | 3366792.00 |  | 3309000.00 |  | 3183300.00 |  | 2932230.00 |  | 4599069.24 |  | 3687093.60
Lowest Amount Quoted BY: M K ENTERPRISES(2932230.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual comprehensive maintenance of air conditioning units and water coolers at M.P. Airport, Udaipur (Year 2021-24). Tender ID: 2021_AAI_93213_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 2932230.00 | L1
| 2 | SNOWMEX ENGINEERS LIMITED | 3110970.00 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 3183300.00 | L3
| 4 | vinayak cooling services | 3309000.00 | L4
| 5 | Manish Electricals | 3366792.00 | L5
| 6 | M/s Shri Shyam Enterprises | 3411313.20 | L6
| 7 | PARMA CLIMA TECHNOLOGIES INDIA PVT LTD | 3687093.60 | L7
| 8 | ANUJ COOL WORKS | 3793950.00 | L8
| 9 | BHARDWAJ REFRIGERATION | 4599069.24 | L9