## BoQ1
Government eProcurement System Created By: GUNDA SHIVA KUMAR Created Date/Time: 12-Aug-2022 03:09 PM Tender Title: SITC of Inline exhaust fans,LED lights and strip lights for Various locations at coimbatore Airport Tender ID: 2021_AAI_93630_1
Tender Inviting Authority: Senior Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: SITC of Inline Exhaust fans, LED Lights and strip lights for various locations at coimbatore International Airport.
Tender ID No: 2021_AAI_93630_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | C P MONCHESTER ELECTRICALS(GSTN-33AJOPP7842E1ZY)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying, installing, testing and commissioning of cabinate INLINE FANS suitable for installing in any position in vertical or horizontal ducts. The casing shall be double skin, internally acoustically lined and constructed of galvanised steel. The fan shall be DIDW/SISW with forward / backward curve impeller fitted with maintenance free external rotor motor. The motor shall be suitable for 220±10% / 415±10% volt single/three phase 50 cycles AC supply. Quoted price shall be inclusive of starter panel with cabling between starter panel and fan. The fan shall have low sound level exceeding not more than 55 DBA at three metre distance.The required canvas for connecting with the duct shall be provided. 2 No's Fan Requirements (Air Quantity : 1.25 cms Static Pressure : 250 Pa) 2 No's Fan Requirements (Air Quantity : 2.4 cms Static Pressure : 300 Pa) 2 No's Fan Requirements (Air Quantity : 2.1 cms Static Pressure : 400 Pa) 8 No's Fan Requirements (Air Quantity : 1.2-2.4 cms Static Pressure : 246-360 Pa) Note: Certificate requirement please refer technical specification. | 14.00 | Each |  | 92500.00 | 1295000.00 | 1295000.00 | C P MONCHESTER ELECTRICALS
2.00 | Supply of surface mounting round profile LED lighting fixture of 15W, with warm white color etc complete as required as per technical specifications. (Model wide beam cob down light) Note: (Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly). | 73.00 | Each |  | 850.00 | 62050.00 | 62050.00 | C P MONCHESTER ELECTRICALS
3.00 | Supply of surface mounting slim round profile LED lighting fixture of 15W, with warm white color etc complete as required as per technical specifications. Note: (Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly). | 18.00 | Each |  | 850.00 | 15300.00 | 15300.00 | C P MONCHESTER ELECTRICALS
4.00 | ITC of surface mounting round profile(COB or Slim type) LED lighting fixture of 15W, with warm white color etc complete as required as per technical specifications.on a pre-wired surface | 91.00 | Each |  | 200.00 | 18200.00 | 18200.00 | C P MONCHESTER ELECTRICALS
5.00 | SITC of mirror strip lights of 5 watts per metre with aesthetic finish
5.10 | Supply of mirror strip lights Note: (Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly). | 110.00 | metre |  | 550.00 | 60500.00 | 60500.00 | C P MONCHESTER ELECTRICALS
5.20 | ITC of mirror strip lights | 110.00 | metre |  | 100.00 | 11000.00 | 11000.00 | C P MONCHESTER ELECTRICALS
6.00 | Supply of drive for mirror strip lights with aesthetic finish. Note: (Successful bidder shall maintain 10% of BOQ qty extra at site to replace the defective LED luminaries immediately during the DLP/Guarantee period of 5 years. 10% amount retained for 5 years. May please be quote this item accordingly).
6.10 | 2A/3A Driver | 15.00 | Each |  | 2000.00 | 30000.00 | 30000.00 | C P MONCHESTER ELECTRICALS
6.20 | 5/6A Driver | 9.00 | Each |  | 2000.00 | 18000.00 | 18000.00 | C P MONCHESTER ELECTRICALS
7.00 | Supplying & fixing of powder coated extruded aluminium Exhaust Air Grills with volume control dampers as per specifications. | 12.00 | sq.mt |  | 2700.00 | 32400.00 | 32400.00 | C P MONCHESTER ELECTRICALS
| Total in Figures |  |  |  |  | 1542450.00
Lowest Amount Quoted BY: C P MONCHESTER ELECTRICALS(1542450.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Inline exhaust fans,LED lights and strip lights for Various locations at coimbatore Airport Tender ID: 2021_AAI_93630_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | C P MONCHESTER ELECTRICALS | 1542450.00 | L1