## BoQ1
Government eProcurement System Created By: ROJI R Created Date/Time: 29-Nov-2021 03:16 PM Tender Title: Modification of Residential Quaters for Temporary JVMU office Tender ID: 2021_AAI_94340_1
Tender Inviting Authority: Asst. General Manager Engg(Elect), Trivandrum Airport
Name of Work: Modification of Residential Quarters for Temporary JVMU Office at Trivandrum Airport. SH: Electrical Works.
Contract No: <2021_AAI_94340_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LINSTA SERVICES(GSTN-32BMKPS6907H1ZS) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit along with 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing including termination with copper thimbles of suitable size etc. as required. | 200.00 | Meter |  | 210.00 | 42000.00 | 199.00 | 39800.00 | 39800.00 | CHENNAI ENGINEERING SERVICES
2.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit including termination with copper thimbles of suitable size etc. as required.
2.10 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 25.00 | Meter |  | 210.00 | 5250.00 | 199.00 | 4975.00 | 4975.00 | CHENNAI ENGINEERING SERVICES
2.20 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 5.00 | Meter |  | 300.00 | 1500.00 | 249.00 | 1245.00 | 1245.00 | CHENNAI ENGINEERING SERVICES
2.30 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 25.00 | Meter |  | 420.00 | 10500.00 | 249.00 | 6225.00 | 6225.00 | CHENNAI ENGINEERING SERVICES
2.40 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 5.00 | Meter |  | 500.00 | 2500.00 | 499.00 | 2495.00 | 2495.00 | CHENNAI ENGINEERING SERVICES
3.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit including termination with copper thimbles of suitable size etc. as required.
3.10 | 3 x 1.5 sq. mm | 100.00 | Meter |  | 85.00 | 8500.00 | 99.00 | 9900.00 | 8500.00 | LINSTA SERVICES
3.20 | 3 x 2.5 sq. mm | 225.00 | Meter |  | 110.00 | 24750.00 | 149.00 | 33525.00 | 24750.00 | LINSTA SERVICES
3.30 | 6 x 2.5 sq. mm | 100.00 | Meter |  | 200.00 | 20000.00 | 299.00 | 29900.00 | 20000.00 | LINSTA SERVICES
4.00 | Supplying of 3 x 1.5 Sq.mm PVC insulated flexible FR copper cable, in the existing PVC conduit/HDPE pipe including termination with copper thimbles of suitable size etc. as required. | 30.00 | Meter |  | 170.00 | 5100.00 | 149.00 | 4470.00 | 4470.00 | CHENNAI ENGINEERING SERVICES
5.00 | Supplying and fixing of 25 mm medium class PVC conduit along with accessories in surface/recess including providing junction boxes at all diversion/bends etc. cutting the wall and making good the same in case of recessed conduit etc. as required. | 420.00 | Meter |  | 100.00 | 42000.00 | 79.00 | 33180.00 | 33180.00 | CHENNAI ENGINEERING SERVICES
6.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
6.10 | 5/6 A switch | 12.00 | Each |  | 110.00 | 1320.00 | 149.00 | 1788.00 | 1320.00 | LINSTA SERVICES
6.20 | 15/16 A switch | 15.00 | Each |  | 150.00 | 2250.00 | 199.00 | 2985.00 | 2250.00 | LINSTA SERVICES
6.30 | 3 pin 5/6 A socket outlet | 12.00 | Each |  | 140.00 | 1680.00 | 199.00 | 2388.00 | 1680.00 | LINSTA SERVICES
6.40 | 6 pin 15/16 A socket outlet | 15.00 | Each |  | 200.00 | 3000.00 | 249.00 | 3735.00 | 3000.00 | LINSTA SERVICES
6.50 | Telephone socket outlet | 12.00 | Each |  | 200.00 | 2400.00 | 499.00 | 5988.00 | 2400.00 | LINSTA SERVICES
6.60 | Bell push | 2.00 | Each |  | 110.00 | 220.00 | 249.00 | 498.00 | 220.00 | LINSTA SERVICES
7.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 6.00 | Each |  | 30.00 | 180.00 | 19.00 | 114.00 | 114.00 | CHENNAI ENGINEERING SERVICES
8.00 | Supplying and fixing following size/ modules, PVC box along with modular base & cover plate for modular switches in recess etc. as required.
8.10 | 2 Module | 39.00 | Each |  | 220.00 | 8580.00 | 449.00 | 17511.00 | 8580.00 | LINSTA SERVICES
8.20 | 3 Module | 15.00 | Each |  | 250.00 | 3750.00 | 549.00 | 8235.00 | 3750.00 | LINSTA SERVICES
9.00 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 Nos 3 pin 5/6 amps modular socket outlet and controlled by 2 No. 5/6 amps modular switch, connection, etc. as required. | 24.00 | Each |  | 900.00 | 21600.00 | 999.00 | 23976.00 | 21600.00 | LINSTA SERVICES
10.00 | Supplying and fixing 12 way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each |  | 2500.00 | 2500.00 | 4999.00 | 4999.00 | 2500.00 | LINSTA SERVICES
11.00 | Supplying and fixing 4 way(8+12), Double door, Horizontal Type Three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each |  | 4500.00 | 4500.00 | 9999.00 | 9999.00 | 4500.00 | LINSTA SERVICES
12.00 | Supplying and fixing of 63 Amps 4 Way, sheet steel, Bus Bar Chamber, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, powder painted including earthing etc. as required.(Havells Optima series or equivalent) | 2.00 | Each |  | 9500.00 | 19000.00 | 9999.00 | 19998.00 | 19000.00 | LINSTA SERVICES
13.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
13.10 | single pole, 240V, 10 kA, | 14.00 | Each |  | 250.00 | 3500.00 | 219.00 | 3066.00 | 3066.00 | CHENNAI ENGINEERING SERVICES
13.20 | Double pole, 240V, 10 kA, | 1.00 | Each |  | 780.00 | 780.00 | 449.00 | 449.00 | 449.00 | CHENNAI ENGINEERING SERVICES
13.30 | Four Pole, 415 V, 10 kA, | 1.00 | Each |  | 1800.00 | 1800.00 | 1999.00 | 1999.00 | 1800.00 | LINSTA SERVICES
14.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each |  | 30.00 | 300.00 | 29.00 | 290.00 | 290.00 | CHENNAI ENGINEERING SERVICES
15.00 | Supply of surface mounted LED 2 ft batten with extruded powder coated aluminium channel with polycarbonate diffusers. Lighting system comprising of LED of approved make . It has a system level lumen of minimum 900 lumens with luminaire efficacy of not less than 95 lm/W current output driver, operating range 140V – 270V, 50Hz AC supply, CCT of 5700K - 6500K with PF>0.90 and THD must be <10% .The luminaire is IP 20 protected | 7.00 | Each |  | 750.00 | 5250.00 | 1999.00 | 13993.00 | 5250.00 | LINSTA SERVICES
16.00 | Supply of surface mounted LED 4 ft batten with extruded powder coated aluminium channel with polycarbonate diffusers. Lighting system comprising of LED of approved make . It has a system level lumen of minimum 1800 lumens with luminaire efficacy of not less than 95 lm/W current output driver, operating range 140V – 270V, 50Hz AC supply, CCT of 5700K - 6500K with PF>0.90 and THD must be <10% .The luminaire is IP 20 protected | 32.00 | Each |  | 800.00 | 25600.00 | 2499.00 | 79968.00 | 25600.00 | LINSTA SERVICES
17.00 | Supply of LED Street light luminaires with pressure die-cast aluminium housing with Polycarbonate cover and lense embedded PC. Lighting system comprising of LED of approved make . It has a system level lumen of minimum 2300 lumens with luminaire efficacy of not less than 95 lm/W current output driver, operating range 140V – 270V, 50Hz AC supply, CCT of 5700K - 6500K with PF>0.90 and THD must be <10% .The luminaire is IP 65 or above protected | 9.00 | Each |  | 1900.00 | 17100.00 | 14999.00 | 134991.00 | 17100.00 | LINSTA SERVICES
18.00 | Supply of LED Post Top luminaires with pressure die-cast aluminium housing comprising of LED of approved make . It has a system level lumen of minimum 2250 lumens with luminaire efficacy of not less than 85 lm/W current output driver, operating range 140V – 270V, 50Hz AC supply, CCT of 5700K - 6500K with PF>0.90 .The luminaire is IP 65 or above protected | 2.00 | Each |  | 9500.00 | 19000.00 | 14999.00 | 29998.00 | 19000.00 | LINSTA SERVICES
19.00 | Installation, testing and commissioning of LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 36.00 | Each |  | 200.00 | 7200.00 | 199.00 | 7164.00 | 7164.00 | CHENNAI ENGINEERING SERVICES
20.00 | laying of HDPE pipe of all sizes and types complete with all accessories like socket, bend couplers etc, cutting, jointing etc..direct in ground (80 cm below ground level and 1.0 Mtr below pavement wherever road crossing/proposed road crossing) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 30.00 | Meter |  | 400.00 | 12000.00 | 299.00 | 8970.00 | 8970.00 | CHENNAI ENGINEERING SERVICES
21.00 | Laying of 3 x 1.5 Sq.mm Flexible copper conductor of 1.1kV grade of following size in the existing RCC/ HUME/METAL pipe/HDPE pipe/CULVERT/STONE WARE including termination with copper lugs at termination points, etc as required. | 30.00 | Meter |  | 50.00 | 1500.00 | 39.00 | 1170.00 | 1170.00 | CHENNAI ENGINEERING SERVICES
22.00 | Supply of 1.0 Ton single phase 5 star Invertor Split type Air conditioner of High wall mounting type consisting of non-ductable single room evaporator unit ( copper coil) with cordless remote control and one number outdoor condenser unit comprising of sealed compressor and copper conductor tube conforming to IS 1391 (part –2) with up to date amendments suitable for operation on 230V, 50Hz. AC supply capable of performing (a) cooling (b) dehumidifying (c) Air -Circulating (d) filtering, comprising of the following including first charge of refrigerant as required. The unit shall be Auto-restart type without changing of existing setting etc. (i)1" PVC drain pipe or as per OEM Specification (ii)1/4" dia insulated copper pipe for liquid line or as per OEM Specification (iii) 1/2" insulated copper pipe for suction or as per OEM Specification (iv)3Core x 4 sq.mm PVC insulated, PVC sheathed unarmoured multi strand copper cable or as per OEM Specification (v)Rigid PVC pipe / PVC Trunking of suitable size for covering the refrigerant line& drain line in (i),(ii), (iii) and (iv) above (vi) Angle Iron Stand for Outdoor unit (Rate quoted shall be inclusive of standard interconnection copper pipe lines, cabling of maximum 3 meters) | 2.00 | Each |  | 51500.00 | 103000.00 | 64999.00 | 129998.00 | 103000.00 | LINSTA SERVICES
23.00 | Installation, testing and commissioning of 5 star single phase 1.0 Ton split air conditioner of high wall mounting type including fixing the condenser on a raised stand or suitable outdoor wall mounted stands with suitable iron angle/structure duly painted as per site requirement and fixing of evaporator unit including providing and making inter connections between evaporator unit and condenser unit up to a length of 3 mtrs etc. as required. | 2.00 | Each |  | 3500.00 | 7000.00 | 4999.00 | 9998.00 | 7000.00 | LINSTA SERVICES
24.00 | Supply and Fixing of following for interconnections between evaporator unit and condensing unit (extra length), as required for 1.0 ton Split type AC units i) 1" Drain pipe PVC pipe or as per OEM Specification ii) 1/4" dia insulated copper pipe for liquid line or as per OEM Specification iii) 1/2" insulated copper pipe for suction or as per OEM Specification iv) PVC insulated, PVC sheathed unarmoured multi strand copper cable as per OEM Specification v) Rigid PVC Trunking of suitable size for covering the refrigerant line & drain line in (i), (ii), (iii) and (iv) above. The drain line shall be in PVC trunking inside the rooms and for outside, it shall be neatly clamped till plinth with U trap. | 5.00 | Meter |  | 1350.00 | 6750.00 | 1499.00 | 7495.00 | 6750.00 | LINSTA SERVICES
25.00 | Supply of 4 KVA Voltage stabilizer wall mounting type suitable for 1.0 ton split / window A/C units with in put volt range 170V to 270 V & output 220 +10% etc., as required | 2.00 | Each |  | 3500.00 | 7000.00 | 3499.00 | 6998.00 | 6998.00 | CHENNAI ENGINEERING SERVICES
26.00 | Supply of Water purifier cum Dispenser unit with 3 faucets for Normal. Hot and Cold water output with minimum 20 Ltr storage for normal, 4 Ltrs storage for Hot and 20 Ltrs storage for Cold with Sainless steel body including UV purification suitable to operate at 230V, 50 Hrs AC supply.(Conway P100 NHC or equivalent) | 2.00 | Each |  | 31500.00 | 63000.00 | 74999.00 | 149998.00 | 63000.00 | LINSTA SERVICES
108.00 | Amount Excluding GST
| Total in Figures |  |  |  |  | 513860.00 |  | 854474.00
Lowest Amount Quoted BY: LINSTA SERVICES(513860.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Residential Quaters for Temporary JVMU office Tender ID: 2021_AAI_94340_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LINSTA SERVICES | 513860.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 854474.00 | L2