## BoQ1
Government eProcurement System Created By: Pradeep Muralidharan Created Date/Time: 06-Dec-2021 03:56 PM Tender Title: Construction of Structural Steel Platform for placing 4 nos of 350 TR Cooling Tower in Power house at Madurai Airport Tender ID: 2021_AAI_94407_1
Tender Inviting Authority: Assistant General Manager (Engg-Civil), Airports Authority of India, Madurai Airport, Madurai – 625 022
Name of Work: Construction of Structural Steel Platform for placing 4 nos of 350 TR Cooling Tower in Power house at Madurai Airport.
Contract No: AAI/MDU/CIVIL/MDU-240/2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K.S.ELECTRICALS(GSTN-33AHFPR7136L1Z0) |  | Vijayakumar(GSTN-33ABXPV4321M2ZY) |  | CREATORS ENGINEERS AND INTERIORS PVT LTD(GSTN-33AACCC4738J1ZP) |  | G ILANGUMARAN(GSTN-33AABPI8935R1Z6) |  | M/s.IG Construction(GSTN-NA) |  | SM STAR ENGINEERS INDIA PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 41.00 | cum |  | 1000.00 | 41000.00 | 1400.00 | 57400.00 | 2500.00 | 102500.00 | 380.00 | 15580.00 | 500.00 | 20500.00 | 4050.00 | 166050.00 | 15580.00 | G ILANGUMARAN
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 73.00 | cum |  | 170.00 | 12410.00 | 200.00 | 14600.00 | 400.00 | 29200.00 | 240.00 | 17520.00 | 85.00 | 6205.00 | 329.00 | 24017.00 | 6205.00 | M/s.IG Construction
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 4.00 | cum |  | 4900.00 | 19600.00 | 5000.00 | 20000.00 | 5500.00 | 22000.00 | 5000.00 | 20000.00 | 3800.00 | 15200.00 | 6590.00 | 26360.00 | 15200.00 | M/s.IG Construction
4.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately). All works upto plinth level | 33.00 | cum |  | 6400.00 | 211200.00 | 6000.00 | 198000.00 | 8500.00 | 280500.00 | 7000.00 | 231000.00 | 5200.00 | 171600.00 | 7980.00 | 263340.00 | 171600.00 | M/s.IG Construction
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete | 81.00 | sqm |  | 270.00 | 21870.00 | 200.00 | 16200.00 | 500.00 | 40500.00 | 280.00 | 22680.00 | 385.00 | 31185.00 | 667.00 | 54027.00 | 16200.00 | Vijayakumar
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 94.00 | sqm |  | 500.00 | 47000.00 | 300.00 | 28200.00 | 500.00 | 47000.00 | 520.00 | 48880.00 | 450.00 | 42300.00 | 667.00 | 62698.00 | 28200.00 | Vijayakumar
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 3695.00 | kg |  | 85.00 | 314075.00 | 80.00 | 295600.00 | 80.00 | 295600.00 | 120.00 | 443400.00 | 65.00 | 240175.00 | 89.00 | 328855.00 | 240175.00 | M/s.IG Construction
8.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 17621.00 | kg |  | 105.00 | 1850205.00 | 150.00 | 2643150.00 | 100.00 | 1762100.00 | 80.00 | 1409680.00 | 87.00 | 1533027.00 | 128.00 | 2255488.00 | 1409680.00 | G ILANGUMARAN
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 9.00 | sqm |  | 500.00 | 4500.00 | 400.00 | 3600.00 | 600.00 | 5400.00 | 750.00 | 6750.00 | 450.00 | 4050.00 | 667.00 | 6003.00 | 3600.00 | Vijayakumar
10.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately). All works above plinth level upto floor V level | 28.00 | cum |  | 6400.00 | 179200.00 | 6500.00 | 182000.00 | 9000.00 | 252000.00 | 7500.00 | 210000.00 | 5500.00 | 154000.00 | 7980.00 | 223440.00 | 154000.00 | M/s.IG Construction
11.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 2820.00 | kg |  | 80.00 | 225600.00 | 80.00 | 225600.00 | 80.00 | 225600.00 | 95.00 | 267900.00 | 70.00 | 197400.00 | 89.00 | 250980.00 | 197400.00 | M/s.IG Construction
12.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. On steel work | 297.00 | sqm |  | 160.00 | 47520.00 | 100.00 | 29700.00 | 500.00 | 148500.00 | 25.00 | 7425.00 | 150.00 | 44550.00 | 618.00 | 183546.00 | 7425.00 | G ILANGUMARAN
13.00 | Providing and fixing 1.2 mm thick galvanized steel deck sheet confirming to IS 277: 2003 to be used as supporting member . This metal deck will be supported on structural steel beam with bolts as per the approved drawing. (Structural steel like Beam, column, joists etc. , concrete and reinforcements of different grade as per design will be paid separately). | 205.00 | sqm |  | 980.00 | 200900.00 | 100.00 | 20500.00 | 2000.00 | 410000.00 | 600.00 | 123000.00 | 750.00 | 153750.00 | 2440.00 | 500200.00 | 20500.00 | Vijayakumar
14.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 300.00 | kg |  | 120.00 | 36000.00 | 120.00 | 36000.00 | 100.00 | 30000.00 | 140.00 | 42000.00 | 95.00 | 28500.00 | 128.00 | 38400.00 | 28500.00 | M/s.IG Construction
15.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 257.00 | kg |  | 140.00 | 35980.00 | 120.00 | 30840.00 | 110.00 | 28270.00 | 140.00 | 35980.00 | 100.00 | 25700.00 | 156.00 | 40092.00 | 25700.00 | M/s.IG Construction
16.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 213.00 | kg |  | 80.00 | 17040.00 | 85.00 | 18105.00 | 120.00 | 25560.00 | 140.00 | 29820.00 | 88.00 | 18744.00 | 147.00 | 31311.00 | 17040.00 | K.S.ELECTRICALS
17.00 | Carriage of materials by Mechanical Transport including loading,unloading and stacking Lime, moorum, building. | 41.00 | cum |  | 100.00 | 4100.00 | 70.00 | 2870.00 | 1000.00 | 41000.00 | 130.00 | 5330.00 | 450.00 | 18450.00 | 331.00 | 13571.00 | 2870.00 | Vijayakumar
18.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 46.00 | cum |  | 200.00 | 9200.00 | 150.00 | 6900.00 | 200.00 | 9200.00 | 170.00 | 7820.00 | 90.00 | 4140.00 | 283.00 | 13018.00 | 4140.00 | M/s.IG Construction
19.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge 25 mm average thickness | 64.00 | sqm |  | 90.00 | 5760.00 | 70.00 | 4480.00 | 70.00 | 4480.00 | 230.00 | 14720.00 | 100.00 | 6400.00 | 155.00 | 9920.00 | 4480.00 | Vijayakumar, CREATORS ENGINEERS AND INTERIORS PVT LTD
20.00 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. Bars upto 12 mm diameter | 534.00 | m |  | 5.00 | 2670.00 | 3.00 | 1602.00 | 10.00 | 5340.00 | 30.00 | 16020.00 | 6.50 | 3471.00 | 25.00 | 13350.00 | 1602.00 | Vijayakumar
21.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 64.00 | sqm |  | 65.00 | 4160.00 | 250.00 | 16000.00 | 500.00 | 32000.00 | 220.00 | 14080.00 | 350.00 | 22400.00 | 354.00 | 22656.00 | 4160.00 | K.S.ELECTRICALS
22.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). 25 mm average thickness in 2 layers. | 64.00 | sqm |  | 300.00 | 19200.00 | 350.00 | 22400.00 | 500.00 | 32000.00 | 350.00 | 22400.00 | 320.00 | 20480.00 | 1110.00 | 71040.00 | 19200.00 | K.S.ELECTRICALS
| Total in Figures |  |  |  |  | 3309190.00 |  | 3873747.00 |  | 3828750.00 |  | 3011985.00 |  | 2762227.00 |  | 4598362.00
Lowest Amount Quoted BY: M/s.IG Construction(2762227.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Structural Steel Platform for placing 4 nos of 350 TR Cooling Tower in Power house at Madurai Airport Tender ID: 2021_AAI_94407_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s.IG Construction | 2762227.00 | L1
| 2 | G ILANGUMARAN | 3011985.00 | L2
| 3 | K.S.ELECTRICALS | 3309190.00 | L3
| 4 | CREATORS ENGINEERS AND INTERIORS PVT LTD | 3828750.00 | L4
| 5 | Vijayakumar | 3873747.00 | L5
| 6 | SM STAR ENGINEERS INDIA PVT LTD | 4598362.00 | L6