## BoQ1
Government eProcurement System Created By: Rupsingh Kanoj Created Date/Time: 09-Dec-2021 03:48 PM Tender Title: ARMO of Electrical and Mechanical installation at Munda Pandey Airport , Mordabad for year 2021-22. Tender ID: 2021_AAI_94431_1
Tender Inviting Authority: AAI
Name of Work: ARMO of Electrical & Mechanical installations at Munda Pandey Airport, Moradabad for year 2021-22.
Contract No: 2021_AAI_94431
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | M/S HIGH TECH POWER SYSTEM(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I AMC
1.01 | Annual Maintenance Contract for operation & maintenance of E & M Installations such as DG sets,electricals panels, starter panels, AMF Panels, submersible pump, internal & external electrical Installations in operational area and other airport areas by deploying following minimum manpower on all working days (i/c sunday & holiday) as per instruction of Engineer-in-Charge or his authorized representative as per requirement. 1) Contractor has to deploy additional manpower as mentioned below 2)Contractor has to provide releiver for weekly off/holidays for below mentioned staffs as per the requirement a) Wireman cum DG Set Operator -01 No. in general shift. b) Helper -01 No. in general shift. | 12.00 | Month |  | 34455.00 | 413460.00 | 42000.00 | 504000.00 | 33020.00 | 396240.00 | 396240.00 | M/S HIGH TECH POWER SYSTEM
1.02 | Supply & carry out of 'B' check kit of 62.5 KVA (Cummins make) DG Set i/c supply & fittment of required no. of Air Filter, Fuel filter, Oil filter, Lubrication Oil, checking of Air restriction, checking of Alternator windings & its control panel etc. complete as per site requirement . | 2.00 | Job |  | 5000.00 | 10000.00 | 50000.00 | 100000.00 | 1500.00 | 3000.00 | 3000.00 | M/S HIGH TECH POWER SYSTEM
1.03 | Annual comprehensive maintenance of capacity 1.5/2.0TR Split type Air Conditioners of different makes i/c providing repairing/ replacement of defective compressor by same company compressor & replacement of other defective components like relay & switches, capacitor etc. with original component i/c repair & maintenance of stabilizer etc. complete as required. | 6.00 | Each |  | 1500.00 | 9000.00 | 25000.00 | 150000.00 | 2000.00 | 12000.00 | 9000.00 | Anoop Refrigeration
1.04 | Rewinding of 2 HP motor of submersible pump of (different stages ) different makes as per original size of insulated copper wire, sleeves complete with connection ,interconnection etc as required. | 1.00 | Each |  | 2800.00 | 2800.00 | 3500.00 | 3500.00 | 100.00 | 100.00 | 100.00 | M/S HIGH TECH POWER SYSTEM
1.05 | Annual Comprehensive maintenance of 10 Ltr capacity RO of Aquaguard make (Model REVIVA) | 1.00 | Job |  | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 100.00 | 100.00 | 100.00 | M/S HIGH TECH POWER SYSTEM
1.06 | Rewinding of following sizes ceiling fans of all makes as per original size and specifications with suitable copper winding wires (Dismantle cu-wire need not to be returned) complete as required. (a) Ceiling fan upto 1400 mm Sweep. | 10.00 | Job |  | 600.00 | 6000.00 | 450.00 | 4500.00 | 400.00 | 4000.00 | 4000.00 | M/S HIGH TECH POWER SYSTEM
2.00 | SH-II: SUPPLY OF ELECTRICAL SPARES & ACCESSORIES (on as and when required basis at site )
2.01 | Supply of FRLS PVC insulated single core multistrand copper conductor wire of following size.(Coil of 90 mtr length). (a) 1.5 Sq.mm | 1.00 | Each |  | 1500.00 | 1500.00 | 1458.85 | 1458.85 | 600.00 | 600.00 | 600.00 | M/S HIGH TECH POWER SYSTEM
2.02 | Supply of FRLS PVC insulated single core multistrand copper conductor wire of following size.(Coil of 90 mtr length). (b) 2.5 Sq.mm | 1.00 | Each |  | 2500.00 | 2500.00 | 2327.64 | 2327.64 | 1000.00 | 1000.00 | 1000.00 | M/S HIGH TECH POWER SYSTEM
2.03 | Supply of FRLS PVC insulated single core multistrand copper conductor wire of following size. (c)3 x 2.5 sqmm (100 Mtr Coil ) Flexible | 1.00 | Each |  | 8000.00 | 8000.00 | 8035.24 | 8035.24 | 3200.00 | 3200.00 | 3200.00 | M/S HIGH TECH POWER SYSTEM
2.04 | Supply of 6A ,3 Pin top | 5.00 | Each |  | 50.00 | 250.00 | 62.65 | 313.25 | 80.00 | 400.00 | 250.00 | Anoop Refrigeration
2.05 | Supply of 16A 3 Pin top | 5.00 | Each |  | 50.00 | 250.00 | 111.03 | 555.15 | 120.00 | 600.00 | 250.00 | Anoop Refrigeration
2.06 | Supply of 20A & 10A Switch Socket combined Unit | 5.00 | Each |  | 180.00 | 900.00 | 125.20 | 626.00 | 300.00 | 1500.00 | 626.00 | Yash Energy Pvt. Ltd
2.07 | Supply of 3.15 mfd. Capacitor/Condenser for various fan application such as Ceiling fan/Exhaust fan etc. suitable for 240 volt and 50Hz A.C. Supply.(Havells cat no.QHPCWC5003X1 or equivalent). | 10.00 | Each |  | 30.00 | 300.00 | 45.32 | 453.20 | 70.00 | 700.00 | 300.00 | Anoop Refrigeration
2.08 | Supply of 9 watt , E27 base LED bulb.( Make Philips , Bajaj, Wipro , Osram or equivalent ) | 20.00 | Each |  | 150.00 | 3000.00 | 79.31 | 1586.20 | 150.00 | 3000.00 | 1586.20 | Yash Energy Pvt. Ltd
3.00 | SH-III: DSR ITEMS
3.01 | Execution of works as per requirement of site from CPWD schedule of rates (Electrical DSR-2018) as per CPWD specifications completed as required . (Total amount of Rs 30000.00 (exclusive of GST ) is kept for DSR items -2018) [ (Note- Rate of DSR items shall be quoted against total amount of Rs 30000.00 (Ten Thousand ) in figures excluding GST which shall be converted in the percentage (above/below ) and rate of DSR items shall be taken exclusive of GST (basic rate) on which payment shall be made considering percentage above /below rate quoted against Rs 30,000.00 .] | 1.00 | Job |  | 15000.00 | 15000.00 | 28500.00 | 28500.00 | 5000.00 | 5000.00 | 5000.00 | M/S HIGH TECH POWER SYSTEM
| Total in Figures |  |  |  |  | 477960.00 |  | 807855.53 |  | 431440.00
Lowest Amount Quoted BY: M/S HIGH TECH POWER SYSTEM(431440.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical installation at Munda Pandey Airport , Mordabad for year 2021-22. Tender ID: 2021_AAI_94431_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S HIGH TECH POWER SYSTEM | 431440.00 | L1
| 2 | Anoop Refrigeration | 477960.00 | L2
| 3 | Yash Energy Pvt. Ltd | 807855.53 | L3