## BoQ1
Government eProcurement System Created By: Subhra Santa Ghosh Created Date/Time: 20-Dec-2021 04:41 PM Tender Title: Operation and Maintenance of all Type of E and M Installations at Cooch Behar Airport for Two Years (2021-2023) Tender ID: 2021_AAI_94921_1
Tender Inviting Authority: SM (E-E)
Name of Work: Operation and Maintenance of all Type of E&M Installations at Cooch Behar Airport for Two Years (2021-2023).
Contract No: 2021_AAI_94921_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation of DG sets along with AMF panels and maintenance of E & M installations at NTB, Technical block, power house, pump room, STP, GLF installations, Perimeter Lights & Apron Flood Lights, Fire alarm system, Fire Hydrant system, residential quarters and street light on all working days including sunday & holidays by engaging manpower in shifts involving operation, preventive / routine / breakdown maintenance, attending complaints, repairs with proper tools & plants, documentation etc. as per the contract terms and conditions and directions of Engineer-in-charge at Cooch Behar Airport. | 24.00 | Month |  | 135000.00 | 3240000.00 | 154219.00 | 3701256.00 | 164833.33 | 3955999.99 | 138000.00 | 3312000.00 | 152000.00 | 3648000.00 | 147188.00 | 3532512.00 | 143188.00 | 3436512.00 | 3240000.00 | ANIRBAN ENTERPRISE
2.00 | Annual Comprehensive maintenance of following capacity single/three phase split type air conditioners of all makes and models/types with voltage stabilizers installed at different locations including providing & fixing all necessary consumables and spares including replacing of faulty compressor for the period of two years etc complete, as required for two years. a) First Year i) 1.5/2.0 Tr High wall | 14.00 | Each/Year |  | 6000.00 | 84000.00 | 3000.00 | 42000.00 | 1500.00 | 21000.00 | 6300.00 | 88200.00 | 6000.00 | 84000.00 | 3000.00 | 42000.00 | 1600.00 | 22400.00 | 21000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | a) First Year ii) 3/4 Tr Floor mounted | 10.00 | Each/Year |  | 8000.00 | 80000.00 | 8000.00 | 80000.00 | 5000.00 | 50000.00 | 8300.00 | 83000.00 | 12000.00 | 120000.00 | 4500.00 | 45000.00 | 2500.00 | 25000.00 | 25000.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | a) First Year iii) 3/4 Tr Cassette type | 7.00 | Each/Year |  | 10000.00 | 70000.00 | 8000.00 | 56000.00 | 5000.00 | 35000.00 | 10200.00 | 71400.00 | 12000.00 | 84000.00 | 5000.00 | 35000.00 | 3000.00 | 21000.00 | 21000.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | b) Second Year i) 1.5/2.0 Tr High wall | 14.00 | Each/Year |  | 6000.00 | 84000.00 | 8500.00 | 119000.00 | 1500.00 | 21000.00 | 6500.00 | 91000.00 | 6000.00 | 84000.00 | 3000.00 | 42000.00 | 1600.00 | 22400.00 | 21000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.00 | b) Second Year ii) 3/4 Tr Floor mounted | 10.00 | Each/Year |  | 8000.00 | 80000.00 | 7500.00 | 75000.00 | 5000.00 | 50000.00 | 8300.00 | 83000.00 | 12000.00 | 120000.00 | 4500.00 | 45000.00 | 2500.00 | 25000.00 | 25000.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | b) Second Year iii) 3/4 Tr Cassette type | 7.00 | Each/Year |  | 10000.00 | 70000.00 | 7500.00 | 52500.00 | 5000.00 | 35000.00 | 10500.00 | 73500.00 | 12000.00 | 84000.00 | 5000.00 | 35000.00 | 3000.00 | 21000.00 | 21000.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Annual Comprehensive maintenance of 15 TR package type air cooled air conditioning unit (Blue Star Make) complete with air conditioning units ,heater , electric control panel and allied accessories including providing & fixing all necessary consumables alongwith replacement of faulty compressor and necessary spares etc. as complete as required for two years a) First Year : 15 TR Package. | 2.00 | Each/Year |  | 30000.00 | 60000.00 | 45000.00 | 90000.00 | 10500.00 | 21000.00 | 31000.00 | 62000.00 | 60000.00 | 120000.00 | 18000.00 | 36000.00 | 45000.00 | 90000.00 | 21000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | b) Second Year : 15 TR Package | 2.00 | Each/Year |  | 30000.00 | 60000.00 | 50000.00 | 100000.00 | 10500.00 | 21000.00 | 31000.00 | 62000.00 | 60000.00 | 120000.00 | 18000.00 | 36000.00 | 45000.00 | 90000.00 | 21000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Annual Comprehensive Maintenance Contract (CMC) of water cooler cum purifier/waterpurifier of Eureka forbes make installed at different locations including providing & fixing all necessary consumables and spares etc. as complete as required for two years. (Maintenance should be done through OEM's Authorized dealer) a)For First Year i) AGCCP model | 5.00 | Each/Year |  | 6308.00 | 31540.00 | 5000.00 | 25000.00 | 2500.00 | 12500.00 | 6450.00 | 32250.00 | 12000.00 | 60000.00 | 7765.00 | 38825.00 | 14000.00 | 70000.00 | 12500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.00 | a)For First Year ii) Classic Model | 1.00 | Each/Year |  | 3100.00 | 3100.00 | 5500.00 | 5500.00 | 2500.00 | 2500.00 | 3150.00 | 3150.00 | 15000.00 | 15000.00 | 3925.00 | 3925.00 | 11000.00 | 11000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.00 | b) For Second Year i) AGCCP model | 5.00 | Each/Year |  | 6308.00 | 31540.00 | 6000.00 | 30000.00 | 2500.00 | 12500.00 | 6350.00 | 31750.00 | 7500.00 | 37500.00 | 7765.00 | 38825.00 | 14000.00 | 70000.00 | 12500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.00 | b) For Second Year ii) Classic Model | 1.00 | Each/Year |  | 3100.00 | 3100.00 | 6500.00 | 6500.00 | 2500.00 | 2500.00 | 3250.00 | 3250.00 | 7500.00 | 7500.00 | 3925.00 | 3925.00 | 11000.00 | 11000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Service visit through OEM/Specialised Agency for carrying out servicing/maintenance of Complete Fire Alarm Detection System with all detectors/Fire alarm panel(installed in terminal building / technical block) and complete checking of fire fighting system of terminal building in case of breakdown/ emergency/ as and when required and submission of service / maintenance report of OEM or Specialized Agency complete in all respect. (Maintenance should be done through OEM's / Specialized Agency) | 4.00 | Job |  | 35000.00 | 140000.00 | 4000.00 | 16000.00 | 5000.00 | 20000.00 | 36500.00 | 146000.00 | 139000.00 | 556000.00 | 60000.00 | 240000.00 | 18000.00 | 72000.00 | 16000.00 | Sew Engineering Works Pvt Ltd
15.00 | Maintenance of all types of conveyors (3 section flat slider bed conveyor-1 Set, Slat type conveyor belt Arrival Lounge - 1 No.) and all accessories associated to them (Rolling shutters, gravity rollers, control panels, motors of various ratings, SMSR/Gear boxes etc) by quarterly visit and preforming routine maintenance, taking rectification action to ensure serviceability / satisfactory working condition of the system and attending to faults / breakdown calls as and when required. (Spares will be supplied by AAI). (Maintenance should be done through OEM only) i) First Year | 4.00 | Job |  | 28000.00 | 112000.00 | 25000.00 | 100000.00 | 10000.00 | 40000.00 | 29500.00 | 118000.00 | 60000.00 | 240000.00 | 35000.00 | 140000.00 | 34240.00 | 136960.00 | 40000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
16.00 | ii) Second Year | 4.00 | Job |  | 31000.00 | 124000.00 | 35000.00 | 140000.00 | 10000.00 | 40000.00 | 30000.00 | 120000.00 | 60000.00 | 240000.00 | 38000.00 | 152000.00 | 37450.00 | 149800.00 | 40000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
17.00 | One time overhauling of slat / flat slider bed type of conveyors with all other accessories associated to them like rolling shutters, Gravity, rollers, control panels, motors of various rating, SMSR/ Gear boxes etc.) by providing necessary spare parts for following items. (Spares will be supplied by AAI). (Maintenance should be done through OEM only) a) First Year i) Slat type conveyor systems with other accessories | 1.00 | Each |  | 67000.00 | 67000.00 | 50000.00 | 50000.00 | 15000.00 | 15000.00 | 68500.00 | 68500.00 | 120000.00 | 120000.00 | 75000.00 | 75000.00 | 79180.00 | 79180.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
18.00 | a) First Year ii) 3 Section flat slider bed conveyor system with other accessories | 1.00 | Each |  | 37000.00 | 37000.00 | 55000.00 | 55000.00 | 15000.00 | 15000.00 | 37500.00 | 37500.00 | 60000.00 | 60000.00 | 42000.00 | 42000.00 | 43870.00 | 43870.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | b) Second Year i) Slat type conveyor systems with other accessories | 1.00 | Each |  | 74000.00 | 74000.00 | 60000.00 | 60000.00 | 15000.00 | 15000.00 | 75000.00 | 75000.00 | 60000.00 | 60000.00 | 82000.00 | 82000.00 | 85600.00 | 85600.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | b) Second Year ii) 3 Section flat slider bed conveyor system with other accessories | 1.00 | Each |  | 41000.00 | 41000.00 | 65000.00 | 65000.00 | 20000.00 | 20000.00 | 42000.00 | 42000.00 | 60000.00 | 60000.00 | 46000.00 | 46000.00 | 48150.00 | 48150.00 | 20000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Supply of following spares for arrival and departure Conveyor Belts a) Main Chain Tyred wheel with 6204ZZ Bearing | 300.00 | Each |  | 400.00 | 120000.00 | 2000.00 | 600000.00 | 400.00 | 120000.00 | 550.00 | 165000.00 | 700.00 | 210000.00 | 450.00 | 135000.00 | 471.00 | 141300.00 | 120000.00 | ANIRBAN ENTERPRISE, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | b) Caterpillar chain Tyred Wheel | 50.00 | Each |  | 380.00 | 19000.00 | 2500.00 | 125000.00 | 2000.00 | 100000.00 | 400.00 | 20000.00 | 2000.00 | 100000.00 | 435.00 | 21750.00 | 449.00 | 22450.00 | 19000.00 | ANIRBAN ENTERPRISE
23.00 | c) Dog Pusher | 6.00 | Each |  | 2500.00 | 15000.00 | 2000.00 | 12000.00 | 6000.00 | 36000.00 | 2650.00 | 15900.00 | 7500.00 | 45000.00 | 3000.00 | 18000.00 | 3210.00 | 19260.00 | 12000.00 | Sew Engineering Works Pvt Ltd
24.00 | d) RS 62 Alligator joint | 3.00 | Each |  | 8000.00 | 24000.00 | 1500.00 | 4500.00 | 5000.00 | 15000.00 | 9500.00 | 28500.00 | 8000.00 | 24000.00 | 10000.00 | 30000.00 | 9630.00 | 28890.00 | 4500.00 | Sew Engineering Works Pvt Ltd
25.00 | e) Rubber slat | 20.00 | Each |  | 1500.00 | 30000.00 | 2000.00 | 40000.00 | 250.00 | 5000.00 | 2000.00 | 40000.00 | 1000.00 | 20000.00 | 2250.00 | 45000.00 | 2140.00 | 42800.00 | 5000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.00 | Filtration of transformer oil in 800 KVA, 11KV / 415 V transformer including testing of transformer oil (BDV, acidity, etc.) before and after filtration, confirming to latest Indian standard at site till the reach of satisfactory di-electric strength of 50KV or above and submitting the report, also testing of Winding Temperature Indicator(WTI), Oil Temperature Indicator(OTI), Buchholz relay, Pressure Release valve(PRV) and replacement of silica gel of transformer etc as complete as required. | 4.00 | Job |  | 15000.00 | 60000.00 | 18500.00 | 74000.00 | 7000.00 | 28000.00 | 15500.00 | 62000.00 | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 8400.00 | 33600.00 | 20000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
27.00 | Top up of ISI marked Transformer oil during filtration as per site requirement in 800 KVA, 11KV / 415V transformers etc complete as required. | 100.00 | Litre |  | 100.00 | 10000.00 | 125.00 | 12500.00 | 140.00 | 14000.00 | 125.00 | 12500.00 | 150.00 | 15000.00 | 112.00 | 11200.00 | 110.00 | 11000.00 | 10000.00 | ANIRBAN ENTERPRISE
28.00 | Calibration and testing of relays & meters of 11 KV HT panel (1 incomer & 2 outgoing system) includes IDMT relay(03 Nos.), Auxiliary/Trip relays(10 Nos.), Annuciator(02Nos.) and meters(06 Nos.) through calibration machine having valid calibrated certificate of Govt./NABL lab and submission of test reports complete as reqd. | 2.00 | Job |  | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 5000.00 | 10000.00 | 10200.00 | 20400.00 | 20000.00 | 40000.00 | 40500.00 | 81000.00 | 12100.00 | 24200.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
29.00 | Rewinding of single/three phase following capacity Motors/Pump/Submersible Pump by changing winding including applying the varnish, titgtening the bolts,changing end terminals etc as required by AAI including transporting from the AAI store (as may be required) and returning back after through service etc. complete as required. (including considering for credit of dismantle materials) i) 1 HP capacity | 2.00 | Each |  | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 2200.00 | 4400.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 1600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
30.00 | ii) 2 HP capacity | 2.00 | Each |  | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 1000.00 | 2000.00 | 3150.00 | 6300.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 1700.00 | 3400.00 | 2000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
31.00 | iii) 5 HP capacity | 2.00 | Each |  | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 3200.00 | 6400.00 | 4300.00 | 8600.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 3500.00 | 7000.00 | 6400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
32.00 | Lifting and lowering of submersible pumps upto 200 ft of capacities(up to 5HP) alongwith GI pipes due to defect in existing pump on urgent basis within a short notice including connection of cable, jointing of cable etc with successful testing & commissioning etc. complete as required. | 2.00 | Job |  | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 12000.00 | 24000.00 | 4300.00 | 8600.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
33.00 | Painting of electrical poles of height 7.0 to 14 mtr with one coat of red oxide primer and one coat of silver enamelled paints complete as required. | 100.00 | Each |  | 350.00 | 35000.00 | 300.00 | 30000.00 | 1600.00 | 160000.00 | 390.00 | 39000.00 | 500.00 | 50000.00 | 600.00 | 60000.00 | 1000.00 | 100000.00 | 30000.00 | Sew Engineering Works Pvt Ltd
34.00 | Painting of electrical panel with one or more coats of spray painting with synthetic enamel paint of approved colour to give an even shade, including cleaning of surface etc as required. | 100.00 | Sq.Mtr |  | 150.00 | 15000.00 | 12.00 | 1200.00 | 150.00 | 15000.00 | 175.00 | 17500.00 | 50.00 | 5000.00 | 180.00 | 18000.00 | 120.00 | 12000.00 | 1200.00 | Sew Engineering Works Pvt Ltd
35.00 | Supply of following spares for maintenance of fire alarm system/GLF installations/CCR's/Electrical installations as and when required. a) For installed Fire Alarm System i) Analouge addressable type optical smoke detector | 10.00 | Each |  | 2850.00 | 28500.00 | 767.00 | 7670.00 | 3200.00 | 32000.00 | 2950.00 | 29500.00 | 2000.00 | 20000.00 | 3500.00 | 35000.00 | 1605.00 | 16050.00 | 7670.00 | Sew Engineering Works Pvt Ltd
36.00 | ii) Analouge addressable type Heat detector | 10.00 | Each |  | 2650.00 | 26500.00 | 767.00 | 7670.00 | 3200.00 | 32000.00 | 2750.00 | 27500.00 | 2000.00 | 20000.00 | 3250.00 | 32500.00 | 856.00 | 8560.00 | 7670.00 | Sew Engineering Works Pvt Ltd
37.00 | iii) Mannual Call point | 2.00 | Each |  | 2950.00 | 5900.00 | 460.00 | 920.00 | 2400.00 | 4800.00 | 3050.00 | 6100.00 | 3000.00 | 6000.00 | 2854.00 | 5708.00 | 482.00 | 964.00 | 920.00 | Sew Engineering Works Pvt Ltd
38.00 | iv) Hooter | 2.00 | Each |  | 2350.00 | 4700.00 | 413.00 | 826.00 | 3000.00 | 6000.00 | 2400.00 | 4800.00 | 7500.00 | 15000.00 | 3228.00 | 6456.00 | 375.00 | 750.00 | 750.00 | ABHISHEK INTEGRATIONS LIMITED
39.00 | v) Response Indicator | 5.00 | Each |  | 90.00 | 450.00 | 118.00 | 590.00 | 100.00 | 500.00 | 94.00 | 470.00 | 150.00 | 750.00 | 150.00 | 750.00 | 535.00 | 2675.00 | 450.00 | ANIRBAN ENTERPRISE
40.00 | vi) 12 V, 7.2 AH sealed maintenance free(SMF) Battery | 4.00 | Each |  | 890.00 | 3560.00 | 1239.00 | 4956.00 | 7000.00 | 28000.00 | 925.00 | 3700.00 | 1000.00 | 4000.00 | 1800.00 | 7200.00 | 803.00 | 3212.00 | 3212.00 | ABHISHEK INTEGRATIONS LIMITED
41.00 | b) For installed GLF Installtions i) 200W 6.6A Bi-Pin Halogen Lamp suitable for AMA Make Runway/PAPI/Approach Fittings | 50.00 | Each |  | 320.00 | 16000.00 | 1500.00 | 75000.00 | 390.50 | 19525.00 | 330.00 | 16500.00 | 400.00 | 20000.00 | 410.00 | 20500.00 | 394.00 | 19700.00 | 16000.00 | ANIRBAN ENTERPRISE
42.00 | ii) 105W 6.6A Bi-Pin Halogen Lamp suitable for OCEM Make Inset Fittings | 50.00 | Each |  | 842.00 | 42100.00 | 800.00 | 40000.00 | 1028.50 | 51425.00 | 850.00 | 42500.00 | 1100.00 | 55000.00 | 950.00 | 47500.00 | 861.00 | 43050.00 | 40000.00 | Sew Engineering Works Pvt Ltd
43.00 | iii) Bi-pin Lamp Holder suitable for 200W & 45W 6.6A halogen lamp of AMA make Runway/PAPI/Approach/Taxi Fittings | 50.00 | Each |  | 355.00 | 17750.00 | 700.00 | 35000.00 | 434.50 | 21725.00 | 350.00 | 17500.00 | 500.00 | 25000.00 | 425.00 | 21250.00 | 268.00 | 13400.00 | 13400.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | iv) Checking stick Base for AMA make PAPI | 4.00 | Each |  | 2250.00 | 9000.00 | 800.00 | 3200.00 | 2750.00 | 11000.00 | 2300.00 | 9200.00 | 3000.00 | 12000.00 | 2523.00 | 10092.00 | 1552.00 | 6208.00 | 3200.00 | Sew Engineering Works Pvt Ltd
45.00 | v) Red Filter for AMA make PAPI | 3.00 | Each |  | 3060.00 | 9180.00 | 1000.00 | 3000.00 | 3740.00 | 11220.00 | 3100.00 | 9300.00 | 4000.00 | 12000.00 | 4200.00 | 12600.00 | 2943.00 | 8829.00 | 3000.00 | Sew Engineering Works Pvt Ltd
46.00 | vi) Clear Lens for AMA make PAPI | 3.00 | Each |  | 2880.00 | 8640.00 | 2500.00 | 7500.00 | 3520.00 | 10560.00 | 2950.00 | 8850.00 | 3600.00 | 10800.00 | 4200.00 | 12600.00 | 2943.00 | 8829.00 | 7500.00 | Sew Engineering Works Pvt Ltd
47.00 | vii) PAPI leg upper breakable coupling for AMA make PAPI | 10.00 | Each |  | 1692.00 | 16920.00 | 1000.00 | 10000.00 | 2068.00 | 20680.00 | 1700.00 | 17000.00 | 2500.00 | 25000.00 | 2500.00 | 25000.00 | 1873.00 | 18730.00 | 10000.00 | Sew Engineering Works Pvt Ltd
48.00 | c) For CCR's of NASU make i) Main Control Card of CCR(4kw to 30 kw) | 1.00 | Each |  | 40000.00 | 40000.00 | 15000.00 | 15000.00 | 44000.00 | 44000.00 | 40500.00 | 40500.00 | 45000.00 | 45000.00 | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 15000.00 | Sew Engineering Works Pvt Ltd
49.00 | ii) Poewr Supply Card of CCR(4kw to 30 kw) | 1.00 | Each |  | 12500.00 | 12500.00 | 12000.00 | 12000.00 | 13750.00 | 13750.00 | 13000.00 | 13000.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 12500.00 | 12500.00 | 10000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
50.00 | iii) Over Current Trip Card of CCR(4kw to 30 kw) | 1.00 | Each |  | 8500.00 | 8500.00 | 10000.00 | 10000.00 | 9350.00 | 9350.00 | 8750.00 | 8750.00 | 10000.00 | 10000.00 | 5500.00 | 5500.00 | 8500.00 | 8500.00 | 5500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
51.00 | iv) Relay Card of CCR(4kw to 30 kw) | 1.00 | Each |  | 7000.00 | 7000.00 | 8000.00 | 8000.00 | 7700.00 | 7700.00 | 7200.00 | 7200.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 5000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
52.00 | v) TTM Card of CCR(4kw to 30 kw) | 2.00 | Each |  | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 3300.00 | 6600.00 | 3200.00 | 6400.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | ANIRBAN ENTERPRISE, ABHISHEK INTEGRATIONS LIMITED
53.00 | vi) 24 V DC Plug in type relay of CCR(4kw to 30 kw) | 2.00 | Each |  | 870.00 | 1740.00 | 500.00 | 1000.00 | 957.00 | 1914.00 | 900.00 | 1800.00 | 1000.00 | 2000.00 | 300.00 | 600.00 | 870.00 | 1740.00 | 600.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
54.00 | vii) 48 V DC Plug in type relay of CCR(4kw to 30 kw) | 2.00 | Each |  | 1000.00 | 2000.00 | 500.00 | 1000.00 | 1100.00 | 2200.00 | 1200.00 | 2400.00 | 1200.00 | 2400.00 | 350.00 | 700.00 | 1000.00 | 2000.00 | 700.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
55.00 | viii) 240 V AC Plug in type relay of CCR(4kw to 30 kw) | 2.00 | Each |  | 1100.00 | 2200.00 | 450.00 | 900.00 | 1210.00 | 2420.00 | 1150.00 | 2300.00 | 1500.00 | 3000.00 | 300.00 | 600.00 | 1100.00 | 2200.00 | 600.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
56.00 | ix) TI 300 Trip indication Fuse of CCR (4kw to 30 kw) | 2.00 | Each |  | 1250.00 | 2500.00 | 300.00 | 600.00 | 1375.00 | 2750.00 | 1350.00 | 2700.00 | 1500.00 | 3000.00 | 350.00 | 700.00 | 1250.00 | 2500.00 | 600.00 | Sew Engineering Works Pvt Ltd
57.00 | x) High Speed Semi - Conductor Protection fuse(GS 1000/200) of CCR(30 kw) | 2.00 | Each |  | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 2200.00 | 4400.00 | 2200.00 | 4400.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 3000.00 | Sew Engineering Works Pvt Ltd, MANNA ELECTRONICS AND ELECTRICAL WORKS
58.00 | xi) High Speed Semi - Conductor Protection fuse(GS 1000/100) of CCR(7.5 kw) | 2.00 | Each |  | 1600.00 | 3200.00 | 1500.00 | 3000.00 | 1760.00 | 3520.00 | 1700.00 | 3400.00 | 1800.00 | 3600.00 | 1200.00 | 2400.00 | 1600.00 | 3200.00 | 2400.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
59.00 | xii) High Speed Semi - Conductor Protection fuse(GBS 50) of CCR(4 kw) | 2.00 | Each |  | 1350.00 | 2700.00 | 1500.00 | 3000.00 | 1485.00 | 2970.00 | 1400.00 | 2800.00 | 1500.00 | 3000.00 | 450.00 | 900.00 | 1350.00 | 2700.00 | 900.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
60.00 | xiii) Thyristors (250 RK) of CCR(30 kw) | 2.00 | Each |  | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 16500.00 | 33000.00 | 15500.00 | 31000.00 | 17500.00 | 35000.00 | 9650.00 | 19300.00 | 15000.00 | 30000.00 | 10000.00 | Sew Engineering Works Pvt Ltd
61.00 | xiv) Thyristors(85 RK) of CCR(7.5 kw) | 2.00 | Each |  | 11000.00 | 22000.00 | 5000.00 | 10000.00 | 12100.00 | 24200.00 | 11500.00 | 23000.00 | 12500.00 | 25000.00 | 9250.00 | 18500.00 | 11000.00 | 22000.00 | 10000.00 | Sew Engineering Works Pvt Ltd
62.00 | xv) Thyristors(65 RK) of CCR(4 kw) | 2.00 | Each |  | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 8800.00 | 17600.00 | 8300.00 | 16600.00 | 9000.00 | 18000.00 | 3600.00 | 7200.00 | 8000.00 | 16000.00 | 7200.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
63.00 | xvi) 160 Amps HRC Fuse Link of CCR (30 kw) | 2.00 | Each |  | 1600.00 | 3200.00 | 800.00 | 1600.00 | 1760.00 | 3520.00 | 1750.00 | 3500.00 | 2000.00 | 4000.00 | 725.00 | 1450.00 | 1600.00 | 3200.00 | 1450.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
64.00 | xvii) 63 Amps HRC Fuse Link of CCR (7.5 kw) | 2.00 | Each |  | 1200.00 | 2400.00 | 750.00 | 1500.00 | 1320.00 | 2640.00 | 1250.00 | 2500.00 | 1300.00 | 2600.00 | 560.00 | 1120.00 | 1200.00 | 2400.00 | 1120.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
65.00 | xviii) 20 Amps HRC Fuse Link of CCR (4 kw) | 2.00 | Each |  | 1000.00 | 2000.00 | 650.00 | 1300.00 | 1100.00 | 2200.00 | 1500.00 | 3000.00 | 1100.00 | 2200.00 | 550.00 | 1100.00 | 1000.00 | 2000.00 | 1100.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
66.00 | xix) 30 Amp/1 Amp RMS Meters suitable for NASU make CCR (30 kw) | 2.00 | Each |  | 4000.00 | 8000.00 | 650.00 | 1300.00 | 4400.00 | 8800.00 | 4250.00 | 8500.00 | 4600.00 | 9200.00 | 2200.00 | 4400.00 | 4000.00 | 8000.00 | 1300.00 | Sew Engineering Works Pvt Ltd
67.00 | xx) 10 Amp/1 Amp RMS Meters suitable for NASU make CCR (7.5 kw) | 3.00 | Each |  | 4000.00 | 12000.00 | 750.00 | 2250.00 | 4400.00 | 13200.00 | 4250.00 | 12750.00 | 4600.00 | 13800.00 | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 2250.00 | Sew Engineering Works Pvt Ltd
68.00 | xxi) 2 Pole 8 way Brilliancy switch (Rotary wafer, MBB type suitable for NASU make CCR | 2.00 | Each |  | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 1980.00 | 3960.00 | 1950.00 | 3900.00 | 2000.00 | 4000.00 | 1521.00 | 3042.00 | 1800.00 | 3600.00 | 3042.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
69.00 | d) General Spares for Electrical installations i) 250 Watt SON Lamp(threaded elliptical) | 20.00 | Each |  | 310.00 | 6200.00 | 389.00 | 7780.00 | 500.00 | 10000.00 | 320.00 | 6400.00 | 350.00 | 7000.00 | 350.00 | 7000.00 | 642.00 | 12840.00 | 6200.00 | ANIRBAN ENTERPRISE
70.00 | ii) 250 Watt Ballast | 5.00 | Each |  | 1700.00 | 8500.00 | 980.00 | 4900.00 | 1250.00 | 6250.00 | 1750.00 | 8750.00 | 1500.00 | 7500.00 | 1850.00 | 9250.00 | 1231.00 | 6155.00 | 4900.00 | Sew Engineering Works Pvt Ltd
71.00 | iii) Ignitor ( for 250 watt ballast) | 10.00 | Each |  | 270.00 | 2700.00 | 330.00 | 3300.00 | 800.00 | 8000.00 | 280.00 | 2800.00 | 250.00 | 2500.00 | 379.00 | 3790.00 | 107.00 | 1070.00 | 1070.00 | ABHISHEK INTEGRATIONS LIMITED
72.00 | iv) Electronic Ballast for 1xTL5 28 watt tube light fittings of Philips make (EBFS 128 or equivalent) | 10.00 | Each |  | 355.00 | 3550.00 | 1700.00 | 17000.00 | 150.00 | 1500.00 | 360.00 | 3600.00 | 350.00 | 3500.00 | 360.00 | 3600.00 | 294.00 | 2940.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
73.00 | v) Electronic Ballast for 2xTL5 28 watt tube light fittings of Philips make (EB 228 or equivalent) | 10.00 | Each |  | 576.00 | 5760.00 | 2971.00 | 29710.00 | 180.00 | 1800.00 | 580.00 | 5800.00 | 500.00 | 5000.00 | 490.00 | 4900.00 | 375.00 | 3750.00 | 1800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
74.00 | vi) TL5 28 watt Tube light | 50.00 | Each |  | 95.00 | 4750.00 | 290.00 | 14500.00 | 210.00 | 10500.00 | 98.00 | 4900.00 | 125.00 | 6250.00 | 115.00 | 5750.00 | 75.00 | 3750.00 | 3750.00 | ABHISHEK INTEGRATIONS LIMITED
75.00 | vii) 36 watt Tube light | 20.00 | Each |  | 38.00 | 760.00 | 110.00 | 2200.00 | 40.00 | 800.00 | 40.00 | 800.00 | 50.00 | 1000.00 | 38.00 | 760.00 | 37.00 | 740.00 | 740.00 | ABHISHEK INTEGRATIONS LIMITED
76.00 | viii) 18 watt 4 Pin CFL light(PLL type) | 30.00 | Each |  | 93.00 | 2790.00 | 210.00 | 6300.00 | 149.00 | 4470.00 | 98.00 | 2940.00 | 125.00 | 3750.00 | 110.00 | 3300.00 | 321.00 | 9630.00 | 2790.00 | ANIRBAN ENTERPRISE
77.00 | ix) 36 watt 4 Pin CFL light(PLL type) | 10.00 | Each |  | 95.00 | 950.00 | 270.00 | 2700.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 125.00 | 1250.00 | 110.00 | 1100.00 | 107.00 | 1070.00 | 950.00 | ANIRBAN ENTERPRISE
78.00 | x) 11 watt 2 Pin CFL light(PLL type) | 30.00 | Each |  | 90.00 | 2700.00 | 210.00 | 6300.00 | 115.00 | 3450.00 | 92.00 | 2760.00 | 50.00 | 1500.00 | 120.00 | 3600.00 | 161.00 | 4830.00 | 1500.00 | SHREE GOURI ELECTRIC ENTERPRISE
79.00 | xi) Ballast for 2x36 watt 4 Pin CFL light fitting philips make (PLL type), EBT 236 TLD or equivalent | 5.00 | Each |  | 726.00 | 3630.00 | 350.00 | 1750.00 | 490.00 | 2450.00 | 740.00 | 3700.00 | 580.00 | 2900.00 | 620.00 | 3100.00 | 375.00 | 1875.00 | 1750.00 | Sew Engineering Works Pvt Ltd
80.00 | xii) Ballast for 1x11 watt 2 Pin CFL light fitting philips make (PLL type), C8 913x/11 or equivalent | 10.00 | Each |  | 190.00 | 1900.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 198.00 | 1980.00 | 400.00 | 4000.00 | 150.00 | 1500.00 | 300.00 | 3000.00 | 1500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
81.00 | xiii) LED indication lamp(R,Y,B) suitable for panels. | 10.00 | Set |  | 58.00 | 580.00 | 360.00 | 3600.00 | 175.00 | 1750.00 | 65.00 | 650.00 | 300.00 | 3000.00 | 201.00 | 2010.00 | 139.00 | 1390.00 | 580.00 | ANIRBAN ENTERPRISE
82.00 | xiv) Single phase digital Voltmeter, accuracy class 0.5 suitable for panels. | 2.00 | Each |  | 800.00 | 1600.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 850.00 | 1700.00 | 700.00 | 1400.00 | 670.00 | 1340.00 | 696.00 | 1392.00 | 1340.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
83.00 | xv) Single phase digital Ammeter, accuracy class 0.5 suitable for panels. | 2.00 | Each |  | 800.00 | 1600.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 850.00 | 1700.00 | 700.00 | 1400.00 | 670.00 | 1340.00 | 696.00 | 1392.00 | 1340.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
84.00 | xvi) Single/Three phase Multi function Meter, accuracy class 1 suitable for panels. | 1.00 | Each |  | 1500.00 | 1500.00 | 1800.00 | 1800.00 | 4801.00 | 4801.00 | 1550.00 | 1550.00 | 5750.00 | 5750.00 | 2802.20 | 2802.20 | 4066.00 | 4066.00 | 1500.00 | ANIRBAN ENTERPRISE
85.00 | xvii) 3 pole power contactor, 25 Amp having 2NO+2NC auxiliary contacts with coil voltage 110/240/440 V, 50 Hz. | 2.00 | Each |  | 2000.00 | 4000.00 | 3708.00 | 7416.00 | 4500.00 | 9000.00 | 2200.00 | 4400.00 | 1450.00 | 2900.00 | 1900.00 | 3800.00 | 1980.00 | 3960.00 | 2900.00 | SHREE GOURI ELECTRIC ENTERPRISE
86.00 | xviii) Analogue Time switch(24Hrs) with daily programmable(min. 15 minutes) & base mounting type suitable for single phase power supply. | 2.00 | Each |  | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 1600.00 | 3200.00 | 1750.00 | 3500.00 | 1500.00 | 3000.00 | 1605.00 | 3210.00 | 3000.00 | ANIRBAN ENTERPRISE, Sew Engineering Works Pvt Ltd, MANNA ELECTRONICS AND ELECTRICAL WORKS
87.00 | xix) 2.5 µF capacitor suitable for ceiling fan. | 30.00 | Each |  | 150.00 | 4500.00 | 30.00 | 900.00 | 150.00 | 4500.00 | 180.00 | 5400.00 | 50.00 | 1500.00 | 22.00 | 660.00 | 18.00 | 540.00 | 540.00 | ABHISHEK INTEGRATIONS LIMITED
88.00 | xx) 3.15 µF capacitor suitable for exhaust fan. | 10.00 | Each |  | 150.00 | 1500.00 | 45.00 | 450.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 25.00 | 250.00 | 27.00 | 270.00 | 250.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
89.00 | xxi) 1.1 KV grade Single core 1.5 Sq mm copper conductor(unsheathed)FRLS, PVC insulated flexible cable confirming to IS 694 with up to date amendments. | 180.00 | Mtr |  | 14.45 | 2601.00 | 19.00 | 3420.00 | 20.00 | 3600.00 | 20.00 | 3600.00 | 50.00 | 9000.00 | 16.66 | 2998.80 | 17.00 | 3060.00 | 2601.00 | ANIRBAN ENTERPRISE
90.00 | xxii) 1.1 KV grade Single core 2.5 Sq mm copper conductor(unsheathed)FRLS, PVC insulated flexible cable confirming to IS 694 with up to date amendments. | 90.00 | Mtr |  | 23.87 | 2148.30 | 31.00 | 2790.00 | 30.00 | 2700.00 | 25.00 | 2250.00 | 80.00 | 7200.00 | 20.00 | 1800.00 | 27.00 | 2430.00 | 1800.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
91.00 | xxiii) 1.1 KV grade Single core 4 Sq mm copper conductor(unsheathed)FRLS, PVC insulated flexible cable confirming to IS 694 with up to date amendments. | 90.00 | Mtr |  | 37.20 | 3348.00 | 46.00 | 4140.00 | 40.00 | 3600.00 | 45.00 | 4050.00 | 100.00 | 9000.00 | 34.80 | 3132.00 | 39.00 | 3510.00 | 3132.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
92.00 | xxiv) 1.1 KV grade 5 core 4 Sq mm copper conductor(flexible) FR, PVC insulated round sheathed industrial cable confirming to IS 694 with up to date amendments. | 200.00 | Mtr |  | 228.00 | 45600.00 | 319.00 | 63800.00 | 441.00 | 88200.00 | 250.00 | 50000.00 | 225.00 | 45000.00 | 195.00 | 39000.00 | 223.00 | 44600.00 | 39000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
93.00 | EXECUTION OF WORKS AS PER CPWD SCHEDULE OF WORK(E&M) AND SPECIFICATIONS AS AND WHEN REQUIRED. Complete items of CPWD schedule of rates (electrical) internal & External- 2018 of an Amount Rs 2,00,000/-. Note:- For quoting of rate of this item, follow the guidelines as mentioned in tender page no.-SCC 13 of 23, para-14. | 1.00 | Job |  | 200000.00 | 200000.00 | 180000.00 | 180000.00 | 160000.00 | 160000.00 | 220000.00 | 220000.00 | 300000.00 | 300000.00 | 160000.00 | 160000.00 | 170000.00 | 170000.00 | 160000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, MANNA ELECTRONICS AND ELECTRICAL WORKS
| Total in Figures |  |  |  |  | 5563187.30 |  | 6539994.00 |  | 5749999.99 |  | 5791450.00 |  | 7402650.00 |  | 5822913.00 |  | 5618739.00
Lowest Amount Quoted BY: ANIRBAN ENTERPRISE(5563187.30)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of all Type of E and M Installations at Cooch Behar Airport for Two Years (2021-2023) Tender ID: 2021_AAI_94921_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANIRBAN ENTERPRISE | 5563187.30 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 5618739.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 5749999.99 | L3
| 4 | Youngmen Traders | 5791450.00 | L4
| 5 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 5822913.00 | L5
| 6 | Sew Engineering Works Pvt Ltd | 6539994.00 | L6
| 7 | SHREE GOURI ELECTRIC ENTERPRISE | 7402650.00 | L7