## BoQ1
Government eProcurement System Created By: Yogendra kumar Chaurasia Created Date/Time: 27-Dec-2021 04:02 PM Tender Title: Construction of Turn Pad and fillets for Link Taxi track for B777-300ER type aircraft at Khajuraho Airport. Tender ID: 2021_AAI_94939_1
Tender Inviting Authority: AGM (Engg-Civil), Airports Authority of India, CA, Khajuraho.
Name of work : Construction of Turn Pad and fillets for Link Taxi track for B777-300ER type aircraft at Khajuraho Airport.
Contract No: 2021_AAI_ 94939_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NSC Projects Pvt. Ltd.(GSTN-07AADCN4958N1ZU) |  | S G CONSTRUCTIONS(GSTN-07ABMPS3920J1ZB)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 150.00 | Cum |  | 400.00 | 60000.00 | 900.00 | 135000.00 | 60000.00 | NSC Projects Pvt. Ltd.
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 50.00 | Cum |  | 350.00 | 17500.00 | 720.00 | 36000.00 | 17500.00 | NSC Projects Pvt. Ltd.
3.00 | Dismantling manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : Bituminous road | 3555.00 | Sqm |  | 50.00 | 177750.00 | 90.00 | 319950.00 | 177750.00 | NSC Projects Pvt. Ltd.
4.00 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge In cement mortar | 25.00 | Cum |  | 300.00 | 7500.00 | 630.00 | 15750.00 | 7500.00 | NSC Projects Pvt. Ltd.
5.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge (Within Airport premises), beyond 50 m initial lead, for all leads including all lifts involved. | 583.00 | Cum |  | 100.00 | 58300.00 | 180.00 | 104940.00 | 58300.00 | NSC Projects Pvt. Ltd.
6.00 | Excavation in soil with hydraulic excavator of 0.9 cum bucket capacity including cutting and loading in tippers, trimming bottom and side slopes, in accordance with requirements of lines, grades and cross sections, and transporting to the embankment location(Airport operational premises) with all lifts and lead. | 12468.00 | Cum |  | 90.00 | 1122120.00 | 126.00 | 1570968.00 | 1122120.00 | NSC Projects Pvt. Ltd.
7.00 | Excavation in hard rock (blasting prohibited) with rock breakers including breaking rock, loading in tippers and transporting to the embankment location(Airport operational premises) with all lifts and lead. trimming bottom and side slopes, in accordance with requirements of lines, grades and cross sections. | 200.00 | Cum |  | 500.00 | 100000.00 | 630.00 | 126000.00 | 100000.00 | NSC Projects Pvt. Ltd.
8.00 | Credit for excavated rock obtained from BOQ item no. 4 and 7 | 223.00 | Cum |  | 1.00 | -223.00 | 54.00 | -12042.00 | -12042.00 | S G CONSTRUCTIONS
9.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30 | 4995.00 | Cum |  | 1350.00 | 6743250.00 | 1107.00 | 5529465.00 | 5529465.00 | S G CONSTRUCTIONS
10.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC inmechanical mix plant, carriage of mixed material by tipper to site,for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 3330.00 | Cum |  | 1450.00 | 4828500.00 | 1305.00 | 4345650.00 | 4345650.00 | S G CONSTRUCTIONS
11.00 | Providing and applying tack coat using hot straight run bitumen of Viscosity grade VG 30(60/70) or VG 10(80/100) including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing road surface as per specifications. For tendering purpose Viscosity grade bitumen content shall be taken as 0.75Kg/sqm on WMM surface. | 18675.00 | Sqm |  | 50.00 | 933750.00 | 45.00 | 840375.00 | 840375.00 | S G CONSTRUCTIONS
12.00 | Providing and applying tack coat using hot straight run bitumen of Viscosity grade VG 30(60/70) or VG 10(80/100) including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing road surface as per specifications. For tendering purpose Viscosity grade bitumen content shall be taken as 0.5Kg/sqm on existing black topped surface. | 42725.00 | Sqm |  | 34.00 | 1452650.00 | 36.00 | 1538100.00 | 1452650.00 | NSC Projects Pvt. Ltd.
13.00 | Providing and laying of Hot Mix Dense Bituminous Macadam(DBM) using crushed stone aggregate of quality, size and grading as specified and cement filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [for tendering purpose VG bitumen of grade VG-30 shall be taken as 110 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 1991.00 | Cum |  | 9900.00 | 19710900.00 | 9000.00 | 17919000.00 | 17919000.00 | S G CONSTRUCTIONS
14.00 | Providing and laying of Hot Mix Semi Dense Asphaltic Concrete(SDAC) using crushed stone aggregate of quality, size and grading as specified and cement as specified and Viscosity Grade Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [for tendering purpose VG bitumen of grade VG-30 content shall be taken as 120 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 1020.00 | Cum |  | 10500.00 | 10710000.00 | 9693.00 | 9886860.00 | 9886860.00 | S G CONSTRUCTIONS
15.00 | Providing and laying of Hot Mix Dense Asphaltic Concrete(DAC) using crushed stone aggregate of quality, size and grading as specified and cement filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk) in propositions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [For tendering purpose VG bi tumen of grade VG-30 content shall be taken as 135 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 1112.00 | Cum |  | 11395.00 | 12671240.00 | 10170.00 | 11309040.00 | 11309040.00 | S G CONSTRUCTIONS
16.00 | White washing with lime to give an even shade : New work (three or more coats) | 2035.00 | Sqm |  | 25.00 | 50875.00 | 27.00 | 54945.00 | 50875.00 | NSC Projects Pvt. Ltd.
17.00 | Painting runway/taxi track/apron marking with adequate no. of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge i/c cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete. a) New work (Two or more coats) | 2035.00 | Sqm |  | 160.00 | 325600.00 | 126.00 | 256410.00 | 256410.00 | S G CONSTRUCTIONS
18.00 | Providing, Laying, Fixing of self adhesive glass fibre reinforcement grid of high modulus fibre glass of mesh size not exceeding 12.5 mm X 12.5mm. The self adhesive glass fibre reinforcement after laying over the pavement shall be pressed down fully with the rubber tyre roller and glazed to pavement surface. The grid being self adhesive does not require tack coat. The longitudinal overlap should not be less than 250 mm and transverse overlap i.e. at the end of roll should not be less tha 150 mm. The item should be completed in all respect as per technical specification and to be satisfaction of EIC. | 2731.00 | Sqm |  | 180.00 | 491580.00 | 180.00 | 491580.00 | 491580.00 | NSC Projects Pvt. Ltd., S G CONSTRUCTIONS
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: a) Foundations, footings, bases of columns, etc. for mass concrete. | 18.00 | Sqm |  | 250.00 | 4500.00 | 405.00 | 7290.00 | 4500.00 | NSC Projects Pvt. Ltd.
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: a) walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 35.00 | Sqm |  | 300.00 | 10500.00 | 405.00 | 14175.00 | 10500.00 | NSC Projects Pvt. Ltd.
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Suspended floors, roofs, landings, balconies and access platform | 122.00 | Sqm |  | 300.00 | 36600.00 | 405.00 | 49410.00 | 36600.00 | NSC Projects Pvt. Ltd.
22.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 6.00 | Cum |  | 3500.00 | 21000.00 | 3060.00 | 18360.00 | 18360.00 | S G CONSTRUCTIONS
23.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. “(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). All works upto plinth level | 44.00 | Cum |  | 4500.00 | 198000.00 | 4050.00 | 178200.00 | 178200.00 | S G CONSTRUCTIONS
24.00 | Extra for providing richer mixes at all floor levels. Providing M-35 grade concrete instead of M-25 grade BMC/ RMC. (Note : Cement content considered in M-35 is @ 350 kg/ cum) All works upto plinth level | 44.00 | Cum |  | 120.00 | 5280.00 | 117.00 | 5148.00 | 5148.00 | S G CONSTRUCTIONS
25.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. A) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6335.00 | Kg |  | 80.00 | 506800.00 | 81.00 | 513135.00 | 506800.00 | NSC Projects Pvt. Ltd.
26.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 17.00 | Cum |  | 1200.00 | 20400.00 | 990.00 | 16830.00 | 16830.00 | S G CONSTRUCTIONS
27.00 | Supply of C.I isolating transformer housing box, water tight round type, metal container of outside size 330mm, height 450mm made of 10mm thick cast iron moulding all round, except the top surface, which is 15mm thick, cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer power cable and having a clear hole at one side from 75 mm above the bottom surface suitable to receive one No. of 50 mm dia "B" class GI pipe and check nuts as required. The box should have two SS earth bolts of M10 x 30mm tapped inside near the hole (4" away from the hole center) and having a drain hole at the bottom suitably tapped to receive 15mm dia, "B" class GI pipe and having clear opening of 220 mm at the top surface and 6 Nos. M10 tapped hole at the hole center 260 mm to receive fitting base plate and bolts. | 62.00 | Each |  | 7000.00 | 434000.00 | 5400.00 | 334800.00 | 334800.00 | S G CONSTRUCTIONS
28.00 | Supply of elevated type Omni‐directional, medium intensity LED Taxiway / Turn pad Edge Light fitting suitable for Taxiway, Apron Edge Lights, Turning Pad Lights for operation at 6.6 Amps, series circuit supply, complete with Omnidirectional Blue lens, Lens clamping mechanism, breakable coupling, gasket, two pin secondary leads, base plate with 06 Nos , M ‐ 10 stainless steel bolts and other accessories including White LED with an integrated encapsulated electronic module suitable for replacement of existing 45 watt halogen MIRL fixtures, complete as required conforming to latest ICAO Annex‐14 requirement,FAA compliant and as specified in Aerodrome Design Manual, Part 4 (Visual Aids) latest edition. | 52.00 | Each |  | 8125.00 | 422500.00 | 7020.00 | 365040.00 | 365040.00 | S G CONSTRUCTIONS
29.00 | Supply of 105 watt, 20/6.6 A Inset type high intensity runway Edge light fitting suitable for halogen type lamp, complet with lens , support mechanism, lens claiminng mechanism, gasket, two pin secondry lead, suitable based for bottom entry, halogen lamp and required accessories and conforming to ICOA requirement of following as required.
29.10 | Clear/Yellow | 5.00 | Each |  | 68000.00 | 340000.00 | 58500.00 | 292500.00 | 292500.00 | S G CONSTRUCTIONS
29.20 | Red/Yellow | 8.00 | Each |  | 68000.00 | 544000.00 | 58500.00 | 468000.00 | 468000.00 | S G CONSTRUCTIONS
30.00 | Supply of CI collar round type of outside dia 330 mm of following height made of 10 mm thick cast iron moulding all round except on top surface which is 15 mm thick cast iron moulding suitable to receive a light fitting base plate on the top and existing CI transformer housing box at the bottom. The CI coller shall have a clear opening of 220 mm at the top and bottom surface and 6 nos M-10 tapped holes at the centre of 260 mm at top and bottom to fix the collar on the existing CI box including providing 6 nos. M-10 bolts (SS) and a base plate gasket for each collar etc. as required. a) 50 mm
30.10 | 25 mm | 20.00 | Each |  | 2500.00 | 50000.00 | 2304.00 | 46080.00 | 46080.00 | S G CONSTRUCTIONS
30.20 | 50 mm | 40.00 | Each |  | 3500.00 | 140000.00 | 2790.00 | 111600.00 | 111600.00 | S G CONSTRUCTIONS
30.30 | 75 mm | 10.00 | Each |  | 4000.00 | 40000.00 | 3006.00 | 30060.00 | 30060.00 | S G CONSTRUCTIONS
31.00 | Supply of 16 Sqmm plug & receptacleof type I, class B connector & suitable field attachment with 5 KV grade XLPE insulated PE sheathed single core screened copper conductor cable as required. | 10.00 | Each |  | 950.00 | 9500.00 | 522.00 | 5220.00 | 5220.00 | S G CONSTRUCTIONS
32.00 | Supply of 6 Sqmm plug & receptacleof type I, class B connector & suitable field attachment with 5 KV grade XLPE insulated PE sheathed single core screened copper conductor cable as required. | 62.00 | Each |  | 950.00 | 58900.00 | 522.00 | 32364.00 | 32364.00 | S G CONSTRUCTIONS
33.00 | Supply of airfield copper conductor cable, PVC insulated, PVC sheathed unshielded, anti-termite and anti- rodent treated UG cable of 5 KV grade conforming to IS 1554 (Part II) as amended upto date and as specified in AAI particular specification of size:
33.10 | 1 x 6 sq mm | 1800.00 | Mtrs |  | 155.00 | 279000.00 | 108.00 | 194400.00 | 194400.00 | S G CONSTRUCTIONS
34.00 | Supply of 5 KV 50 Hz, FAA certified PCP encapsulated isolating transformer suitable for individual series lamps airport lighting circuits. The transformer shall be designed to be waterproof and suitable for direct burial in the earth or installation in a base complete as per specifications attached.
34.10 | 15 watts, 6.6A/6.6A, 5KV, 50Hz | 60.00 | Each |  | 6500.00 | 390000.00 | 2655.00 | 159300.00 | 159300.00 | S G CONSTRUCTIONS
35.00 | Supply and fixing of MS base plates of 330 mm dia and 6 nos M-10 SS allen bolts as per drawing for covering the CI transformer housing box including providing gaskets, and SS allen bolts etc. complete as required | 25.00 | Each |  | 1200.00 | 30000.00 | 1035.00 | 25875.00 | 25875.00 | S G CONSTRUCTIONS
36.00 | Installation of C.I collar (size varies from 25 mm height to 75 mm height) on the existing tranformer housing box with M-10 bolts and base plate gasket, washer etc. with cement concrete mixture of 1:2:4 & thickness 150mm all round, including merging the collar with runway surface with slope from top to bottom with bituminous in cordination with civil. It also includes removal of runway edge light fitting from the transformer housing box and re-installation of runway edge light fitting on the collar. Fixing suitable Blank plate so as to avoide falling mixer material into CI box (Note: sufficent blank plate should be provided by the contractor untill work completes )as per EIC direction etc.complete as required. | 70.00 | Each |  | 900.00 | 63000.00 | 1152.00 | 80640.00 | 63000.00 | NSC Projects Pvt. Ltd.
37.00 | Dismantalling the existing Runway Inset fitting (12") with shallow box from bitumen/concerete area in safe condition i/c disconnecting the secondary lead &same should be re Install, testing and commissioning with core cutting machine in the bitumen/pavement area of runway / RESA, aligning and setting including providing sealing material and installation of isolating transformers, crimping/joining of plug & receptacles and moulding the leads, connections of secondary leads alongwith other accessories required for commissioning etc as required. | 5.00 | Each |  | 12000.00 | 60000.00 | 9225.00 | 46125.00 | 46125.00 | S G CONSTRUCTIONS
38.00 | ITC of inset type high intencity runway edge light fitting suitable for halogen type lamp, complete with lens, support mechanism, lens claiming mechanism, gasket, 2 pin secondry lead, suitable based for bottom holl entry, 200 w halogen lamp and required accessories and confirming to ICAO requirement as required | 18.00 | No. |  | 10000.00 | 180000.00 | 5760.00 | 103680.00 | 103680.00 | S G CONSTRUCTIONS
39.00 | Dismantling of existing elevated type taxiway/Runway light fittings completely alongwith isolating transformers after disconnecting the existing cable termination etc. all complete as required and stacking in electrical store in good condition within airport premises. | 55.00 | Job |  | 550.00 | 30250.00 | 90.00 | 4950.00 | 4950.00 | S G CONSTRUCTIONS
40.00 | Dismantling of existing transformer housing boxes etc. all complete as required and stacking in electrical store in good condition within airport premises. | 55.00 | Job |  | 2000.00 | 110000.00 | 585.00 | 32175.00 | 32175.00 | S G CONSTRUCTIONS
41.00 | Installation of transformer housing boxes with a base concrete of 1:3:6 of size 630 x 630 x 100 mm. thick all round concrete of 1:2:4, 150mm thick, the top sloped with 1:2:4 cement concrete including providing and fixing 10" long 15 mm. dia "B" class GI pipe with check nuts for drainage of water including excavation of side shoulder and refilling (wherever the transformer boxes are in a line the same has to be aligned in such a way that the centre fall in a straight line) etc, complete as required. (The box shall project above the shoulder to a maximum of 5 cm.) | 62.00 | Job |  | 3000.00 | 186000.00 | 1728.00 | 107136.00 | 107136.00 | S G CONSTRUCTIONS
42.00 | Providing and laying of 40 mm dia "B" class GI pipe in the bituminus/concrete surface of runway during re-carpeting including alignment of pipe with transformer housing box, providing checknuts etc. as & when required. | 450.00 | Mtrs |  | 500.00 | 225000.00 | 909.00 | 409050.00 | 225000.00 | NSC Projects Pvt. Ltd.
43.00 | Laying of sizes one no. PVC insulated, PVC sheathed /XLPE power cable of 5 KV grade, size upto 35 sq.mm, direct in ground including excavation sand cushioning,protective covering and refilling the trench etc, as required. | 910.00 | Mtrs |  | 280.00 | 254800.00 | 630.00 | 573300.00 | 254800.00 | NSC Projects Pvt. Ltd.
44.00 | Laying of one additional number PVC insulated, PVC sheathed /XLPE power cable of 5 KV grade of size upto 35 sqmm direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc. as required. | 400.00 | Mtrs |  | 210.00 | 84000.00 | 468.00 | 187200.00 | 84000.00 | NSC Projects Pvt. Ltd.
45.00 | Laying of one number PVC insulated and PVC sheathed I XLPE power cable of 11 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 120sq.mm. | 450.00 | Mtrs |  | 30.00 | 13500.00 | 225.00 | 101250.00 | 13500.00 | NSC Projects Pvt. Ltd.
46.00 | Earthing witht G.I earth pipe 4.5mtrs long , 40mm dia i/c accessories and providing masonary encloures with cover plate having locking arrangement, watering pipes etc., (including chacoal or coke and salt) complete as reqd. | 8.00 | Each |  | 7000.00 | 56000.00 | 9225.00 | 73800.00 | 56000.00 | NSC Projects Pvt. Ltd.
47.00 | Providing and fixng 6 SWG GI wire along with cable for loop earthing as required. | 1800.00 | Mtrs |  | 30.00 | 54000.00 | 27.00 | 48600.00 | 48600.00 | S G CONSTRUCTIONS
48.00 | Providing and fixing of Earth connection from earth electrode with 6 SWG GI wire in 15 mm dia G.I pipe (Class-B ) etc., as required. | 100.00 | Mtrs |  | 240.00 | 24000.00 | 171.00 | 17100.00 | 17100.00 | S G CONSTRUCTIONS
49.00 | ITC of elevated type Omni‐directional, medium intensity LED Taxiway / Turn pad Edge Light fitting suitable for LED /Halogen type lamp on transformer housing box complete as required | 62.00 | Job |  | 500.00 | 31000.00 | 117.00 | 7254.00 | 7254.00 | S G CONSTRUCTIONS
50.00 | Making field connections by crimping 6/16 Sq.mm plug and receptacle with the existing 6/16 sq.mm. single core PVC copper conductor PVC insulated, PVC sheathed cable including filling the gap with water sealent material, applying HT insulation tape, over which PVC tape etc., as required | 62.00 | Each |  | 280.00 | 17360.00 | 225.00 | 13950.00 | 13950.00 | S G CONSTRUCTIONS
51.00 | Numbering of ground light fittings (Runway Edge, Taxi way Edge etc.) as required. | 62.00 | Each |  | 80.00 | 4960.00 | 27.00 | 1674.00 | 1674.00 | S G CONSTRUCTIONS
| Total in Figures |  |  |  |  | 64396142.00 |  | 59143662.00
Lowest Amount Quoted BY: S G CONSTRUCTIONS(59143662.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Turn Pad and fillets for Link Taxi track for B777-300ER type aircraft at Khajuraho Airport. Tender ID: 2021_AAI_94939_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S G CONSTRUCTIONS | 59143662.00 | L1
| 2 | NSC Projects Pvt. Ltd. | 64396142.00 | L2