## BoQ1
Government eProcurement System Created By: RAGHU RAMA REDDY DODDA Created Date/Time: 10-Dec-2021 03:03 PM Tender Title: Replacement of Fountain Type Water Coolers at different locations of Domestic T1 Terminal and International T4 Terminal of Chennai Airport Tender ID: 2021_AAI_95503_1
Tender Inviting Authority: Jt. General Manager (Engg-Elect)-III, Electrical Maintenance Division-II, Airports Authority of India, Chennai Airport.
Name of Work: Replacement of Fountain type water coolers at different locations of Domestic (T1) Terminal & International (T4) Terminal of Chennai Airport.
Contract No: 2021_AAI_95503
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Oasis WFS (P) Ltd.(GSTN-07AABCO6540R1ZX) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supply installation, testing and commissioning of recessed bi level drinking water fountain coolers, with double ss finish bubbler and one bottel filling station Drinking water fountain with 60 LPH cooling capacity, stainless steel body-304, Suitable size Recipients, SS bubbler guard operated between 50 to 120 PSI, chilling unit suitable for R134a refigerant, adjustable thermostat,with UV and sediment filtration , with Touchless, sensor-activation with non flamable foam used in the chiller, designed for easy use With MDCU29, With normal and cold Option , supply complete with all accessories suitable to operate on single phase 230 V + 10%, AC 50HZ, Power Supply. The unit shall comply with GRIHA Certified(Green Rating for Integrated Habitat Assessment), TUV-SUD Certified, ANSI/NSF 61 and NSF/ANSI 372,UL Certified(Oasis make Model M8CRSBF or equivalent). The job is also inclusive of dismantling and shifting the existing water fountain coolers from different locations to AAI Store including removing and refixing of existing ACP sheets. | 16.00 | Jobs | 10.00 | 281500.00 | 4504000.00 | 295550.00 | 4728800.00 | 4504000.00 | Oasis WFS (P) Ltd.
| Total in Figures |  |  |  |  | 4504000.00 |  | 4728800.00
Lowest Amount Quoted BY: Oasis WFS (P) Ltd.(4504000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Fountain Type Water Coolers at different locations of Domestic T1 Terminal and International T4 Terminal of Chennai Airport Tender ID: 2021_AAI_95503_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Oasis WFS (P) Ltd. | 4504000.00 | L1
| 2 | vk sam engineering | 4728800.00 | L2