## BoQ1
Government eProcurement System Created By: Rupsingh Kanoj Created Date/Time: 20-Dec-2021 02:01 PM Tender Title: ARMO of Electrical and Mechanical installation at Civil Airport Bareilly for year 2021-22. Tender ID: 2021_AAI_96313_1
Tender Inviting Authority: AAI
Name of Work:ARMO of Electrical and Mechanical installation at Civil Airport Bareilly for year 2021-22 .
Contract No: 2020_AAI_96313
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | M/S TURBO POWER AND INFRASTRUCTURE(GSTN-09AAMFT5683N1Z5) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | SAURABH ENTERPRISES(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: OPERATION & MAINTENANCE
1.01 | Operation & routine/preventive Maintenance of various Electrical & Mechanical Installations as mentioned below. 1) Terminal Building and Associate Buildings - Internal and External E& M installation having HVAC , Conveyor Belt, Fire Alarm System , Water Coolers , Automatic Sliding Doors , Signages , light fixtures etc. 2)11 KV Substation , DG set of capacity 2x500 KVA, 1x125 KVA and 1x62.5 KVA , WTP , Pump Room comprising of pnematic water supply system and fire fighting pumps . 3) Electrically operated Trolley Gate , Boom Barrier and 30 KLD STP. The above installations is to be operated , involving minor repairs/maintenance, cleaning etc. ensuring servicibility/satisfactory working condition of the systems, maintenance of records/ documents etc. as per the detailed specifications, terms & conditions covered under this contract on all days including sundays & holidays as required by deputing following minimum manpower per day. a) Operator for HVAC,Trolley Gate,Substation and Internal and External E&M installations as Electrician(Skilled)-03No. b) Operator for STP,WTP,Pumps as Semi Skilled -01 No. c) Helper (Unskilled)- 02 No . Note : Contractor has to provide releiver for the weekly off/holiday for the above mentioned staff. | 12.00 | Month |  | 136151.00 | 1633812.00 | 126304.00 | 1515648.00 | 110000.00 | 1320000.00 | 131000.00 | 1572000.00 | 135754.00 | 1629048.00 | 136000.00 | 1632000.00 | 141723.00 | 1700676.00 | 1320000.00 | NATIONAL SAFETY ENGINEERS
1.02 | Supply of consumable items for the operation of STP and WTP as and when required. (i) Micrograms | 730.00 | Ltr. |  | 65.00 | 47450.00 | 30.00 | 21900.00 | 400.00 | 292000.00 | 20.00 | 14600.00 | 90.00 | 65700.00 | 50.00 | 36500.00 | 126.50 | 92345.00 | 14600.00 | M/S TURBO POWER AND INFRASTRUCTURE
1.03 | Supply of consumable items for the operation of STP and WTP as and when required. (ii) Urea | 730.00 | kg |  | 8.36 | 6102.80 | 10.00 | 7300.00 | 20.00 | 14600.00 | 8.00 | 5840.00 | 92.00 | 67160.00 | 10.00 | 7300.00 | 11.00 | 8030.00 | 5840.00 | M/S TURBO POWER AND INFRASTRUCTURE
1.04 | Supply of consumable items for the operation of STP and WTP as and when required. (iii) DAP | 730.00 | kg |  | 30.00 | 21900.00 | 28.00 | 20440.00 | 40.00 | 29200.00 | 10.00 | 7300.00 | 91.00 | 66430.00 | 10.00 | 7300.00 | 22.00 | 16060.00 | 7300.00 | SAURABH ENTERPRISES, M/S TURBO POWER AND INFRASTRUCTURE
1.05 | Supply of consumable items for the operation of STP and WTP as and when required. (iv) Jaggery | 730.00 | kg |  | 50.00 | 36500.00 | 25.00 | 18250.00 | 80.00 | 58400.00 | 21.00 | 15330.00 | 11.00 | 8030.00 | 30.00 | 21900.00 | 22.00 | 16060.00 | 8030.00 | ROSHAN REFRIGERATION AND ELECTRICALS
1.06 | Supply of consumable items for the operation of STP and WTP as and when required. (iv)Sodium Hypochlorite | 550.00 | Ltr. |  | 20.00 | 11000.00 | 19.50 | 10725.00 | 60.00 | 33000.00 | 17.00 | 9350.00 | 21.00 | 11550.00 | 20.00 | 11000.00 | 11.00 | 6050.00 | 6050.00 | ABHISHEK INTEGRATIONS LIMITED
1.07 | Supply of consumable items for the operation of STP and WTP as and when required. (iv)Salt for WTP | 200.00 | kg |  | 8.50 | 1700.00 | 7.50 | 1500.00 | 15.00 | 3000.00 | 7.00 | 1400.00 | 1.50 | 300.00 | 15.00 | 3000.00 | 11.00 | 2200.00 | 300.00 | ROSHAN REFRIGERATION AND ELECTRICALS
1.08 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis.(a) Skilled | 20.00 | Day |  | 832.00 | 16640.00 | 724.00 | 14480.00 | 617.00 | 12340.00 | 750.00 | 15000.00 | 725.00 | 14500.00 | 50.00 | 1000.00 | 796.40 | 15928.00 | 1000.00 | SAURABH ENTERPRISES
1.09 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis.(a) Un-Skilled workmen | 20.00 | Day |  | 710.00 | 14200.00 | 546.00 | 10920.00 | 437.00 | 8740.00 | 600.00 | 12000.00 | 545.00 | 10900.00 | 30.00 | 600.00 | 600.60 | 12012.00 | 600.00 | SAURABH ENTERPRISES
1.10 | Visit of Technician as and when required basis for the repair and rectification of the defect of 2TR , 4 way (Cassette type ) Inverter type Split AC of Toshiba make / Water Cooler of capacity 40/80 Lts of Make Blue Star. ( excluding the replacement of defective parts) | 5.00 | Each |  | 2500.00 | 12500.00 | 1200.00 | 6000.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 3500.00 | 17500.00 | 1000.00 | 5000.00 | 1650.00 | 8250.00 | 5000.00 | SAURABH ENTERPRISES, NATIONAL SAFETY ENGINEERS, M/S TURBO POWER AND INFRASTRUCTURE
1.11 | Annual Comprehensive maintenance of fire detection and alarm system,comprising of Agni make microcontrolled based convetional fire alarm panel,detectors(52 Nos) ,response indiacotor , hooter (11Nos) , MCP (11Nos.) with complete circuit wiring and batteries etc. i/c cleaning of detectors and maintain the overall working of fire alarm system complete as required . | 12.00 | Month |  | 5000.00 | 60000.00 | 2000.00 | 24000.00 | 2000.00 | 24000.00 | 1000.00 | 12000.00 | 6500.00 | 78000.00 | 1000.00 | 12000.00 | 11000.00 | 132000.00 | 12000.00 | SAURABH ENTERPRISES, M/S TURBO POWER AND INFRASTRUCTURE
1.12 | Supply of B check service kit for 500 KVA (Greaves Make ) DG set and carry out service and & fittment of required no Air Filter , Fuel Filter , Oil Filter , Lubricating Oil , checking of Air restriction , checking of Alternator winding & its control panel etc. complete as per site requirement . | 4.00 | Job |  | 10000.00 | 40000.00 | 20000.00 | 80000.00 | 30000.00 | 120000.00 | 15000.00 | 60000.00 | 15000.00 | 60000.00 | 40000.00 | 160000.00 | 44000.00 | 176000.00 | 40000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.00 | SH-II: SUPPLY OF ELECTRICAL SPARES & ACCESSORIES (on as and when required basis at site )
2.01 | Supply of Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of following size: (a) 1 x 1.5 sqmm (90 mtr coil) | 1.00 | Coil |  | 18.56 | 18.56 | 1200.00 | 1200.00 | 1400.00 | 1400.00 | 1100.00 | 1100.00 | 700.00 | 700.00 | 100.00 | 100.00 | 1945.00 | 1945.00 | 18.56 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.02 | Supply of Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of following size: (b) 1 x 2.5 sqmm ( 90 mtr coil ) | 1.00 | Coil |  | 28.75 | 28.75 | 1400.00 | 1400.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 2100.00 | 2100.00 | 200.00 | 200.00 | 2697.00 | 2697.00 | 28.75 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.03 | Supply of Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of following size: (c) 1 x 4.0 sqmm (90 mtr coil) | 1.00 | Coil |  | 40.25 | 40.25 | 2200.00 | 2200.00 | 3200.00 | 3200.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 300.00 | 300.00 | 4547.00 | 4547.00 | 40.25 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.04 | Supply of Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of following size: (d) 3 x 2.5 sqmm (100 Mtr Coil ) Flexible | 1.00 | Coil |  | 110.95 | 110.95 | 4850.00 | 4850.00 | 4500.00 | 4500.00 | 5500.00 | 5500.00 | 3500.00 | 3500.00 | 500.00 | 500.00 | 10891.00 | 10891.00 | 110.95 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.05 | Supply of 6A ,3 Pin top | 5.00 | Each |  | 45.00 | 225.00 | 55.00 | 275.00 | 30.00 | 150.00 | 30.00 | 150.00 | 21.00 | 105.00 | 20.00 | 100.00 | 94.00 | 470.00 | 100.00 | SAURABH ENTERPRISES
2.06 | Supply of 16A ,3 Pin top | 5.00 | Each |  | 65.00 | 325.00 | 75.00 | 375.00 | 60.00 | 300.00 | 60.00 | 300.00 | 51.00 | 255.00 | 35.00 | 175.00 | 132.00 | 660.00 | 175.00 | SAURABH ENTERPRISES
2.07 | Supply of 20A & 10A Switch Socket combined Unit | 6.00 | Each |  | 150.00 | 900.00 | 180.00 | 1080.00 | 200.00 | 1200.00 | 126.00 | 756.00 | 250.00 | 1500.00 | 75.00 | 450.00 | 118.00 | 708.00 | 450.00 | SAURABH ENTERPRISES
2.08 | Supply of PVC Tape | 30.00 | Each |  | 5.00 | 150.00 | 10.00 | 300.00 | 12.00 | 360.00 | 10.00 | 300.00 | 8.00 | 240.00 | 10.00 | 300.00 | 11.00 | 330.00 | 150.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.09 | Replacement of following defective LED fitting driver. (i) Driver of 22 W | 5.00 | Each |  | 180.00 | 900.00 | 400.00 | 2000.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 251.00 | 1255.00 | 1000.00 | 5000.00 | 880.00 | 4400.00 | 900.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.10 | Replacement of following defective LED fitting driver. (ii)Driver of 36/40 W | 5.00 | Each |  | 180.00 | 900.00 | 600.00 | 3000.00 | 700.00 | 3500.00 | 500.00 | 2500.00 | 251.00 | 1255.00 | 1200.00 | 6000.00 | 1760.00 | 8800.00 | 900.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | SH-III: DSR ITEMS
3.01 | Execution of works as per requirement of site from CPWD schedule of rates (Electrical DSR-2018) as per CPWD specifications completed as required .(Total amount of Rs 50000.00 (exclusive of GST ) is kept for DSR items -2018) [ (Note- Rate of DSR items shall be quoted against total amount of Rs 50000.00 (Fifty Thousand ) in figures excluding GST which shall be converted in the percentage (above/below ) and rate of DSR items shall be taken exclusive of GST (basic rate ) on which payment shall be made considering percentage above /below rate quoted against Rs 50,000.00 .] | 1.00 | Job |  | 55000.00 | 55000.00 | 26500.00 | 26500.00 | 40000.00 | 40000.00 | 25000.00 | 25000.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 33000.00 | 33000.00 | 25000.00 | M/S TURBO POWER AND INFRASTRUCTURE
| Total in Figures |  |  |  |  | 1960403.31 |  | 1774343.00 |  | 1979390.00 |  | 1770926.00 |  | 2078528.00 |  | 1960725.00 |  | 2254059.00
Lowest Amount Quoted BY: M/S TURBO POWER AND INFRASTRUCTURE(1770926.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical installation at Civil Airport Bareilly for year 2021-22. Tender ID: 2021_AAI_96313_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S TURBO POWER AND INFRASTRUCTURE | 1770926.00 | L1
| 2 | Anoop Refrigeration | 1774343.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 1960403.31 | L3
| 4 | SAURABH ENTERPRISES | 1960725.00 | L4
| 5 | NATIONAL SAFETY ENGINEERS | 1979390.00 | L5
| 6 | ROSHAN REFRIGERATION AND ELECTRICALS | 2078528.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 2254059.00 | L7