## BoQ1
Government eProcurement System Created By: Jaipal Badge Created Date/Time: 18-Jan-2022 12:55 PM Tender Title: Construction of DVOR building at CSI Airport Mumbai Tender ID: 2021_AAI_96661_1
Tender Inviting Authority: Dy. Gen. Manager (Engg-Civil), ATS Complex, Mumbai-99
Name of Work: Construction of DVOR building at CSI Airport, Mumbai
Contract No: AAI/WR/MUM/ATS/2021-22/143
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | arcoma(GSTN-27AVLPS1782K1ZV) |  | Classion Projects (I) Pvt. Ltd.(GSTN-27AADCC9548B1ZO) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | K N RAI(GSTN-NA) |  | GREEN INDIA CONSTRUCTION COMPANY(GSTN-NA) |  | M K CONSTRUCTION(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | Sree Lalitha Constructions(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, with all lead & lift in AAI premises, disposed earth to be levelled and neatly dressed - All kinds of soil | 1308.20 | cum |  | 220.00 | 287804.00 | 375.00 | 490575.00 | 164.65 | 215395.13 | 200.00 | 261640.00 | 220.00 | 287804.00 | 250.00 | 327050.00 | 195.00 | 255099.00 | 675.00 | 883035.00 | 215395.13 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, with all lead & lift in AAI premises | 678.00 | cum |  | 1500.00 | 1017000.00 | 160.00 | 108480.00 | 198.89 | 134847.42 | 100.00 | 67800.00 | 320.00 | 216960.00 | 80.00 | 54240.00 | 215.00 | 145770.00 | 375.00 | 254250.00 | 54240.00 | M K CONSTRUCTION
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 9.00 | cum |  | 6500.00 | 58500.00 | 7500.00 | 67500.00 | 6147.15 | 55324.35 | 6500.00 | 58500.00 | 5800.00 | 52200.00 | 6400.00 | 57600.00 | 6789.00 | 61101.00 | 8800.00 | 79200.00 | 52200.00 | GREEN INDIA CONSTRUCTION COMPANY
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 113.00 | cum |  | 8500.00 | 960500.00 | 6800.00 | 768400.00 | 5242.55 | 592408.15 | 6000.00 | 678000.00 | 5200.00 | 587600.00 | 4700.00 | 531100.00 | 5980.00 | 675740.00 | 6000.00 | 678000.00 | 531100.00 | M K CONSTRUCTION
5.00 | Providing and laying damp-proof course 50 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 13.00 | sqm |  | 5500.00 | 71500.00 | 600.00 | 7800.00 | 379.31 | 4931.03 | 800.00 | 10400.00 | 2300.00 | 29900.00 | 400.00 | 5200.00 | 348.00 | 4524.00 | 4700.00 | 61100.00 | 4524.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
6.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 73.00 | cum |  | 5500.00 | 401500.00 | 8500.00 | 620500.00 | 6988.96 | 510194.08 | 8000.00 | 584000.00 | 6500.00 | 474500.00 | 7400.00 | 540200.00 | 7988.00 | 583124.00 | 8000.00 | 584000.00 | 401500.00 | arcoma
7.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size). | 18.00 | cum |  | 5500.00 | 99000.00 | 8600.00 | 154800.00 | 8841.23 | 159142.14 | 8000.00 | 144000.00 | 6800.00 | 122400.00 | 7800.00 | 140400.00 | 9964.00 | 179352.00 | 9500.00 | 171000.00 | 99000.00 | arcoma
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns etc. for mass concrete | 638.00 | sqm |  | 350.00 | 223300.00 | 400.00 | 255200.00 | 257.93 | 164559.34 | 400.00 | 255200.00 | 520.00 | 331760.00 | 300.00 | 191400.00 | 265.00 | 169070.00 | 900.00 | 574200.00 | 164559.34 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 72.00 | sqm |  | 350.00 | 25200.00 | 600.00 | 43200.00 | 627.55 | 45183.60 | 500.00 | 36000.00 | 560.00 | 40320.00 | 530.00 | 38160.00 | 665.00 | 47880.00 | 1200.00 | 86400.00 | 25200.00 | arcoma
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 92.00 | sqm |  | 350.00 | 32200.00 | 600.00 | 55200.00 | 499.88 | 45988.96 | 520.00 | 47840.00 | 710.00 | 65320.00 | 510.00 | 46920.00 | 535.00 | 49220.00 | 2700.00 | 248400.00 | 32200.00 | arcoma
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts | 36.00 | sqm |  | 350.00 | 12600.00 | 600.00 | 21600.00 | 664.36 | 23916.96 | 550.00 | 19800.00 | 590.00 | 21240.00 | 630.00 | 22680.00 | 715.00 | 25740.00 | 800.00 | 28800.00 | 12600.00 | arcoma
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Extra for shuttering in circular work (Rate - 20% of Item no. 8) | 23.00 | sqm |  | 350.00 | 8050.00 | 200.00 | 4600.00 | .20 | 4.60 | 600.00 | 13800.00 | 390.00 | 8970.00 | 80.00 | 1840.00 | 57.00 | 1311.00 | 600.00 | 13800.00 | 4.60 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Edges of slabs and breaks in floors and walls - Under 20 cm wide | 5.50 | metre |  | 350.00 | 1925.00 | 250.00 | 1375.00 | 156.87 | 862.79 | 600.00 | 3300.00 | 950.00 | 5225.00 | 550.00 | 3025.00 | 174.00 | 957.00 | 500.00 | 2750.00 | 862.79 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level - Thermo - Mechanically Treated bars of grade Fe-500D or more | 10950.00 | Kg |  | 98.00 | 1073100.00 | 84.00 | 919800.00 | 83.50 | 914325.00 | 76.00 | 832200.00 | 85.00 | 930750.00 | 78.00 | 854100.00 | 84.00 | 919800.00 | 90.00 | 985500.00 | 832200.00 | K N RAI
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level - Thermo-Mechanically Treated bars | 2700.00 | Kg |  | 105.00 | 283500.00 | 85.00 | 229500.00 | 83.50 | 225450.00 | 76.00 | 205200.00 | 95.00 | 256500.00 | 80.00 | 216000.00 | 86.00 | 232200.00 | 75.00 | 202500.00 | 202500.00 | Sree Lalitha Constructions
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 46.00 | cum |  | 7500.00 | 345000.00 | 8000.00 | 368000.00 | 7071.35 | 325282.10 | 7000.00 | 322000.00 | 6700.00 | 308200.00 | 5900.00 | 271400.00 | 7809.00 | 359214.00 | 5800.00 | 266800.00 | 266800.00 | Sree Lalitha Constructions
17.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level - Cement mortar 1:3 (1 cement :3 coarse sand) | 20.50 | sqm |  | 750.00 | 15375.00 | 1500.00 | 30750.00 | 866.20 | 17757.10 | 750.00 | 15375.00 | 7000.00 | 143500.00 | 850.00 | 17425.00 | 957.00 | 19618.50 | 6000.00 | 123000.00 | 15375.00 | arcoma, K N RAI
18.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanitycounters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cementmortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed withmatching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. completeat all levels.Granite of any colour and shadeArea of slab over 0.50 sqm | 17.00 | sqm |  | 5500.00 | 93500.00 | 4500.00 | 76500.00 | 2311.45 | 39294.65 | 3800.00 | 64600.00 | 750.00 | 12750.00 | 3900.00 | 66300.00 | 4218.00 | 71706.00 | 300.00 | 5100.00 | 5100.00 | Sree Lalitha Constructions
19.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 61.00 | meter |  | 2500.00 | 152500.00 | 1000.00 | 61000.00 | 393.20 | 23985.20 | 254.00 | 15494.00 | 2100.00 | 128100.00 | 325.00 | 19825.00 | 434.00 | 26474.00 | 150.00 | 9150.00 | 9150.00 | Sree Lalitha Constructions
20.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately) - Sal wood | .30 | cum |  | 215000.00 | 64500.00 | 100000.00 | 30000.00 | 95375.02 | 28612.51 | 275000.00 | 82500.00 | 31000.00 | 9300.00 | 90000.00 | 27000.00 | 105327.00 | 31598.10 | 1500.00 | 450.00 | 450.00 | Sree Lalitha Constructions
21.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters - 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 4.00 | sqm |  | 9850.00 | 39400.00 | 5000.00 | 20000.00 | 2495.90 | 9983.60 | 5000.00 | 20000.00 | 4100.00 | 16400.00 | 2500.00 | 10000.00 | 2756.00 | 11024.00 | 2500.00 | 10000.00 | 9983.60 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Extra for Providing and fixing flush doors with decorative veneering instead f non decorative ISI marked flush door shutters conforming to IS: 2202 (Part I) - On one side only | 4.00 | sqm |  | 9850.00 | 39400.00 | 1650.00 | 6600.00 | 399.77 | 1599.08 | 2000.00 | 8000.00 | 710.00 | 2840.00 | 350.00 | 1400.00 | 442.00 | 1768.00 | 3000.00 | 12000.00 | 1400.00 | M K CONSTRUCTION
23.00 | Providing and fixing bright finished brass butt hinges with necessary screws etc. complete : 125x85x5.5 mm (heavy type) | 33.00 | each |  | 600.00 | 19800.00 | 600.00 | 19800.00 | 205.41 | 6778.53 | 750.00 | 24750.00 | 310.00 | 10230.00 | 250.00 | 8250.00 | 227.00 | 7491.00 | 150.00 | 4950.00 | 4950.00 | Sree Lalitha Constructions
24.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 20.00 | each |  | 1500.00 | 30000.00 | 420.00 | 8400.00 | 338.34 | 6766.80 | 650.00 | 13000.00 | 410.00 | 8200.00 | 215.00 | 4300.00 | 374.00 | 7480.00 | 150.00 | 3000.00 | 3000.00 | Sree Lalitha Constructions
25.00 | Providing and fixing bright finished brass handles with screws etc. complete: 125 mm | 22.00 | each |  | 2000.00 | 44000.00 | 300.00 | 6600.00 | 185.31 | 4076.82 | 500.00 | 11000.00 | 220.00 | 4840.00 | 275.00 | 6050.00 | 205.00 | 4510.00 | 100.00 | 2200.00 | 2200.00 | Sree Lalitha Constructions
26.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI IS : 3564 embossed on the body, door weight upto 35 Kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 2.00 | each |  | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 908.67 | 1817.34 | 500.00 | 1000.00 | 1150.00 | 2300.00 | 1500.00 | 3000.00 | 1004.00 | 2008.00 | 1600.00 | 3200.00 | 1000.00 | K N RAI
27.00 | Providing and fixing bright finished brass door latch with necessary screws etc. complete : a) 300x16x5 mm | 8.00 | each |  | 3500.00 | 28000.00 | 400.00 | 3200.00 | 246.65 | 1973.20 | 600.00 | 4800.00 | 130.00 | 1040.00 | 780.00 | 6240.00 | 272.00 | 2176.00 | 150.00 | 1200.00 | 1040.00 | GREEN INDIA CONSTRUCTION COMPANY
28.00 | Providing and fixing bright finished brass door latch with necessary screws etc. complete : a) 250x16x5 mm | 4.00 | each |  | 4500.00 | 18000.00 | 280.00 | 1120.00 | 234.51 | 938.04 | 500.00 | 2000.00 | 225.00 | 900.00 | 800.00 | 3200.00 | 259.00 | 1036.00 | 50.00 | 200.00 | 200.00 | Sree Lalitha Constructions
29.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 4.00 | each |  | 4000.00 | 16000.00 | 1800.00 | 7200.00 | 645.40 | 2581.60 | 2000.00 | 8000.00 | 1750.00 | 7000.00 | 550.00 | 2200.00 | 713.00 | 2852.00 | 1200.00 | 4800.00 | 2200.00 | M K CONSTRUCTION
30.00 | Providing and fixing Fiber Glass Reinforced plastic (FRP) Door Frames of cross-section 90 mm x 45 mm having single rebate of 32 mm x 15 mm to receive shutter of 30 mm thickness. The laminate shall be moulded with fire resistant grade unsaturated polyester resin and chopped mat. Door frame laminate shall be 2mm thick and shall be filled with suitable wooden block in all the three legs. The frame shall be covered with fiber glass from all sides. M.S. stay shall be provided at the bottom to steady the frame. | 6.80 | Mtr. |  | 2500.00 | 17000.00 | 750.00 | 5100.00 | 615.60 | 4186.08 | 700.00 | 4760.00 | 510.00 | 3468.00 | 850.00 | 5780.00 | 680.00 | 4624.00 | 1200.00 | 8160.00 | 3468.00 | GREEN INDIA CONSTRUCTION COMPANY
31.00 | 30 mm thick Fiberglass Reinforced Plastic (F.R.P.) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF)/Polystyrene foam to be used as filler material throughout the hollow panel, casted monolithically with testing parameters of F.R.P. laminate conforming to table - 3 of IS: 14856, complete as per direction of Engineer-in-charge. | 5.10 | sqm |  | 4500.00 | 22950.00 | 4500.00 | 22950.00 | 2631.61 | 13421.21 | 5000.00 | 25500.00 | 310.00 | 1581.00 | 4200.00 | 21420.00 | 3932.00 | 20053.20 | 1500.00 | 7650.00 | 1581.00 | GREEN INDIA CONSTRUCTION COMPANY
32.00 | Providing and fixing factory made Fiberglass Reinforced plastics (F.R.P.) chajja 4 mm thick of required colour, size and design made by Resin Transfer Moulding (RTM) Machine Technology, resulting in void free compact laminate in single piece, having smooth gradual slope curvature for easy drainage of water and duly reinforced by 2 nos vertically and 1 nos horizontally 50x2 mm thick M.S. flat with 12 mm in built hole for grouting on the existing wall along with the 50 mm flanges duly inserted and sealed in the wall complete in one single piece casted monolithically, including all necessary fittings . The FRP Chajja should be manufactured using unsaturated Polyester resin as per IS: 6746, duly reinforced with fibre glass chopped strand mat (CSM) as per IS: 11551 complete with protective Gel coat U/V coating on Top for complete resistance from the extreme of temperature, weather & sunlight. Note - Only plan area of chajjas shall be measured for making payment] | 9.00 | sqm |  | 4500.00 | 40500.00 | 2800.00 | 25200.00 | 4392.86 | 39535.74 | 6000.00 | 54000.00 | 950.00 | 8550.00 | 3200.00 | 28800.00 | 4851.00 | 43659.00 | 1000.00 | 9000.00 | 8550.00 | GREEN INDIA CONSTRUCTION COMPANY
33.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 100.00 | Kg |  | 125.00 | 12500.00 | 120.00 | 12000.00 | 92.12 | 9212.00 | 90.00 | 9000.00 | 85.00 | 8500.00 | 82.00 | 8200.00 | 106.00 | 10600.00 | 200.00 | 20000.00 | 8200.00 | M K CONSTRUCTION
34.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3Kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 30.00 | sqm |  | 1550.00 | 46500.00 | 1600.00 | 48000.00 | 840.21 | 25206.30 | 750.00 | 22500.00 | 1750.00 | 52500.00 | 1050.00 | 31500.00 | 1030.00 | 30900.00 | 500.00 | 15000.00 | 15000.00 | Sree Lalitha Constructions
35.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3Kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 10.00 | sqm |  | 1550.00 | 15500.00 | 1500.00 | 15000.00 | 902.52 | 9025.20 | 775.00 | 7750.00 | 1450.00 | 14500.00 | 1090.00 | 10900.00 | 927.00 | 9270.00 | 600.00 | 6000.00 | 6000.00 | Sree Lalitha Constructions
36.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc. complete - Size of Tile 600 x 600 mm | 50.00 | sqm |  | 1650.00 | 82500.00 | 1800.00 | 90000.00 | 1358.75 | 67937.50 | 1200.00 | 60000.00 | 1750.00 | 87500.00 | 1400.00 | 70000.00 | 1734.00 | 86700.00 | 800.00 | 40000.00 | 40000.00 | Sree Lalitha Constructions
37.00 | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200 x 600 mm panel to form grids of 600 x 600 mm and wall angle of size 24 x 24 x 0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge - a) 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit | 50.00 | sqm |  | 1850.00 | 92500.00 | 1200.00 | 60000.00 | 1703.21 | 85160.50 | 1700.00 | 85000.00 | 1650.00 | 82500.00 | 2200.00 | 110000.00 | 1760.00 | 88000.00 | 1000.00 | 50000.00 | 50000.00 | Sree Lalitha Constructions
38.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : 1:3 (1 cement: 3 fine sand) | 317.00 | sqm |  | 450.00 | 142650.00 | 450.00 | 142650.00 | 308.63 | 97835.71 | 440.00 | 139480.00 | 220.00 | 69740.00 | 325.00 | 103025.00 | 341.00 | 108097.00 | 250.00 | 79250.00 | 69740.00 | GREEN INDIA CONSTRUCTION COMPANY
39.00 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge | 137.00 | sqm |  | 450.00 | 61650.00 | 600.00 | 82200.00 | 377.18 | 51673.66 | 500.00 | 68500.00 | 260.00 | 35620.00 | 425.00 | 58225.00 | 417.00 | 57129.00 | 300.00 | 41100.00 | 35620.00 | GREEN INDIA CONSTRUCTION COMPANY
40.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete | 317.00 | sqm |  | 350.00 | 110950.00 | 150.00 | 47550.00 | 178.11 | 56460.87 | 160.00 | 50720.00 | 135.00 | 42795.00 | 70.00 | 22190.00 | 197.00 | 62449.00 | 200.00 | 63400.00 | 22190.00 | M K CONSTRUCTION
41.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer | 317.00 | sqm |  | 210.00 | 66570.00 | 100.00 | 31700.00 | 138.94 | 44043.98 | 100.00 | 31700.00 | 895.00 | 283715.00 | 60.00 | 19020.00 | 173.00 | 54841.00 | 45.00 | 14265.00 | 14265.00 | Sree Lalitha Constructions
42.00 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 Kg/10 sqm) | 72.00 | sqm |  | 220.00 | 15840.00 | 120.00 | 8640.00 | 82.62 | 5948.64 | 90.00 | 6480.00 | 395.00 | 28440.00 | 55.00 | 3960.00 | 105.00 | 7560.00 | 60.00 | 4320.00 | 3960.00 | M K CONSTRUCTION
43.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 Kg/ 10 sqm) | 137.00 | sqm |  | 220.00 | 30140.00 | 160.00 | 21920.00 | 149.13 | 20430.81 | 100.00 | 13700.00 | 1150.00 | 157550.00 | 85.00 | 11645.00 | 175.00 | 23975.00 | 90.00 | 12330.00 | 11645.00 | M K CONSTRUCTION
44.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 441.00 | cum |  | 4500.00 | 1984500.00 | 6900.00 | 3042900.00 | 6194.46 | 2731756.86 | 6500.00 | 2866500.00 | 5500.00 | 2425500.00 | 6000.00 | 2646000.00 | 6540.00 | 2884140.00 | 2500.00 | 1102500.00 | 1102500.00 | Sree Lalitha Constructions
45.00 | Providing and fixing in position pre-moulded joint filler in expansion per cm joints | 800.00 | per cm depth per cm width per m length |  | 650.00 | 520000.00 | 6.00 | 4800.00 | 3.10 | 2480.00 | 60.00 | 48000.00 | 210.00 | 168000.00 | 5.00 | 4000.00 | 4.00 | 3200.00 | 5.00 | 4000.00 | 2480.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
46.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge - Pre-laminated particle board with decorative lamination on both sides | 4.00 | sqm |  | 8500.00 | 34000.00 | 1500.00 | 6000.00 | 947.97 | 3791.88 | 4500.00 | 18000.00 | 410.00 | 1640.00 | 890.00 | 3560.00 | 1047.00 | 4188.00 | 1500.00 | 6000.00 | 1640.00 | GREEN INDIA CONSTRUCTION COMPANY
47.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge (Cost of aluminium snap beading shall be paid in basic item) -with float glass panes of 5.50 mm thickness | 20.00 | sqm |  | 4500.00 | 90000.00 | 1400.00 | 28000.00 | 1173.89 | 23477.80 | 1500.00 | 30000.00 | 1750.00 | 35000.00 | 850.00 | 17000.00 | 1350.00 | 27000.00 | 2000.00 | 40000.00 | 17000.00 | M K CONSTRUCTION
48.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 Kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge -With brass cover plate minimum 1.25 mm thickness | 8.00 | each |  | 8500.00 | 68000.00 | 5000.00 | 40000.00 | 2329.92 | 18639.36 | 3200.00 | 25600.00 | 610.00 | 4880.00 | 3400.00 | 27200.00 | 2573.00 | 20584.00 | 1000.00 | 8000.00 | 4880.00 | GREEN INDIA CONSTRUCTION COMPANY
49.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, ncluding necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 50.00 | Kg |  | 750.00 | 37500.00 | 500.00 | 25000.00 | 420.78 | 21039.00 | 600.00 | 30000.00 | 190.00 | 9500.00 | 545.00 | 27250.00 | 465.00 | 23250.00 | 60.00 | 3000.00 | 3000.00 | Sree Lalitha Constructions
50.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. a) Upto 5mm depth and 5 mm width | 13.70 | meter |  | 550.00 | 7535.00 | 100.00 | 1370.00 | 71.93 | 985.44 | 500.00 | 6850.00 | 670.00 | 9179.00 | 60.00 | 822.00 | 79.00 | 1082.30 | 20.00 | 274.00 | 274.00 | Sree Lalitha Constructions
51.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-incharge Polyester powder coated minimum thickness 50 micron aluminium | 4.00 | each |  | 1500.00 | 6000.00 | 200.00 | 800.00 | 80.53 | 322.12 | 400.00 | 1600.00 | 155.00 | 620.00 | 181.00 | 724.00 | 278.00 | 1112.00 | 30.00 | 120.00 | 120.00 | Sree Lalitha Constructions
52.00 | Providing and laying Integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations - (a) Applying a slurry coat of neat cement using 2.75 Kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 Kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge - With average thickness of 120 mm and minimum thickness at khurra as 65 mm | 78.00 | sqm |  | 650.00 | 50700.00 | 1850.00 | 144300.00 | 1266.35 | 98775.30 | 1800.00 | 140400.00 | 1150.00 | 89700.00 | 1650.00 | 128700.00 | 1399.00 | 109122.00 | 1500.00 | 117000.00 | 50700.00 | arcoma
53.00 | Providing and fixing in position wall panelling at all heights with integral densified calcium silicate panels/tiles of size 595 x 595mm, having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity <0.043 W/m K as per ASTM 518:1991, comprising of a frame made from especially fabricated galvanised mild steel sheet 0.50 mm thick pressed section (galvanizing @120 grams per sqm including both sides) i.e.vertical studs of size 48 x 34 x 36 mm are placed at 600mm center to center in a floor and ceiling channel section of size 50 x 32m fixed to the floor and soffit at 600mm centers using 12mm dia,50mm long wedge type expanded zinc alloy dash fastner with 10mm bolt. This same channel is then to be fixed in horiziontal direction at 600mm center to center so as to form a grid of 600mm x 600mm. Glasswool of 50mm thickness is then to be inserted in the slots and finally calcium silicate non combustible panels/tiles are to be screw fixed with self tapping pan head nickel coated mild steel screws of size 13 x 3.2mm on to this grid leaving an even groove of 1 mm between the panels. The joints between the panels are to be duly jointed and finished using recommended jointing calcium silicate based compound and fiber joint tape roll 50mm wide (90 metre )roll and two coats of primer suitable for panelling as per manufacturer’s specification as per direction of Engineer-in-Charge all complete. a) With 15 mm thick fully perforated square/butt edge light weight calcium silicate panels/ tiles | 120.70 | sqm |  | 2500.00 | 301750.00 | 1800.00 | 217260.00 | 2478.20 | 299118.74 | 5000.00 | 603500.00 | 1950.00 | 235365.00 | 3100.00 | 374170.00 | 2737.00 | 330355.90 | 600.00 | 72420.00 | 72420.00 | Sree Lalitha Constructions
54.00 | Providing and placing PVC pipe 110 mm of working pressure 6 Kg / sq cm of required length in position etc. complete as per the direction of Engineer In-charge | 90.00 | metre |  | 550.00 | 49500.00 | 650.00 | 58500.00 | 250.00 | 22500.00 | 600.00 | 54000.00 | 320.00 | 28800.00 | 850.00 | 76500.00 | 435.00 | 39150.00 | 200.00 | 18000.00 | 18000.00 | Sree Lalitha Constructions
55.00 | Providing and fixing 2 mm thick PVC anti static flooring of approved make with copper strips in one meter grid inclding required adhesive etc all complete as per the approved manufacturers specification and direction of Engineer-in-charge | 25.00 | sqm |  | 1050.00 | 26250.00 | 1400.00 | 35000.00 | 450.00 | 11250.00 | 700.00 | 17500.00 | 65.00 | 1625.00 | 1150.00 | 28750.00 | 650.00 | 16250.00 | 50.00 | 1250.00 | 1250.00 | Sree Lalitha Constructions
56.00 | Providing & fixing commercial plywood of approved brand at any location fixed with fevicol, nail & screw etc. complete as per the directions of Engineer-in-charge. a) 18 mm thick plywood | 24.00 | sqm |  | 1100.00 | 26400.00 | 1500.00 | 36000.00 | 2500.00 | 60000.00 | 1000.00 | 24000.00 | 350.00 | 8400.00 | 950.00 | 22800.00 | 1450.00 | 34800.00 | 400.00 | 9600.00 | 8400.00 | GREEN INDIA CONSTRUCTION COMPANY
56.10 | b) 12 mm thick plywood | 19.20 | sqm |  | 950.00 | 18240.00 | 1200.00 | 23040.00 | 2200.00 | 42240.00 | 800.00 | 15360.00 | 650.00 | 12480.00 | 660.00 | 12672.00 | 1045.00 | 20064.00 | 300.00 | 5760.00 | 5760.00 | Sree Lalitha Constructions
57.00 | Surveying with DGPS (Diffrential Globle Positioning System) instrument for working out coordinates and levels of DVOR site location, Fixing Orientation of DVOR Building and Counter Poise Foundations at Mumbai Airport Premises as per requirement including cost of surveyor, helpers and supply of area surveyed drawings in two sets, soft copy etc complete as per direction of Engineering-In-Charge | 1.00 | Job |  | 25000.00 | 25000.00 | 75000.00 | 75000.00 | 285000.00 | 285000.00 | 200000.00 | 200000.00 | 10000.00 | 10000.00 | 30000.00 | 30000.00 | 350000.00 | 350000.00 | 50000.00 | 50000.00 | 10000.00 | GREEN INDIA CONSTRUCTION COMPANY
58.00 | Prviding & laying 150mm dia HDPE pipe with couplers & jointing with solvent including providing 2 Nos./2mm dia Guy wires all as per direction and satisfaction of Engg- In-Charge. | 600.00 | Metre |  | 600.00 | 360000.00 | 850.00 | 510000.00 | 500.00 | 300000.00 | 1200.00 | 720000.00 | 210.00 | 126000.00 | 750.00 | 450000.00 | 520.00 | 312000.00 | 100.00 | 60000.00 | 60000.00 | Sree Lalitha Constructions
59.00 | Providing complete structural design with all design calculations and issue of "Good For Construction Drawings" in 04 sets with vetting from Government Engineering College as per the relevant and latest BIS codes, safety norms assuming appropriate wind pressure, seismic load E.Q. load etc. for the construction of "DVOR Building at Mumbai Airport" considering SBC as 200 MN / SQM. The structural design should be submitted along with the plan, section and elevation details etc., giving all the structural members details including foundation details etc. complete as per direction of Engineer in charge. | 1.00 | Job |  | 35000.00 | 35000.00 | 125000.00 | 125000.00 | 250000.00 | 250000.00 | 300000.00 | 300000.00 | 20000.00 | 20000.00 | 65000.00 | 65000.00 | 400000.00 | 400000.00 | 100000.00 | 100000.00 | 20000.00 | GREEN INDIA CONSTRUCTION COMPANY
| Total in Figures |  |  |  |  | 9864279.00 |  | 9376580.00 |  | 8265434.82 |  | 9490599.00 |  | 8150697.00 |  | 7896318.00 |  | 9083999.00 |  | 7267384.00
Lowest Amount Quoted BY: Sree Lalitha Constructions(7267384.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR building at CSI Airport Mumbai Tender ID: 2021_AAI_96661_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sree Lalitha Constructions | 7267384.00 | L1
| 2 | M K CONSTRUCTION | 7896318.00 | L2
| 3 | GREEN INDIA CONSTRUCTION COMPANY | 8150697.00 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 8265434.82 | L4
| 5 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 9083999.00 | L5
| 6 | Classion Projects (I) Pvt. Ltd. | 9376580.00 | L6
| 7 | K N RAI | 9490599.00 | L7
| 8 | arcoma | 9864279.00 | L8