## BoQ1
Government eProcurement System Created By: Savio Noronha Created Date/Time: 05-Jan-2022 12:53 PM Tender Title: Installation of ILS and Electrification of Watch Tower Tender ID: 2021_AAI_97113_1
Tender Inviting Authority: Asstt. Gen. Manager (E-E)-Project, Jabalpur Airport, Jabalpur
Name of Work:- Up-gradation of Jabalpur Airport to make it suitable for operation of AB-320 type of Aircraft. SH :Installation of ILS & Electrification of Watch Tower at Jabalpur Airport - Electrical work.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SARASWAT ENGINEERING SERVICES(GSTN-27AAZFS6239C1ZO) |  | RANA AND SONI ENTERPRISES PRIVATE LIMITED(GSTN-07AAHCR7956G2ZW) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | SKYLINE ELECTRICALS(GSTN-36AHNPJ7347K1ZR) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/s. Shree Gokulesh Electric and Engg CO(GSTN-24ABXPP3463E1ZC) |  | RASS CONTRACTOR AND ENGINEERS(GSTN-09AFIPR1600N1Z7) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | M R ELECTRICALS(GSTN-27AARPV8927A1Z5) |  | SANGYA SAHARSHINI INFRA(GSTN-NA) |  | JAI ENTERPRISES(GSTN-NA) |  | L L Electericals(GSTN-NA) |  | RAJASTHAN CRANE SERVICES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed medium class FRLS PVC conduit, with modular type switch, modular plate, suitable size surface box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc. as required. Group C | 30.00 | Points |  | 1108.00 | 33240.00 | 1300.50 | 39015.00 | 770.00 | 23100.00 | 792.00 | 23760.00 | 810.00 | 24300.00 | 1200.00 | 36000.00 | 892.00 | 26760.00 | 650.00 | 19500.00 | 1050.00 | 31500.00 | 1306.00 | 39180.00 | 1200.00 | 36000.00 | 1213.00 | 36390.00 | 450.00 | 13500.00 | 1000.00 | 30000.00 | 13500.00 | L L Electericals
2.00 | Wiring for MCB controlled light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed medium class FRLS PVC conduit, and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required (Group C).MCB should be provided separately. | 18.00 | Points |  | 1108.00 | 19944.00 | 901.80 | 16232.40 | 960.00 | 17280.00 | 1230.00 | 22140.00 | 620.00 | 11160.00 | 900.00 | 16200.00 | 635.00 | 11430.00 | 850.00 | 15300.00 | 650.00 | 11700.00 | 897.00 | 16146.00 | 1200.00 | 21600.00 | 400.00 | 7200.00 | 800.00 | 14400.00 | 1000.00 | 18000.00 | 7200.00 | JAI ENTERPRISES
3.00 | Wiring for circuit/ submain wiring along with earth wire with the size of 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class FRLS PVC conduit as required | 261.00 | Metre |  | 146.00 | 38106.00 | 202.50 | 52852.50 | 115.00 | 30015.00 | 119.72 | 31246.92 | 135.00 | 35235.00 | 150.00 | 39150.00 | 167.00 | 43587.00 | 115.00 | 30015.00 | 145.00 | 37845.00 | 201.00 | 52461.00 | 225.00 | 58725.00 | 210.00 | 54810.00 | 80.00 | 20880.00 | 180.00 | 46980.00 | 20880.00 | L L Electericals
4.00 | Supply and drawing of 2CX2.5 Sq mm multicore industrial cable size FRLS unarmoured PVC insulated, PVC round sheathed copper conductor, for voltage up to 1100 V as per IS 694:2010 in the existing pipe as required. | 520.00 | Metre |  | 83.00 | 43160.00 | 79.20 | 41184.00 | 80.00 | 41600.00 | 80.00 | 41600.00 | 105.00 | 54600.00 | 120.00 | 62400.00 | 71.00 | 36920.00 | 75.00 | 39000.00 | 95.00 | 49400.00 | 79.00 | 41080.00 | 250.00 | 130000.00 | 120.00 | 62400.00 | 70.00 | 36400.00 | 190.00 | 98800.00 | 36400.00 | L L Electericals
5.00 | Supply and drawing of 3CX4 Sq mm size single core Power cord for Air Conditioners FRLS unarmoured PVC insulated, PVC round sheathed copper conductor, for voltage up to 1100 V as per IS 694:2010 in the existing pipe as required. | 20.00 | Metre |  | 179.00 | 3580.00 | 170.10 | 3402.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 180.00 | 3600.00 | 210.00 | 4200.00 | 140.00 | 2800.00 | 145.00 | 2900.00 | 180.00 | 3600.00 | 169.00 | 3380.00 | 300.00 | 6000.00 | 240.00 | 4800.00 | 140.00 | 2800.00 | 500.00 | 10000.00 | 2800.00 | L L Electericals, M/s. Shree Gokulesh Electric and Engg CO
6.00 | Wiring for circuit/ submain wiring alongwith earth wire with the 2 X 4 sq. mm + 1 X 4 sq. mm earth wire sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class FRLS PVC conduit as required | 146.00 | Metre |  | 246.00 | 35916.00 | 241.20 | 35215.20 | 180.00 | 26280.00 | 164.00 | 23944.00 | 175.00 | 25550.00 | 250.00 | 36500.00 | 215.00 | 31390.00 | 175.00 | 25550.00 | 225.00 | 32850.00 | 240.00 | 35040.00 | 410.00 | 59860.00 | 263.00 | 38398.00 | 140.00 | 20440.00 | 280.00 | 40880.00 | 20440.00 | L L Electericals
7.00 | Wiring for circuit/ submain wiring along with earth wire with the size of 4 X 4 sq. mm + 2 X 4 sq. mm earth wire of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class FRLS PVC conduit as required | 50.00 | Metre |  | 433.00 | 21650.00 | 372.60 | 18630.00 | 320.00 | 16000.00 | 308.00 | 15400.00 | 410.00 | 20500.00 | 380.00 | 19000.00 | 367.00 | 18350.00 | 325.00 | 16250.00 | 440.00 | 22000.00 | 371.00 | 18550.00 | 820.00 | 41000.00 | 406.00 | 20300.00 | 250.00 | 12500.00 | 360.00 | 18000.00 | 12500.00 | L L Electericals
8.00 | Supplying and fixing suitable size surface box with modular plate and cover in front on surface, including providing and fixing 25 Amps "C" Series SP MCB and 25 Amps Modular socket, including all connection etc. as required. | 10.00 | Each |  | 631.00 | 6310.00 | 955.80 | 9558.00 | 1250.00 | 12500.00 | 523.98 | 5239.80 | 510.00 | 5100.00 | 1100.00 | 11000.00 | 708.00 | 7080.00 | 325.00 | 3250.00 | 880.00 | 8800.00 | 950.00 | 9500.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 1800.00 | 18000.00 | 650.00 | 6500.00 | 3250.00 | RASS CONTRACTOR AND ENGINEERS
9.00 | Supplying and fixing of medium class FRLS PVC conduit of 20 mm size along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 60.00 | Metre |  | 83.00 | 4980.00 | 124.20 | 7452.00 | 70.00 | 4200.00 | 30.00 | 1800.00 | 420.00 | 25200.00 | 120.00 | 7200.00 | 66.00 | 3960.00 | 95.00 | 5700.00 | 55.00 | 3300.00 | 123.50 | 7410.00 | 90.00 | 5400.00 | 70.00 | 4200.00 | 32.00 | 1920.00 | 150.00 | 9000.00 | 1800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Supplying and fixing modular blanking plate on the existing modular plate switch box excluding modular plate as required. | 12.00 | Each |  | 31.00 | 372.00 | 37.80 | 453.60 | 25.00 | 300.00 | 26.24 | 314.88 | 20.00 | 240.00 | 50.00 | 600.00 | 23.00 | 276.00 | 50.00 | 600.00 | 40.00 | 480.00 | 37.50 | 450.00 | 400.00 | 4800.00 | 15.00 | 180.00 | 10.00 | 120.00 | 20.00 | 240.00 | 120.00 | L L Electericals
11.00 | Supplying and fixing of 2 module Surface mounting box with modular plate and cover in front on surface or in recess complete as required. | 8.00 | Each |  | 219.00 | 1752.00 | 266.40 | 2131.20 | 155.00 | 1240.00 | 199.26 | 1594.08 | 180.00 | 1440.00 | 250.00 | 2000.00 | 79.00 | 632.00 | 225.00 | 1800.00 | 240.00 | 1920.00 | 265.00 | 2120.00 | 180.00 | 1440.00 | 243.00 | 1944.00 | 70.00 | 560.00 | 120.00 | 960.00 | 560.00 | L L Electericals
12.00 | Supplying and fixing of 3 module Surface mounting box with modular plate and cover in front on surface or in recess complete as required. | 6.00 | Set |  | 258.00 | 1548.00 | 383.40 | 2300.40 | 175.00 | 1050.00 | 218.94 | 1313.64 | 210.00 | 1260.00 | 400.00 | 2400.00 | 173.00 | 1038.00 | 325.00 | 1950.00 | 260.00 | 1560.00 | 381.00 | 2286.00 | 250.00 | 1500.00 | 267.00 | 1602.00 | 90.00 | 540.00 | 150.00 | 900.00 | 540.00 | L L Electericals
13.00 | Supplying and fixing of 6 module Surface mounting box with modular plate and cover in front on surface or in recess complete as required. | 15.00 | Set |  | 363.00 | 5445.00 | 454.50 | 6817.50 | 220.00 | 3300.00 | 273.00 | 4095.00 | 350.00 | 5250.00 | 480.00 | 7200.00 | 296.00 | 4440.00 | 425.00 | 6375.00 | 420.00 | 6300.00 | 452.00 | 6780.00 | 580.00 | 8700.00 | 333.00 | 4995.00 | 120.00 | 1800.00 | 240.00 | 3600.00 | 1800.00 | L L Electericals
14.00 | Supplying and fixing of 12 module Surface mounting box with modular plate and cover in front on surface or in recess complete as required. | 4.00 | Each |  | 799.00 | 3196.00 | 710.10 | 2840.40 | 330.00 | 1320.00 | 434.00 | 1736.00 | 950.00 | 3800.00 | 400.00 | 1600.00 | 465.00 | 1860.00 | 525.00 | 2100.00 | 650.00 | 2600.00 | 706.00 | 2824.00 | 700.00 | 2800.00 | 434.00 | 1736.00 | 150.00 | 600.00 | 350.00 | 1400.00 | 600.00 | L L Electericals
15.00 | Supplying and fixing of 3 Pin 5/ 6 Amp modular socket outlet with one way 5/ 6 Amp modular Switch on the existing modular plate & switch box, including connections but excluding modular plate etc. as required. | 14.00 | Job |  | 244.00 | 3416.00 | 223.20 | 3124.80 | 180.00 | 2520.00 | 5200.00 | 72800.00 | 180.00 | 2520.00 | 250.00 | 3500.00 | 266.00 | 3724.00 | 425.00 | 5950.00 | 300.00 | 4200.00 | 222.00 | 3108.00 | 100.00 | 1400.00 | 196.00 | 2744.00 | 500.00 | 7000.00 | 220.00 | 3080.00 | 1400.00 | SANGYA SAHARSHINI INFRA
16.00 | Supplying and fixing of 6 Pin 6/ 16 Amp modular socket outlet with one way 15/ 16 Amp modular Switch on the existing modular plate & switch box, including connections but excluding modular plate etc. as required. | 36.00 | Job |  | 381.00 | 13716.00 | 353.70 | 12733.20 | 275.00 | 9900.00 | 17000.00 | 612000.00 | 320.00 | 11520.00 | 450.00 | 16200.00 | 482.00 | 17352.00 | 525.00 | 18900.00 | 360.00 | 12960.00 | 352.00 | 12672.00 | 300.00 | 10800.00 | 307.00 | 11052.00 | 800.00 | 28800.00 | 400.00 | 14400.00 | 9900.00 | Ascent Electrification Engineers
17.00 | Supplying and fixing of Telephone socket outlet modular type on the existing modular plate & surface mounting box, including connections but excluding modular plate etc. as required. | 4.00 | Job |  | 244.00 | 976.00 | 153.00 | 612.00 | 450.00 | 1800.00 | 476.00 | 1904.00 | 550.00 | 2200.00 | 200.00 | 800.00 | 137.00 | 548.00 | 235.00 | 940.00 | 190.00 | 760.00 | 152.00 | 608.00 | 400.00 | 1600.00 | 119.00 | 476.00 | 150.00 | 600.00 | 230.00 | 920.00 | 476.00 | JAI ENTERPRISES
18.00 | Supplying and fixing of LAN socket outlet modular type on the existing modular plate & surface mounting box, including connections but excluding modular plate etc. as required. | 4.00 | Job |  | 314.00 | 1256.00 | 501.30 | 2005.20 | 450.00 | 1800.00 | 1400.00 | 5600.00 | 650.00 | 2600.00 | 600.00 | 2400.00 | 411.00 | 1644.00 | 852.00 | 3408.00 | 560.00 | 2240.00 | 499.00 | 1996.00 | 400.00 | 1600.00 | 150.00 | 600.00 | 450.00 | 1800.00 | 325.00 | 1300.00 | 600.00 | JAI ENTERPRISES
19.00 | Supplying and fixing 6 (2 Incomer + 4 Outgoing) way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing, cable end box and including all acessaries etc. as required. (But without MCB/RCCB/Isolator) | 9.00 | Each |  | 1786.00 | 16074.00 | 1930.50 | 17374.50 | 2182.00 | 19638.00 | 1362.00 | 12258.00 | 2800.00 | 25200.00 | 2100.00 | 18900.00 | 1708.00 | 15372.00 | 3500.00 | 31500.00 | 1950.00 | 17550.00 | 1920.00 | 17280.00 | 7000.00 | 63000.00 | 1661.00 | 14949.00 | 12500.00 | 112500.00 | 3500.00 | 31500.00 | 12258.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Supplying and fixing 12 (2 Incomer + 10 Outgoing) way, Double door,Single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 2.00 | Each |  | 2153.00 | 4306.00 | 2411.10 | 4822.20 | 2600.00 | 5200.00 | 1683.00 | 3366.00 | 3800.00 | 7600.00 | 3000.00 | 6000.00 | 2318.00 | 4636.00 | 4500.00 | 9000.00 | 2600.00 | 5200.00 | 2398.00 | 4796.00 | 14000.00 | 28000.00 | 2053.00 | 4106.00 | 12500.00 | 25000.00 | 5500.00 | 11000.00 | 3366.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Supply, Installation and Testing and commissioning of 3 phase surge diverter (lightning and transient surge protection for power line) for stage1 (Class B) which should be encapsulated spark gap type. The protection shall be provided at the incoming of the power line. It can withstand high impluse surges of 100KA.The mode of protection shall be both Common and Differential mode. It shall conform to UL-1449 / ICC-61043-21, It shall have LED indication on part phase to monitor the status of the SPD suitable for a wall mounting installation and shall be IP 42 or higher rated without fan cooling including making connection etc., as required as per the site conditions. | 2.00 | Each |  | 78042.00 | 156084.00 | 85500.00 | 171000.00 | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 36500.00 | 73000.00 | 84000.00 | 168000.00 | 91500.00 | 183000.00 | 65000.00 | 130000.00 | 68000.00 | 136000.00 | 85000.00 | 170000.00 | 100000.00 | 200000.00 | 100000.00 | 200000.00 | 132000.00 | 264000.00 | 14500.00 | 29000.00 | 29000.00 | RAJASTHAN CRANE SERVICES
22.00 | Supplying and fixing of following rating MCB, 240 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required.
22.01 | 6 amps to 32 amps Single Pole MCB, 240 volts, 10 kA, “C” curve | 64.00 | Each |  | 186.00 | 11904.00 | 361.80 | 23155.20 | 160.00 | 10240.00 | 163.18 | 10443.52 | 210.00 | 13440.00 | 350.00 | 22400.00 | 143.00 | 9152.00 | 150.00 | 9600.00 | 175.00 | 11200.00 | 360.00 | 23040.00 | 300.00 | 19200.00 | 120.00 | 7680.00 | 150.00 | 9600.00 | 180.00 | 11520.00 | 7680.00 | JAI ENTERPRISES
22.02 | 6 amps to 32 amps SPN MCB, 240 volts, 10 kA, “C” curve | 9.00 | Each |  | 446.00 | 4014.00 | 872.10 | 7848.90 | 460.00 | 4140.00 | 1050.00 | 9450.00 | 590.00 | 5310.00 | 800.00 | 7200.00 | 498.00 | 4482.00 | 400.00 | 3600.00 | 560.00 | 5040.00 | 867.00 | 7803.00 | 400.00 | 3600.00 | 370.00 | 3330.00 | 150.00 | 1350.00 | 250.00 | 2250.00 | 1350.00 | L L Electericals
22.03 | 40 amps SPN MCB, 240 volts, 10 kA, “C” curve | 2.00 | Each |  | 820.00 | 1640.00 | 1232.10 | 2464.20 | 660.00 | 1320.00 | 1400.00 | 2800.00 | 890.00 | 1780.00 | 1100.00 | 2200.00 | 756.00 | 1512.00 | 650.00 | 1300.00 | 910.00 | 1820.00 | 1225.00 | 2450.00 | 500.00 | 1000.00 | 600.00 | 1200.00 | 285.00 | 570.00 | 900.00 | 1800.00 | 570.00 | L L Electericals
23.00 | Supplying and drawing of 1 run of cable 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | 60.00 | Metre |  | 38.00 | 2280.00 | 16.20 | 972.00 | 60.00 | 3600.00 | 20.00 | 1200.00 | 32.00 | 1920.00 | 20.00 | 1200.00 | 24.00 | 1440.00 | 35.00 | 2100.00 | 25.00 | 1500.00 | 16.00 | 960.00 | 100.00 | 6000.00 | 30.00 | 1800.00 | 30.00 | 1800.00 | 60.00 | 3600.00 | 960.00 | M R ELECTRICALS
24.00 | Supplying and drawing of 1 run of cable CAT 6 Data Cable in the existing surface/recessed steel/ PVC conduit as required. | 60.00 | Metre |  | 53.00 | 3180.00 | 34.20 | 2052.00 | 60.00 | 3600.00 | 38.00 | 2280.00 | 115.00 | 6900.00 | 50.00 | 3000.00 | 38.00 | 2280.00 | 50.00 | 3000.00 | 35.00 | 2100.00 | 34.00 | 2040.00 | 150.00 | 9000.00 | 52.00 | 3120.00 | 55.00 | 3300.00 | 110.00 | 6600.00 | 2040.00 | M R ELECTRICALS
25.00 | Supplying and fixing two module stepped type electronic fan regulator on surface/recess mounted suitable size GI box with modular plate and cover in front including connections etc. as required. | 2.00 | Job |  | 803.00 | 1606.00 | 591.30 | 1182.60 | 500.00 | 1000.00 | 350.00 | 700.00 | 510.00 | 1020.00 | 700.00 | 1400.00 | 616.00 | 1232.00 | 500.00 | 1000.00 | 690.00 | 1380.00 | 588.00 | 1176.00 | 702.00 | 1404.00 | 250.00 | 500.00 | 450.00 | 900.00 | 250.00 | 500.00 | 500.00 | RAJASTHAN CRANE SERVICES, JAI ENTERPRISES
26.00 | Supplying and fixing of Water Proof (IP 65 ) enclosure of 3 Module Plastic Box with 6/ 16 A Socket and 16 Amp Switch including all connection as required. | 2.00 | Set |  | 2247.00 | 4494.00 | 714.60 | 1429.20 | 1550.00 | 3100.00 | 45.00 | 90.00 | 1125.00 | 2250.00 | 800.00 | 1600.00 | 3965.00 | 7930.00 | 800.00 | 1600.00 | 4400.00 | 8800.00 | 710.00 | 1420.00 | 800.00 | 1600.00 | 1800.00 | 3600.00 | 1200.00 | 2400.00 | 900.00 | 1800.00 | 90.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.00 | Supplying and fixing of Water Proof (IP 65 ) enclosure of 8 Module Plastic Box with 3 Nos. 6/ 16 A Socket and 2 Nos. 16 Amp Switch including all connection as required. | 1.00 | Set |  | 3442.00 | 3442.00 | 1687.50 | 1687.50 | 2500.00 | 2500.00 | 650.00 | 650.00 | 2550.00 | 2550.00 | 2000.00 | 2000.00 | 4941.00 | 4941.00 | 800.00 | 800.00 | 6300.00 | 6300.00 | 1678.00 | 1678.00 | 2700.00 | 2700.00 | 2200.00 | 2200.00 | 1800.00 | 1800.00 | 900.00 | 900.00 | 650.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.00 | Providing and fixing of Power data logger to monitor & record Voltage, Current, Frequency, Power factor, KWH, etc. with capability to store at least 7 days data as per technical specifications as site requirements. | 2.00 | Job |  | 22930.00 | 45860.00 | 22860.00 | 45720.00 | 20000.00 | 40000.00 | 4500.00 | 9000.00 | 400000.00 | 800000.00 | 24000.00 | 48000.00 | 20130.00 | 40260.00 | 50000.00 | 100000.00 | 49000.00 | 98000.00 | 22730.00 | 45460.00 | 12000.00 | 24000.00 | 35000.00 | 70000.00 | 24000.00 | 48000.00 | 50000.00 | 100000.00 | 9000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
29.00 | Floor Mounted Panel Design, Supply, Installation, Testing & Commissioning of 415 V, 3 phase AC supply totally enclosed type with Floor mounting dust and vermin proof fully compartmentalised indoor type cubical, IP42, LT distribution board fabricated from 2 mm. thick CRCA sheet, {conforming to IEC - 60439 (PTTA)} having all switch gear separate front hinged doors with properly fitted gasket, painting and complete with inter connection with suitable size PVC insulated Copper wire etc., and having following Switchgears, instruments etc, two nos. body earthing etc. as required. Panel shall be provided with class - II type surge Protection including Conection and providing following accessories etc. complete as per site requirement & Technical Specifications. Incomer: i) 2 No. - Thermal Magnetic 3 Phase 100 Amps. Four Pole Moulded Case Circuit Breaker having adjustable over load settings ( 80% - 100% x ln ) with Rotatry handle and Icu=Ics = 100% Icu at 415 V, 35 kA ii) 1 set - 100 Amps, Three phase, 415 V AC supply, TPN Change Over switch with Rotatry handle. iii) 6 Nos. - Phase indication LED lamps for each Phase with 6 Nos. 2 Amp MCB, breaker 'ON/OFF/TRIP' indicating light with 2A MCB. iv) 2 Set - Digital Multifunction Meter, accuracy class 0.5s, with LED screen as per specs. with 6 Nos. cast resin current transformers of dual core CT's of suitable Amp. ratio, 15 VA Class1.0 metering ,protection MCBs as required accessories to complete the system. Bus Bar: 1 Set-125 Amps, 415 V, 3 phase, 50 Hz AC Supply vertical TPN Copper Bus Bar. Outgoings (With LED indication lamp) : i) 3 Nos. - 32 Amp. 240 Volts, 10 kA, "C" Curve Single Pole MCB - For UPS Supply. ii) 6 Nos. - 20 Amp. 240 Volts, 10 kA, "C" Curve Single Pole MCB - For Split Acs. iii) 6 Nos. - 16 Amp. 240 Volts, 10 kA, "C" Curve Single Pole MCB - For Power Plugs iv) 8 Nos. - 10 Amp. 240 Volts, 10 kA, "C" Curve Single Pole MCB - For light Power v) 7 Nos. - 6 Amp. 240 Volts, 10 kA, "C" Curve Single Pole MCB - For Lighting Circuit | 2.00 | Job |  | 131221.00 | 262442.00 | 123363.00 | 246726.00 | 200000.00 | 400000.00 | 125000.00 | 250000.00 | 125000.00 | 250000.00 | 125000.00 | 250000.00 | 227347.00 | 454694.00 | 265000.00 | 530000.00 | 185000.00 | 370000.00 | 122675.00 | 245350.00 | 275000.00 | 550000.00 | 250000.00 | 500000.00 | 100000.00 | 200000.00 | 35000.00 | 70000.00 | 70000.00 | RAJASTHAN CRANE SERVICES
30.00 | Supply & laying of Electrical Insulating Rubber Mats as per IS 15652:2006, min. size of 1mtr x 2mtr x 3mm Thickness complete as required as per site condition. | 4.00 | Each |  | 2093.00 | 8372.00 | 2483.10 | 9932.40 | 2000.00 | 8000.00 | 1200.00 | 4800.00 | 1300.00 | 5200.00 | 3000.00 | 12000.00 | 1672.00 | 6688.00 | 2000.00 | 8000.00 | 3500.00 | 14000.00 | 2470.00 | 9880.00 | 4500.00 | 18000.00 | 700.00 | 2800.00 | 1200.00 | 4800.00 | 3500.00 | 14000.00 | 2800.00 | JAI ENTERPRISES
31.00 | Supply, installation, testing & commissioning of LED type single dome aviation obstruction light with all accessories and hardware etc. complete including necessary wiring etc. as required. | 2.00 | Job |  | 4046.00 | 8092.00 | 3643.20 | 7286.40 | 6000.00 | 12000.00 | 4500.00 | 9000.00 | 1250.00 | 2500.00 | 3500.00 | 7000.00 | 4331.00 | 8662.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 3623.00 | 7246.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 8000.00 | 16000.00 | 4500.00 | 9000.00 | 2500.00 | SKYLINE ELECTRICALS
32.00 | Supply of wall mounted rechargeable LED emergency light of 5 Watts, Battery Capacity min. 3.7 V, 2000 mAh Watts suitable for operation on 230V ± 10 %, 50 Hz ACsupply with all accessories complete as required & as specification. | 4.00 | Each |  | 2455.00 | 9820.00 | 1242.00 | 4968.00 | 3500.00 | 14000.00 | 1200.00 | 4800.00 | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 4636.00 | 18544.00 | 5000.00 | 20000.00 | 1600.00 | 6400.00 | 1235.00 | 4940.00 | 10000.00 | 40000.00 | 1690.00 | 6760.00 | 8500.00 | 34000.00 | 2500.00 | 10000.00 | 4800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
33.00 | Supply of Portable rechargeable LED emergency light of 5 Watts, Battery Capacity min. 3.7 V, 3000 mAh suitable for operation on 230V ± 10 %, 50 Hz AC supply with all accessories complete as required & as site requirement. | 2.00 | Each |  | 2455.00 | 4910.00 | 993.60 | 1987.20 | 3500.00 | 7000.00 | 1500.00 | 3000.00 | 3500.00 | 7000.00 | 950.00 | 1900.00 | 5002.00 | 10004.00 | 5000.00 | 10000.00 | 2100.00 | 4200.00 | 988.00 | 1976.00 | 12000.00 | 24000.00 | 1690.00 | 3380.00 | 8500.00 | 17000.00 | 3000.00 | 6000.00 | 1900.00 | Manish Electricals
34.00 | Supply of recessed mounted indoor light LED Batten fitting, with minimum output of 100 lumens per watt and wattage of minimum 20W, suitable for 230V Single Phase AC supply, 50Hz, PF>0.95 complete as required. The fixtures should comply with the specification available in respective Indian Standard Code for BIS. The fitting should have manufactures Name / Logo embossed on housing / body on aluminum plate labels or screen printed on housing / body.The agency has to submit unconditional guarantee for 5 years in writing for LED fittings from original manufacturers. | 33.00 | Each |  | 249.00 | 8217.00 | 274.50 | 9058.50 | 450.00 | 14850.00 | 350.00 | 11550.00 | 420.00 | 13860.00 | 290.00 | 9570.00 | 244.00 | 8052.00 | 850.00 | 28050.00 | 330.00 | 10890.00 | 273.00 | 9009.00 | 2000.00 | 66000.00 | 2000.00 | 66000.00 | 800.00 | 26400.00 | 270.00 | 8910.00 | 8052.00 | M/s. Shree Gokulesh Electric and Engg CO
35.00 | Supply of outdoor Street Light LED fitting, with minimum output of 110 lumens per watt and wattage of minimum 28W, 3000K, suitable for 230V Single Phase AC supply, 50Hz, PF>0.95 complete as required. The fixtures should comply with the specification available in respective Indian Standard Code for BIS. The fitting should have manufactures Name / Logo embossed on housing / body on aluminum plate labels or screen printed on housing / body.The agency has to submit unconditional guarantee for 5 years in writing for LED fittings from original manufacturers. | 8.00 | Each |  | 1308.00 | 10464.00 | 1821.60 | 14572.80 | 1350.00 | 10800.00 | 7500.00 | 60000.00 | 2800.00 | 22400.00 | 2200.00 | 17600.00 | 1403.00 | 11224.00 | 5500.00 | 44000.00 | 1500.00 | 12000.00 | 1812.00 | 14496.00 | 3600.00 | 28800.00 | 9000.00 | 72000.00 | 3000.00 | 24000.00 | 1340.00 | 10720.00 | 10464.00 | SARASWAT ENGINEERING SERVICES
36.00 | Supplying and fixing of 32 mm dia X 2.00 metres long G.I. pipe (medium class) bracket for mounting of LED / HPMV / HPSV street light fitting on pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. | 8.00 | Each |  | 1315.00 | 10520.00 | 800.10 | 6400.80 | 2500.00 | 20000.00 | 800.00 | 6400.00 | 650.00 | 5200.00 | 900.00 | 7200.00 | 958.00 | 7664.00 | 1250.00 | 10000.00 | 1800.00 | 14400.00 | 795.00 | 6360.00 | 1400.00 | 11200.00 | 350.00 | 2800.00 | 2000.00 | 16000.00 | 4000.00 | 32000.00 | 2800.00 | JAI ENTERPRISES
37.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/ LED fittings of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 41.00 | Each |  | 206.00 | 8446.00 | 137.70 | 5645.70 | 250.00 | 10250.00 | 20.00 | 820.00 | 50.00 | 2050.00 | 125.00 | 5125.00 | 305.00 | 12505.00 | 500.00 | 20500.00 | 175.00 | 7175.00 | 135.00 | 5535.00 | 300.00 | 12300.00 | 50.00 | 2050.00 | 200.00 | 8200.00 | 200.00 | 8200.00 | 820.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
38.00 | SITC of 400 mm Sweep wall fan suitable to operate on 230 Volts 50 Hz A.C. as required. | 9.00 | Each |  | 2607.00 | 23463.00 | 2172.60 | 19553.40 | 2550.00 | 22950.00 | 3200.00 | 28800.00 | 2900.00 | 26100.00 | 2600.00 | 23400.00 | 2257.00 | 20313.00 | 2500.00 | 22500.00 | 2600.00 | 23400.00 | 2160.00 | 19440.00 | 2700.00 | 24300.00 | 3000.00 | 27000.00 | 3500.00 | 31500.00 | 2800.00 | 25200.00 | 19440.00 | M R ELECTRICALS
39.00 | Supply of Energy efficient ( 5 Star Rated ) 1200mm ceiling fan complete with fan blades, top and bottom canopy with all accessories suitable for operation on 230V , 50Hz AC supply, including wiring with 1.5 Sq. mm FRLSH PVC insulated Copper Conductor, Single core cable etc. as required. | 2.00 | Each |  | 2698.00 | 5396.00 | 2897.10 | 5794.20 | 3000.00 | 6000.00 | 2200.00 | 4400.00 | 2800.00 | 5600.00 | 3500.00 | 7000.00 | 1952.00 | 3904.00 | 2500.00 | 5000.00 | 2800.00 | 5600.00 | 2880.00 | 5760.00 | 4600.00 | 9200.00 | 3500.00 | 7000.00 | 1800.00 | 3600.00 | 2200.00 | 4400.00 | 3600.00 | L L Electericals
40.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable, including providing and fixing cover on the fan box etc. as required. | 2.00 | Each |  | 413.00 | 826.00 | 145.80 | 291.60 | 250.00 | 500.00 | 150.00 | 300.00 | 350.00 | 700.00 | 200.00 | 400.00 | 305.00 | 610.00 | 500.00 | 1000.00 | 150.00 | 300.00 | 145.00 | 290.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 200.00 | 400.00 | 250.00 | 500.00 | 200.00 | JAI ENTERPRISES
41.00 | SITC of Exhaust Fan with Automatic Back shutters 150mm Sweep, with min. 2200 RPM high suction capacity, low noise, corrosion protected with rust proof body and blade, suitable for 230 V, 50Hz Single Phase AC complete with all accessories as required. | 4.00 | Each |  | 1574.00 | 6296.00 | 1075.50 | 4302.00 | 1700.00 | 6800.00 | 1200.00 | 4800.00 | 1850.00 | 7400.00 | 1400.00 | 5600.00 | 2270.00 | 9080.00 | 3500.00 | 14000.00 | 4200.00 | 16800.00 | 1070.00 | 4280.00 | 3500.00 | 14000.00 | 2000.00 | 8000.00 | 1800.00 | 7200.00 | 3000.00 | 12000.00 | 4280.00 | M R ELECTRICALS
42.00 | Supply of 5 Star rating fully inverter split type Air conditioner of 1.5 TR capacity fitted with rotary/scroll compressor suitable for wall mounting operation with cordless LCD/LED Remote, Auto restart operation, connecting copper refrigerant pipes (with suitable nitrile insulation including charging of suitable refrigerant gas, 3C x 2.5 Sq.mm copper pvc cable, drain pipe) up to 3Mtr. and suitable for operating on 230V ±10%, 50Hz, Single Phase, AC supply including mounting stand, control wiring, thermostat, washable synthetic air filter etc. complete as per site requirement and capable of performing Cooling, Dehumidifying, Air Circulating, Filtering functions etc. as required. The Split Air-Conditioners having indoor unit made of fire retardant material along with in built overload and short circuit protection specially for motor of indoor unit shall be provided as per site requirement. | 10.00 | Each |  | 48615.00 | 486150.00 | 40599.00 | 405990.00 | 37500.00 | 375000.00 | 42000.00 | 420000.00 | 35000.00 | 350000.00 | 42500.00 | 425000.00 | 36112.00 | 361120.00 | 55000.00 | 550000.00 | 39000.00 | 390000.00 | 40400.00 | 404000.00 | 72000.00 | 720000.00 | 45000.00 | 450000.00 | 45000.00 | 450000.00 | 41000.00 | 410000.00 | 350000.00 | SKYLINE ELECTRICALS
43.00 | Installation, testing and commissioning of 5 Star rating fully inverter split type Air conditioner of 1.5TR capacity and fixing of extra refrigerant copper piping of suitable size for both suction and discharge along with suitable nitrile / thermal Insulation and Electrical Cable of size 3 Core x 2.5 Sq. mm copper conductor for connection from indoor to outdoor unit including charging of suitable refrigerant gas, and suitable necessary accessories for connection complete as per site requirement. | 10.00 | Each |  | 3538.00 | 35380.00 | 1755.00 | 17550.00 | 2500.00 | 25000.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 2500.00 | 25000.00 | 2318.00 | 23180.00 | 3500.00 | 35000.00 | 1800.00 | 18000.00 | 1745.00 | 17450.00 | 72000.00 | 720000.00 | 2000.00 | 20000.00 | 5000.00 | 50000.00 | 2000.00 | 20000.00 | 17450.00 | M R ELECTRICALS
44.00 | Supply and fixing of 75mm dia medium class FRLS PVC pipe for covering refrigerant copper piping for both suction , discharge and Electrical Cable with suitable necessary accessories for pipe connection complete as required. | 40.00 | Mtr |  | 820.00 | 32800.00 | 409.50 | 16380.00 | 1500.00 | 60000.00 | 350.00 | 14000.00 | 150.00 | 6000.00 | 450.00 | 18000.00 | 293.00 | 11720.00 | 250.00 | 10000.00 | 350.00 | 14000.00 | 407.00 | 16280.00 | 200.00 | 8000.00 | 150.00 | 6000.00 | 250.00 | 10000.00 | 240.00 | 9600.00 | 6000.00 | JAI ENTERPRISES, SKYLINE ELECTRICALS
45.00 | Supply and fixing of hard PVC drain pipe connection from indoor to outside of wall including bends necessary accessories for connection etc. complete as required. | 50.00 | Mtr |  | 99.00 | 4950.00 | 170.10 | 8505.00 | 70.00 | 3500.00 | 150.00 | 7500.00 | 125.00 | 6250.00 | 150.00 | 7500.00 | 59.00 | 2950.00 | 125.00 | 6250.00 | 120.00 | 6000.00 | 169.00 | 8450.00 | 500.00 | 25000.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 2950.00 | M/s. Shree Gokulesh Electric and Engg CO
46.00 | Supply and fixing of 4KVA, suitable for incoming Power supply 150V-290V Digital electronics voltage stabilizer of wall mounting type with Instant Start and Intelligent time delay provisions suitable for 1.5TR Split AC units, auto Cut-off should be there for voltage disturbances, etc. as required as per technical specifications. | 10.00 | Each |  | 6049.00 | 60490.00 | 4914.00 | 49140.00 | 2100.00 | 21000.00 | 3500.00 | 35000.00 | 5500.00 | 55000.00 | 4800.00 | 48000.00 | 3172.00 | 31720.00 | 7150.00 | 71500.00 | 3500.00 | 35000.00 | 4885.00 | 48850.00 | 6500.00 | 65000.00 | 2500.00 | 25000.00 | 4500.00 | 45000.00 | 5000.00 | 50000.00 | 21000.00 | Ascent Electrification Engineers
47.00 | Design, Supply, Installation, testing and commissioning of power supply interchange unit for 4 hours duration by providing timer, contactor, connection, indication lamp, etc. suitable to interchange operation of 2 Nos. main 1.5 TR AC unit by Standby 2 Nos. 1.5 TR AC including wiring, suitable housing with complete accessories, complete as per site requirement. | 2.00 | Job |  | 16774.00 | 33548.00 | 8892.00 | 17784.00 | 21500.00 | 43000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 9577.00 | 19154.00 | 25000.00 | 50000.00 | 4500.00 | 9000.00 | 8840.00 | 17680.00 | 430000.00 | 860000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 15000.00 | 30000.00 | 6000.00 | L L Electericals
48.00 | SITC of 1 loop addressable for 30 device fire alarm control panel with ( 2 X 12 volts – 7AH) sealed maintenance free batteries including Battery Charger and auto dialer system. Control panel shall have A. 80 character display unit., B. Power supply unit, C. Facility for networking with other similar panel with RS-485 port/other advance interface medium. D. Sealed maintenance free batteries for 24 hours backup, E. Auto dialer with 20 nos. dialing facility (U.L. Listed, FM approved) | 2.00 | Job |  | 515137.00 | 1030274.00 | 88650.00 | 177300.00 | 50050.00 | 100100.00 | 10000.00 | 20000.00 | 80000.00 | 160000.00 | 102000.00 | 204000.00 | 532154.00 | 1064308.00 | 135000.00 | 270000.00 | 175000.00 | 350000.00 | 88150.00 | 176300.00 | 100000.00 | 200000.00 | 20000.00 | 40000.00 | 250000.00 | 500000.00 | 60000.00 | 120000.00 | 20000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
49.00 | Supply, installation, testing and commissioning of UL listed (Latest Version) Intelligent Addressable Photoelectric type Smoke Detector with mounting base, LED with electronic/rotary switch Addressing feature to programme the detectors complete as required to be installed under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required | 6.00 | Each |  | 6962.00 | 41772.00 | 2295.00 | 13770.00 | 2585.00 | 15510.00 | 3500.00 | 21000.00 | 5000.00 | 30000.00 | 3000.00 | 18000.00 | 4056.00 | 24336.00 | 4500.00 | 27000.00 | 3000.00 | 18000.00 | 2280.00 | 13680.00 | 15000.00 | 90000.00 | 1200.00 | 7200.00 | 3500.00 | 21000.00 | 4000.00 | 24000.00 | 7200.00 | JAI ENTERPRISES
50.00 | Supply, installation, testing and commissioning of UL listed (Latest Version) Hooter cum Strobe c with control module interconnecting to loop cable complete as required | 2.00 | Each |  | 16415.00 | 32830.00 | 2565.00 | 5130.00 | 4895.00 | 9790.00 | 3500.00 | 7000.00 | 5500.00 | 11000.00 | 3000.00 | 6000.00 | 7320.00 | 14640.00 | 9500.00 | 19000.00 | 3250.00 | 6500.00 | 2550.00 | 5100.00 | 10000.00 | 20000.00 | 900.00 | 1800.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 1800.00 | JAI ENTERPRISES
51.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 50.00 | Mtrs. |  | 380.00 | 19000.00 | 223.20 | 11160.00 | 225.00 | 11250.00 | 110.00 | 5500.00 | 150.00 | 7500.00 | 160.00 | 8000.00 | 117.00 | 5850.00 | 325.00 | 16250.00 | 150.00 | 7500.00 | 222.00 | 11100.00 | 100.00 | 5000.00 | 120.00 | 6000.00 | 135.00 | 6750.00 | 175.00 | 8750.00 | 5000.00 | SANGYA SAHARSHINI INFRA
52.00 | Providing , Fixing, Testing and commissioning ISI marked portable type fire extinguishers CO2 type 9 kg capacity as per as per IS -15683 complete as per specification and fixed/install as per site condition. | 6.00 | Each |  | 11910.00 | 71460.00 | 8820.00 | 52920.00 | 8250.00 | 49500.00 | 6400.00 | 38400.00 | 9500.00 | 57000.00 | 11000.00 | 66000.00 | 11010.00 | 66060.00 | 9500.00 | 57000.00 | 13500.00 | 81000.00 | 8770.00 | 52620.00 | 19000.00 | 114000.00 | 20815.00 | 124890.00 | 9000.00 | 54000.00 | 9000.00 | 54000.00 | 38400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
53.00 | Providing , Fixing, Testing and commissioning ISI marked portable type fire extinguishers of 5 kg capacity ABC Dry chemical power as per IS -15683 complete as per specification and fixed/install as per site condition | 2.00 | Each |  | 2661.00 | 5322.00 | 2925.00 | 5850.00 | 5600.00 | 11200.00 | 1850.00 | 3700.00 | 1350.00 | 2700.00 | 3500.00 | 7000.00 | 2043.00 | 4086.00 | 12500.00 | 25000.00 | 2600.00 | 5200.00 | 2910.00 | 5820.00 | 15000.00 | 30000.00 | 11128.00 | 22256.00 | 1500.00 | 3000.00 | 7000.00 | 14000.00 | 2700.00 | SKYLINE ELECTRICALS
54.00 | Supply of 2CX35 Sq. mm of FR, PVC XLPE insulated PVC sheated,Aluminium conducter armoured electric cable of 1.1 KV grade confirming to IS 1554 PART-I/IS 7089 PART-I with upto date amended. | 4600.00 | Meter |  | 145.00 | 667000.00 | 185.40 | 852840.00 | 133.00 | 611800.00 | 170.00 | 782000.00 | 190.00 | 874000.00 | 186.00 | 855600.00 | 146.00 | 671600.00 | 175.00 | 805000.00 | 150.00 | 690000.00 | 185.00 | 851000.00 | 288.00 | 1324800.00 | 250.00 | 1150000.00 | 225.00 | 1035000.00 | 210.00 | 966000.00 | 611800.00 | Ascent Electrification Engineers
55.00 | Supply of 3.5X185 sq mm size FR, XLPE insulated and PVC sheathed armoured Aluminium power cable of 1.1 KV grade of confirming to IS 7098 (Part 1) with up to date amendments etc complete as required. | 7300.00 | Metre |  | 861.00 | 6285300.00 | 918.00 | 6701400.00 | 788.00 | 5752400.00 | 975.70 | 7122610.00 | 820.00 | 5986000.00 | 985.00 | 7190500.00 | 833.00 | 6080900.00 | 895.00 | 6533500.00 | 800.00 | 5840000.00 | 913.00 | 6664900.00 | 1690.00 | 12337000.00 | 1200.00 | 8760000.00 | 1000.00 | 7300000.00 | 1035.00 | 7555500.00 | 5752400.00 | Ascent Electrification Engineers
56.00 | Supplying and laying of 40 mm dia (OD- 40 mm & ID- 32 mm nominal) size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 9700.00 | Metre |  | 153.00 | 1484100.00 | 151.20 | 1466640.00 | 120.00 | 1164000.00 | 95.00 | 921500.00 | 200.00 | 1940000.00 | 130.00 | 1261000.00 | 61.00 | 591700.00 | 100.00 | 970000.00 | 130.00 | 1261000.00 | 150.00 | 1455000.00 | 660.00 | 6402000.00 | 90.00 | 873000.00 | 120.00 | 1164000.00 | 175.00 | 1697500.00 | 591700.00 | M/s. Shree Gokulesh Electric and Engg CO
57.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
57.01 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 4600.00 | Metre |  | 133.00 | 611800.00 | 193.50 | 890100.00 | 135.00 | 621000.00 | 130.20 | 598920.00 | 160.00 | 736000.00 | 190.00 | 874000.00 | 229.00 | 1053400.00 | 125.00 | 575000.00 | 135.00 | 621000.00 | 190.00 | 874000.00 | 700.00 | 3220000.00 | 109.00 | 501400.00 | 120.00 | 552000.00 | 225.00 | 1035000.00 | 501400.00 | JAI ENTERPRISES
57.02 | 110 mm dia (OD- 110 mm & ID- 92 mm nominal) | 300.00 | Metre |  | 210.00 | 63000.00 | 261.00 | 78300.00 | 190.00 | 57000.00 | 206.50 | 61950.00 | 295.00 | 88500.00 | 250.00 | 75000.00 | 322.00 | 96600.00 | 180.00 | 54000.00 | 199.00 | 59700.00 | 260.00 | 78000.00 | 870.00 | 261000.00 | 240.00 | 72000.00 | 180.00 | 54000.00 | 480.00 | 144000.00 | 54000.00 | L L Electericals, RASS CONTRACTOR AND ENGINEERS
57.03 | 160 mm dia (OD- 160 mm & ID- 135 mm nominal) | 7450.00 | Metre |  | 281.00 | 2093450.00 | 396.00 | 2950200.00 | 260.00 | 1937000.00 | 306.25 | 2281562.50 | 345.00 | 2570250.00 | 380.00 | 2831000.00 | 429.00 | 3196050.00 | 285.00 | 2123250.00 | 275.00 | 2048750.00 | 395.00 | 2942750.00 | 1000.00 | 7450000.00 | 358.00 | 2667100.00 | 250.00 | 1862500.00 | 560.00 | 4172000.00 | 1862500.00 | L L Electericals
58.00 | Providing, laying and fixing following dia G.I. pipe 3mm thickness in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required
58.01 | 80 mm dia | 120.00 | Metre |  | 1845.00 | 221400.00 | 905.40 | 108648.00 | 915.00 | 109800.00 | 850.00 | 102000.00 | 1050.00 | 126000.00 | 900.00 | 108000.00 | 1256.00 | 150720.00 | 1350.00 | 162000.00 | 890.00 | 106800.00 | 900.00 | 108000.00 | 1000.00 | 120000.00 | 629.00 | 75480.00 | 600.00 | 72000.00 | 925.00 | 111000.00 | 72000.00 | L L Electericals
58.02 | 150 mm dia | 100.00 | Metre |  | 4420.00 | 442000.00 | 1566.90 | 156690.00 | 1870.00 | 187000.00 | 1700.00 | 170000.00 | 1950.00 | 195000.00 | 1560.00 | 156000.00 | 2344.00 | 234400.00 | 2150.00 | 215000.00 | 1900.00 | 190000.00 | 1560.00 | 156000.00 | 2000.00 | 200000.00 | 1404.00 | 140400.00 | 1200.00 | 120000.00 | 1560.00 | 156000.00 | 120000.00 | L L Electericals
59.00 | Supply & laying of Nylon Rope of min. 8 mm dia. having min. continueous length of 150 meters, for pulling cable in existing DWC/ HDPE/ Hume pipe. | 9800.00 | Metre |  | 17.00 | 166600.00 | 22.50 | 220500.00 | 7.00 | 68600.00 | 20.00 | 196000.00 | 28.00 | 274400.00 | 22.00 | 215600.00 | 7.00 | 68600.00 | 1.50 | 14700.00 | 13.00 | 127400.00 | 22.50 | 220500.00 | 100.00 | 980000.00 | 15.00 | 147000.00 | 22.00 | 215600.00 | 30.00 | 294000.00 | 14700.00 | RASS CONTRACTOR AND ENGINEERS
60.00 | Laying of one number FR, PVC XLPE insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of upto 35 sq. mm size in the existing RCC/ HUME/ METAL pipe as required. | 4600.00 | Meter |  | 29.00 | 133400.00 | 24.30 | 111780.00 | 28.00 | 128800.00 | 20.00 | 92000.00 | 40.00 | 184000.00 | 20.00 | 92000.00 | 43.00 | 197800.00 | 25.00 | 115000.00 | 38.00 | 174800.00 | 24.00 | 110400.00 | 90.00 | 414000.00 | 30.00 | 138000.00 | 50.00 | 230000.00 | 20.00 | 92000.00 | 92000.00 | RAJASTHAN CRANE SERVICES, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Manish Electricals
61.00 | Laying of one number FR, XLPE insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of Above 95 sq mm and upto 185 sq. mm size in the existing RCC/ HUME/ METAL/DWC HDPE pipe as required. | 7300.00 | Metre |  | 77.00 | 562100.00 | 50.40 | 367920.00 | 55.00 | 401500.00 | 50.00 | 365000.00 | 55.00 | 401500.00 | 30.00 | 219000.00 | 79.00 | 576700.00 | 35.00 | 255500.00 | 45.00 | 328500.00 | 50.00 | 365000.00 | 160.00 | 1168000.00 | 100.00 | 730000.00 | 60.00 | 438000.00 | 20.00 | 146000.00 | 146000.00 | RAJASTHAN CRANE SERVICES
62.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for 2CX35 Sq mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 6.00 | Each |  | 4512.00 | 27072.00 | 2157.30 | 12943.80 | 3400.00 | 20400.00 | 5000.00 | 30000.00 | 1400.00 | 8400.00 | 1600.00 | 9600.00 | 1952.00 | 11712.00 | 5000.00 | 30000.00 | 2200.00 | 13200.00 | 2150.00 | 12900.00 | 10000.00 | 60000.00 | 700.00 | 4200.00 | 5000.00 | 30000.00 | 1600.00 | 9600.00 | 4200.00 | JAI ENTERPRISES
63.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for 3.5CX185 Sq mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 12.00 | Each |  | 8234.00 | 98808.00 | 4399.20 | 52790.40 | 4500.00 | 54000.00 | 7000.00 | 84000.00 | 4500.00 | 54000.00 | 3500.00 | 42000.00 | 3050.00 | 36600.00 | 6500.00 | 78000.00 | 4400.00 | 52800.00 | 4375.00 | 52500.00 | 15000.00 | 180000.00 | 3000.00 | 36000.00 | 12000.00 | 144000.00 | 3500.00 | 42000.00 | 36000.00 | JAI ENTERPRISES
64.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 2 X 35 sq. mm (25mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 18.00 | Set |  | 429.00 | 7722.00 | 203.40 | 3661.20 | 2000.00 | 36000.00 | 450.00 | 8100.00 | 850.00 | 15300.00 | 200.00 | 3600.00 | 366.00 | 6588.00 | 1500.00 | 27000.00 | 350.00 | 6300.00 | 202.00 | 3636.00 | 300.00 | 5400.00 | 300.00 | 5400.00 | 2000.00 | 36000.00 | 500.00 | 9000.00 | 3600.00 | Manish Electricals
65.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3½ X 185 sq. mm (57 mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 8.00 | Set |  | 1496.00 | 11968.00 | 559.80 | 4478.40 | 2500.00 | 20000.00 | 800.00 | 6400.00 | 2500.00 | 20000.00 | 1000.00 | 8000.00 | 1037.00 | 8296.00 | 2500.00 | 20000.00 | 750.00 | 6000.00 | 557.00 | 4456.00 | 500.00 | 4000.00 | 600.00 | 4800.00 | 2500.00 | 20000.00 | 1000.00 | 8000.00 | 4000.00 | SANGYA SAHARSHINI INFRA
66.00 | Constructing brick masonry road gully chamber 60x60x75 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 600x600 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 107.00 | Job |  | 11245.00 | 1203215.00 | 3848.40 | 411778.80 | 6000.00 | 642000.00 | 4000.00 | 428000.00 | 5000.00 | 535000.00 | 7500.00 | 802500.00 | 6710.00 | 717970.00 | 8250.00 | 882750.00 | 4900.00 | 524300.00 | 3850.00 | 411950.00 | 5200.00 | 556400.00 | 4500.00 | 481500.00 | 4000.00 | 428000.00 | 7500.00 | 802500.00 | 411778.80 | RANA AND SONI ENTERPRISES PRIVATE LIMITED
67.00 | Supply and fixing of 63 Amps Double Pole change over switch, having 3 positions (I-O-II) with centre off position, conforms to IEC 60947-3 & IS/ IEC 60947-3, suitable for single phase 240 V 50 Hz AC supply complete as requierd. | 2.00 | Each |  | 14024.00 | 28048.00 | 2144.70 | 4289.40 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 6500.00 | 13000.00 | 2500.00 | 5000.00 | 6222.00 | 12444.00 | 2500.00 | 5000.00 | 3700.00 | 7400.00 | 2150.00 | 4300.00 | 15000.00 | 30000.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
68.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 337.00 | Each |  | 755.00 | 254435.00 | 454.50 | 153166.50 | 450.00 | 151650.00 | 1250.00 | 421250.00 | 3200.00 | 1078400.00 | 400.00 | 134800.00 | 1037.00 | 349469.00 | 500.00 | 168500.00 | 500.00 | 168500.00 | 450.00 | 151650.00 | 2500.00 | 842500.00 | 100.00 | 33700.00 | 2000.00 | 674000.00 | 250.00 | 84250.00 | 33700.00 | JAI ENTERPRISES
69.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 13.00 | Set |  | 12055.00 | 156715.00 | 4897.80 | 63671.40 | 6500.00 | 84500.00 | 6200.00 | 80600.00 | 10500.00 | 136500.00 | 7000.00 | 91000.00 | 9223.00 | 119899.00 | 8500.00 | 110500.00 | 8000.00 | 104000.00 | 4870.00 | 63310.00 | 12600.00 | 163800.00 | 800.00 | 10400.00 | 15000.00 | 195000.00 | 5500.00 | 71500.00 | 10400.00 | JAI ENTERPRISES
70.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 60.00 | Metre |  | 429.00 | 25740.00 | 104.40 | 6264.00 | 160.00 | 9600.00 | 150.00 | 9000.00 | 280.00 | 16800.00 | 300.00 | 18000.00 | 189.00 | 11340.00 | 225.00 | 13500.00 | 175.00 | 10500.00 | 104.00 | 6240.00 | 1200.00 | 72000.00 | 200.00 | 12000.00 | 70.00 | 4200.00 | 560.00 | 33600.00 | 4200.00 | L L Electericals
71.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 40.00 | Metre |  | 934.00 | 37360.00 | 381.60 | 15264.00 | 670.00 | 26800.00 | 495.00 | 19800.00 | 550.00 | 22000.00 | 500.00 | 20000.00 | 442.00 | 17680.00 | 625.00 | 25000.00 | 650.00 | 26000.00 | 380.00 | 15200.00 | 900.00 | 36000.00 | 400.00 | 16000.00 | 250.00 | 10000.00 | 800.00 | 32000.00 | 10000.00 | L L Electericals
72.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 45.00 | Metre |  | 422.00 | 18990.00 | 176.40 | 7938.00 | 12.00 | 540.00 | 180.00 | 8100.00 | 180.00 | 8100.00 | 200.00 | 9000.00 | 122.00 | 5490.00 | 325.00 | 14625.00 | 290.00 | 13050.00 | 175.00 | 7875.00 | 250.00 | 11250.00 | 110.00 | 4950.00 | 200.00 | 9000.00 | 215.00 | 9675.00 | 540.00 | Ascent Electrification Engineers
73.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 35.00 | Metre |  | 241.00 | 8435.00 | 163.80 | 5733.00 | 125.00 | 4375.00 | 150.00 | 5250.00 | 335.00 | 11725.00 | 400.00 | 14000.00 | 131.00 | 4585.00 | 225.00 | 7875.00 | 150.00 | 5250.00 | 163.00 | 5705.00 | 180.00 | 6300.00 | 75.00 | 2625.00 | 70.00 | 2450.00 | 400.00 | 14000.00 | 2450.00 | L L Electericals
74.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 50.00 | Metre |  | 40.00 | 2000.00 | 45.00 | 2250.00 | 20.00 | 1000.00 | 28.00 | 1400.00 | 50.00 | 2500.00 | 60.00 | 3000.00 | 23.00 | 1150.00 | 45.00 | 2250.00 | 22.00 | 1100.00 | 45.00 | 2250.00 | 75.00 | 3750.00 | 10.71 | 535.50 | 30.00 | 1500.00 | 30.00 | 1500.00 | 535.50 | JAI ENTERPRISES
75.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 11.00 | Set |  | 19261.00 | 211871.00 | 10461.60 | 115077.60 | 15800.00 | 173800.00 | 12000.00 | 132000.00 | 18500.00 | 203500.00 | 18000.00 | 198000.00 | 16958.00 | 186538.00 | 15500.00 | 170500.00 | 15000.00 | 165000.00 | 10400.00 | 114400.00 | 21000.00 | 231000.00 | 12000.00 | 132000.00 | 25000.00 | 275000.00 | 12500.00 | 137500.00 | 114400.00 | M R ELECTRICALS
76.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with brassing/ nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 270.00 | Metre |  | 1542.00 | 416340.00 | 673.20 | 181764.00 | 1160.00 | 313200.00 | 900.00 | 243000.00 | 750.00 | 202500.00 | 980.00 | 264600.00 | 1293.00 | 349110.00 | 900.00 | 243000.00 | 1100.00 | 297000.00 | 748.00 | 201960.00 | 1800.00 | 486000.00 | 400.00 | 108000.00 | 1500.00 | 405000.00 | 750.00 | 202500.00 | 108000.00 | JAI ENTERPRISES
77.00 | Providing and laying earth connection from earth electrode with min. 4.00 mm dia copper wire in 15 mm dia G.I. pipe from earth electrode including connection with copper thimble excavation and re-filling as required. | 530.00 | Metre |  | 510.00 | 270300.00 | 203.40 | 107802.00 | 176.00 | 93280.00 | 195.00 | 103350.00 | 280.00 | 148400.00 | 300.00 | 159000.00 | 138.00 | 73140.00 | 250.00 | 132500.00 | 515.00 | 272950.00 | 202.00 | 107060.00 | 600.00 | 318000.00 | 60.00 | 31800.00 | 600.00 | 318000.00 | 225.00 | 119250.00 | 31800.00 | JAI ENTERPRISES
78.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc. complete as required. | 6.00 | Each |  | 6420.00 | 38520.00 | 354.60 | 2127.60 | 4500.00 | 27000.00 | 800.00 | 4800.00 | 3500.00 | 21000.00 | 400.00 | 2400.00 | 2196.00 | 13176.00 | 1250.00 | 7500.00 | 750.00 | 4500.00 | 352.00 | 2112.00 | 15000.00 | 90000.00 | 200.00 | 1200.00 | 5000.00 | 30000.00 | 3000.00 | 18000.00 | 1200.00 | JAI ENTERPRISES
79.00 | Automatic Fire supression System
79.01 | 34 Litres Seamless Cylinder PESO Approved, complete with PESO, VdS Approved valve assembly having diameter 33mm with inlet male 2.5'' and a pressure gauge with a safety burst disc (at 78 bar) and a safety cap. | 6.00 | Nos. |  | 84511.00 | 507066.00 | 63396.00 | 380376.00 | 65000.00 | 390000.00 | 50000.00 | 300000.00 | 105000.00 | 630000.00 | 74000.00 | 444000.00 | 99431.00 | 596586.00 | 94500.00 | 567000.00 | 65000.00 | 390000.00 | 63000.00 | 378000.00 | 25000.00 | 150000.00 | 10500.00 | 63000.00 | 100000.00 | 600000.00 | 10000.00 | 60000.00 | 60000.00 | RAJASTHAN CRANE SERVICES
79.02 | UL Listed NOVEC 1230 (FK-5-1-12) Fire Extinguishing Agent | 153.00 | Kgs. |  | 3263.00 | 499239.00 | 2250.00 | 344250.00 | 2840.00 | 434520.00 | 300.00 | 45900.00 | 2550.00 | 390150.00 | 2200.00 | 336600.00 | 4367.00 | 668151.00 | 2850.00 | 436050.00 | 2500.00 | 382500.00 | 2240.00 | 342720.00 | 6000.00 | 918000.00 | 2200.00 | 336600.00 | 3700.00 | 566100.00 | 150.00 | 22950.00 | 22950.00 | RAJASTHAN CRANE SERVICES
79.03 | Vds, LPCB Approved Electromagnetic Release Device - 24V DC | 6.00 | Nos. |  | 16509.00 | 99054.00 | 28656.00 | 171936.00 | 18725.00 | 112350.00 | 5000.00 | 30000.00 | 14000.00 | 84000.00 | 35000.00 | 210000.00 | 47397.00 | 284382.00 | 31500.00 | 189000.00 | 30000.00 | 180000.00 | 28500.00 | 171000.00 | 3000.00 | 18000.00 | 1200.00 | 7200.00 | 36500.00 | 219000.00 | 7500.00 | 45000.00 | 7200.00 | JAI ENTERPRISES
79.04 | Vds, LPCB Approved Manual Release Device | 6.00 | Nos. |  | 9434.00 | 56604.00 | 3715.20 | 22291.20 | 16585.00 | 99510.00 | 5000.00 | 30000.00 | 20500.00 | 123000.00 | 4000.00 | 24000.00 | 19520.00 | 117120.00 | 10350.00 | 62100.00 | 5000.00 | 30000.00 | 3700.00 | 22200.00 | 36000.00 | 216000.00 | 850.00 | 5100.00 | 40000.00 | 240000.00 | 75000.00 | 450000.00 | 5100.00 | JAI ENTERPRISES
79.05 | Vds Approved Flexible Discharge Hose DN-40 | 6.00 | Nos. |  | 12578.00 | 75468.00 | 12800.70 | 76804.20 | 8025.00 | 48150.00 | 3000.00 | 18000.00 | 10000.00 | 60000.00 | 15000.00 | 90000.00 | 19520.00 | 117120.00 | 25200.00 | 151200.00 | 10000.00 | 60000.00 | 12730.00 | 76380.00 | 900.00 | 5400.00 | 1200.00 | 7200.00 | 15000.00 | 90000.00 | 3000.00 | 18000.00 | 5400.00 | SANGYA SAHARSHINI INFRA
79.06 | Vds Approved Discharge Nozzles - 1800/3600 Discharge Pattern - 1'' | 6.00 | Nos. |  | 8910.00 | 53460.00 | 7236.00 | 43416.00 | 4815.00 | 28890.00 | 4000.00 | 24000.00 | 4200.00 | 25200.00 | 9000.00 | 54000.00 | 6588.00 | 39528.00 | 11250.00 | 67500.00 | 4500.00 | 27000.00 | 7200.00 | 43200.00 | 10000.00 | 60000.00 | 800.00 | 4800.00 | 5000.00 | 30000.00 | 7500.00 | 45000.00 | 4800.00 | JAI ENTERPRISES
79.07 | M S Container Strap | 12.00 | Nos. |  | 1638.00 | 19656.00 | 931.50 | 11178.00 | 1500.00 | 18000.00 | 800.00 | 9600.00 | 2350.00 | 28200.00 | 1200.00 | 14400.00 | 1952.00 | 23424.00 | 900.00 | 10800.00 | 1000.00 | 12000.00 | 925.00 | 11100.00 | 500.00 | 6000.00 | 500.00 | 6000.00 | 1500.00 | 18000.00 | 1000.00 | 12000.00 | 6000.00 | JAI ENTERPRISES, SANGYA SAHARSHINI INFRA
79.08 | Warning Signs/Plates | 6.00 | Nos. |  | 890.00 | 5340.00 | 1350.00 | 8100.00 | 1000.00 | 6000.00 | 9500.00 | 57000.00 | 1000.00 | 6000.00 | 1200.00 | 7200.00 | 3050.00 | 18300.00 | 1350.00 | 8100.00 | 1000.00 | 6000.00 | 1350.00 | 8100.00 | 100.00 | 600.00 | 500.00 | 3000.00 | 4500.00 | 27000.00 | 500.00 | 3000.00 | 600.00 | SANGYA SAHARSHINI INFRA
79.09 | 2 Zone Conventional Gas Release Panel with 8 hours battery back up. | 6.00 | Nos. |  | 8910.00 | 53460.00 | 18630.00 | 111780.00 | 19000.00 | 114000.00 | 25000.00 | 150000.00 | 1200.00 | 7200.00 | 18000.00 | 108000.00 | 17690.00 | 106140.00 | 18900.00 | 113400.00 | 19500.00 | 117000.00 | 18500.00 | 111000.00 | 100000.00 | 600000.00 | 19850.00 | 119100.00 | 12500.00 | 75000.00 | 25000.00 | 150000.00 | 7200.00 | SKYLINE ELECTRICALS
79.10 | Manual Release Switch The Manual Call Point is used as electrical activation device for gas extinguishing systems | 6.00 | Nos. |  | 681.00 | 4086.00 | 1260.00 | 7560.00 | 2400.00 | 14400.00 | 3500.00 | 21000.00 | 1200.00 | 7200.00 | 1500.00 | 9000.00 | 1960.00 | 11760.00 | 1350.00 | 8100.00 | 2000.00 | 12000.00 | 1250.00 | 7500.00 | 9000.00 | 54000.00 | 10000.00 | 60000.00 | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 4086.00 | SARASWAT ENGINEERING SERVICES
79.11 | Manual Abort Switch The Manual Call Point operates as electrical emergency hold device for gas extinguishing systems. | 6.00 | Nos. |  | 681.00 | 4086.00 | 1260.00 | 7560.00 | 2400.00 | 14400.00 | 3500.00 | 21000.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 1769.00 | 10614.00 | 1350.00 | 8100.00 | 2000.00 | 12000.00 | 1250.00 | 7500.00 | 6400.00 | 38400.00 | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 1010.00 | 6060.00 | 4086.00 | SARASWAT ENGINEERING SERVICES
79.12 | 2C x 1.5 Sq.mm CU. Armoured control / power Cable. Voltages grade 1100 volts. | 210.00 | Mtrs. |  | 111.00 | 23310.00 | 135.00 | 28350.00 | 85.00 | 17850.00 | 135.00 | 28350.00 | 65.00 | 13650.00 | 180.00 | 37800.00 | 146.00 | 30660.00 | 125.00 | 26250.00 | 100.00 | 21000.00 | 135.00 | 28350.00 | 100.00 | 21000.00 | 120.00 | 25200.00 | 135.00 | 28350.00 | 150.00 | 31500.00 | 13650.00 | SKYLINE ELECTRICALS
79.13 | C.S./M.S. Seamless Piping, fittings (forged screwed/socket weld upto 50NB) & M.S. supports e.g. angle, channel, plates clamps, etc. As per ASTM A-106, SCH. 40. | 6.00 | Lot |  | 30074.00 | 180444.00 | 15750.00 | 94500.00 | 25000.00 | 150000.00 | 2500.00 | 15000.00 | 28500.00 | 171000.00 | 18000.00 | 108000.00 | 73200.00 | 439200.00 | 125000.00 | 750000.00 | 19500.00 | 117000.00 | 15700.00 | 94200.00 | 5000.00 | 30000.00 | 10000.00 | 60000.00 | 100000.00 | 600000.00 | 25000.00 | 150000.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
79.14 | Installation, Testing & Commissioning of the System of Automatic Fire suppression System | 6.00 | Job |  | 53071.00 | 318426.00 | 25200.00 | 151200.00 | 48200.00 | 289200.00 | 15000.00 | 90000.00 | 2000.00 | 12000.00 | 30000.00 | 180000.00 | 48800.00 | 292800.00 | 55000.00 | 330000.00 | 19500.00 | 117000.00 | 25000.00 | 150000.00 | 25000.00 | 150000.00 | 2000.00 | 12000.00 | 2500.00 | 15000.00 | 50000.00 | 300000.00 | 12000.00 | JAI ENTERPRISES, SKYLINE ELECTRICALS
| Total in Figures |  |  |  |  | 20162075.00 |  | 18169585.20 |  | 16033858.00 |  | 17141938.34 |  | 19694880.00 |  | 19049745.00 |  | 20290538.00 |  | 18842088.00 |  | 16573570.00 |  | 18089890.00 |  | 43668129.00 |  | 18860638.50 |  | 20354930.00 |  | 20745195.00
Lowest Amount Quoted BY: Ascent Electrification Engineers(16033858.00)

## BOQ Summary
BOQ Summary Details Tender Title: Installation of ILS and Electrification of Watch Tower Tender ID: 2021_AAI_97113_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ascent Electrification Engineers | 16033858.00 | L1
| 2 | Awasthi Electric Works | 16573570.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 17141938.34 | L3
| 4 | M R ELECTRICALS | 18089890.00 | L4
| 5 | RANA AND SONI ENTERPRISES PRIVATE LIMITED | 18169585.20 | L5
| 6 | RASS CONTRACTOR AND ENGINEERS | 18842088.00 | L6
| 7 | JAI ENTERPRISES | 18860638.50 | L7
| 8 | Manish Electricals | 19049745.00 | L8
| 9 | SKYLINE ELECTRICALS | 19694880.00 | L9
| 10 | SARASWAT ENGINEERING SERVICES | 20162075.00 | L10
| 11 | M/s. Shree Gokulesh Electric and Engg CO | 20290538.00 | L11
| 12 | L L Electericals | 20354930.00 | L12
| 13 | RAJASTHAN CRANE SERVICES | 20745195.00 | L13
| 14 | SANGYA SAHARSHINI INFRA | 43668129.00 | L14