## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 28-Dec-2021 03:57 PM Tender Title: Supply Installation and Testing of batteries for GLF UPS and other installations at Calicut Airport Re tender Tender ID: 2021_AAI_97221_1
Tender Inviting Authority: Asst. General Manager (E-E) - I
Name of Work : Supply, Installation & Testing of batteries for GLF UPS and other installations at Calicut Airport (Re-Tender)
Ref No: AAI/CL/ENGG(E)/131/NIT-11/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BHARATH POWER SOLUTIONS(GSTN-33BMIPS3233A1ZH) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | PEE PEE BATTERIES(GSTN-32APBPP8657G1ZQ) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply Installation testing and commissioning of 12 V 100 AH VRLA C-20 or superior discharge design, sealed maintenance free battery including placing the batteries in the existing rack, making necessary interconnections, dismantling the old batteries from the rack and shifting the same to AAI store. The size of the battery shall be suitable for installation in existing battery rack, the details of which are provided in the tender document as DRWG 1 & 2. Suitable modifications to the existing rack if required shall be done by the successful bidder at no extra cost to AAI to suit the installation of the offered batteries. | 133.00 | Each |  | 6660.00 | 885780.00 | 7222.00 | 960526.00 | 6328.13 | 841641.29 | 7849.00 | 1043917.00 | 841641.29 | PEE PEE BATTERIES
| Total in Figures |  |  |  |  | 885780.00 |  | 960526.00 |  | 841641.29 |  | 1043917.00
Lowest Amount Quoted BY: PEE PEE BATTERIES(841641.29)

## BOQ Summary
BOQ Summary Details Tender Title: Supply Installation and Testing of batteries for GLF UPS and other installations at Calicut Airport Re tender Tender ID: 2021_AAI_97221_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PEE PEE BATTERIES | 841641.29 | L1
| 2 | BHARATH POWER SOLUTIONS | 885780.00 | L2
| 3 | surbhi association | 960526.00 | L3
| 4 | Awasthi Electric Works | 1043917.00 | L4