## BoQ1
Government eProcurement System Created By: Ravinder Deepak Created Date/Time: 29-Dec-2021 11:44 AM Tender Title: Annual Maintenance Contract of Fire Alarm Fire Detection and Fire Fighting system at Indian Aviation Academy and its hostel block Vasant kunj New Delhi Tender ID: 2021_AAI_97265_1
Tender Inviting Authority: Manager (E-E)
Name of Work: Annual Maintenance Contract of Fire Alarm, Fire Detection & Fire Fighting system at Indian Aviation Academy & its hostel block, Vasant kunj, New Delhi.
Contract No: IAA/Engg.(E)/NIT/AMC/Fire-System/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Prudent Controls Pvt Ltd(GSTN-27AAGCP5489F1Z0) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I (Initial repairing of fire alarm system)
1.01 | Checking & rectifiying the faults in all loops for proper functioning of fire alarm system in academy block (10 loops) & hostel block (2 loops) a) Diagonise and rectifying the ground/ earth /short / intermittent faults ,find the missing device/open circuit faults including servicing of all mcb's, hooters, modules & cleaning of dirty detectors etc., b) Replacing the required accessories/spares (supply cost not included) c) Making the system operational by doing all required rectification/ modification as per standard engineering practice. | 12.00 | Loop | 5000.00 | 10000.00 | 120000.00 | 4000.00 | 48000.00 | 3000.00 | 36000.00 | 36000.00 | SRS ENGINEERS
2.00 | Repairing of CPS-24e Power Supply Card | 3.00 | Job | 10500.00 | 25000.00 | 75000.00 | 4000.00 | 12000.00 | 10200.00 | 30600.00 | 12000.00 | NATIONAL SAFETY ENGINEERS
3.00 | Modifying the battery charging system in PA system upto the requirement & as per Standard engineering practice. | 1.00 | Job | 5000.00 | 15000.00 | 15000.00 | 4000.00 | 4000.00 | 4800.00 | 4800.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
4.00 | Supply of following items of approved makes as per site requirment.
4.01 | Supply of addressable smoke / Multisensor detector | 50.00 | Nos | 3000.00 | 3100.00 | 155000.00 | 2200.00 | 110000.00 | 2900.00 | 145000.00 | 110000.00 | NATIONAL SAFETY ENGINEERS
4.02 | Supply of addressable heat detector | 20.00 | Nos | 2900.00 | 4500.00 | 90000.00 | 2200.00 | 44000.00 | 2800.00 | 56000.00 | 44000.00 | NATIONAL SAFETY ENGINEERS
4.03 | Supply of FCM module (AHU) | 7.00 | Nos | 3000.00 | 4500.00 | 31500.00 | 2200.00 | 15400.00 | 2800.00 | 19600.00 | 15400.00 | NATIONAL SAFETY ENGINEERS
4.04 | Supply of FRM module (MCP) | 15.00 | Nos | 2600.00 | 4500.00 | 67500.00 | 2200.00 | 33000.00 | 2500.00 | 37500.00 | 33000.00 | NATIONAL SAFETY ENGINEERS
4.05 | Supply of MCP | 20.00 | Nos | 2400.00 | 4500.00 | 90000.00 | 2200.00 | 44000.00 | 2200.00 | 44000.00 | 44000.00 | NATIONAL SAFETY ENGINEERS, SRS ENGINEERS
4.06 | Supply of MCP glass | 50.00 | Nos | 40.00 | 500.00 | 25000.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 2500.00 | NATIONAL SAFETY ENGINEERS
4.07 | Supply of Hooter | 10.00 | Nos | 2300.00 | 4500.00 | 45000.00 | 2000.00 | 20000.00 | 2450.00 | 24500.00 | 20000.00 | NATIONAL SAFETY ENGINEERS
4.08 | Supply of CPS-24e Power Supply Card | 1.00 | Nos | 75000.00 | 75000.00 | 75000.00 | 66000.00 | 66000.00 | 73500.00 | 73500.00 | 66000.00 | NATIONAL SAFETY ENGINEERS
5.00 | Reprogramming of following model fire alarm panels after rectifiying all the faults
5.01 | Notifier 10 Loop Panel Model No - 3030D | 2.00 | Job | 28500.00 | 20000.00 | 40000.00 | 17000.00 | 34000.00 | 30000.00 | 60000.00 | 34000.00 | NATIONAL SAFETY ENGINEERS
5.02 | Notifier 2 Loop Panel Model No CPU 2-640e | 2.00 | Job | 11500.00 | 10000.00 | 20000.00 | 13000.00 | 26000.00 | 12200.00 | 24400.00 | 20000.00 | Prudent Controls Pvt Ltd
6.00 | Servicing of Ahuja make amplifier & Interconnect it with exising P A system. | 1.00 | Job | 5500.00 | 5000.00 | 5000.00 | 6500.00 | 6500.00 | 3000.00 | 3000.00 | 3000.00 | SRS ENGINEERS
7.00 | Complete Rectification of uncommisioned / partialy complete/ incomplete Notifier make PA System including. 1.Attending field faults after Tracing / Connecting all incoming cables with panel. 2.Checking the connections in all speakers. 3.Attending field faults to make system functional (Note : at present PA system is not commissioined & cables not connected) | 1.00 | Job | 88000.00 | 20000.00 | 20000.00 | 78000.00 | 78000.00 | 90000.00 | 90000.00 | 20000.00 | Prudent Controls Pvt Ltd
8.00 | Commissioning of Notifier make PA system panel by making interconnection with Fire alarm panel | 1.00 | Job | 28000.00 | 5000.00 | 5000.00 | 25000.00 | 25000.00 | 26000.00 | 26000.00 | 5000.00 | Prudent Controls Pvt Ltd
9.00 | Supply of Notifier DSDB Board for PA system panel. | 1.00 | Nos | 180500.00 | 150000.00 | 150000.00 | 130000.00 | 130000.00 | 180000.00 | 180000.00 | 130000.00 | NATIONAL SAFETY ENGINEERS
10.00 | Other works as and when required
10.01 | Supply, fixing and welding etc., of heavy quality Mild Steel heavy class (C-class) quality pipes conforming to latest IS amendment, complete with necessary fitting like flanges, bends, tees and reducers etc. required including fixing the pipes on wall, in ground (with wrapping & coating) or above ground with MS Frame Support & suitable clamps and painting as per direction of Engineer In-charge as and when required.
10.02 | 150 mm | 6.00 | RMT | 3300.00 | 2500.00 | 15000.00 | 2000.00 | 12000.00 | 1000.00 | 6000.00 | 6000.00 | SRS ENGINEERS
10.03 | 100 mm | 6.00 | RMT | 2200.00 | 2000.00 | 12000.00 | 1200.00 | 7200.00 | 500.00 | 3000.00 | 3000.00 | SRS ENGINEERS
10.04 | 80 mm | 6.00 | RMT | 1550.00 | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 400.00 | 2400.00 | 2400.00 | SRS ENGINEERS
11.00 | SITC of following PN 1.6, C I Butterfly Valves on the existing M S Pipes including flanges, gaskets, bolt, nut & washers etc., including dismantling the existing one as and when required.
11.01 | 200 mm | 1.00 | Nos | 16000.00 | 13000.00 | 13000.00 | 6000.00 | 6000.00 | 4000.00 | 4000.00 | 4000.00 | SRS ENGINEERS
11.02 | 150 mm | 1.00 | Nos | 9000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 2000.00 | SRS ENGINEERS
11.03 | 100 mm | 1.00 | Nos | 8500.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2000.00 | SRS ENGINEERS
11.04 | 80 mm | 1.00 | Nos | 6000.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | NATIONAL SAFETY ENGINEERS, SRS ENGINEERS
12.00 | SITC of following PN 1.6, C I Reflex/NRV’s on the existing M S Pipes including flanges, gaskets, bolt, nut & washers etc., including dismantling the existing one as and when required.
12.01 | 200 mm | 1.00 | Nos | 20000.00 | 13000.00 | 13000.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
12.02 | 150 mm | 1.00 | Nos | 12000.00 | 8000.00 | 8000.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | NATIONAL SAFETY ENGINEERS, SRS ENGINEERS
12.03 | 100 mm | 1.00 | Nos | 8000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | NATIONAL SAFETY ENGINEERS, SRS ENGINEERS
12.04 | 80 mm | 1.00 | Nos | 5200.00 | 4000.00 | 4000.00 | 1500.00 | 1500.00 | 1300.00 | 1300.00 | 1300.00 | SRS ENGINEERS
13.00 | Hydro Testing Charges for 48 Hours i/c deputation of manpower. | 2.00 | Job | 3300.00 | 50000.00 | 100000.00 | 500.00 | 1000.00 | 2000.00 | 4000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
14.00 | Finding leakage of underground pipe by excavation of all types of earth, attend the leakage and refill the earth 1 job means maximum length of two meter with required depth. If more length excavated as per site requirement no extra payment shall be made by IAA. | 1.00 | Job | 7000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 2200.00 | 2200.00 | 2200.00 | SRS ENGINEERS
15.00 | To detect underground pipe leakage by putting Dead end flanges of required sizes in above ground where ever & whatever quantity possible using Heavy labours / Hydraulic or Manual mechanism. | 1.00 | Job | 6500.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 1500.00 | 1500.00 | 1500.00 | SRS ENGINEERS
16.00 | Attend the pipe leakage by doing Arc welding & cutting with required machine & man at one place. If more welding required at more places payment shall be made appropriately/ multiple.
16.01 | Underground including wrapping & coating | 2.00 | Job | 5500.00 | 8000.00 | 16000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 4000.00 | SRS ENGINEERS
16.02 | Aboveground including Primering & painting | 2.00 | Job | 3000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 2000.00 | SRS ENGINEERS
17.00 | SITC of 12 volt 12/7 AH maintenance free batteries for Fire Alarm with new terminals. This work includes the cost of dismantling the existing batteries & the cost of buyback of these dismantled batteries. | 4.00 | Nos | 1100.00 | 1500.00 | 6000.00 | 1200.00 | 4800.00 | 1220.00 | 4880.00 | 4800.00 | NATIONAL SAFETY ENGINEERS
18.00 | Comprehensive Servicing & Overhauling of Fire Engine of Kirloskar make along with AMF panels as per manufacturer recommendation.It includes Carrying out the Monthly B-Checks, changing of hoses, Minor repairs and adjustment as required for the engines. No extra payment shall be made for any items used in rectifying & maintaining the fire engine. | 24.00 | Month | 795.00 | 8000.00 | 192000.00 | 1100.00 | 26400.00 | 833.00 | 19992.00 | 19992.00 | SRS ENGINEERS
19.00 | Painting of existing fire pipe lines with one or more coat as per requirement of following size as and when required.
19.01 | 25mm | 10.00 | RMT | 25.00 | 75.00 | 750.00 | 20.00 | 200.00 | 15.00 | 150.00 | 150.00 | SRS ENGINEERS
19.02 | 50mm | 10.00 | RMT | 45.00 | 75.00 | 750.00 | 30.00 | 300.00 | 25.00 | 250.00 | 250.00 | SRS ENGINEERS
19.03 | 80mm | 10.00 | RMT | 72.00 | 75.00 | 750.00 | 40.00 | 400.00 | 50.00 | 500.00 | 400.00 | NATIONAL SAFETY ENGINEERS
19.04 | 100mm | 10.00 | RMT | 50.00 | 75.00 | 750.00 | 50.00 | 500.00 | 20.00 | 200.00 | 200.00 | SRS ENGINEERS
19.05 | 150mm | 10.00 | RMT | 90.00 | 75.00 | 750.00 | 70.00 | 700.00 | 40.00 | 400.00 | 400.00 | SRS ENGINEERS
19.06 | 200mm | 10.00 | RMT | 120.00 | 75.00 | 750.00 | 85.00 | 850.00 | 60.00 | 600.00 | 600.00 | SRS ENGINEERS
20.00 | Refilling of Fire Extinguishers as and when required.
20.01 | ABC Type 9.0 Kg | 20.00 | Nos | 1050.00 | 800.00 | 16000.00 | 300.00 | 6000.00 | 950.00 | 19000.00 | 6000.00 | NATIONAL SAFETY ENGINEERS
20.02 | CO2 Type 4.5kg | 20.00 | Nos | 425.00 | 500.00 | 10000.00 | 200.00 | 4000.00 | 450.00 | 9000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
21.00 | Hydraulic Testing of Fire Extinguisher as and when required.
21.01 | ABC Type 9.0 Kg | 20.00 | Nos | 300.00 | 300.00 | 6000.00 | 175.00 | 3500.00 | 325.00 | 6500.00 | 3500.00 | NATIONAL SAFETY ENGINEERS
21.02 | CO2 Type 4.5kg | 20.00 | Nos | 300.00 | 300.00 | 6000.00 | 175.00 | 3500.00 | 325.00 | 6500.00 | 3500.00 | NATIONAL SAFETY ENGINEERS
22.00 | SH-II Operation & Maintenance (After Making the Fire Alarm system Operational)
22.01 | Annual Maintenance Contract Of Complete Fire alarm and PA System Of Academic Block And Hostel Block Of Indian Aviation Academy Including Log book maintenance, Daily & Weekly Inspection, Monthly Preventive Maintenance and Carrying Out Mock Drill As Per civic authorities Fire Standards by Deploying following manpower for all month i/c sunday and other holidays i) Fire Alarm Technician round the clock i/c reliver (Semi-Skilled - 3 Nos per day i.e. 1 nos per shifts comprises of 8 hrs. ii) Un-skilled Helper in General Shift i/c reliver(1 Nos i.e. 1 nos per day and duty comprises of 8 hrs per day . (Note : Extra Unskilled manpower should be provided as and when required for regular maintenance, Testing & Fire Drill etc., without any extra cost) | 24.00 | Month | 100193.00 | 75000.00 | 1800000.00 | 86500.00 | 2076000.00 | 70000.00 | 1680000.00 | 1680000.00 | SRS ENGINEERS
23.00 | OEM Service Engineer / OEM Trained Service Engineer's Monthly minimum 2 Visits & multiple breakdown visit as and when required or as instructed by engineer incharge. | 24.00 | Month | 9000.00 | 10000.00 | 240000.00 | 8000.00 | 192000.00 | 5000.00 | 120000.00 | 120000.00 | SRS ENGINEERS
24.00 | SH-III Operation & Maintenance ( Fire Fighting system) w.e.f. 14/12/2022
24.01 | Annual Maintenance Contract Of Complete Fire Hydrant And Wet Riser System Of Academic Block And Hostel Block Of Indian Aviation Academy Including Weekly Inspection, Monthly Preventive Maintenance With The Following Manpower And Carrying Out Mock Drill As Per Fire Standards.( Hydrant:- 43 Nos., & Sprinklers. Diesel Pump: - 1 No., Main Pump: - 1 No., Jockey Pump: - 1 No. Booster Pump: -2Nos.) A. Weekly Inspection: One Senior Electrical Technician & One Mechanical Technician, One Helper B. Monthly Preventive Maintenance: - One Expert Engineer, One Senior Electrical Technician & One Mechanical Technician, Two Helpers | 12.00 | Month | 15500.00 | 10000.00 | 120000.00 | 3500.00 | 42000.00 | 11500.00 | 138000.00 | 42000.00 | NATIONAL SAFETY ENGINEERS
25.00 | SH - IV
25.01 | Supply, fixing and welding etc., of required length of 150 mm heavy quality Mild Steel heavy class C- Class quality pipes conforming to latest IS amendment, complete with necessary fitting like flanges, bends, tees and reducers etc., at ceiling of basement level required including fixing the pipes on wall with MS Frame Support & suitable clamps and painting. | 1.00 | Job | 8100.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
26.00 | Site visit of fire technician /fire engineer & other civic authority during the inspection by Fire officers as and when it is required for NOC (Legal Compliance with Delhi Fire Services) and routine Delhi Fire Services officials or other civic authorities official visit at IAA & Hostel block. This work includes follow up for fire NOC & get fire NOC as and when required. | 2.00 | Job | 65000.00 | 50000.00 | 100000.00 | 80000.00 | 160000.00 | 68000.00 | 136000.00 | 100000.00 | Prudent Controls Pvt Ltd
27.00 | SH-V DSR-2019 (For Wet Riser and Sprinkler System) as and when required.
27.01 | DSR-2019 (For Wet Riser and Sprinkler System) as and when required. and as directed by E-I-C complete as required for a fixed amount of Rs. 1.5 Lakhs. (Note: The contractor/agency has to quote an amount above or below the fixed amount of Rs. 1.5 Lakhs. The difference of the amount so quoted and Rs. 1.5 Lakhs shall be calculated for % age w.r.t the Rs. 1.5 Lakhs. The said work out +/- % age will be applied to the DSR' 2019 rate and the quoted amount shall be consider as payable rate of the bidder for each items without any esclation/cost index at any time during contract period.) | 1.00 | As per DSR 2019 | 150000.00 | 120000.00 | 120000.00 | 75000.00 | 75000.00 | 100000.00 | 100000.00 | 75000.00 | NATIONAL SAFETY ENGINEERS
| Total in Figures |  |  |  |  | 3886500.00 |  | 3365750.00 |  | 3152772.00
Lowest Amount Quoted BY: SRS ENGINEERS(3152772.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Fire Alarm Fire Detection and Fire Fighting system at Indian Aviation Academy and its hostel block Vasant kunj New Delhi Tender ID: 2021_AAI_97265_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRS ENGINEERS | 3152772.00 | L1
| 2 | NATIONAL SAFETY ENGINEERS | 3365750.00 | L2
| 3 | Prudent Controls Pvt Ltd | 3886500.00 | L3