## BoQ1
Government eProcurement System Created By: SUBHASH KUMAR Created Date/Time: 27-Dec-2021 09:08 PM Tender Title: AMC of E and M Installations at Darbhanga Airport Tender ID: 2021_AAI_97389_1
Tender Inviting Authority: Sr. Manager (E-E), AAI, Darbhanga Airport
Name of Work: Annual Maintenance Contract of Electrical and Mechanical Installations at Darbhanga Airport(For the Year 2021-22)
Contract No: 2021_AAI_97389_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD(GSTN-27AAIAB4511C1Z9) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | CZONE ENGINEERS PVT LTD.(GSTN-22AADCC7320H2Z3) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Ruhi Electronics(GSTN-10ABYPJ8411H1ZM) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | Acrovent Systems Pvt Ltd(GSTN-NA) |  | SAURABH ENTERPRISES(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | ALFA DEAL PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Items
1.01 | Providing operation & maintenance Services of Electrical and Mechanical Installations at Terminal Building & AAI offices including STP, GLF Systems, PAPI system, lightings, submersible pumps, Power House i.e Sub?Station, DG sets (Operation), transformer and AVR, HT & LT Panels, Capacitor Panel, AMF panels, Street light etc covering the above scope of works, preventive and breakdown maintenance, ensuring serviceability, etc satisfactory working condition of the system, preventive maintenance on daily, weekly, monthly,quarterly, half yearly and yearly basis, maintenance of records, documents etc. by engaging manpower round the clock basis and as per details mentioned in Special Condition of Contract. | 12.00 | Month |  | 277499.00 | 3329988.00 | 286000.00 | 3432000.00 | 274101.00 | 3289212.00 | 326500.00 | 3918000.00 | 307000.00 | 3684000.00 | 269369.00 | 3232428.00 | 273800.00 | 3285600.00 | 256000.00 | 3072000.00 | 292000.00 | 3504000.00 | 276000.00 | 3312000.00 | 288003.00 | 3456036.00 | 255291.00 | 3063492.00 | 279749.00 | 3356988.00 | 416893.00 | 5002716.00 | 3063492.00 | SAURABH ENTERPRISES
2.00 | Rewinding of the following with Cu-winding wires of required size including less for dismatled copper wire etc. as reqd. (Dismantle cu-wire need not to return).- On as and when required basis
2.01 | Ceiling fans (1200mm/1400mm) | 10.00 | Job |  | 300.00 | 3000.00 | 500.00 | 5000.00 | 250.00 | 2500.00 | 800.00 | 8000.00 | 250.00 | 2500.00 | 315.00 | 3150.00 | 250.00 | 2500.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 750.00 | 7500.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 885.00 | 8850.00 | 2500.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD, CZONE ENGINEERS PVT LTD., S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.02 | Exhaust fans upto 300 mm | 1.00 | Job |  | 700.00 | 700.00 | 500.00 | 500.00 | 400.00 | 400.00 | 700.00 | 700.00 | 350.00 | 350.00 | 262.50 | 262.50 | 150.00 | 150.00 | 500.00 | 500.00 | 800.00 | 800.00 | 400.00 | 400.00 | 450.00 | 450.00 | 700.00 | 700.00 | 300.00 | 300.00 | 944.00 | 944.00 | 150.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.03 | wall fans upto 400 mm | 8.00 | Job |  | 300.00 | 2400.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 800.00 | 6400.00 | 350.00 | 2800.00 | 262.50 | 2100.00 | 250.00 | 2000.00 | 300.00 | 2400.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 575.00 | 4600.00 | 500.00 | 4000.00 | 300.00 | 2400.00 | 944.00 | 7552.00 | 2000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.01 | Lifting, repairing and lowering of upto 3 H.P. submersible pump motor set i/c column pipe,cable, jointing of submersible cable and sealing of pump motor with sealant material, testing commissioning etc complete as reqd. | 1.00 | Job |  | 750.00 | 750.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 6000.00 | 6000.00 | 7500.00 | 7500.00 | 3675.00 | 3675.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 11800.00 | 11800.00 | 750.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
4.01 | Rewinding of burnt motor of submersible pump motor set size upto 3 H.P. with suitable size of Cu-winding wires including sealing of pump motor with sealant material, testing etc. as required. ( Burnt Cu Wire need not to return ) | 1.00 | Job |  | 750.00 | 750.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 5500.00 | 5500.00 | 3150.00 | 3150.00 | 3600.00 | 3600.00 | 2000.00 | 2000.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 6500.00 | 6500.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 8260.00 | 8260.00 | 750.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.01 | Execution of works as per CPWD DSR (E&M) 2018 excluding GST for Rs.50,000.00 as and when required. Note for contractor: For 10% above contractor shall quote 50000+10%= 55000. Similarly for 10% below contractor shall quote 50000-10%= 45000. | 1.00 | Job |  | 30000.00 | 30000.00 | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 35000.00 | 35000.00 | 10500.00 | 10500.00 | .75 | .75 | 45000.00 | 45000.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 40000.00 | 40000.00 | 59000.00 | 59000.00 | .75 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 3367588.00 |  | 3499500.00 |  | 3352312.00 |  | 3993100.00 |  | 3737650.00 |  | 3255265.50 |  | 3295350.75 |  | 3125900.00 |  | 3564800.00 |  | 3355400.00 |  | 3516086.00 |  | 3129192.00 |  | 3408688.00 |  | 5099122.00
Lowest Amount Quoted BY: Ruhi Electronics(3125900.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of E and M Installations at Darbhanga Airport Tender ID: 2021_AAI_97389_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ruhi Electronics | 3125900.00 | L1
| 2 | SAURABH ENTERPRISES | 3129192.00 | L2
| 3 | Vardhman Airport Solutions Pvt Ltd | 3255265.50 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 3295350.75 | L4
| 5 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD | 3352312.00 | L5
| 6 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 3355400.00 | L6
| 7 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 3367588.00 | L7
| 8 | ABHISHEK INTEGRATIONS LIMITED | 3408688.00 | L8
| 9 | CENTRE TAP ENGINEERING | 3499500.00 | L9
| 10 | Acrovent Systems Pvt Ltd | 3516086.00 | L10
| 11 | Manish Electricals | 3564800.00 | L11
| 12 | CZONE ENGINEERS PVT LTD. | 3737650.00 | L12
| 13 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 3993100.00 | L13
| 14 | ALFA DEAL PRIVATE LIMITED | 5099122.00 | L14