## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 23-Dec-2021 03:35 PM Tender Title: Annual Comprehensive Maintenance of Split/Inverter/ floor mounted AC units and water dispenser units at Lilabari Airport Tender ID: 2021_AAI_97474_1
Tender Inviting Authority: Asst. Gen. Manager (E-E), AAI, Lilabari Airport
Name of Work: Annual Comprehensive Maintenance of Split/Inverter/ floor mounted AC units and water dispenser units at Lilabari Airport
Contract No: 2021_AAI_97474_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | M/s S.T. Electricals(GSTN-18AJRPK5206C1ZA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Comprehensive Maintenance of split type Air-Conditioners of all makes of 1.5/2.0 TR capacity with voltage stabilizer at different location including providing all necessary consumables and spares complete as required and as per special conditions.
1.01 | For First year | 49.00 | Each per annum (EPA) |  | 4450.00 | 218050.00 | 3000.00 | 147000.00 | 147000.00 | M/s S.T. Electricals
1.02 | For Second year | 49.00 | Each per annum (EPA) |  | 4844.00 | 237356.00 | 3000.00 | 147000.00 | 147000.00 | M/s S.T. Electricals
2.00 | Annual Comprehensive Maintenance of Inverter type Air-Conditioners of all makes of 1.5 TR capacity with voltage stablizer at different location including providing all necessary consumables and spares complete as required and as per special conditions.
2.01 | For First year | 2.00 | Each per annum (EPA) |  | 4944.00 | 9888.00 | 2000.00 | 4000.00 | 4000.00 | M/s S.T. Electricals
2.02 | For Second year | 2.00 | Each per annum (EPA) |  | 5400.00 | 10800.00 | 2000.00 | 4000.00 | 4000.00 | M/s S.T. Electricals
3.00 | Annual Comprehensive Maintenance of floor mounted Air-Conditioners of 3 TR capacity with voltage stablizer at different location including providing all necessary consumable and spares complete as required and as per special conditions.
3.01 | For First year | 2.00 | Each per annum (EPA) |  | 7188.00 | 14376.00 | 3000.00 | 6000.00 | 6000.00 | M/s S.T. Electricals
3.02 | For Second year | 2.00 | Each per annum (EPA) |  | 7680.00 | 15360.00 | 3000.00 | 6000.00 | 6000.00 | M/s S.T. Electricals
4.00 | Annual Comprehensive Maintenance of Blue Star make floor mounted Water Dispenser having capacity of 16 Ltrs including providing all necessary consumable and spares complete as required and as per special conditions.
4.01 | For First year | 6.00 | Each per annum (EPA) |  | 1440.00 | 8640.00 | 2500.00 | 15000.00 | 8640.00 | sudarshnacoolingcentre andelectricals
4.02 | For Second year | 6.00 | Each per annum (EPA) |  | 1980.00 | 11880.00 | 2500.00 | 15000.00 | 11880.00 | sudarshnacoolingcentre andelectricals
5.00 | Shifting of 1.5/2 TR Split AC Units by dismantling it from existing location and re-intallation to new location complete with indoor and out door unit along with shifting of stablizer, connection of piping, filling / topup of refrigerant, testing and commissioning etc as required.
5.01 | For First year | 5.00 | JOB |  | 2600.00 | 13000.00 | 2000.00 | 10000.00 | 10000.00 | M/s S.T. Electricals
5.02 | For Second year | 5.00 | JOB |  | 2900.00 | 14500.00 | 2000.00 | 10000.00 | 10000.00 | M/s S.T. Electricals
6.00 | Providing and fixing of refrigerant copper piping for 1.5/2.0 TR Split AC for both suction and discharge of suitable sizes with suitable insulation etc, between indoor unit and outdoor unit for all type of A.C. units.as reqd.
6.01 | For First year | 20.00 | MTR |  | 199.00 | 3980.00 | 600.00 | 12000.00 | 3980.00 | sudarshnacoolingcentre andelectricals
6.02 | For Second year | 20.00 | MTR |  | 210.00 | 4200.00 | 600.00 | 12000.00 | 4200.00 | sudarshnacoolingcentre andelectricals
7.00 | SITC of timer or automatic change over switch suitable for AC unit 230V, single Volt, AC supply. | 2.00 | JOB |  | 1850.00 | 3700.00 | 5000.00 | 10000.00 | 3700.00 | sudarshnacoolingcentre andelectricals
8.00 | Supply of fixing of following size PVC drain pipe from the respective units, clamping on different surfaces, ceiling the joints including making of opening as per site condition.
8.01 | 25 mm | 50.00 | MTR |  | 88.00 | 4400.00 | 25.00 | 1250.00 | 1250.00 | M/s S.T. Electricals
8.02 | 32 mm | 30.00 | MTR |  | 99.00 | 2970.00 | 30.00 | 900.00 | 900.00 | M/s S.T. Electricals
9.00 | Supply of 4KVA wall mounting type Voltage Stabilizer suitable for operation on 230 V, 50Hz, single phase, AC supply as per AAI approved makes & as per site condition. | 10.00 | EACH |  | 4550.00 | 45500.00 | 9500.00 | 95000.00 | 45500.00 | sudarshnacoolingcentre andelectricals
| Total in Figures |  |  |  |  | 618600.00 |  | 495150.00
Lowest Amount Quoted BY: M/s S.T. Electricals(495150.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Maintenance of Split/Inverter/ floor mounted AC units and water dispenser units at Lilabari Airport Tender ID: 2021_AAI_97474_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s S.T. Electricals | 495150.00 | L1
| 2 | sudarshnacoolingcentre andelectricals | 618600.00 | L2