## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 07-Jan-2022 04:46 PM Tender Title: Construction of Flight Simulator Training Device Lab at NIATAM, Gondia. Tender ID: 2021_AAI_97494_1
Tender Inviting Authority: AGM (Engg-E), AIRPORTS AUTHORITY OF INDIA, BIRSI AIRPORT, GONDIA.
Name of Work: Construction of Flight Simulator Training Device Lab at NIATAM, Gondia, SH:- Electrical Works
Contract No: AAI/NIATAM/E-E/2021-22/NIT-02 ( Tender Id :- 2021_AAI_97494_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | surbhi association(GSTN-23AGKPD2522N1ZK) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
1.01 | 4 way (4 + 12), Double door | 1.00 | Each |  | 5500.00 | 5500.00 | 6500.00 | 6500.00 | 5500.00 | surbhi association
1.02 | 12 way (4 + 36), Double door | 1.00 | Each |  | 9500.00 | 9500.00 | 10500.00 | 10500.00 | 9500.00 | surbhi association
2.00 | Supply and fixing of SP MCB 6 A to 32 A, 10KA capacity in the existing MCB DB complete with Connection, testing and commissioning etc. as required(C Curve) | 12.00 | Each |  | 160.00 | 1920.00 | 180.00 | 2160.00 | 1920.00 | surbhi association
3.00 | Supply and fixing of TP MCB 6 A to 32 A, 10KA capacity in the existing MCB DB complete with Connection, testing and commissioning etc. as required(C curve) | 12.00 | Each |  | 950.00 | 11400.00 | 1050.00 | 12600.00 | 11400.00 | surbhi association
4.00 | Supplying and fixing following rating, Four pole, (Three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 Amp. | 2.00 | Each |  | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 6000.00 | surbhi association, M/s LEESHA ELECTRICALS
5.00 | Supplying and fixing 63 Amp rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required | 2.00 | Each |  | 650.00 | 1300.00 | 650.00 | 1300.00 | 1300.00 | surbhi association, M/s LEESHA ELECTRICALS
6.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each |  | 15.00 | 150.00 | 25.00 | 250.00 | 150.00 | surbhi association
7.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 Sq. mm. FR, PVC insulated, copper conductor single core cable in surface/ recessed steel conduit with modular switch, modular plate, suitbale modular box and earthnig the point with 1.5 Sq.mm FR PVC insulated, copper conductor single core cable complete as required: (Group-C) | 20.00 | Point |  | 1450.00 | 29000.00 | 1650.00 | 33000.00 | 29000.00 | surbhi association
8.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 5.00 | Each |  | 350.00 | 1750.00 | 350.00 | 1750.00 | 1750.00 | surbhi association, M/s LEESHA ELECTRICALS
9.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps modular switch, connection, painting etc. as required. | 15.00 | Each |  | 550.00 | 8250.00 | 550.00 | 8250.00 | 8250.00 | surbhi association, M/s LEESHA ELECTRICALS
10.00 | Circuit / Submain / Power Plug wiring in steel conduit: Wiring for circuit / submain / power plug wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. (2X1.5 sq.mm + 1X1.5 sq. mm ) | 100.00 | Meter |  | 180.00 | 18000.00 | 200.00 | 20000.00 | 18000.00 | surbhi association
11.00 | Circuit / Submain / Power Plug wiring in steel conduit: Wiring for circuit / submain / power plug wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. (2X2.5 sq.mm + 1X2.5 sq. mm ) | 100.00 | Meter |  | 230.00 | 23000.00 | 250.00 | 25000.00 | 23000.00 | surbhi association
12.00 | Circuit / Submain / Power Plug wiring in steel conduit: Wiring for circuit / submain / power plug wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. (2X4 sq.mm + 1X4 sq. mm ) | 150.00 | Meter |  | 300.00 | 45000.00 | 350.00 | 52500.00 | 45000.00 | surbhi association
13.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (Telephone socket outlet) | 5.00 | Each |  | 200.00 | 1000.00 | 200.00 | 1000.00 | 1000.00 | surbhi association, M/s LEESHA ELECTRICALS
14.00 | Telephone Wiring in Conduit: Supply and Drawing 4 pair, 0.5 sq. mm FR PVC insulated Copper conductor, unarmoured telephone cable in the MS conduit on surface / recessed as required. (Laying of 20mm MS conduit is Included in Item) | 50.00 | Meter |  | 50.00 | 2500.00 | 50.00 | 2500.00 | 2500.00 | surbhi association, M/s LEESHA ELECTRICALS
15.00 | Supplying and fixing 20 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required | 10.00 | Each |  | 1100.00 | 11000.00 | 1200.00 | 12000.00 | 11000.00 | surbhi association
16.00 | Supply of 32-38 W(Dimmable) LED indoor pre-wired recess mounted high performance decorated luminaries (Helonix HALONIX 36W LED 2X2 Flat Panel or equivalent as per approved make list & Approved by Engineer -In Charge) with high power LEDs, integrated LED driver with under voltage & high voltage protection and operating range 220-240 volt complete with all accessories etc mounting on false ceiling including connections complete etc. as required. | 10.00 | Each |  | 3500.00 | 35000.00 | 3600.00 | 36000.00 | 35000.00 | surbhi association
17.00 | Supply of 18-24 W LED indoor surface mounted high performance decorated baton integated channel luminaries with high power LEDs, integrated LED driver with under voltage & high voltage protection and operating range 220-240 volt complete with all accessories etc mounting directly on wall/ ceiling including connections complete etc. as required. | 6.00 | Each |  | 1000.00 | 6000.00 | 1000.00 | 6000.00 | 6000.00 | surbhi association, M/s LEESHA ELECTRICALS
18.00 | Supply of 6 W to 10 W LED indoor prewired surface mounted high performance decorated Mirror light (2 feet) with high power LEDs , integrated LED driver and operating range 220-240 volt complete with all accessories, including connections complete etc. as required. | 5.00 | Each |  | 400.00 | 2000.00 | 400.00 | 2000.00 | 2000.00 | surbhi association, M/s LEESHA ELECTRICALS
19.00 | Installation, testing and commissioning of pre-wired fluorescent fitting/ compact fluorescent fitting/ LED fitting of all types, complete with all accessories and tube etc. directly on ceiling/ false ceiling/ wall, including connection with 1.5 sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. (For Item No. 16 to 19) | 21.00 | Each |  | 80.00 | 1680.00 | 100.00 | 2100.00 | 1680.00 | surbhi association
20.00 | Supply, installation , testing and commissioning of 400 mm sweep wall mounted fan suitable for operation on 230 V , 50 Hz A.C. power supply etc. complete as required. | 2.00 | Each |  | 2250.00 | 4500.00 | 2250.00 | 4500.00 | 4500.00 | surbhi association, M/s LEESHA ELECTRICALS
21.00 | Supply of following size of 1.1kv grade FR multicore aluminium conductor XLPE insulated and PVC sheathed armoured Power cable as per IS : 7098:1988 (Part - I) with upto date amendments. 3.5 core 35 Sq. Mm. | 150.00 | Meter |  | 260.00 | 39000.00 | 260.00 | 39000.00 | 39000.00 | surbhi association, M/s LEESHA ELECTRICALS
22.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 150.00 | Meter |  | 25.00 | 3750.00 | 25.00 | 3750.00 | 3750.00 | surbhi association, M/s LEESHA ELECTRICALS
23.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated PVC sheathed/XLPE aluminium conducter cable of 1.1 kV grade as required. 3½ X 35 sq. mm (25 mm) | 4.00 | Each |  | 200.00 | 800.00 | 200.00 | 800.00 | 800.00 | surbhi association, M/s LEESHA ELECTRICALS
24.00 | Providing and fixing 6 SWG GI wire on surface or in recess for loop earthing as required. | 50.00 | Meter |  | 30.00 | 1500.00 | 30.00 | 1500.00 | 1500.00 | surbhi association, M/s LEESHA ELECTRICALS
25.00 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | 25.00 | Each |  | 1500.00 | 37500.00 | 1500.00 | 37500.00 | 37500.00 | surbhi association, M/s LEESHA ELECTRICALS
26.00 | Supplying, installation, testing & commissioning response indicator on surface/ recess MS box having two LEDs metallic cover complete with all connections etc. as required. | 15.00 | Each |  | 200.00 | 3000.00 | 200.00 | 3000.00 | 3000.00 | surbhi association, M/s LEESHA ELECTRICALS
27.00 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/ recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | 2.00 | Each |  | 400.00 | 800.00 | 400.00 | 800.00 | 800.00 | surbhi association, M/s LEESHA ELECTRICALS
28.00 | Supply of 2 x 1.5 sq.mm. copper conductor XLPE insulated/ PVC insulated 1.1 KV grade armored cable as per FRLS IS – 1554 (Part-I) 1988/IS – 7098 (Part-I) 1985 respectively with upto date amendments. | 150.00 | Meter |  | 110.00 | 16500.00 | 110.00 | 16500.00 | 16500.00 | surbhi association, M/s LEESHA ELECTRICALS
29.00 | S.I.T.C. of 4.0 TR Tower type A.C. unit, floor mounted, corded remote including copper piping of 5 Mtrs length, power cable lead, drain pipe etc., condenser unit, evaporator unit with controls mounted on wall, including providing and fixing stand made of M.S. angle of size 40x40x5mm of approximate height of 2 ft. from the floor including grouting the same for condenser unit (outdoor unit) , suitable for operation on 230V 50Hz +/- 10% AC supply etc. complete job as required. | 2.00 | Each |  | 118000.00 | 236000.00 | 135000.00 | 270000.00 | 236000.00 | surbhi association
30.00 | S.I.T.C. of 3.0 TR Mega Split type A.C. unit, floor mounted, corded remote including copper piping of 5 Mtrs length, power cable lead, drain pipe etc., condenser unit, evaporator unit with controls mounted on wall, including providing and fixing stand made of M.S. angle of size 40x40x5mm of approximate height of 2 ft. from the floor including grouting the same for condenser unit (outdoor unit) , suitable for operation on 230V 50Hz +/- 10% AC supply etc. complete job as required. | 2.00 | Each |  | 91000.00 | 182000.00 | 110000.00 | 220000.00 | 182000.00 | surbhi association
31.00 | Supply and fixing of additional suction copper line and discharge copper line with suitable supports including insulation and interconnections between evaporator unit and condensing unit for 3 TR AC complete as required. | 20.00 | Meter |  | 950.00 | 19000.00 | 950.00 | 19000.00 | 19000.00 | surbhi association, M/s LEESHA ELECTRICALS
32.00 | Supply and fixing of additional suction copper line and discharge copper line with suitable supports including insulation and interconnections between evaporator unit and condensing unit for 4 TR AC complete as required. | 20.00 | Meter |  | 950.00 | 19000.00 | 950.00 | 19000.00 | 19000.00 | surbhi association, M/s LEESHA ELECTRICALS
33.00 | Supply and fixing of Suitable size additional PVC drain pipe for 3TR /4 TR AC | 20.00 | Meter |  | 100.00 | 2000.00 | 120.00 | 2400.00 | 2000.00 | surbhi association
34.00 | Cable Tray Supply fabricating and Installing following following size of perforated GI cable trays including horizontal and vertical GI bends, reducers, tees, cross memebers and other accessories as requried and duly suspended from the ceiling with M.S. suspenders and including painting etc. for outside copper piping and cabling complete as required. (a)150 mm. Widht x 50 mm. Depth x 1.6 mm. Thickness. | 120.00 | Meter |  | 600.00 | 72000.00 | 600.00 | 72000.00 | 72000.00 | surbhi association, M/s LEESHA ELECTRICALS
35.00 | Providing of earth pits using Copper bonded Earth electrode of 17.2 mm dia 3 Meters installed vertically as per the site conditons complete and top cover duly backfilled with backfill earth enhancing compound of 25kgs along with required masanory chamber CI Cover including excavation and refilling etc as required | 4.00 | Set |  | 7500.00 | 30000.00 | 9500.00 | 38000.00 | 30000.00 | surbhi association
36.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 60.00 | Meter |  | 900.00 | 54000.00 | 900.00 | 54000.00 | 54000.00 | surbhi association, M/s LEESHA ELECTRICALS
37.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Meter |  | 1300.00 | 39000.00 | 1300.00 | 39000.00 | 39000.00 | surbhi association, M/s LEESHA ELECTRICALS
38.00 | Supply of Air Purifier of minimum capacity of Covering area of 56m2 , six stage filteration suitable for indoor operation and working on 230 V 50 HZ, Make Eureka forbes Model Aeroguard AP 700 EX or equivalent. | 1.00 | Each |  | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 15000.00 | surbhi association
| Total in Figures |  |  |  |  | 995300.00 |  | 1102160.00
Lowest Amount Quoted BY: surbhi association(995300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Flight Simulator Training Device Lab at NIATAM, Gondia. Tender ID: 2021_AAI_97494_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association | 995300.00 | L1
| 2 | M/s LEESHA ELECTRICALS | 1102160.00 | L2