## BoQ1
Government eProcurement System Created By: RISHI RAJ BAGRE Created Date/Time: 12-Jan-2022 12:01 PM Tender Title: Annual Repair, Maintenance and Operation of E and M Installations at DABH Airport, Indore (2021-22). SH Supply of GLF Spares Tender ID: 2021_AAI_97500_1
Tender Inviting Authority: AGM (E-E), AAI, DABH Airport, Indore
Name of Work: Annual Repair, Maintenance and Operation of E&M Installations at DABH Airport, Indore (2021-22). SH: Supply of GLF Spares.
Contract No: AAI/ID/INDORE/eNIT-04/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | SHRI K.D.INDUSTRIES(GSTN-09AGAPG0773C1ZV) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supply of Base Plate Gasket for runway edge light suitable for Youyang Make fitting. | 100.00 | Nos. | 100.00 | 200.00 | 20000.00 | 150.00 | 15000.00 | 103.00 | 10300.00 | 230.00 | 23000.00 | 10300.00 | ABHISHEK INTEGRATIONS LIMITED
1.02 | Supply of 5 KV grade plug & suitable receptacle (essna connector) of type - 1 class B Connector & suitable field attachment suitable for 6 Sqmm. size 5KV grade PVC insulated PVC sheathed single core stranded copper conductor cable confirming to IS:1554 (Part-II) with upto date amendment. | 100.00 | Nos. | 100.00 | 350.00 | 35000.00 | 380.00 | 38000.00 | 370.00 | 37000.00 | 370.00 | 37000.00 | 35000.00 | Manish Electricals
1.03 | Supply of 5 KV grade plug & suitable receptacle (essna connector) of type - 1 class B Connector & suitable field attachment suitable for 16 Sqmm. size 5KV grade PVC insulated PVC sheathed single core stranded copper conductor cable confirming to IS:1554 (Part-II) with upto date amendment. | 50.00 | Nos. | 10.00 | 350.00 | 17500.00 | 380.00 | 19000.00 | 370.00 | 18500.00 | 370.00 | 18500.00 | 17500.00 | Manish Electricals
1.04 | Supply of 200 Watt, 6.6/6.6 A Amps 5 KV grade 50 Hz isolating transformers, series type encapsulated in neoprene rubber with primary and secondary leads as specified in particular specifications suitable for 200 Watt PAPI Light. | 25.00 | Nos. | 10.00 | 4800.00 | 120000.00 | 3950.00 | 98750.00 | 4087.00 | 102175.00 | 3650.00 | 91250.00 | 91250.00 | electromach sales agencies
1.05 | Supply of 150 Watt, 20/6.6 A Amps 5 KV grade 50 Hz isolating transformers, series type encapsulated in neoprene rubber with primary and secondary leads as specified in particular specifications suitable for 150 Watt runway edge light. | 10.00 | Nos. | 10.00 | 4800.00 | 48000.00 | 3950.00 | 39500.00 | 4087.00 | 40870.00 | 3350.00 | 33500.00 | 33500.00 | electromach sales agencies
1.06 | Supply of 300 Watt 20/6.6 A Amps 5 KV grade 50 Hz isolating transformers, series type encapsulated in neoprene rubber with primary and secondary leads as specified in particular specifications suitable for 300 Watt Threshold & End light fittings. | 10.00 | Nos. | 10.00 | 5200.00 | 52000.00 | 5250.00 | 52500.00 | 5450.00 | 54500.00 | 5150.00 | 51500.00 | 51500.00 | electromach sales agencies
1.07 | Supply of 45 Watt 6.6/6.6 A Amps 5 KV grade 50 Hz isolating transformers, series type encapsulated in neoprene rubber with primary and secondary leads as specified in particular specifications suitable for 45 Watt taxiway edge light. | 5.00 | Nos. | 10.00 | 3800.00 | 19000.00 | 2750.00 | 13750.00 | 2997.00 | 14985.00 | 3050.00 | 15250.00 | 13750.00 | SHRI K.D.INDUSTRIES
1.08 | Supply of 150 Watt 6.6/6.6 A Amps 5 KV grade 50 Hz isolating transformers, series type encapsulated in neoprene rubber with primary and secondary leads as specified in particular specifications suitable for 150 Watt for Signage Board. | 10.00 | Nos. | 10.00 | 4800.00 | 48000.00 | 3950.00 | 39500.00 | 4087.00 | 40870.00 | 3350.00 | 33500.00 | 33500.00 | electromach sales agencies
1.09 | Supply of 15 Watt 6.6A/6.6A Isolating transformer of 5 KV Grade suitable to operate up to 7.5 Watt, LED light of medium intensity light fitting encapsulated in polyester resin finally moulded in neoprene rubber with primary and secondary connection as specified in particular specifications. | 10.00 | Nos. | 10.00 | 2750.00 | 27500.00 | 2550.00 | 25500.00 | 2725.00 | 27250.00 | 2700.00 | 27000.00 | 25500.00 | SHRI K.D.INDUSTRIES
1.10 | Supply of following size 5 KV grade PVC/XLPE insulated & PVC sheathed stranded copper conductor Airport lighting cable confirming IS 1554 (Part - II)/ IS 7098 (Part - II) with upto date amendment and confirming to particular specification etc. as required.
1.11 | (a) 1 X 6 sqmm | 1000.00 | Meter | 10.00 | 100.00 | 100000.00 | 110.00 | 110000.00 | 91.00 | 91000.00 | 90.00 | 90000.00 | 90000.00 | electromach sales agencies
1.12 | Supply of Lamp Holder (Non Ceramic) for PAPI Light Suitable for AMA Make fitting. | 30.00 | Nos. | 10.00 | 400.00 | 12000.00 | 350.00 | 10500.00 | 354.00 | 10620.00 | 225.00 | 6750.00 | 6750.00 | electromach sales agencies
1.13 | Supply of Taxiway 45 Watt, (Ceramic Base) Bi pin Halogen lamp suitable for Youyang make fitting (Cat no. 64320 OSRAM or equivalent in list of approved make) | 50.00 | Nos. | 10.00 | 400.00 | 20000.00 | 525.00 | 26250.00 | 517.00 | 25850.00 | 650.00 | 32500.00 | 20000.00 | Manish Electricals
1.14 | Supply of 200 Watt, Bi pin PAPI Halogen Lamp (Non Ceramic) (Cat no. 64386 OSRAM or equivalent in list of approved make). | 30.00 | Nos. | 10.00 | 580.00 | 17400.00 | 425.00 | 12750.00 | 408.00 | 12240.00 | 380.00 | 11400.00 | 11400.00 | electromach sales agencies
1.15 | Supply of 105 Watt, bi pin halogen lamp with ceramic base, suitable for Inset type fitting Youyang Make. (Cat no. 64339 A OSRAM or equivalent in list of approved make) | 100.00 | Each | 10.00 | 1000.00 | 100000.00 | 850.00 | 85000.00 | 882.00 | 88200.00 | 850.00 | 85000.00 | 85000.00 | electromach sales agencies, SHRI K.D.INDUSTRIES
1.16 | Supply of straight through joint with heat shrinkable kit including ferrules and other jointing materials for 1.1 KV Grade, 61 Core X 1.5 Sqmm (Control Cable) PVC insulated and PVC sheathed copper conductor cable as required. | 2.00 | Nos. | 10.00 | 3000.00 | 6000.00 | 1450.00 | 2900.00 | 1362.00 | 2724.00 | 6000.00 | 12000.00 | 2724.00 | ABHISHEK INTEGRATIONS LIMITED
1.17 | Supply of PAPI Light Air filter suitable for AMA Make -fitting . | 4.00 | Nos. | 10.00 | 1500.00 | 6000.00 | 1950.00 | 7800.00 | 1907.00 | 7628.00 | 400.00 | 1600.00 | 1600.00 | electromach sales agencies
1.18 | Supply of Spare Control Card of NASU Make for conventional NASU Make CCR 4 KW TO 30 KW.
1.19 | Main Control Card including RMS to DC converter Card | 1.00 | Nos. | 10.00 | 42000.00 | 42000.00 | 40000.00 | 40000.00 | 43600.00 | 43600.00 | 23000.00 | 23000.00 | 23000.00 | electromach sales agencies
1.20 | Power Supply + Driver Card | 1.00 | Nos. | 10.00 | 13000.00 | 13000.00 | 12500.00 | 12500.00 | 13625.00 | 13625.00 | 19000.00 | 19000.00 | 12500.00 | SHRI K.D.INDUSTRIES
1.21 | Relay Card | 1.00 | Nos. | 10.00 | 7350.00 | 7350.00 | 7000.00 | 7000.00 | 7630.00 | 7630.00 | 9000.00 | 9000.00 | 7000.00 | SHRI K.D.INDUSTRIES
1.22 | TTM Card | 1.00 | Nos. | 10.00 | 6300.00 | 6300.00 | 6000.00 | 6000.00 | 6540.00 | 6540.00 | 1800.00 | 1800.00 | 1800.00 | electromach sales agencies
1.23 | Supply of following Plug in type Relays suitable for NASU Make CCRs.
1.24 | 24 VDC | 2.00 | Nos. | 10.00 | 700.00 | 1400.00 | 250.00 | 500.00 | 272.00 | 544.00 | 400.00 | 800.00 | 500.00 | SHRI K.D.INDUSTRIES
1.25 | 48 VDC | 2.00 | Nos. | 10.00 | 700.00 | 1400.00 | 280.00 | 560.00 | 305.00 | 610.00 | 400.00 | 800.00 | 560.00 | SHRI K.D.INDUSTRIES
1.26 | 240 VAC | 2.00 | Nos. | 10.00 | 700.00 | 1400.00 | 270.00 | 540.00 | 294.00 | 588.00 | 400.00 | 800.00 | 540.00 | SHRI K.D.INDUSTRIES
1.27 | Supply of TI 300 Trip indication fuses suitable for NASU Make CCRs. | 5.00 | Nos. | 10.00 | 900.00 | 4500.00 | 450.00 | 2250.00 | 457.00 | 2285.00 | 400.00 | 2000.00 | 2000.00 | electromach sales agencies
1.28 | Supply of following High speed Semi-conductor Protection Fuses suitable for NASU Make CCRs.
1.29 | GS 1000/200 (Required for 30 Kw CCR) | 2.00 | Nos. | 10.00 | 1000.00 | 2000.00 | 1150.00 | 2300.00 | 1139.00 | 2278.00 | 1200.00 | 2400.00 | 2000.00 | Manish Electricals
1.30 | GS 1000/100 (Required for 7.5 Kw CCR) | 2.00 | Nos. | 10.00 | 700.00 | 1400.00 | 1150.00 | 2300.00 | 1139.00 | 2278.00 | 800.00 | 1600.00 | 1400.00 | Manish Electricals
1.31 | GSB 50 (Required for 4 Kw CCR) | 2.00 | Nos. | 10.00 | 400.00 | 800.00 | 500.00 | 1000.00 | 485.00 | 970.00 | 300.00 | 600.00 | 600.00 | electromach sales agencies
1.32 | Supply of following Thyristors suitable for NASU Make CCRs.
1.33 | 250 RK160 (For 30 Kw CCR) | 2.00 | Nos. | 10.00 | 9000.00 | 18000.00 | 2250.00 | 4500.00 | 2343.00 | 4686.00 | 2800.00 | 5600.00 | 4500.00 | SHRI K.D.INDUSTRIES
1.34 | 85 RK160 (For 7.5 Kw CCR) | 2.00 | Nos. | 10.00 | 7000.00 | 14000.00 | 1450.00 | 2900.00 | 1362.00 | 2724.00 | 1500.00 | 3000.00 | 2724.00 | ABHISHEK INTEGRATIONS LIMITED
1.35 | 65 RK160 (For 4 Kw CCR) | 2.00 | Nos. | 10.00 | 4000.00 | 8000.00 | 950.00 | 1900.00 | 926.00 | 1852.00 | 900.00 | 1800.00 | 1800.00 | electromach sales agencies
1.36 | Supply of following HRC Fuse Link suitable for NASU Make CCRs.
1.37 | 160Amps (For 30 Kw CCR) | 2.00 | Nos. | 10.00 | 560.00 | 1120.00 | 1200.00 | 2400.00 | 1106.00 | 2212.00 | 550.00 | 1100.00 | 1100.00 | electromach sales agencies
1.38 | 32 Amps (For 30 Kw CCR) | 3.00 | Nos. | 10.00 | 160.00 | 480.00 | 350.00 | 1050.00 | 365.00 | 1095.00 | 250.00 | 750.00 | 480.00 | Manish Electricals
1.39 | 63 Amps (For 7.5 Kw CCR) | 3.00 | Nos. | 10.00 | 250.00 | 750.00 | 400.00 | 1200.00 | 403.00 | 1209.00 | 350.00 | 1050.00 | 750.00 | Manish Electricals
1.40 | 20 Amps (For 4 Kw CCR) | 2.00 | Nos. | 10.00 | 150.00 | 300.00 | 350.00 | 700.00 | 365.00 | 730.00 | 250.00 | 500.00 | 300.00 | Manish Electricals
1.41 | 4 Amps (For all rating CCR) | 3.00 | Nos. | 10.00 | 50.00 | 150.00 | 350.00 | 1050.00 | 365.00 | 1095.00 | 150.00 | 450.00 | 150.00 | Manish Electricals
1.42 | Digital TRUE RMS Ammeter suitable for NASU Make CCRs.
1.43 | 30Amp/ 1 Amp (For 30 Kw CCR) | 2.00 | Nos. | 10.00 | 3000.00 | 6000.00 | 2800.00 | 5600.00 | 2997.00 | 5994.00 | 1500.00 | 3000.00 | 3000.00 | electromach sales agencies
1.44 | 10 Amp/1 Amp (For 7.5 Kw & 4 Kw CCR) | 2.00 | Nos. | 10.00 | 2000.00 | 4000.00 | 2800.00 | 5600.00 | 2997.00 | 5994.00 | 1500.00 | 3000.00 | 3000.00 | electromach sales agencies
1.45 | 2 Pole, 8 Way Brilliancy Switch (Rotary wafer, MBB type) suitable for NASU Make CCRs (For all rating CCRs). | 5.00 | Nos. | 10.00 | 2160.00 | 10800.00 | 3475.00 | 17375.00 | 3270.00 | 16350.00 | 1000.00 | 5000.00 | 5000.00 | electromach sales agencies
1.46 | Power Transistors MJ11016 suitable for NASU Make CCRs (For all rating CCRs). | 5.00 | Nos. | 10.00 | 1100.00 | 5500.00 | 800.00 | 4000.00 | 817.00 | 4085.00 | 600.00 | 3000.00 | 3000.00 | electromach sales agencies
| Total in Figures |  |  |  |  | 799050.00 |  | 719925.00 |  | 713686.00 |  | 659800.00
Lowest Amount Quoted BY: electromach sales agencies(659800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Repair, Maintenance and Operation of E and M Installations at DABH Airport, Indore (2021-22). SH Supply of GLF Spares Tender ID: 2021_AAI_97500_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | electromach sales agencies | 659800.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 713686.00 | L2
| 3 | SHRI K.D.INDUSTRIES | 719925.00 | L3
| 4 | Manish Electricals | 799050.00 | L4