## BoQ1
Government eProcurement System Created By: PRASHANT FULMARE Created Date/Time: 10-Jan-2022 05:37 PM Tender Title: Replacement and Provision of standby Split Air conditioners at ELDIS-I Radar and GP-27 of C.S.M.I.Airport, Mumbai Tender ID: 2021_AAI_98056_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "Replacement and Provision of standby Split Air conditioners at ELDIS-I Radar and GP-27 of C.S.M.I.Airport, Mumbai."
Contract No: MUM/ATS/ENGG-E/eNIT-03/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | WEATHER COOL SALES PVT LTD(GSTN-27AAACW7917P1ZL) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL) |  | GLOBAL AIR TECNIX(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 2.0 TR High wall Split type Airconditioners not less than 5 star rating copper coil, inverter type fitted with extra powerful rotory compressors, gold fin, choas logic operating including remote on regfrigerant R-22/ non CFC suitable for wall mounting confirming to IS: 1391 / Part – 21/92 Amdt. No. 1 (except power consumption norms) with 15 feet refrigeration pipes and suitable copper cable and having features like auto air swing (2 way swing), speed setting (3/3), operation control(electronic), auto restart, on timer, evaporator type (2 bend eva) suitable for operation on 230V, 50 Hz, single phase AC supply capable of performing:-(a)Cooling (b)Dehumidifying. (c) Air-circulating (d) Filtering (anti-bacteria). Make: HITACHI / SAMSUNG /CARRIER/ HAIER/LG/ BLUE STAR. | 9.00 | Each |  | 52293.75 | 470643.75 | 58000.00 | 522000.00 | 55000.00 | 495000.00 | 54648.00 | 491832.00 | 470643.75 | WEATHER COOL SALES PVT LTD
2.00 | Installation, Testing & Commissioning of 2.0 TR Eco-friendly refrigerant Split Inverter type Air Conditioner etc. complete as required. | 9.00 | Each |  | 2500.00 | 22500.00 | 3000.00 | 27000.00 | 1000.00 | 9000.00 | 2500.00 | 22500.00 | 9000.00 | Ganga Enterprises
3.00 | Providing & fixing extra suitable size refrigeration copper pipes and Electical interconnection wires beyond Fifteen feet for 2.0 TR split AC unit as required. | 25.00 | Mtr |  | 1100.00 | 27500.00 | 600.00 | 15000.00 | 300.00 | 7500.00 | 1058.00 | 26450.00 | 7500.00 | Ganga Enterprises
4.00 | Supplying and fixing of floor mounted MS angle Stand (1.5 feet height) suitable for mounting 2.0 TR split AC`s outdoor unit including painting etc. complete as required. | 9.00 | Each |  | 2500.00 | 22500.00 | 1200.00 | 10800.00 | 400.00 | 3600.00 | 1200.00 | 10800.00 | 3600.00 | Ganga Enterprises
5.00 | Providing and fixing of 20 mm. dia. PVC Plumbing/drain Pipes for 2.0 TR Ductable Split ACs on surface including all accessories like bends, sockets and water seal joints, etc. complete as required. | 35.00 | Mtr |  | 125.00 | 4375.00 | 125.00 | 4375.00 | 80.00 | 2800.00 | 190.00 | 6650.00 | 2800.00 | Ganga Enterprises
6.00 | Wiring for light/ power plug with 2 X 4 sq. mm. FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq. mm. FRLS PVC insulated copper conductor single core cable for loop earthing, etc. complete as required | 35.00 | Mtr |  | 235.00 | 8225.00 | 135.00 | 4725.00 | 150.00 | 5250.00 | 220.00 | 7700.00 | 4725.00 | Manish Electricals
7.00 | Dismantling the existing 1.5TR/ 2TR /3.0 TR split type AC completely of different capacities from different locations of the operational area and shifting to AAI store i/c. loading / unloading, etc. complete as required. | 7.00 | Each |  | 2000.00 | 14000.00 | 1500.00 | 10500.00 | 500.00 | 3500.00 | 2000.00 | 14000.00 | 3500.00 | Ganga Enterprises
| Total in Figures |  |  |  |  | 569743.75 |  | 594400.00 |  | 526650.00 |  | 579932.00
Lowest Amount Quoted BY: Ganga Enterprises(526650.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement and Provision of standby Split Air conditioners at ELDIS-I Radar and GP-27 of C.S.M.I.Airport, Mumbai Tender ID: 2021_AAI_98056_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ganga Enterprises | 526650.00 | L1
| 2 | WEATHER COOL SALES PVT LTD | 569743.75 | L2
| 3 | GLOBAL AIR TECNIX | 579932.00 | L3
| 4 | Manish Electricals | 594400.00 | L4