## BoQ1
Government eProcurement System Created By: Darsi Likhitha Created Date/Time: 30-Dec-2021 11:19 AM Tender Title: ANNUAL MAINTENANCE CONTRACT (2021-24) OF FIRE ALARM AND DETECTION SYSTEM AND ASSOCIATED WORKS AT JORHAT AIRPORT, JORHAT Tender ID: 2021_AAI_98316_1
Tender Inviting Authority: Asst.Manager (Engg. – Electrical), AAI,Jorhat
Name of Work: Annual Maintenance Contract (2021-24) of Fire Alarm and detection system and associated works at Jorhat Airport, Jorhat.
Contract No: : 2021_AAI_98316
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Katyayni Engineering And Services(GSTN-07ADZPV0433A1ZG) |  | DOGRA AND DOGRA ENTERPRISES(GSTN-07AIFPD1861P2Z1) |  | M/s S.T. Electricals(GSTN-18AJRPK5206C1ZA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Maintenance Service contract of Conventional type Fire Alarm & Detection (FADS) control panel, battery back up system, all type of photoelectric detectors, multi sensor detectors, response indicators, manual call points, control modules, circuit isolators, multi criteria detectors, monitor modules, hooters including associated wiring work up to main fire control panel installed at various locations of AAI substation as detailed in the special conditions of the contract etc. complete as required. The work including inspection of system once in a THREE month, servicing of detectors, sensors, panels etc., replacement of minor spares like LED, Diode, transistor, IC etc all areas of Jorhat Airport including attending complaints/breakdown and taking rectification action as required ensuring servicebility/satisfactorily working condition of the system and preventive maintenance by agency etc., complete as required. This also includes labour charges for replacement of any accessories related to complete fire alarm system (spares shall be supplied by AAI). Detailed Specification: Conventional type Fire Alarm panel (Make: System Sensor Honeywell , Photo + Heat Detector( Make: Honeywell) - 20 Nos., Manual Call point -02 Nos, Response Indicator- 05 Nos., Fire Alarm speaker (Medium intensity-4W)-01 No & Industrial Grade outdoor weatherproof Horn(15W)-01 Nos
1.01 | First Year(2021-22) | 1.00 | Per Annum |  | 19550.00 | 19550.00 | 61300.00 | 61300.00 | 28000.00 | 28000.00 | 19550.00 | Katyayni Engineering And Services
1.02 | Second year(2022-23) | 1.00 | Per Annum |  | 19550.00 | 19550.00 | 63300.00 | 63300.00 | 30000.00 | 30000.00 | 19550.00 | Katyayni Engineering And Services
1.03 | Third Year (2023-24) | 1.00 | Per Annum |  | 19550.00 | 19550.00 | 65500.00 | 65500.00 | 33000.00 | 33000.00 | 19550.00 | Katyayni Engineering And Services
2.00 | Annual Maintenance Service contract of Microprocessor based Addressable Fire Alarm & Detection (FADS) control panel, battery back up system, all type of photoelectric detectors, multi sensor detectors, response indicators, manual call points, control modules, circuit isolators, multi criteria detectors, monitor modules, hooters including associated wiring work up to main fire control panel installed at various locations of AAI Terminal Building as detailed in the special conditions of the contract etc. complete as required. The work including inspection of system once in a THREE month, servicing of detectors, sensors, panels etc., replacement of minor spares like LED, Diode, transistor, IC etc all areas of Jorhat Airport including attending complaints/breakdown and taking rectification action as required ensuring servicebility/satisfactorily working condition of the system and preventive maintenance by agency etc., complete as required. This also includes labour charges for replacement of any accessories related to complete fire alarm system (spares shall be supplied by AAI). Detailed Specification: Addressable type Fire Alarm panel (Make: Honeywell, Model: ZX2Se, Photo + Heat Detector (make Honeywell) - 55 Nos., Manual Call point -06 Nos, Hooters - 06 Nos, Response Indicator- 10 Nos.,
2.01 | First Year(2021-22) | 1.00 | Per Annum |  | 19550.00 | 19550.00 | 75500.00 | 75500.00 | 36000.00 | 36000.00 | 19550.00 | Katyayni Engineering And Services
2.02 | Second year(2022-23) | 1.00 | Per Annum |  | 19550.00 | 19550.00 | 76500.00 | 76500.00 | 38000.00 | 38000.00 | 19550.00 | Katyayni Engineering And Services
2.03 | Third Year (2023-24) | 1.00 | Per Annum |  | 19550.00 | 19550.00 | 78800.00 | 78800.00 | 40000.00 | 40000.00 | 19550.00 | Katyayni Engineering And Services
3.00 | SH-II Supply of FADS Spares as on when required.
3.01 | Supply of addressable type Smoke Detectors make - Morley-Honeywell and model no. HM-PSE-S2 as on when required. | 6.00 | Each |  | 3150.00 | 18900.00 | 2800.00 | 16800.00 | 1850.00 | 11100.00 | 11100.00 | M/s S.T. Electricals
3.02 | Supply of addressable type Heat Detector make - Morley-Honeywell as on when required. | 4.00 | Each |  | 3000.00 | 12000.00 | 2750.00 | 11000.00 | 1900.00 | 7600.00 | 7600.00 | M/s S.T. Electricals
3.03 | Supply of Conventional type Smoke Detectors make-System Sensor as on when required. | 4.00 | Each |  | 2500.00 | 10000.00 | 2800.00 | 11200.00 | 850.00 | 3400.00 | 3400.00 | M/s S.T. Electricals
3.04 | Supply of Conventional type Heat Detectors make-System Sensor as on when required. | 2.00 | Each |  | 2500.00 | 5000.00 | 2800.00 | 5600.00 | 900.00 | 1800.00 | 1800.00 | M/s S.T. Electricals
4.00 | SH-III AMC of Fire Extinguishers Non Comprehensive Maintenance Contract of Following Portable type fire extinguishers as per manufacturers recommendations i/c replacement of minor spares viz. safety pins, pin holders, seal. (FIRST YEAR)
4.01 | 9 Ltrs. Foam type | 12.00 | Per Annum |  | 300.00 | 3600.00 | 800.00 | 9600.00 | 100.00 | 1200.00 | 1200.00 | M/s S.T. Electricals
4.02 | 9 Kg capacity Dry Chemical Powder type | 2.00 | Per Annum |  | 200.00 | 400.00 | 700.00 | 1400.00 | 100.00 | 200.00 | 200.00 | M/s S.T. Electricals
4.03 | 6 Kg capacity Dry Chemical Powder type | 3.00 | Per Annum |  | 100.00 | 300.00 | 600.00 | 1800.00 | 100.00 | 300.00 | 300.00 | Katyayni Engineering And Services, M/s S.T. Electricals
4.04 | 4 Kg capacity Dry Chemical Powder type | 8.00 | Per Annum |  | 100.00 | 800.00 | 600.00 | 4800.00 | 100.00 | 800.00 | 800.00 | Katyayni Engineering And Services, M/s S.T. Electricals
4.05 | 4.5 Kg capacity CO2 type | 25.00 | Per Annum |  | 100.00 | 2500.00 | 900.00 | 22500.00 | 100.00 | 2500.00 | 2500.00 | Katyayni Engineering And Services, M/s S.T. Electricals
5.00 | Non Comprehensive Maintenance Contract of Following Portable type fire extinguishers as per manufacturers recommendations i/c replacement of minor spares viz. safety pins, pin holders, seal. (SECOND YEAR)
5.01 | 9 Ltrs. Foam type | 12.00 | Per Annum |  | 300.00 | 3600.00 | 850.00 | 10200.00 | 120.00 | 1440.00 | 1440.00 | M/s S.T. Electricals
5.02 | 9 Kg capacity Dry Chemical Powder type | 2.00 | Per Annum |  | 200.00 | 400.00 | 750.00 | 1500.00 | 120.00 | 240.00 | 240.00 | M/s S.T. Electricals
5.03 | 6 Kg capacity Dry Chemical Powder type | 3.00 | Per Annum |  | 100.00 | 300.00 | 650.00 | 1950.00 | 120.00 | 360.00 | 300.00 | Katyayni Engineering And Services
5.04 | 4 Kg capacity Dry Chemical Powder type | 8.00 | Per Annum |  | 100.00 | 800.00 | 650.00 | 5200.00 | 120.00 | 960.00 | 800.00 | Katyayni Engineering And Services
5.05 | 4.5 Kg capacity CO2 type | 25.00 | Per Annum |  | 100.00 | 2500.00 | 950.00 | 23750.00 | 120.00 | 3000.00 | 2500.00 | Katyayni Engineering And Services
6.00 | Non Comprehensive Maintenance Contract of Following Portable type fire extinguishers as per manufacturers recommendations i/c replacement of minor spares viz. safety pins, pin holders, seal. (THIRD YEAR)
6.01 | 9 Ltrs. Foam type | 12.00 | Per Annum |  | 300.00 | 3600.00 | 1000.00 | 12000.00 | 140.00 | 1680.00 | 1680.00 | M/s S.T. Electricals
6.02 | 9 Kg capacity Dry Chemical Powder type | 2.00 | Per Annum |  | 200.00 | 400.00 | 1000.00 | 2000.00 | 140.00 | 280.00 | 280.00 | M/s S.T. Electricals
6.03 | 6 Kg capacity Dry Chemical Powder type | 3.00 | Per Annum |  | 100.00 | 300.00 | 7000.00 | 21000.00 | 140.00 | 420.00 | 300.00 | Katyayni Engineering And Services
6.04 | 4 Kg capacity Dry Chemical Powder type | 8.00 | Per Annum |  | 100.00 | 800.00 | 800.00 | 6400.00 | 140.00 | 1120.00 | 800.00 | Katyayni Engineering And Services
6.05 | 4.5 Kg capacity CO2 type | 25.00 | Per Annum |  | 100.00 | 2500.00 | 1000.00 | 25000.00 | 140.00 | 3500.00 | 2500.00 | Katyayni Engineering And Services
7.00 | SH-IV Refilling of Fire Extinguishers Refilling of the following type and capacity fire extinguishers as per site requirement, with the approval of EIC.
7.01 | 9 Ltrs. Foam type | 18.00 | Each |  | 3000.00 | 54000.00 | 1500.00 | 27000.00 | 400.00 | 7200.00 | 7200.00 | M/s S.T. Electricals
7.02 | 9 Kg capacity Dry Chemical Powder type | 3.00 | Each |  | 500.00 | 1500.00 | 1500.00 | 4500.00 | 600.00 | 1800.00 | 1500.00 | Katyayni Engineering And Services
7.03 | 6 Kg capacity Dry Chemical Powder type | 5.00 | Each |  | 500.00 | 2500.00 | 850.00 | 4250.00 | 600.00 | 3000.00 | 2500.00 | Katyayni Engineering And Services
7.04 | 4 Kg capacity Dry Chemical Powder type | 12.00 | Each |  | 500.00 | 6000.00 | 800.00 | 9600.00 | 500.00 | 6000.00 | 6000.00 | Katyayni Engineering And Services, M/s S.T. Electricals
7.05 | 4.5 Kg capacity CO2 type | 38.00 | Each |  | 500.00 | 19000.00 | 800.00 | 30400.00 | 750.00 | 28500.00 | 19000.00 | Katyayni Engineering And Services
| Total in Figures |  |  |  |  | 269000.00 |  | 690350.00 |  | 293400.00
Lowest Amount Quoted BY: Katyayni Engineering And Services(269000.00)

## BOQ Summary
BOQ Summary Details Tender Title: ANNUAL MAINTENANCE CONTRACT (2021-24) OF FIRE ALARM AND DETECTION SYSTEM AND ASSOCIATED WORKS AT JORHAT AIRPORT, JORHAT Tender ID: 2021_AAI_98316_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Katyayni Engineering And Services | 269000.00 | L1
| 2 | M/s S.T. Electricals | 293400.00 | L2
| 3 | DOGRA AND DOGRA ENTERPRISES | 690350.00 | L3