## BoQ1
Government eProcurement System Created By: BIJU K G Created Date/Time: 13-Jan-2022 05:25 PM Tender Title: Replacement of Non-Essential Panel at Power House Tender ID: 2021_AAI_98933_1
Tender Inviting Authority: Airports Authority of India, Tuticorin Airport, Tuticorin - 628103.
Name of Work: Replacement of Non-Essential panel at Power House.
Contract No: 2020_AAI_98933_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | Mukherjee Commercial Enterprise(GSTN-19ALVPM0307N1ZJ) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | K.S.ELECTRICALS(GSTN-33AHFPR7136L1Z0) |  | ESSENN POWER CONTROLS PVT LTD(GSTN-33AAACE9380J1ZZ) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | LINSTA SERVICES(GSTN-32BMKPS6907H1ZS) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA) |  | HRI ASSOCIATES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing and Commissioning of indoor type totally enclosed and extensible type MV LT panel, degree of enclosure protection shall be IP 42 as per IS 13947 ([part-I), with front and back openable arrangement completely made up of i/c internal partitions of 14 SWG CRCA sheet steel, i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, dust tight, vermin proof totally enclosed, cubicle type floor mounting, free standing including providing and fixing of extensible type 2000 A Aluminium bus bar with all accessories suitable for operation at 415V, 3 phase, 4 wire, 50 Hz, A.C power supply system complete with all accessories, interconnection with solid Aluminium strip neutral links, earthing, painting, grouting, providing cable entry provision, cable chamber control wiring with 1.5 sq.mm PVC insulated FRLS copper conducor single core multistrand cables, cable gland plates, danger notice plates etc. as required and mounted with the following switch gears as per technical specification. Entire panel shall have a common suitable size aluminium earth bar with 2 Nos earth stud, detachable gland plate at the bottom and rubber gasket mechanical interlocking for doors with locking arrangement etc complete with MS iron base frame fabricated from 75 mm x 35 mm x 5 mm MS channel With all necessary accessories etc, complete as required. Necessary channels shall be provided for fixing of panels above the cable trenches. The LV panel shall be complete design verified assembly as per IEC 61439. The LV panels shall be modular, extendable and shall have maintenance friendly construction. The LV panel shall have compartmentalized bolted construction. LV panel shall be manufactured by authorized Franchisee of OEM based on design given by OEM. | 1.00 | Job |  | 2200000.00 | 2200000.00 | 1905000.00 | 1905000.00 | 2595000.00 | 2595000.00 | 2222222.00 | 2222222.00 | 2340000.00 | 2340000.00 | 2020510.00 | 2020510.00 | 2500000.00 | 2500000.00 | 2249500.00 | 2249500.00 | 1993808.00 | 1993808.00 | 2200000.00 | 2200000.00 | 2216450.00 | 2216450.00 | 2250000.00 | 2250000.00 | 2235000.00 | 2235000.00 | 2045000.00 | 2045000.00 | 2699999.00 | 2699999.00 | 2315000.00 | 2315000.00 | 1905000.00 | Mukherjee Commercial Enterprise
1.10 | INCOMER: 2 Nos 1600 A (at 50 degree celcius) each four pole ACB, horizontal draw out type air circuit breaker with LSING protection of fault break capacity 50 kA (Icu=Ics=Icw for 1 Second) up to 440 V, Electrically operated, electrical interlock shall be provided between breaker operating mechanism & the arc chutes, with in-built safety shutter, inbuilt Electrical anti-pumping, contact wear indication, mechanical ON/OFF and service/test/Isolated position indicators and frame earthing contact, ROHS compliance, conforming to IS 1397-2-1933 as amended up-to-date complete with following accessories for each ACB. a) Release shall annunciate each fault in its chassis through LED. ACB releases shall be self powered, have O-LED Display showing Current, Energy, Power Parameters & Harmonic Metering, with minimum Last 10 Trip data & 10 Event Data Recording for analysis. Release shall have Soft rating Plug for accurate protection and also shall have password protection. If required in future, release shall have optional feature for adding RS 485 communication module in the same unit. b) multifunction meter with RS 485 (for V, A, kWH, kW, PF,Hz, kVA & THD - L&T WL 5010 or equivalent); CT 2500/5 CL 1,15 VA CT 2500/5 Cl 0.5,15VA PUSH BUTTON ON/OFF (R&G) AUX.CONTACTOR 2 NO+2NC 230 V AC 4A CONTROL FUSE. c)suitable rating CT 3 Nos phase indication LED lA- R,Y,B, ON,OFF,TRIP,SPRING CHARGE indication light with HRC fuse test terminal block set, etc,. push button ON/OFF auxiliary contact for positive interlocking of the breakers as required. d) Suitable rating of surge protection device BUS COUPLER: a)1 No. 1600 A horizontal draw out type air circuit breakers without protection release of fault breaking capacity 50 kA (Icu=Ics=Icw for 1 Second) up to 440 V, Electrically operated, interlock shall be provided between breaker operating mechanism & the arc chutes, with in-built safety shutter, inbuilt Electrical anti-pumping, contact wear indication, mechanical ON/OFF and service/test/Isolated position indicators and frame earthing contact, conforming to IS 13947-2-1993 as amended up-to-date complete with following accessories for each ACB. b) indication LED lA- R,Y,B, ON,OFF,TRIP,SPRING CHARGE with HRC fuses, auxiliary contactor (2NO+2NC), push button ON & OFF, interlocking of breakers ,etc.as required-1 set
1.20 | BUSBAR TPN Aluminium busbar of minimum 2000 A capacity with heat shrinkable coloured sleeves and supports etc as required. INTERLOCKING: Electrical through advance contacts in ACB's (incomers & bus couplers) and mechanical interlocking should be provided to ensure that only one supply is available at a time on each section of bus and to eliminate any possibility of accidently approaching two supplies at one bus section. OUTGOING: a) 1250 A, FP horizontal draw out type air circuit breaker with LSING protection of fault break capacity 50 kA (Icu=Ics=Icw for 1 Second) up to 440 V, Electrically operated, interlock shall be provided between breaker operating mechanism & the arc chutes, with in-built safety shutter, inbuilt Electrical anti-pumping, contact wear indication, mechanical ON/OFF and service/test/Isolated position indicators and frame earthing contact, ROHS complaince, conforming to IS 1397-2-1933 as amended up-to-date complete with all accessories same as the incomer (a,b,c, d under subhead of Incomer) for each ACB. - 3 sets ( 2 no's 625 kVA DG set + 1 spare ( the spare shall be suitable for the existing ACBs) b) 2nos. 400 A, '50 kA'(Load Spare) (Ics= 100% Icu) FP MCCB with microprocessor based trip units for O/L, S/C, and inbuilt earth fault protection, with extended handle, spreader links, on/off indication lamp for MCCB. c) 2nos. 250 A, '36 kA'(Load Spare) (Ics= 100% Icu) FP MCCB with microprocessor based trip units for O/L, S/C, and inbuilt earth fault protection, with extended handle, spreader links, on/off indication lamp for MCCB.
2.00 | Supplying and making end termination with brass single compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 kV grade as required. 3.5 core x 150 sq.mm | 4.00 | Set |  | 1800.00 | 7200.00 | 1000.00 | 4000.00 | 750.00 | 3000.00 | 900.00 | 3600.00 | 800.00 | 3200.00 | 1455.00 | 5820.00 | 500.00 | 2000.00 | 550.00 | 2200.00 | 1886.00 | 7544.00 | 1000.00 | 4000.00 | 588.00 | 2352.00 | 1250.00 | 5000.00 | 1612.00 | 6448.00 | 950.00 | 3800.00 | 1200.00 | 4800.00 | 1250.00 | 5000.00 | 2000.00 | RVD INFRA SOLUTION PVT.LTD.
3.00 | Supplying and making end termination with brass single compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 kV grade as required. 3.5 core x 400 sq.mm | 4.00 | Set |  | 3200.00 | 12800.00 | 1200.00 | 4800.00 | 1750.00 | 7000.00 | 1000.00 | 4000.00 | 1800.00 | 7200.00 | 1940.00 | 7760.00 | 1100.00 | 4400.00 | 1000.00 | 4000.00 | 3463.00 | 13852.00 | 2200.00 | 8800.00 | 2098.00 | 8392.00 | 2500.00 | 10000.00 | 4080.00 | 16320.00 | 1800.00 | 7200.00 | 1200.00 | 4800.00 | 2550.00 | 10200.00 | 4000.00 | DEEPAKELECTRICALS, vk sam engineering
4.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 2 x 10 Sq.mm | 14.00 | set |  | 300.00 | 4200.00 | 250.00 | 3500.00 | 150.00 | 2100.00 | 200.00 | 2800.00 | 200.00 | 2800.00 | 485.00 | 6790.00 | 130.00 | 1820.00 | 125.00 | 1750.00 | 663.00 | 9282.00 | 200.00 | 2800.00 | 171.00 | 2394.00 | 300.00 | 4200.00 | 370.00 | 5180.00 | 20.00 | 280.00 | 755.00 | 10570.00 | 250.00 | 3500.00 | 280.00 | Awasthi Electric Works
5.00 | Supplying of following sizes of 1.1 kV grade, XLPE insulated, Aluminium conductor armoured Power Cable conforming to IS 7098 Part-I 1985 with up to date amendments complete as required as per specifications. 2 core, 10 sq.mm | 130.00 | Metre |  | 85.00 | 11050.00 | 120.00 | 15600.00 | 110.00 | 14300.00 | 200.00 | 26000.00 | 130.00 | 16900.00 | 169.00 | 21970.00 | 104.00 | 13520.00 | 100.00 | 13000.00 | 175.00 | 22750.00 | 88.00 | 11440.00 | 147.00 | 19110.00 | 120.00 | 15600.00 | 115.00 | 14950.00 | 135.00 | 17550.00 | 200.00 | 26000.00 | 135.00 | 17550.00 | 11050.00 | Shantha ELectricals and Engineers Pvt Ltd
6.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 50 mm OD and 38 mm ID | 50.00 | Metre |  | 150.00 | 7500.00 | 350.00 | 17500.00 | 130.00 | 6500.00 | 200.00 | 10000.00 | 180.00 | 9000.00 | 350.00 | 17500.00 | 200.00 | 10000.00 | 190.00 | 9500.00 | 255.00 | 12750.00 | 200.00 | 10000.00 | 236.00 | 11800.00 | 220.00 | 11000.00 | 191.00 | 9550.00 | 210.00 | 10500.00 | 289.00 | 14450.00 | 125.00 | 6250.00 | 6250.00 | HRI ASSOCIATES
7.00 | Laying of one number armoured XLPE insulated and PVC sheathed power cable of 1.1 kV grade of following size in the existing RCC/ HDPE / HUME / METAL pipe as required. Up to 35 sq.mm | 90.00 | Metre |  | 80.00 | 7200.00 | 40.00 | 3600.00 | 30.00 | 2700.00 | 23.00 | 2070.00 | 25.00 | 2250.00 | 39.00 | 3510.00 | 26.00 | 2340.00 | 40.00 | 3600.00 | 84.00 | 7560.00 | 20.00 | 1800.00 | 35.00 | 3150.00 | 80.00 | 7200.00 | 64.00 | 5760.00 | 50.00 | 4500.00 | 70.00 | 6300.00 | 95.00 | 8550.00 | 1800.00 | KALKI ELECTRICALS
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required. Up to 35 sq.mm | 20.00 | Metre |  | 70.00 | 1400.00 | 40.00 | 800.00 | 30.00 | 600.00 | 23.00 | 460.00 | 20.00 | 400.00 | 39.00 | 780.00 | 26.00 | 520.00 | 45.00 | 900.00 | 84.00 | 1680.00 | 20.00 | 400.00 | 42.00 | 840.00 | 100.00 | 2000.00 | 64.00 | 1280.00 | 35.00 | 700.00 | 70.00 | 1400.00 | 95.00 | 1900.00 | 400.00 | K.S.ELECTRICALS, KALKI ELECTRICALS
9.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq.mm | 20.00 | Metre |  | 70.00 | 1400.00 | 60.00 | 1200.00 | 35.00 | 700.00 | 23.00 | 460.00 | 40.00 | 800.00 | 68.00 | 1360.00 | 26.00 | 520.00 | 55.00 | 1100.00 | 84.00 | 1680.00 | 36.00 | 720.00 | 42.00 | 840.00 | 80.00 | 1600.00 | 64.00 | 1280.00 | 70.00 | 1400.00 | 70.00 | 1400.00 | 95.00 | 1900.00 | 460.00 | DEEPAKELECTRICALS
10.00 | Dismantling of existing Non-essential panel and relocating the same to electrical store outside power house as per direction of Engineer-in-charge, disconnecting the cables from the existing Non-essential panel, terminating the cables to the new panel without affecting airport operations etc complete as required. | 1.00 | Job |  | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 14550.00 | 14550.00 | 20000.00 | 20000.00 | 7500.00 | 7500.00 | 17978.00 | 17978.00 | 20000.00 | 20000.00 | 6250.00 | 6250.00 | 12500.00 | 12500.00 | 63750.00 | 63750.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 1500.00 | jaydeep agency corporation
11.00 | Supplying and fixing following way, three pole and neutral, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper busbars, neutral link, earth bar, din bar, detachable gland plate, interconnections, phosphatized and powder painted including earthing etc.as required (but without MCB/RCCB/Isolator). 8 way (8+24), single door, vertical type. | 1.00 | Job |  | 10500.00 | 10500.00 | 6000.00 | 6000.00 | 3500.00 | 3500.00 | 9000.00 | 9000.00 | 12000.00 | 12000.00 | 9600.00 | 9600.00 | 6500.00 | 6500.00 | 3260.00 | 3260.00 | 7802.00 | 7802.00 | 8800.00 | 8800.00 | 10981.00 | 10981.00 | 10500.00 | 10500.00 | 5992.00 | 5992.00 | 9900.00 | 9900.00 | 12500.00 | 12500.00 | 3500.00 | 3500.00 | 3260.00 | vk sam engineering
12.00 | Supplying and fixing 63 A FP MCB rating, 415 volts, 'C' curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | 1.00 | Job |  | 2200.00 | 2200.00 | 2000.00 | 2000.00 | 2100.00 | 2100.00 | 1600.00 | 1600.00 | 2000.00 | 2000.00 | 1950.00 | 1950.00 | 1027.00 | 1027.00 | 1550.00 | 1550.00 | 2313.00 | 2313.00 | 1400.00 | 1400.00 | 2005.00 | 2005.00 | 2100.00 | 2100.00 | 1657.00 | 1657.00 | 1600.00 | 1600.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 1027.00 | RVD INFRA SOLUTION PVT.LTD.
13.00 | Supplying and fixing 20 A TP MCB rating, 415 volts, 'C' curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | 2.00 | Job |  | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 1800.00 | 3600.00 | 1000.00 | 2000.00 | 1200.00 | 2400.00 | 1165.00 | 2330.00 | 845.00 | 1690.00 | 900.00 | 1800.00 | 885.00 | 1770.00 | 910.00 | 1820.00 | 637.00 | 1274.00 | 1200.00 | 2400.00 | 892.00 | 1784.00 | 900.00 | 1800.00 | 400.00 | 800.00 | 1850.00 | 3700.00 | 800.00 | DElite System Engineering (India) Pvt. Ltd.
14.00 | Supplying and fixing 6 to 32 A SP MCB rating, 415 volts, 'C' curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | 18.00 | Job |  | 230.00 | 4140.00 | 225.00 | 4050.00 | 135.00 | 2430.00 | 160.00 | 2880.00 | 220.00 | 3960.00 | 235.00 | 4230.00 | 143.00 | 2574.00 | 210.00 | 3780.00 | 1279.00 | 23022.00 | 200.00 | 3600.00 | 400.00 | 7200.00 | 250.00 | 4500.00 | 230.00 | 4140.00 | 190.00 | 3420.00 | 350.00 | 6300.00 | 225.00 | 4050.00 | 2430.00 | jaydeep agency corporation
15.00 | Supply of 450 mm dia,900 rpm, single phase 240 Volts exhaust fan complete with all accessories such as, motor, blade, louvers, capacitor etc. including all accessories as required. | 5.00 | Each |  | 2500.00 | 12500.00 | 12000.00 | 60000.00 | 3800.00 | 19000.00 | 3000.00 | 15000.00 | 4200.00 | 21000.00 | 6015.00 | 30075.00 | 7150.00 | 35750.00 | 4000.00 | 20000.00 | 4240.00 | 21200.00 | 4800.00 | 24000.00 | 3775.00 | 18875.00 | 4800.00 | 24000.00 | 5100.00 | 25500.00 | 5500.00 | 27500.00 | 3500.00 | 17500.00 | 2555.00 | 12775.00 | 12500.00 | Shantha ELectricals and Engineers Pvt Ltd
16.00 | Installation of exhaust fan up to 450 mm sweep including making the hole on the existing wall to suit the size of the above fan, making good the damage, plastering, connections, testing, commissioning etc. as required. | 4.00 | Job |  | 350.00 | 1400.00 | 250.00 | 1000.00 | 250.00 | 1000.00 | 300.00 | 1200.00 | 800.00 | 3200.00 | 585.00 | 2340.00 | 390.00 | 1560.00 | 500.00 | 2000.00 | 1199.00 | 4796.00 | 600.00 | 2400.00 | 800.00 | 3200.00 | 500.00 | 2000.00 | 510.00 | 2040.00 | 400.00 | 1600.00 | 999.00 | 3996.00 | 655.00 | 2620.00 | 1000.00 | Mukherjee Commercial Enterprise, jaydeep agency corporation
17.00 | Supply of 30 W LED street Light fitting suitable to operate on 240V, 50Hz, AC Supply housed in pressure Die-Cast/Extruded Aluminium Alloy with toughned glass, IP 66 protection, of lumen efficacy not less than 110 lm/W, with suitable CRI, THD <10 %etc. complete as required. The Fitting shall have separate compartment for LEDs & electronic driver, operating voltage 140-270 V with minimum Surge Protection of 4kV, OEM warranty of 5 years on luminaire, driver, LED,shall be provided. etc. complete as required. | 15.00 | Each |  | 4500.00 | 67500.00 | 3500.00 | 52500.00 | 1850.00 | 27750.00 | 7500.00 | 112500.00 | 2300.00 | 34500.00 | 3590.00 | 53850.00 | 1560.00 | 23400.00 | 1495.00 | 22425.00 | 1840.00 | 27600.00 | 3300.00 | 49500.00 | 2721.00 | 40815.00 | 6500.00 | 97500.00 | 2805.00 | 42075.00 | 2800.00 | 42000.00 | 4999.00 | 74985.00 | 2250.00 | 33750.00 | 22425.00 | vk sam engineering
18.00 | Supply of 5 mtr height hot dip galvanised octagonal lighting pole of 3 mm thickness including providing of 4 nos. of M20 x 600 mm foundation bolts, base plate for anchoring on the concrete foundation, single arm light bracket of 135 deg of 1 meter length suitable for mounting the LED street light fixtures, connector for incoming loop cables, Bakelite sheet, 1no 6A MCB etc.complete as required. | 5.00 | Each |  | 19500.00 | 97500.00 | 8000.00 | 40000.00 | 13500.00 | 67500.00 | 13000.00 | 65000.00 | 8000.00 | 40000.00 | 17460.00 | 87300.00 | 12500.00 | 62500.00 | 14000.00 | 70000.00 | 13093.00 | 65465.00 | 10000.00 | 50000.00 | 9290.00 | 46450.00 | 14500.00 | 72500.00 | 12938.00 | 64690.00 | 10500.00 | 52500.00 | 19000.00 | 95000.00 | 6500.00 | 32500.00 | 32500.00 | HRI ASSOCIATES
19.00 | Construction of shallow foundation with cement concrete of 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including reinforcement and of dimension of 35 x 35 x 100 cm for the 5 mtr GI lighting pole including fixing of the foundation bolts, and the base plate, with proper alignment and providing HDPE DWC pipe of suitable size and length for cable entry, including excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil after refilling the sides of the foundation after construction and curing of the same, as directed, within a lead of 50 metres. | 5.00 | Job |  | 9000.00 | 45000.00 | 2500.00 | 12500.00 | 1234.00 | 6170.00 | 3400.00 | 17000.00 | 1000.00 | 5000.00 | 3400.00 | 17000.00 | 4550.00 | 22750.00 | 5500.00 | 27500.00 | 5993.00 | 29965.00 | 2200.00 | 11000.00 | 1500.00 | 7500.00 | 6500.00 | 32500.00 | 10838.00 | 54190.00 | 3500.00 | 17500.00 | 12000.00 | 60000.00 | 2250.00 | 11250.00 | 5000.00 | K.S.ELECTRICALS
20.00 | Installation, testing and commissioning of GI poles of 5 mtr height on the foundation and fixing of departmentally supplied LED lights on the light bracket, and providing 3 core 1.5 Sq.mm PVC insulated PVC sheathed multicore copper cable, nuts and bolts for termination with the light fittings and the connector and 6A C curve SP MCB etc. complete as required. | 5.00 | Job |  | 10000.00 | 50000.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 400.00 | 2000.00 | 1600.00 | 8000.00 | 1455.00 | 7275.00 | 1950.00 | 9750.00 | 1500.00 | 7500.00 | 1438.00 | 7190.00 | 1200.00 | 6000.00 | 1850.00 | 9250.00 | 2000.00 | 10000.00 | 1530.00 | 7650.00 | 1500.00 | 7500.00 | 5000.00 | 25000.00 | 2250.00 | 11250.00 | 2000.00 | DEEPAKELECTRICALS
21.00 | SITC of LED aviation light with Die-cast aluminum housing with Red polycarbonate dome for better illumination, Integral driver suitable for outdoor applications, complete as per technical specifications on suitable GI pipe on the DG exhaust piping etc. complete as required. | 1.00 | Job |  | 12000.00 | 12000.00 | 5000.00 | 5000.00 | 5950.00 | 5950.00 | 6000.00 | 6000.00 | 5600.00 | 5600.00 | 3700.00 | 3700.00 | 5850.00 | 5850.00 | 6050.00 | 6050.00 | 8576.00 | 8576.00 | 12000.00 | 12000.00 | 5850.00 | 5850.00 | 7500.00 | 7500.00 | 7650.00 | 7650.00 | 500.00 | 500.00 | 7500.00 | 7500.00 | 5500.00 | 5500.00 | 500.00 | Awasthi Electric Works
22.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 30.00 | Metre |  | 140.00 | 4200.00 | 130.00 | 3900.00 | 180.00 | 5400.00 | 200.00 | 6000.00 | 270.00 | 8100.00 | 145.00 | 4350.00 | 234.00 | 7020.00 | 190.00 | 5700.00 | 228.00 | 6840.00 | 180.00 | 5400.00 | 279.00 | 8370.00 | 200.00 | 6000.00 | 255.00 | 7650.00 | 190.00 | 5700.00 | 1500.00 | 45000.00 | 225.00 | 6750.00 | 3900.00 | Mukherjee Commercial Enterprise
23.00 | Supplying and fixing of PVC box of 6 module on surface including providing suitable size of phenolic laminated sheet cover in front including painting etc as required. | 4.00 | Job |  | 85.00 | 340.00 | 200.00 | 800.00 | 200.00 | 800.00 | 250.00 | 1000.00 | 320.00 | 1280.00 | 155.00 | 620.00 | 260.00 | 1040.00 | 185.00 | 740.00 | 561.00 | 2244.00 | 260.00 | 1040.00 | 375.00 | 1500.00 | 250.00 | 1000.00 | 153.00 | 612.00 | 390.00 | 1560.00 | 750.00 | 3000.00 | 555.00 | 2220.00 | 340.00 | Shantha ELectricals and Engineers Pvt Ltd
24.00 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including connections etc. as required. 15/16 A switch | 4.00 | Job |  | 75.00 | 300.00 | 100.00 | 400.00 | 150.00 | 600.00 | 45.00 | 180.00 | 90.00 | 360.00 | 175.00 | 700.00 | 195.00 | 780.00 | 250.00 | 1000.00 | 832.00 | 3328.00 | 120.00 | 480.00 | 158.00 | 632.00 | 130.00 | 520.00 | 191.00 | 764.00 | 150.00 | 600.00 | 999.00 | 3996.00 | 555.00 | 2220.00 | 180.00 | DEEPAKELECTRICALS
25.00 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including connections etc. as required. 6 pin 15/16 amp socket outlet | 4.00 | Job |  | 165.00 | 660.00 | 100.00 | 400.00 | 190.00 | 760.00 | 65.00 | 260.00 | 160.00 | 640.00 | 175.00 | 700.00 | 325.00 | 1300.00 | 250.00 | 1000.00 | 952.00 | 3808.00 | 150.00 | 600.00 | 164.00 | 656.00 | 120.00 | 480.00 | 223.00 | 892.00 | 160.00 | 640.00 | 999.00 | 3996.00 | 555.00 | 2220.00 | 260.00 | DEEPAKELECTRICALS
26.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer-in-charge:Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix). | 2.00 | Cum |  | 8500.00 | 17000.00 | 8000.00 | 16000.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 1600.00 | 3200.00 | 10670.00 | 21340.00 | 2600.00 | 5200.00 | 2500.00 | 5000.00 | 5993.00 | 11986.00 | 500.00 | 1000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 3825.00 | 7650.00 | 1000.00 | 2000.00 | 3500.00 | 7000.00 | 4555.00 | 9110.00 | 400.00 | jaydeep agency corporation
27.00 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 5.00 | Cum |  | 650.00 | 3250.00 | 700.00 | 3500.00 | 350.00 | 1750.00 | 250.00 | 1250.00 | 300.00 | 1500.00 | 2425.00 | 12125.00 | 1040.00 | 5200.00 | 650.00 | 3250.00 | 1798.00 | 8990.00 | 250.00 | 1250.00 | 550.00 | 2750.00 | 500.00 | 2500.00 | 637.00 | 3185.00 | 300.00 | 1500.00 | 4500.00 | 22500.00 | 1555.00 | 7775.00 | 1250.00 | DEEPAKELECTRICALS, KALKI ELECTRICALS
28.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) of 100 mm thickness. | 2.00 | Cum |  | 6800.00 | 13600.00 | 7000.00 | 14000.00 | 3200.00 | 6400.00 | 6500.00 | 13000.00 | 4000.00 | 8000.00 | 7275.00 | 14550.00 | 15600.00 | 31200.00 | 6500.00 | 13000.00 | 3288.00 | 6576.00 | 5600.00 | 11200.00 | 8320.00 | 16640.00 | 8500.00 | 17000.00 | 16575.00 | 33150.00 | 6000.00 | 12000.00 | 9000.00 | 18000.00 | 7500.00 | 15000.00 | 6400.00 | jaydeep agency corporation
29.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand). | 2.00 | Cum |  | 4100.00 | 8200.00 | 5000.00 | 10000.00 | 2850.00 | 5700.00 | 3500.00 | 7000.00 | 8000.00 | 16000.00 | 7275.00 | 14550.00 | 10400.00 | 20800.00 | 8500.00 | 17000.00 | 2397.00 | 4794.00 | 5500.00 | 11000.00 | 8500.00 | 17000.00 | 8500.00 | 17000.00 | 10200.00 | 20400.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 8500.00 | 17000.00 | 4794.00 | BR Power Control and Automation Services
30.00 | 20 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : 1:3 (1 cement: 3 fine sand). | 20.00 | Sq.mtr |  | 450.00 | 9000.00 | 1000.00 | 20000.00 | 780.00 | 15600.00 | 1200.00 | 24000.00 | 400.00 | 8000.00 | 580.00 | 11600.00 | 455.00 | 9100.00 | 300.00 | 6000.00 | 1318.00 | 26360.00 | 360.00 | 7200.00 | 475.00 | 9500.00 | 500.00 | 10000.00 | 638.00 | 12760.00 | 300.00 | 6000.00 | 2000.00 | 40000.00 | 650.00 | 13000.00 | 6000.00 | vk sam engineering, Awasthi Electric Works
31.00 | Providing and fixing of MS angles of size of 50 x 50 x 5 mm. | 24.00 | Metre |  | 830.00 | 19920.00 | 400.00 | 9600.00 | 220.00 | 5280.00 | 220.00 | 5280.00 | 450.00 | 10800.00 | 365.00 | 8760.00 | 455.00 | 10920.00 | 525.00 | 12600.00 | 558.00 | 13392.00 | 440.00 | 10560.00 | 294.00 | 7056.00 | 500.00 | 12000.00 | 382.00 | 9168.00 | 540.00 | 12960.00 | 1200.00 | 28800.00 | 255.00 | 6120.00 | 5280.00 | jaydeep agency corporation, DEEPAKELECTRICALS
32.00 | Providing and fixing of MS chequered plate of side of 5 mm thickness including cutting and deburring making it suitable for closing the cable trenches etc. complete as required. | 30.00 | Sq.Mtr |  | 6500.00 | 195000.00 | 3000.00 | 90000.00 | 4800.00 | 144000.00 | 2500.00 | 75000.00 | 4500.00 | 135000.00 | 4200.00 | 126000.00 | 1560.00 | 46800.00 | 6200.00 | 186000.00 | 20422.00 | 612660.00 | 4600.00 | 138000.00 | 5245.00 | 157350.00 | 4500.00 | 135000.00 | 5100.00 | 153000.00 | 4500.00 | 135000.00 | 4500.00 | 135000.00 | 455.00 | 13650.00 | 13650.00 | HRI ASSOCIATES
33.00 | Earthing with copper earth plate 600 mm x 600 mm x 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 4.00 | Job |  | 15000.00 | 60000.00 | 18000.00 | 72000.00 | 12000.00 | 48000.00 | 13400.00 | 53600.00 | 16000.00 | 64000.00 | 13580.00 | 54320.00 | 15000.00 | 60000.00 | 18250.00 | 73000.00 | 28640.00 | 114560.00 | 18000.00 | 72000.00 | 18500.00 | 74000.00 | 22500.00 | 90000.00 | 31977.00 | 127908.00 | 14000.00 | 56000.00 | 17999.00 | 71996.00 | 15500.00 | 62000.00 | 48000.00 | jaydeep agency corporation
34.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 12.00 | Metre |  | 1350.00 | 16200.00 | 2000.00 | 24000.00 | 1680.00 | 20160.00 | 1325.00 | 15900.00 | 1800.00 | 21600.00 | 940.00 | 11280.00 | 1560.00 | 18720.00 | 1950.00 | 23400.00 | 1375.00 | 16500.00 | 1760.00 | 21120.00 | 2000.00 | 24000.00 | 1500.00 | 18000.00 | 1542.00 | 18504.00 | 1550.00 | 18600.00 | 1500.00 | 18000.00 | 1355.00 | 16260.00 | 11280.00 | ESSENN POWER CONTROLS PVT LTD
35.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 80.00 | Metre |  | 1250.00 | 100000.00 | 1450.00 | 116000.00 | 1180.00 | 94400.00 | 1400.00 | 112000.00 | 1100.00 | 88000.00 | 940.00 | 75200.00 | 1170.00 | 93600.00 | 1525.00 | 122000.00 | 1375.00 | 110000.00 | 1280.00 | 102400.00 | 1150.00 | 92000.00 | 1350.00 | 108000.00 | 1318.00 | 105440.00 | 1250.00 | 100000.00 | 1200.00 | 96000.00 | 865.00 | 69200.00 | 69200.00 | HRI ASSOCIATES
36.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 120.00 | Metre |  | 1200.00 | 144000.00 | 1290.00 | 154800.00 | 1100.00 | 132000.00 | 1275.00 | 153000.00 | 1200.00 | 144000.00 | 940.00 | 112800.00 | 900.00 | 108000.00 | 1450.00 | 174000.00 | 1352.00 | 162240.00 | 1320.00 | 158400.00 | 1265.00 | 151800.00 | 1320.00 | 158400.00 | 1245.00 | 149400.00 | 1250.00 | 150000.00 | 1100.00 | 132000.00 | 825.00 | 99000.00 | 99000.00 | HRI ASSOCIATES
37.00 | Providing and fixing 20 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 120.00 | Metre |  | 1200.00 | 144000.00 | 1100.00 | 132000.00 | 970.00 | 116400.00 | 900.00 | 108000.00 | 1000.00 | 120000.00 | 730.00 | 87600.00 | 900.00 | 108000.00 | 1150.00 | 138000.00 | 1196.00 | 143520.00 | 1320.00 | 158400.00 | 1050.00 | 126000.00 | 1250.00 | 150000.00 | 886.00 | 106320.00 | 1150.00 | 138000.00 | 1100.00 | 132000.00 | 725.00 | 87000.00 | 87000.00 | HRI ASSOCIATES
38.00 | Supply of 230V/50hz for 450mm (18") sweep air circulator fan. | 4.00 | Each |  | 5000.00 | 20000.00 | 8000.00 | 32000.00 | 3250.00 | 13000.00 | 6000.00 | 24000.00 | 2600.00 | 10400.00 | 4705.00 | 18820.00 | 6500.00 | 26000.00 | 5635.00 | 22540.00 | 9352.00 | 37408.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 5000.00 | 20000.00 | 4462.00 | 17848.00 | 9800.00 | 39200.00 | 4500.00 | 18000.00 | 5500.00 | 22000.00 | 10000.00 | Supertech Engineers
39.00 | Supply of LED flood light with high pressure die cast Aluminium / standard alloy housing and LEDs of approved make pasted on diecast housing and high efficiency PMMA diffuser, Driver installed on cast aluminium housing and prewired upto the terminal block. It has a system lumen output not less than 7700 lumens with luminaire efficacy of not less than 110 lm/W, CCT from 4500 K to 5700 K suitable for outdoor applications complete as per technical specifications including 5 year OEM warranty. | 5.00 | Each |  | 7100.00 | 35500.00 | 16000.00 | 80000.00 | 9500.00 | 47500.00 | 12500.00 | 62500.00 | 7600.00 | 38000.00 | 4750.00 | 23750.00 | 2600.00 | 13000.00 | 4000.00 | 20000.00 | 4293.00 | 21465.00 | 20000.00 | 100000.00 | 8500.00 | 42500.00 | 8500.00 | 42500.00 | 7650.00 | 38250.00 | 7800.00 | 39000.00 | 12000.00 | 60000.00 | 3500.00 | 17500.00 | 13000.00 | RVD INFRA SOLUTION PVT.LTD.
40.00 | Supply of ACB trolley with provision for height adjustment as per OEM recommendation of the ACB manufacturers etc. complete as required. | 1.00 | Each |  | 130000.00 | 130000.00 | 50000.00 | 50000.00 | 25000.00 | 25000.00 | 75000.00 | 75000.00 | 49000.00 | 49000.00 | 19209.00 | 19209.00 | 15600.00 | 15600.00 | 7500.00 | 7500.00 | 39902.00 | 39902.00 | 48000.00 | 48000.00 | 10500.00 | 10500.00 | 60000.00 | 60000.00 | 43750.00 | 43750.00 | 17000.00 | 17000.00 | 45000.00 | 45000.00 | 12500.00 | 12500.00 | 7500.00 | vk sam engineering
| Total in Figures |  |  |  |  | 3489060.00 |  | 2985450.00 |  | 3460550.00 |  | 3245762.00 |  | 3253090.00 |  | 2938474.00 |  | 3310751.00 |  | 3290645.00 |  | 3635156.00 |  | 3290530.00 |  | 3182232.00 |  | 3437000.00 |  | 3433537.00 |  | 3032510.00 |  | 3988088.00 |  | 2988770.00
Lowest Amount Quoted BY: ESSENN POWER CONTROLS PVT LTD(2938474.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Non-Essential Panel at Power House Tender ID: 2021_AAI_98933_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ESSENN POWER CONTROLS PVT LTD | 2938474.00 | L1
| 2 | Mukherjee Commercial Enterprise | 2985450.00 | L2
| 3 | HRI ASSOCIATES | 2988770.00 | L3
| 4 | Awasthi Electric Works | 3032510.00 | L4
| 5 | Supertech Engineers | 3182232.00 | L5
| 6 | DEEPAKELECTRICALS | 3245762.00 | L6
| 7 | K.S.ELECTRICALS | 3253090.00 | L7
| 8 | KALKI ELECTRICALS | 3290530.00 | L8
| 9 | vk sam engineering | 3290645.00 | L9
| 10 | RVD INFRA SOLUTION PVT.LTD. | 3310751.00 | L10
| 11 | Yash Energy Pvt. Ltd | 3433537.00 | L11
| 12 | LINSTA SERVICES | 3437000.00 | L12
| 13 | jaydeep agency corporation | 3460550.00 | L13
| 14 | Shantha ELectricals and Engineers Pvt Ltd | 3489060.00 | L14
| 15 | BR Power Control and Automation Services | 3635156.00 | L15
| 16 | DElite System Engineering (India) Pvt. Ltd. | 3988088.00 | L16