## BoQ1
Government eProcurement System Created By: Arun Kumar Created Date/Time: 10-Jan-2022 01:23 PM Tender Title: Annual Comprehensive Operation and Maintenance of E and M Installations at DVOR Station Jallalabad (Farrukhabad), U.P. for two years 2022-24. Tender ID: 2021_AAI_99127_1
TENDER INVITING AUTHORITY: SENIOR MANAGER ENGG(E), RHQ, NR, AAI OPERATIONAL OFFICES, RANGPURI, NEW DELHI
NAME OF WORK: ANNUAL COMPREHENSIVE OPERATION & MAINTENANCE OF E&M INSTALLATIONS AT DVOR STATION JALLALABAD FARRUKHABAD), UP FOR TWO YEARS 2022-24.
TENDER ID NO.: 2021_AAI_99127_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S TURBO POWER AND INFRASTRUCTURE(GSTN-09AAMFT5683N1Z5) |  | SHIV ENTERPRISES(GSTN-07ABFFS0744K1Z1) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | U.K ENTERPRISES(GSTN-NA) |  | M/S HIGH TECH POWER SYSTEM(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation of various make DG sets (30 KVA) at DVOR sites Jallalabad i/c electrical controls for supply of power on power failure from main power supply source as & when required including maintenance of Internal & External Electrical Installations, Submersible Pump, Fire Alarm System, E& M installations, AMF Panel, Switch Rooms, MCB-DB, Wiring, Electrical Panels, Cabling etc. i/c all tools and tackles also attending the fault/break-down & preventive maintenance as per conditions of contract complete as required by engaging following minimum manpower at each site as per following schedule for one month. The contractor shall have to depute the following manpower:-
1.01 | Wireman cum Operator (Skilled) - 03 Nos. (i.e. 01 No. round the clock on all days in week & reliever shall be provided on weekly Off). | 24.00 | Month |  | 45000.00 | 1080000.00 | 56640.00 | 1359360.00 | 59000.00 | 1416000.00 | 47000.00 | 1128000.00 | 58500.00 | 1404000.00 | 44700.00 | 1072800.00 | 67700.00 | 1624800.00 | 56302.00 | 1351248.00 | 1072800.00 | M/S HIGH TECH POWER SYSTEM
1.02 | Helper (Unskilled) - 03 Nos. (i.e. 01 no. round the clock on all days in week & reliever shall be provided on weekly Off). | 24.00 | Month |  | 32000.00 | 768000.00 | 40300.00 | 967200.00 | 42000.00 | 1008000.00 | 33000.00 | 792000.00 | 42000.00 | 1008000.00 | 33200.00 | 796800.00 | 46700.00 | 1120800.00 | 39877.00 | 957048.00 | 768000.00 | M/S TURBO POWER AND INFRASTRUCTURE
1.03 | Helper (Unskilled) - 01 No. (i.e. 01 No. in general shift on six days of a week). | 24.00 | Month |  | 10200.00 | 244800.00 | 11700.00 | 280800.00 | 12000.00 | 288000.00 | 11000.00 | 264000.00 | 14000.00 | 336000.00 | 11000.00 | 264000.00 | 13000.00 | 312000.00 | 11362.00 | 272688.00 | 244800.00 | M/S TURBO POWER AND INFRASTRUCTURE
2.00 | Execution of works at DVOR sites at Jallalabad as per requirement of site from CPWD Schedule of Rates (Electrical DSR-2018) as per CPWD Specifications complete as required. (Total Amount of Rs.2,00,000/- (exclusive of GST) is kept for DSR-2018 items). [(Note-Rate of DSR items shall be quoted against total amount of Rs.2,00,000/- (Twenty Thousand) in figures excluding GST which shall be converted in the percentage (above/below) and rate of DSR items shall be taken exclusive of GST (basic rate) on which payment shall be made considering percentage above/below rate quoted against Rs.2,00,000/-] | 1.00 | Job |  | 70000.00 | 70000.00 | 100000.00 | 100000.00 | 170000.00 | 170000.00 | 140000.00 | 140000.00 | 170000.00 | 170000.00 | 75000.00 | 75000.00 | 150000.00 | 150000.00 | 50000.00 | 50000.00 | 50000.00 | SAURABH ENTERPRISES
3.00 | Supply & Fixing of 20W, 230Volts, 50Hz ready to use Retrofit LED Tubelight for replacement of traditional Fluorescent Tubelight with polycarbonate tube, extruded aluminium heat sink for efficient heat dissipation along with integrated electronic driver, colour cool white light complete as per specification for LED light fixture in Special Condition of Contract in tender and as per AAI approved makes complete as required. (Make HAVELLS, MAXOLED (TUBE), Model no. LHLDDCXCML8Q020 or equivalent). | 20.00 | Each |  | 200.00 | 4000.00 | 500.00 | 10000.00 | 650.00 | 13000.00 | 600.00 | 12000.00 | 600.00 | 12000.00 | 250.00 | 5000.00 | 500.00 | 10000.00 | 200.00 | 4000.00 | 4000.00 | M/S TURBO POWER AND INFRASTRUCTURE, SAURABH ENTERPRISES
4.00 | Supply & Installation of LED street Light fitting having powder coated die cast aluminium housing of 30 watt, 230 Volt, 50 Hz colour cool white light with weather protection all accessories complete as per specification for LED fitting in special condition of contract in tender along with wiring connection and as per AAI approved make complete as required. (Make HAVELLS, SUPERB STREET LIGHT, Model no. LHEXAYP7PN6K030 or equivalent). | 10.00 | Each |  | 500.00 | 5000.00 | 2500.00 | 25000.00 | 2500.00 | 25000.00 | 1250.00 | 12500.00 | 2500.00 | 25000.00 | 450.00 | 4500.00 | 4000.00 | 40000.00 | 1000.00 | 10000.00 | 4500.00 | M/S HIGH TECH POWER SYSTEM
5.00 | Supply & Installation of LED Flood Light fitting having powder coated die cast aluminium housing of 30 watt, 230 Volt, 50 Hz colour cool white light with weather protection with all accessories complete as per specification for LED fitting in special condition of contract in tender along with wiring connection and as per AAI approved make complete as required. (Make HAVELLS, CENTURA NEO, Model no. LHEECNP7PB6J030 or equivalent). | 10.00 | Each |  | 700.00 | 7000.00 | 2500.00 | 25000.00 | 2300.00 | 23000.00 | 1270.00 | 12700.00 | 2500.00 | 25000.00 | 650.00 | 6500.00 | 6000.00 | 60000.00 | 1000.00 | 10000.00 | 6500.00 | M/S HIGH TECH POWER SYSTEM
6.00 | Annual Comprehensive Maintenance of following capacity Air-conditioning unit comprising of compressor, condensing coil unit, cooling coil unit, repair/replacement of PCB card and other defective component i/c comprehensive repair & maintenance of voltage stabilizer and time delay units etc. complete as required and as per scope of work at Jallalabad DVOR site.
6.01 | 1.5/2.0 TR Split type Air conditioning unit - Quantity 08 Nos. | 24.00 | Month |  | 300.00 | 7200.00 | 1000.00 | 24000.00 | 1800.00 | 43200.00 | 7100.00 | 170400.00 | 2500.00 | 60000.00 | 700.00 | 16800.00 | 2000.00 | 48000.00 | 3000.00 | 72000.00 | 7200.00 | M/S TURBO POWER AND INFRASTRUCTURE
7.00 | Monthly maintenance checks along with monthly site visit from OEM or its Authorized Dealers for 30 KVA DG sets at following DVOR site by conducting periodical preventive maintenance checks imparting necessary guidelines for conducting routine maintenance in conformity to the recommended service manual/instruction of the OEM by an authorised factory trained Service Engineer & attending the breakdown calls etc. complete as & when required at site complete as required for the following:-
7.01 | For Monthly Visit of Cotton Greaves make, 01 No. 30KVA DG Set at Jallalabad DVOR Site. | 24.00 | Month |  | 500.00 | 12000.00 | 1000.00 | 24000.00 | 4000.00 | 96000.00 | 2000.00 | 48000.00 | 1500.00 | 36000.00 | 600.00 | 14400.00 | 5000.00 | 120000.00 | 1500.00 | 36000.00 | 12000.00 | M/S TURBO POWER AND INFRASTRUCTURE
8.00 | B' Checks & Servicing from OEM or its Authorized Dealers for 30 KVA DG sets at following DVOR site including supply & installation of all required B-check spares at an interval not exceeing 06 months as well as inparting necessary guidelines for conducting routine maintenance in conformity to the recommended service manual/instruction of the OEM by an authorised factory trained Service Engineer etc. complete as required for the following:-
8.01 | For 30 KVA, Cotton Greaves make, 01 No. DG Set at Jallalabad DVOR Site. | 4.00 | Job |  | 8000.00 | 32000.00 | 5000.00 | 20000.00 | 30000.00 | 120000.00 | 5000.00 | 20000.00 | 4500.00 | 18000.00 | 7000.00 | 28000.00 | 16000.00 | 64000.00 | 10000.00 | 40000.00 | 18000.00 | U.K ENTERPRISES
9.00 | Supply of 12 volt, 180AH sealed maintenance free (SMF) battery with 24 months warranty suitable for 30 KVA DG sets as and when required basis at the DVOR site in Jallalabad, UP i/c connection of new battery & transportation etc. in complete as per AAI approved makes list along with buyback of the old dismantled battery is to be handed over to the agency. | 6.00 | Each |  | 7000.00 | 42000.00 | 12000.00 | 72000.00 | 17500.00 | 105000.00 | 12500.00 | 75000.00 | 9500.00 | 57000.00 | 7000.00 | 42000.00 | 15000.00 | 90000.00 | 12000.00 | 72000.00 | 42000.00 | M/S TURBO POWER AND INFRASTRUCTURE, M/S HIGH TECH POWER SYSTEM
10.00 | Rewinding of ceiling/exhaust fans of all size with super enemelled copper winding wire i/c varnishing, changing of bearing, bush, oiling & greasing, assembling testing, transportation charges etc. complete as & when required. | 10.00 | Each |  | 300.00 | 3000.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 650.00 | 6500.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 3000.00 | M/S TURBO POWER AND INFRASTRUCTURE
11.00 | Rewinding of following capacity submersible pump motors (single phase) as & when required basis along with super enemelled copper winding wire, varnishing i/c greasing replacement of bearings/Bush along with lifting & lowering the pump with all tools & tackle/ machinery etc. i/c transporatation charges complete as required.
11.01 | 01 HP, Single Phase Submersible Pump at Jallalabad DVOR Site. | 1.00 | Each |  | 7000.00 | 7000.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 2000.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 2282000.00 |  | 2914860.00 |  | 3316200.00 |  | 2686100.00 |  | 3161000.00 |  | 2333800.00 |  | 3647600.00 |  | 2881984.00
Lowest Amount Quoted BY: M/S TURBO POWER AND INFRASTRUCTURE(2282000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Operation and Maintenance of E and M Installations at DVOR Station Jallalabad (Farrukhabad), U.P. for two years 2022-24. Tender ID: 2021_AAI_99127_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S TURBO POWER AND INFRASTRUCTURE | 2282000.00 | L1
| 2 | M/S HIGH TECH POWER SYSTEM | 2333800.00 | L2
| 3 | Awasthi Electric Works | 2686100.00 | L3
| 4 | SAURABH ENTERPRISES | 2881984.00 | L4
| 5 | SHIV ENTERPRISES | 2914860.00 | L5
| 6 | U.K ENTERPRISES | 3161000.00 | L6
| 7 | M K ENTERPRISES | 3316200.00 | L7
| 8 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 3647600.00 | L8