## BoQ1
Government eProcurement System Created By: Swapan Kumar Karmakar Created Date/Time: 25-Jan-2022 03:58 PM Tender Title: Modification work of Community Centre at New Quarter Residential Complex, NSCBI Airport, Kolkata Tender ID: 2021_AAI_99180_1
Tender Inviting Authority: S.K. Karmakar, Asstt. Gen. Manager (E-C), AAI, NSCBI Airport, Kolkata - 700 052.
Name of Work: Modification work of Community Centre at New Quarter Residential Complex, NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | M/s. A S Traders(GSTN-19AKDPR7595N1ZA) |  | T K MAZUMDER(GSTN-19AADFT2150K1Z3) |  | M/s. Sharma Traders(GSTN-19ADIFS2532G1Z0) |  | Chinmoyee Construction(GSTN-19AGDPR3381C1ZE) |  | Rynaa Constructionz India(GSTN-NA) |  | M/S. SHIB SANKAR DAS(GSTN-NA) |  | M/S. S.R.ENTERPRISE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1020.00 | Sqm |  | 25.00 | 25500.00 | 50.00 | 51000.00 | 25.00 | 25500.00 | 24.00 | 24480.00 | 10.00 | 10200.00 | 124.00 | 126480.00 | 85.00 | 86700.00 | 14.00 | 14280.00 | 10200.00 | Chinmoyee Construction
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar | 17.00 | Cum |  | 650.00 | 11050.00 | 100.00 | 1700.00 | 800.00 | 13600.00 | 950.00 | 16150.00 | 250.00 | 4250.00 | 200.00 | 3400.00 | 120.00 | 2040.00 | 88.00 | 1496.00 | 1496.00 | M/S. S.R.ENTERPRISE
3.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 40.00 | Cum |  | 5000.00 | 200000.00 | 500.00 | 20000.00 | 5300.00 | 212000.00 | 5800.00 | 232000.00 | 5377.00 | 215080.00 | 6500.00 | 260000.00 | 135.00 | 5400.00 | 5400.00 | 216000.00 | 5400.00 | M/S. SHIB SANKAR DAS
4.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge | 2.50 | Cum |  | 900.00 | 2250.00 | 1000.00 | 2500.00 | 1500.00 | 3750.00 | 1010.00 | 2525.00 | 490.00 | 1225.00 | 250.00 | 625.00 | 1650.00 | 4125.00 | 720.00 | 1800.00 | 625.00 | Rynaa Constructionz India
5.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement: 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 2.50 | Cum |  | 6000.00 | 15000.00 | 8000.00 | 20000.00 | 8500.00 | 21250.00 | 7200.00 | 18000.00 | 5970.00 | 14925.00 | 7500.00 | 18750.00 | 1780.00 | 4450.00 | 5850.00 | 14625.00 | 4450.00 | M/S. SHIB SANKAR DAS
6.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 200.00 | Kg. |  | 65.00 | 13000.00 | 75.00 | 15000.00 | 90.00 | 18000.00 | 67.00 | 13400.00 | 72.00 | 14400.00 | 81.00 | 16200.00 | 285.00 | 57000.00 | 70.00 | 14000.00 | 13000.00 | ANIRBAN ENTERPRISE
7.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 2300.00 | Sqm |  | 125.00 | 287500.00 | 65.00 | 149500.00 | 110.00 | 253000.00 | 85.00 | 195500.00 | 77.00 | 177100.00 | 80.00 | 184000.00 | 155.00 | 356500.00 | 64.00 | 147200.00 | 147200.00 | M/S. S.R.ENTERPRISE
8.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1250.00 | Sqm |  | 95.00 | 118750.00 | 60.00 | 75000.00 | 70.00 | 87500.00 | 65.00 | 81250.00 | 66.00 | 82500.00 | 75.00 | 93750.00 | 235.00 | 293750.00 | 42.00 | 52500.00 | 52500.00 | M/S. S.R.ENTERPRISE
9.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 3550.00 | Sqm |  | 25.00 | 88750.00 | 25.00 | 88750.00 | 18.00 | 63900.00 | 40.00 | 142000.00 | 18.00 | 63900.00 | 100.00 | 355000.00 | 95.00 | 337250.00 | 13.50 | 47925.00 | 47925.00 | M/S. S.R.ENTERPRISE
10.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 2300.00 | Sqm |  | 200.00 | 460000.00 | 5.00 | 11500.00 | 170.00 | 391000.00 | 220.00 | 506000.00 | 190.00 | 437000.00 | 200.00 | 460000.00 | 245.00 | 563500.00 | 192.00 | 441600.00 | 11500.00 | M/s. A S Traders
11.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 1250.00 | Sqm |  | 185.00 | 231250.00 | 300.00 | 375000.00 | 160.00 | 200000.00 | 201.00 | 251250.00 | 180.00 | 225000.00 | 170.00 | 212500.00 | 230.00 | 287500.00 | 181.00 | 226250.00 | 200000.00 | T K MAZUMDER
12.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete | 3550.00 | Sqm |  | 85.00 | 301750.00 | 70.00 | 248500.00 | 70.00 | 248500.00 | 88.00 | 312400.00 | 80.00 | 284000.00 | 70.00 | 248500.00 | 235.00 | 834250.00 | 59.00 | 209450.00 | 209450.00 | M/S. S.R.ENTERPRISE
13.00 | Providing and laying vitrified floor tiles in different sizes (thickness to bespecified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades,laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand),jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 750.00 | Sqm |  | 1050.00 | 787500.00 | 1600.00 | 1200000.00 | 855.00 | 641250.00 | 999.00 | 749250.00 | 980.00 | 735000.00 | 1050.00 | 787500.00 | 225.00 | 168750.00 | 785.00 | 588750.00 | 168750.00 | M/S. SHIB SANKAR DAS
14.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 600.00 | Sqm |  | 1100.00 | 660000.00 | 100.00 | 60000.00 | 855.00 | 513000.00 | 960.00 | 576000.00 | 990.00 | 594000.00 | 1050.00 | 630000.00 | 335.00 | 201000.00 | 820.00 | 492000.00 | 60000.00 | M/s. A S Traders
15.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours,shades except burgundy, bottle green, black of any size as approved by Engineerin-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. Size of Tile 600x600 mm | 100.00 | Sqm |  | 850.00 | 85000.00 | 10.00 | 1000.00 | 855.00 | 85500.00 | 750.00 | 75000.00 | 800.00 | 80000.00 | 1050.00 | 105000.00 | 345.00 | 34500.00 | 780.00 | 78000.00 | 1000.00 | M/s. A S Traders
16.00 | Providing and laying gang saw cut 30 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge.With granite stone of area less than 0.50 sqm. | 60.00 | Sqm |  | 2600.00 | 156000.00 | 3800.00 | 228000.00 | 2500.00 | 150000.00 | 2850.00 | 171000.00 | 2500.00 | 150000.00 | 3200.00 | 192000.00 | 245.00 | 14700.00 | 2720.00 | 163200.00 | 14700.00 | M/S. SHIB SANKAR DAS
17.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 550.00 | Sqm |  | 25.00 | 13750.00 | 20.00 | 11000.00 | 10.00 | 5500.00 | 12.00 | 6600.00 | 5.00 | 2750.00 | 150.00 | 82500.00 | 110.00 | 60500.00 | 8.50 | 4675.00 | 2750.00 | Chinmoyee Construction
18.00 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x38x10 mm made of G.I steel 0.7 mm thick from the soffit with help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized @ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with : GI Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 550.00 | Sqm |  | 1900.00 | 1045000.00 | 2900.00 | 1595000.00 | 1350.00 | 742500.00 | 1950.00 | 1072500.00 | 1700.00 | 935000.00 | 1500.00 | 825000.00 | 280.00 | 154000.00 | 1395.00 | 767250.00 | 154000.00 | M/S. SHIB SANKAR DAS
19.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 900.00 | Sqm |  | 55.00 | 49500.00 | 50.00 | 45000.00 | 45.00 | 40500.00 | 52.00 | 46800.00 | 48.00 | 43200.00 | 85.00 | 76500.00 | 130.00 | 117000.00 | 38.00 | 34200.00 | 34200.00 | M/S. S.R.ENTERPRISE
20.00 | Dismantling and taking out every part of roofing including ridges, hips, valleys and gutters etc. as per Engineer In Charge, G.S. Sheet | 600.00 | Sqm |  | 55.00 | 33000.00 | 50.00 | 30000.00 | 40.00 | 24000.00 | 24.00 | 14400.00 | 30.00 | 18000.00 | 150.00 | 90000.00 | 130.00 | 78000.00 | 24.50 | 14700.00 | 14400.00 | M/s. Sharma Traders
21.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge)0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 600.00 | Sqm |  | 600.00 | 360000.00 | 690.00 | 414000.00 | 600.00 | 360000.00 | 520.00 | 312000.00 | 750.00 | 450000.00 | 970.00 | 582000.00 | 650.00 | 390000.00 | 510.00 | 306000.00 | 306000.00 | M/S. S.R.ENTERPRISE
22.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 2500.00 | Kg. |  | 82.00 | 205000.00 | 78.00 | 195000.00 | 110.00 | 275000.00 | 90.00 | 225000.00 | 80.00 | 200000.00 | 104.00 | 260000.00 | 235.00 | 587500.00 | 72.50 | 181250.00 | 181250.00 | M/S. S.R.ENTERPRISE
23.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 30.00 | Mtr. |  | 350.00 | 10500.00 | 450.00 | 13500.00 | 400.00 | 12000.00 | 405.00 | 12150.00 | 390.00 | 11700.00 | 850.00 | 25500.00 | 4560.00 | 136800.00 | 360.00 | 10800.00 | 10500.00 | ANIRBAN ENTERPRISE
24.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete :Gutter (600 mm over all girth) | 80.00 | Mtr. |  | 750.00 | 60000.00 | 700.00 | 56000.00 | 460.00 | 36800.00 | 580.00 | 46400.00 | 700.00 | 56000.00 | 850.00 | 68000.00 | 1650.00 | 132000.00 | 365.00 | 29200.00 | 29200.00 | M/S. S.R.ENTERPRISE
25.00 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section | 400.00 | Mtr. |  | 125.00 | 50000.00 | 150.00 | 60000.00 | 120.00 | 48000.00 | 85.00 | 34000.00 | 60.00 | 24000.00 | 70.00 | 28000.00 | 750.00 | 300000.00 | 55.00 | 22000.00 | 22000.00 | M/S. S.R.ENTERPRISE
26.00 | Steel work welded in built up sections/ framed work, including cutting,hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 3500.00 | Kg. |  | 80.00 | 280000.00 | 70.00 | 245000.00 | 90.00 | 315000.00 | 79.00 | 276500.00 | 85.00 | 297500.00 | 104.00 | 364000.00 | 290.00 | 1015000.00 | 81.00 | 283500.00 | 245000.00 | M/s. A S Traders
27.00 | Providing and laying vitrified floor tiles in different sizes (15mm minimum thickness) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600x600 mm | 450.00 | Sqm |  | 1100.00 | 495000.00 | 10.00 | 4500.00 | 985.00 | 443250.00 | 1199.00 | 539550.00 | 1026.00 | 461700.00 | 1000.00 | 450000.00 | 135.00 | 60750.00 | 840.00 | 378000.00 | 4500.00 | M/s. A S Traders
28.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets,40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required W.C. pan with ISI marked white solid plastic seat and lid | 5.00 | Each |  | 4000.00 | 20000.00 | 5000.00 | 25000.00 | 5000.00 | 25000.00 | 4499.00 | 22495.00 | 5600.00 | 28000.00 | 3000.00 | 15000.00 | 1850.00 | 9250.00 | 3250.00 | 16250.00 | 9250.00 | M/S. SHIB SANKAR DAS
29.00 | Providing and fixing toilet paper holder : C.P. brass | 5.00 | Each |  | 525.00 | 2625.00 | 1000.00 | 5000.00 | 646.00 | 3230.00 | 499.00 | 2495.00 | 400.00 | 2000.00 | 240.00 | 1200.00 | 85.00 | 425.00 | 745.00 | 3725.00 | 425.00 | M/S. SHIB SANKAR DAS
30.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms | 10.00 | Each |  | 250.00 | 2500.00 | 450.00 | 4500.00 | 350.00 | 3500.00 | 150.00 | 1500.00 | 190.00 | 1900.00 | 700.00 | 7000.00 | 250.00 | 2500.00 | 260.00 | 2600.00 | 1500.00 | M/s. Sharma Traders
31.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour 450 mm long towel rail with total length of 495 mm,78 mm wide and effective height of 88 mm, weighing not less than 170 gms | 5.00 | Each |  | 300.00 | 1500.00 | 300.00 | 1500.00 | 460.00 | 2300.00 | 172.00 | 860.00 | 400.00 | 2000.00 | 750.00 | 3750.00 | 550.00 | 2750.00 | 600.00 | 3000.00 | 860.00 | M/s. Sharma Traders
32.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :15 mm nominal bore | 10.00 | Each |  | 800.00 | 8000.00 | 1500.00 | 15000.00 | 745.00 | 7450.00 | 390.00 | 3900.00 | 600.00 | 6000.00 | 950.00 | 9500.00 | 450.00 | 4500.00 | 770.00 | 7700.00 | 3900.00 | M/s. Sharma Traders
33.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately).Sal wood | .30 | Cum |  | 95000.00 | 28500.00 | 5000.00 | 1500.00 | 100000.00 | 30000.00 | 55500.00 | 16650.00 | 70000.00 | 21000.00 | 90000.00 | 27000.00 | 130.00 | 39.00 | 14220.00 | 4266.00 | 39.00 | M/S. SHIB SANKAR DAS
34.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 20.00 | Each |  | 125.00 | 2500.00 | 125.00 | 2500.00 | 150.00 | 3000.00 | 52.00 | 1040.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 98.00 | 1960.00 | 25.00 | 500.00 | 500.00 | M/S. S.R.ENTERPRISE
35.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 30.00 | Sqm |  | 750.00 | 22500.00 | 1050.00 | 31500.00 | 850.00 | 25500.00 | 850.00 | 25500.00 | 700.00 | 21000.00 | 1000.00 | 30000.00 | 650.00 | 19500.00 | 685.00 | 20550.00 | 19500.00 | M/S. SHIB SANKAR DAS
36.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | 2000.00 | Per Litre |  | 6.80 | 13600.00 | 15.00 | 30000.00 | 7.50 | 15000.00 | 9.50 | 19000.00 | 10.00 | 20000.00 | 9.50 | 19000.00 | 65.00 | 130000.00 | 6.50 | 13000.00 | 13000.00 | M/S. S.R.ENTERPRISE
37.00 | Providing and fixing beveled edge mirror of superior glass (min 6mm thickness of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete | 15.00 | Sqm |  | 1500.00 | 22500.00 | 2500.00 | 37500.00 | 1500.00 | 22500.00 | 850.00 | 12750.00 | 1200.00 | 18000.00 | 840.00 | 12600.00 | 95.00 | 1425.00 | 675.00 | 10125.00 | 1425.00 | M/S. SHIB SANKAR DAS
38.00 | French spirit polishing : One or more coats on old work | 50.00 | Sqm |  | 125.00 | 6250.00 | 100.00 | 5000.00 | 115.00 | 5750.00 | 130.00 | 6500.00 | 300.00 | 15000.00 | 95.00 | 4750.00 | 178.00 | 8900.00 | 72.00 | 3600.00 | 3600.00 | M/S. S.R.ENTERPRISE
39.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including:(a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 600.00 | Sqm |  | 3200.00 | 1920000.00 | 1880.00 | 1128000.00 | 2885.00 | 1731000.00 | 1649.00 | 989400.00 | 2100.00 | 1260000.00 | 4100.00 | 2460000.00 | 3452.00 | 2071200.00 | 3100.00 | 1860000.00 | 989400.00 | M/s. Sharma Traders
40.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge,including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge | 650.00 | Sqm |  | 40.00 | 26000.00 | 25.00 | 16250.00 | 60.00 | 39000.00 | 55.00 | 35750.00 | 10.00 | 6500.00 | 150.00 | 97500.00 | 265.00 | 172250.00 | 16.50 | 10725.00 | 6500.00 | Chinmoyee Construction
41.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator,filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge.80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 650.00 | Sqm |  | 750.00 | 487500.00 | 1000.00 | 650000.00 | 1000.00 | 650000.00 | 670.00 | 435500.00 | 750.00 | 487500.00 | 970.00 | 630500.00 | 285.00 | 185250.00 | 870.00 | 565500.00 | 185250.00 | M/S. SHIB SANKAR DAS
42.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:3:6 (1 Cement : 3 coarse sand (zone-III): 6 graded stone aggregate 40 mm nominal size) | 65.00 | Cum |  | 4200.00 | 273000.00 | 3300.00 | 214500.00 | 5300.00 | 344500.00 | 5850.00 | 380250.00 | 3400.00 | 221000.00 | 5350.00 | 347750.00 | 750.00 | 48750.00 | 5600.00 | 364000.00 | 48750.00 | M/S. SHIB SANKAR DAS
43.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 1500.00 | Kg. |  | 85.00 | 127500.00 | 78.00 | 117000.00 | 110.00 | 165000.00 | 82.00 | 123000.00 | 82.00 | 123000.00 | 104.00 | 156000.00 | 380.00 | 570000.00 | 95.00 | 142500.00 | 117000.00 | M/s. A S Traders
44.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 10.00 | Sqm |  | 300.00 | 3000.00 | 450.00 | 4500.00 | 300.00 | 3000.00 | 225.00 | 2250.00 | 400.00 | 4000.00 | 284.00 | 2840.00 | 345.00 | 3450.00 | 165.00 | 1650.00 | 1650.00 | M/S. S.R.ENTERPRISE
45.00 | Applying priming coat With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/steel works | 900.00 | Sqm |  | 45.00 | 40500.00 | 20.00 | 18000.00 | 40.00 | 36000.00 | 29.00 | 26100.00 | 40.00 | 36000.00 | 70.00 | 63000.00 | 264.00 | 237600.00 | 22.00 | 19800.00 | 18000.00 | M/s. A S Traders
46.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 20 mm dia nominal bore | 25.00 | Mtr. |  | 150.00 | 3750.00 | 200.00 | 5000.00 | 300.00 | 7500.00 | 350.00 | 8750.00 | 300.00 | 7500.00 | 450.00 | 11250.00 | 278.00 | 6950.00 | 250.00 | 6250.00 | 3750.00 | ANIRBAN ENTERPRISE
47.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge: Granite work | 75.00 | Mtr. |  | 175.00 | 13125.00 | 20.00 | 1500.00 | 180.00 | 13500.00 | 99.00 | 7425.00 | 50.00 | 3750.00 | 190.00 | 14250.00 | 655.00 | 49125.00 | 8.00 | 600.00 | 600.00 | M/S. S.R.ENTERPRISE
| Total in Figures |  |  |  |  | 9069900.00 |  | 7530200.00 |  | 8363030.00 |  | 8073220.00 |  | 7875580.00 |  | 10460095.00 |  | 9808789.00 |  | 7796992.00
Lowest Amount Quoted BY: M/s. A S Traders(7530200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification work of Community Centre at New Quarter Residential Complex, NSCBI Airport, Kolkata Tender ID: 2021_AAI_99180_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. A S Traders | 7530200.00 | L1
| 2 | M/S. S.R.ENTERPRISE | 7796992.00 | L2
| 3 | Chinmoyee Construction | 7875580.00 | L3
| 4 | M/s. Sharma Traders | 8073220.00 | L4
| 5 | T K MAZUMDER | 8363030.00 | L5
| 6 | ANIRBAN ENTERPRISE | 9069900.00 | L6
| 7 | M/S. SHIB SANKAR DAS | 9808789.00 | L7
| 8 | Rynaa Constructionz India | 10460095.00 | L8