## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 19-Jan-2022 06:12 PM Tender Title: SITC of Online UPS for GLF System at Silchar Airport Tender ID: 2021_AAI_99204_2
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: SITC of Online UPS for GLF System at Silchar Airport.
Tender Id: 2021_AAI_99204_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ECS ENGINEERING PVT LTD(GSTN-09AABCE5944P1Z1) |  | DS SYSTEMS PVT. LTD.(GSTN-18AACCD8183C1ZO) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-1 (Supply of Materials) Supply, Assembly Erection, Testing and Commissioning of 60 KVA/KW, Modular type (Minimum 15 KVA), having minimum 30 Mins back up,3ph-3ph, true online UPS with Chassis capacity up to minimum 80 KVA, inbuilt isolation Transformer if external then it should be of minimum 100 KVA in input, supplied by UPS OEM only, Two string of Battery banks consisting of 12V,SMF, VRLA batteries, remote Status indication Unit and SNMP (Simple Network Management Protocol) remote monitoring, suitable MS battery Rack for housing of the batteries, Suitable rating of thermal magnetic release type MCCB-2nos( 1 at input & 1 at Output side), battery connector Links, TVSS (Transient Voltage Surge Suppressor) and other conditions Complying with the detailed Technical specifications attached in Annexure-I with 02 years defect liability period. Installation includes all required consumables, materials, interconnection cables for input and output as per technical specifications attached in Annexure-I. | 1.00 | Set | 0.00 | 1650000.00 | 1650000.00 | 1550400.00 | 1550400.00 | 1585000.00 | 1585000.00 | 1550400.00 | DS SYSTEMS PVT. LTD.
2.00 | SH-2 (All inclusive comprehensive maintenance contract of online UPS for GLF system ) All Inclusive Comprehensive Maintenance Contract after completion of Two years Defect Liability Period for the above UPS system consisting of all accessories i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs basis (on all days including holidays) and including all necessary spares and consumables to keep the whole UPS system in perfect working condition etc. complete as required and as per the particular specifications specified. Year 1- ( SITC cost including freight, insurance & transportation) | 1.00 | Job | 0.00 | 82500.00 | 82500.00 | 77520.00 | 77520.00 | 79250.00 | 79250.00 | 77520.00 | DS SYSTEMS PVT. LTD.
3.00 | SH-2 (All inclusive comprehensive maintenance contract of online UPS for GLF system ) All Inclusive Comprehensive Maintenance Contract after completion of Two years Defect Liability Period for the above UPS system consisting of all accessories i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs basis (on all days including holidays) and including all necessary spares and consumables to keep the whole UPS system in perfect working condition etc. complete as required and as per the particular specifications specified. Year 2- ( SITC cost including freight, insurance & transportation) | 1.00 | Job | 0.00 | 99000.00 | 99000.00 | 93024.00 | 93024.00 | 95100.00 | 95100.00 | 93024.00 | DS SYSTEMS PVT. LTD.
4.00 | SH-2 (All inclusive comprehensive maintenance contract of online UPS for GLF system ) All Inclusive Comprehensive Maintenance Contract after completion of Two years Defect Liability Period for the above UPS system consisting of all accessories i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs basis (on all days including holidays) and including all necessary spares and consumables to keep the whole UPS system in perfect working condition etc. complete as required and as per the particular specifications specified. Year 3- ( SITC cost including freight, insurance & transportation) | 1.00 | Job | 0.00 | 115500.00 | 115500.00 | 108528.00 | 108528.00 | 110950.00 | 110950.00 | 108528.00 | DS SYSTEMS PVT. LTD.
5.00 | SH-2 (All inclusive comprehensive maintenance contract of online UPS for GLF system ) All Inclusive Comprehensive Maintenance Contract after completion of Two years Defect Liability Period for the above UPS system consisting of all accessories i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs basis (on all days including holidays) and including all necessary spares and consumables to keep the whole UPS system in perfect working condition etc. complete as required and as per the particular specifications specified. Year 4- ( SITC cost including freight, insurance & transportation) | 1.00 | Job | 0.00 | 132000.00 | 132000.00 | 124032.00 | 124032.00 | 126800.00 | 126800.00 | 124032.00 | DS SYSTEMS PVT. LTD.
6.00 | SH-2 (All inclusive comprehensive maintenance contract of online UPS for GLF system ) All Inclusive Comprehensive Maintenance Contract after completion of Two years Defect Liability Period for the above UPS system consisting of all accessories i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs basis (on all days including holidays) and including all necessary spares and consumables to keep the whole UPS system in perfect working condition etc. complete as required and as per the particular specifications specified. Year 5- ( SITC cost including freight, insurance & transportation) | 1.00 | Job | 0.00 | 148500.00 | 148500.00 | 139536.00 | 139536.00 | 142650.00 | 142650.00 | 139536.00 | DS SYSTEMS PVT. LTD.
| Total in Figures |  |  |  |  | 2227500.00 |  | 2093040.00 |  | 2139750.00
Lowest Amount Quoted BY: DS SYSTEMS PVT. LTD.(2093040.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Online UPS for GLF System at Silchar Airport Tender ID: 2021_AAI_99204_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DS SYSTEMS PVT. LTD. | 2093040.00 | L1
| 2 | Awasthi Electric Works | 2139750.00 | L2
| 3 | ECS ENGINEERING PVT LTD | 2227500.00 | L3