## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 20-Jan-2022 11:53 AM Tender Title: Replacement of old and beyond repairable split ACs with new ACs at Silchar Airport Tender ID: 2021_AAI_99206_2
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Replacement of old and beyond repairable split ACs with new ACs at Silchar Airport.
Tender Id: 2021_AAI_99206_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AQUATICS ENIGINEERS(GSTN-07AEMPM9860Q1ZE) |  | star refrigeration sales and service(GSTN-24ACQPP6416M1Z1) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | RS COOLING APPLIANCES(GSTN-18AALFR2502H3Z8) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL) |  | ARNAV ENGINEERING CONSULTANCY SERVICES(GSTN-07ABKFA7102Q1Z4)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.5 TR, High wall Split A/Cs, 5 star rating, Inverter Split Units with R410a / R-32 Gas. (Both indoor and outdoor units), complete with filters, DX cooling coils connected to DX condensing units, Condenser coil - copper, including remote control operation for temperature adjustment, indoor unit blower speed, swing adjustment, auto restart, sleep mode turbo mode, with LED display for temperature i/c standard length of copper refrigerant pipe, copper electrical cable & drain pipe etc. Complete as per technical specifications. | 12.00 | Each | 0.00 | 34500.00 | 414000.00 | 43000.00 | 516000.00 | 41630.00 | 499560.00 | 38600.00 | 463200.00 | 37900.00 | 454800.00 | 45000.00 | 540000.00 | 40500.00 | 486000.00 | 414000.00 | AQUATICS ENIGINEERS
2.00 | Supply of 2 TR, High wall Split A/Cs, 5 star rating, Inverter Split Units with R410a / R-32 Gas. (Both indoor and outdoor units), complete with filters, DX cooling coils connected to DX condensing units, Condenser coil- Copper, including remote control operation for temperature adjustment, indoor unit blower speed, swing adjustment, auto restart, sleep mode turbo mode, with LED display for temperature i/c standard length of copper refrigerant pipe, copper electrical cable & drain pipe etc. Complete as per technical specifications. | 3.00 | Each | 0.00 | 43500.00 | 130500.00 | 48000.00 | 144000.00 | 48711.00 | 146133.00 | 48000.00 | 144000.00 | 51000.00 | 153000.00 | 50000.00 | 150000.00 | 57500.00 | 172500.00 | 130500.00 | AQUATICS ENIGINEERS
3.00 | Supply, installation, testing and commissioning of water cooler cum purifier suitable for operation on 230 V, 50 Hz AC supply with RO + UV purification, 80 ltrs storage capacity and 60 LPH water flow rate through the faucets, etc. complete as per technical specification. | 4.00 | Each | 0.00 | 73000.00 | 292000.00 | 62000.00 | 248000.00 | 76821.00 | 307284.00 | 62000.00 | 248000.00 | 60000.00 | 240000.00 | 80000.00 | 320000.00 | 45700.00 | 182800.00 | 182800.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
4.00 | Installation testing and Commissioning of following capacity Air-conditioning Unit Including making of necessary hole on concrete/brick wall and making good the same i/c providing suitable size PVC pipe for drawing the /drain pipe and wire etc through the concrete/brick wall as required. 1.5 TR High wall Split AC (Invertor type) | 12.00 | Job | 0.00 | 2400.00 | 28800.00 | 2000.00 | 24000.00 | 2000.00 | 24000.00 | 1500.00 | 18000.00 | 2000.00 | 24000.00 | 1000.00 | 12000.00 | 800.00 | 9600.00 | 9600.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
5.00 | Installation testing and Commissioning of following capacity Air-conditioning Unit Including making of necessary hole on concrete/brick wall and making good the same i/c providing suitable size PVC pipe for drawing the /drain pipe and wire etc through the concrete/brick wall as required. 2 TR High wall Split AC (Invertor type) | 3.00 | Job | 0.00 | 2400.00 | 7200.00 | 2000.00 | 6000.00 | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 3000.00 | 9000.00 | 1000.00 | 3000.00 | 800.00 | 2400.00 | 2400.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
6.00 | Supply, fixing, testing and commissioning of wall mounting type automatic electronic voltage stabilizer suitable for split Air Conditioners single phase and auto voltage range of 180-270 V with high/low voltage cut off on delay etc complete as required. 4 KVA | 12.00 | Job | 0.00 | 2500.00 | 30000.00 | 3500.00 | 42000.00 | 1900.00 | 22800.00 | 2500.00 | 30000.00 | 3500.00 | 42000.00 | 4000.00 | 48000.00 | 3600.00 | 43200.00 | 22800.00 | VOLKS ENERGIE PVT LTD
7.00 | Supply, fixing, testing and commissioning of wall mounting type automatic electronic voltage stabilizer suitable for split Air Conditioners single phase and auto voltage range of 180-270 V with high/low voltage cut off on delay etc complete as required. 5 KVA | 3.00 | Job | 0.00 | 3600.00 | 10800.00 | 4000.00 | 12000.00 | 2700.00 | 8100.00 | 2900.00 | 8700.00 | 4050.00 | 12150.00 | 5000.00 | 15000.00 | 4500.00 | 13500.00 | 8100.00 | VOLKS ENERGIE PVT LTD
8.00 | Supply of following sizes XLPE insulated PVC sheathed unarmoured copper conductor flexible cable etc, complete as required. 4 core X 2.5 Sqmm. | 100.00 | Meter | 0.00 | 350.00 | 35000.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 120.00 | 12000.00 | 150.00 | 15000.00 | 200.00 | 20000.00 | 185.00 | 18500.00 | 12000.00 | VOLKS ENERGIE PVT LTD, RS COOLING APPLIANCES
9.00 | Supply, installation testing and commissioning of extra refrigerant copper pipe suitable for 1.5 TR and 2 TR invertor type AC including leakage testing and providing fixing of insulation, soldering, necessary clamping arrangement etc. of following size as required. - 1/2 | 40.00 | Meter | 0.00 | 300.00 | 12000.00 | 500.00 | 20000.00 | 300.00 | 12000.00 | 650.00 | 26000.00 | 370.00 | 14800.00 | 100.00 | 4000.00 | 1200.00 | 48000.00 | 4000.00 | Ganga Enterprises
10.00 | Supply, installation testing and commissioning of extra refrigerant copper pipe suitable for 1.5 TR and 2 TR invertor type AC including leakage testing and providing fixing of insulation, soldering, necessary clamping arrangement etc. of following size as required. - 1/4 | 40.00 | Meter | 0.00 | 250.00 | 10000.00 | 400.00 | 16000.00 | 150.00 | 6000.00 | 600.00 | 24000.00 | 315.00 | 12600.00 | 150.00 | 6000.00 | 1200.00 | 48000.00 | 6000.00 | VOLKS ENERGIE PVT LTD, Ganga Enterprises
11.00 | Supply, installation testing and commissioning of extra refrigerant copper pipe suitable for 1.5 TR and 2 TR invertor type AC including leakage testing and providing fixing of insulation, soldering, necessary clamping arrangement etc. of following size as required. - 5/8 | 25.00 | Meter | 0.00 | 450.00 | 11250.00 | 550.00 | 13750.00 | 350.00 | 8750.00 | 800.00 | 20000.00 | 495.00 | 12375.00 | 200.00 | 5000.00 | 850.00 | 21250.00 | 5000.00 | Ganga Enterprises
12.00 | Supply, installation testing and commissioning of extra refrigerant copper pipe suitable for 1.5 TR and 2 TR invertor type AC including leakage testing and providing fixing of insulation, soldering, necessary clamping arrangement etc. of following size as required. - 3/8 | 25.00 | Meter | 0.00 | 350.00 | 8750.00 | 500.00 | 12500.00 | 180.00 | 4500.00 | 700.00 | 17500.00 | 360.00 | 9000.00 | 250.00 | 6250.00 | 950.00 | 23750.00 | 4500.00 | VOLKS ENERGIE PVT LTD
13.00 | Supply & fixing of 6mm thick Nitrile Rubber Tube Insulation for 1.5 TR and 2 TR refrigerant piping to prevent condensation, reduces energy losses and protects against frost on pipes of following sizes. - 1/2 | 40.00 | Meter | 0.00 | 25.00 | 1000.00 | 100.00 | 4000.00 | 35.00 | 1400.00 | 70.00 | 2800.00 | 125.00 | 5000.00 | 30.00 | 1200.00 | 850.00 | 34000.00 | 1000.00 | AQUATICS ENIGINEERS
14.00 | Supply & fixing of 6mm thick Nitrile Rubber Tube Insulation for 1.5 TR and 2 TR refrigerant piping to prevent condensation, reduces energy losses and protects against frost on pipes of following sizes. - 1/4 | 40.00 | Meter | 0.00 | 25.00 | 1000.00 | 100.00 | 4000.00 | 30.00 | 1200.00 | 60.00 | 2400.00 | 120.00 | 4800.00 | 30.00 | 1200.00 | 150.00 | 6000.00 | 1000.00 | AQUATICS ENIGINEERS
15.00 | Supply & fixing of 6mm thick Nitrile Rubber Tube Insulation for 1.5 TR and 2 TR refrigerant piping to prevent condensation, reduces energy losses and protects against frost on pipes of following sizes. - 5/8 | 25.00 | Meter | 0.00 | 25.00 | 625.00 | 100.00 | 2500.00 | 40.00 | 1000.00 | 80.00 | 2000.00 | 145.00 | 3625.00 | 30.00 | 750.00 | 200.00 | 5000.00 | 625.00 | AQUATICS ENIGINEERS
16.00 | Supply & fixing of 6mm thick Nitrile Rubber Tube Insulation for 1.5 TR and 2 TR refrigerant piping to prevent condensation, reduces energy losses and protects against frost on pipes of following sizes. - 3/8 | 25.00 | Meter | 0.00 | 25.00 | 625.00 | 100.00 | 2500.00 | 35.00 | 875.00 | 65.00 | 1625.00 | 145.00 | 3625.00 | 30.00 | 750.00 | 250.00 | 6250.00 | 625.00 | AQUATICS ENIGINEERS
17.00 | Supply, installation testing and commissioning of UPVC pipes complete with fittings and 'U' traps for condensate drain piping with supports and thermal insulation as per specifications of following sizes. 25 mm | 50.00 | Meter | 0.00 | 100.00 | 5000.00 | 250.00 | 12500.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 380.00 | 19000.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 5000.00 | AQUATICS ENIGINEERS, Ganga Enterprises
18.00 | Supply, installation testing and commissioning of UPVC pipes complete with fittings and 'U' traps for condensate drain piping with supports and thermal insulation as per specifications of following sizes. 32 mm | 100.00 | Meter | 0.00 | 125.00 | 12500.00 | 300.00 | 30000.00 | 140.00 | 14000.00 | 180.00 | 18000.00 | 385.00 | 38500.00 | 100.00 | 10000.00 | 170.00 | 17000.00 | 10000.00 | Ganga Enterprises
19.00 | Supply, installation testing and commissioning of MS frame L/chair type stand for fixing outdoor units of 1.5 TR & 2 TR split A/Cs complete as required. | 15.00 | Each | 0.00 | 530.00 | 7950.00 | 1500.00 | 22500.00 | 500.00 | 7500.00 | 1500.00 | 22500.00 | 820.00 | 12300.00 | 700.00 | 10500.00 | 1200.00 | 18000.00 | 7500.00 | VOLKS ENERGIE PVT LTD
| Total in Figures |  |  |  |  | 1019000.00 |  | 1147250.00 |  | 1089102.00 |  | 1074225.00 |  | 1085575.00 |  | 1158650.00 |  | 1163250.00
Lowest Amount Quoted BY: AQUATICS ENIGINEERS(1019000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of old and beyond repairable split ACs with new ACs at Silchar Airport Tender ID: 2021_AAI_99206_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AQUATICS ENIGINEERS | 1019000.00 | L1
| 2 | RS COOLING APPLIANCES | 1074225.00 | L2
| 3 | Awasthi Electric Works | 1085575.00 | L3
| 4 | VOLKS ENERGIE PVT LTD | 1089102.00 | L4
| 5 | star refrigeration sales and service | 1147250.00 | L5
| 6 | Ganga Enterprises | 1158650.00 | L6
| 7 | ARNAV ENGINEERING CONSULTANCY SERVICES | 1163250.00 | L7