## BoQ1
Government eProcurement System Created By: BIPIN PRAKASH Created Date/Time: 17-Jan-2022 03:47 PM Tender Title: Augmentation of Power Supply System for Localizer at Dehradun Airport Tender ID: 2021_AAI_99216_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Elect.), AAI, Jolly Grant Airport, Dehradun
Name of Work: Augmentation of power supply system for Localizer at Dehradun Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | ANU ENGINEERING CORPORATION(GSTN-05AJDPK9181G1Z5) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | M/S VIJAYSHWARAM ELECTRICAL WORKS(GSTN-NA) |  | ALFA DEAL PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, manufacture, supply, erection, testing and commissioning of the following extensible cubicle, outdoor mounting, totally enclosed, free standing floor mounting, dust & vermin proof LT Panel, made out of 2 mm thick CRCA sheet with powder coated paint suitable for 415V 3 phase, 4 wire, 50 Hz, AC supply complete with IP-42 for outdoor application, Switch board shall have provision for entry of cables from the top and bottom as required. All live accesible part shall be shrouded. The busbar insulation shall be with heat shrinkable sleeves, SMC / DMC supports for busbars shall be used. Pad locking shall be provided on all outgoing feeder,double doors and double switch handle shall be lockable in off position. The switch board shall be complete with following mountings including interconnection, internal wiring, label etc. as per drawing & specifications as required . MCCB shall be provided with Thermal magnetic releases. EXTERNAL LIGHTING PANEL INCOMING 3 Nos 125 Amp 4P, 25kA, MCCB with thermal magnetic release INSTRUMENTS 3 Nos - 0 - 500 Volts, Digital voltmeter with built in selector switch 3 Nos - 0 - 125 A Digital Ammeter with built in selector switch with 125/5 Amp CT's 15 Nos.-LED type, RYB indicating lamps with 2 Amps MCB's for on/off/trip of indication lamps BUS BAR 1 Set - 150 Amps TPN 415 color coded Aluminium Bus bar made of electrolytic high conductivity aluminium of suitable size. Change over switch 125 Amp 4 pole Change over switch OUTGOING 2 Nos- 125 Amps, 4P, 25KA, MCCB | 1.00 | Job | 0.00 | 390000.00 | 390000.00 | 179770.00 | 179770.00 | 165000.00 | 165000.00 | 195000.00 | 195000.00 | 165470.00 | 165470.00 | 452750.00 | 452750.00 | 155000.00 | 155000.00 | 140000.00 | 140000.00 | 325073.00 | 325073.00 | 140000.00 | M/S VIJAYSHWARAM ELECTRICAL WORKS
2.00 | SITC of 15 KVA Silent Type DG Set with AMF panel complete with all accessories with sound proof Canopy. The Design & Material of Acoustic Enclosure shall be as per standard design of manufacturer & type approval issued by modal agency of CPCB, Govt. of India, New Delhi including following accessories complete as reqd at site. a) Manual Control Panel. b) Battery with leads. c) First fill of lube oil. d) AVM Pads. e) Silencer - Residential. f) Accoustic enclosure. | 1.00 | job | 0.00 | 240000.00 | 240000.00 | 832755.00 | 832755.00 | 325000.00 | 325000.00 | 339000.00 | 339000.00 | 375500.00 | 375500.00 | 74000.00 | 74000.00 | 330000.00 | 330000.00 | 380000.00 | 380000.00 | 361144.00 | 361144.00 | 74000.00 | Yash Energy Pvt. Ltd
3.00 | Designing, Fabrication, Supply, Installation, Testing and Commissioning of 04 wheel trolley suitable for 15 KVA, 3 Phase,415 V, 50 HZ reputed make D.G. Sets with accoustic enclosure of suitable size with all accessories as per specifiaction and as per site requirement. | 1.00 | Each | 0.00 | 120000.00 | 120000.00 | 98704.00 | 98704.00 | 150000.00 | 150000.00 | 152000.00 | 152000.00 | 88000.00 | 88000.00 | 96250.00 | 96250.00 | 130000.00 | 130000.00 | 110000.00 | 110000.00 | 72990.00 | 72990.00 | 72990.00 | ALFA DEAL PRIVATE LIMITED
4.00 | Supply of following sizes of 1.1 KV grade multi-core aluminium conductor XLPE/PVC insulated and PVC sheathed armoured power cable conforming to IS 7098 (Part-1) with upto date amendments as required. 3.5 Core x 240 Sqmm | 250.00 | Mtr | 0.00 | 1200.00 | 300000.00 | 1625.00 | 406250.00 | 1250.00 | 312500.00 | 1180.00 | 295000.00 | 1125.00 | 281250.00 | 1270.00 | 317500.00 | 1050.00 | 262500.00 | 1125.00 | 281250.00 | 1440.00 | 360000.00 | 262500.00 | Awasthi Electric Works
5.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. onforming to IS 14930, Part II complete with fitting and cutting, jointing etc..direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required (a) 75 mm dia | 250.00 | Mtr | 0.00 | 300.00 | 75000.00 | 268.00 | 67000.00 | 200.00 | 50000.00 | 190.00 | 47500.00 | 275.00 | 68750.00 | 270.00 | 67500.00 | 210.00 | 52500.00 | 330.00 | 82500.00 | 326.00 | 81500.00 | 47500.00 | Manish Electricals
6.10 | Supplying & making of cable end termination with brass single compression gland and aluminium lugs for following sizes of XLPE / PVC insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade as required. (a) 3.5 Core x 240 Sqmm(lugs) | 32.00 | Each | 0.00 | 250.00 | 8000.00 | 1370.00 | 43840.00 | 40.00 | 1280.00 | 200.00 | 6400.00 | 58.00 | 1856.00 | 127.00 | 4064.00 | 110.00 | 3520.00 | 100.00 | 3200.00 | 233.00 | 7456.00 | 1280.00 | ANU ENGINEERING CORPORATION
6.20 | (b) 3.5 Core x 240 Sqmm(gland) | 8.00 | Each | 0.00 | 750.00 | 6000.00 | 1613.00 | 12904.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 740.00 | 5920.00 | 1848.00 | 14784.00 | 550.00 | 4400.00 | 700.00 | 5600.00 | 773.00 | 6184.00 | 3200.00 | Manish Electricals
7.00 | Earthing with Copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 3.00 | Set | 0.00 | 13000.00 | 39000.00 | 29047.00 | 87141.00 | 13000.00 | 39000.00 | 17000.00 | 51000.00 | 17950.00 | 53850.00 | 32436.00 | 97308.00 | 16500.00 | 49500.00 | 20000.00 | 60000.00 | 28570.00 | 85710.00 | 39000.00 | DEEPAKELECTRICALS, ANU ENGINEERING CORPORATION
8.00 | Providing and fixing 25 mm X 5 mm Copper strip in 40 mm dia HDPE pipe (PE-63), 8Kgf/cm2 from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 24.00 | Mtr | 0.00 | 790.00 | 18960.00 | 1215.00 | 29160.00 | 1200.00 | 28800.00 | 750.00 | 18000.00 | 1110.00 | 26640.00 | 1377.00 | 33048.00 | 1250.00 | 30000.00 | 1800.00 | 43200.00 | 1198.00 | 28752.00 | 18000.00 | Manish Electricals
9.00 | Providing and fixing 25 mm X 5 mm Copper strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 10.00 | Mtr | 0.00 | 750.00 | 7500.00 | 1209.00 | 12090.00 | 2000.00 | 20000.00 | 950.00 | 9500.00 | 1228.00 | 12280.00 | 1683.00 | 16830.00 | 1450.00 | 14500.00 | 1900.00 | 19000.00 | 1414.00 | 14140.00 | 7500.00 | DEEPAKELECTRICALS
| Total in Figures |  |  |  |  | 1204460.00 |  | 1769614.00 |  | 1095580.00 |  | 1116600.00 |  | 1079516.00 |  | 1174034.00 |  | 1031920.00 |  | 1124750.00 |  | 1342949.00
Lowest Amount Quoted BY: Awasthi Electric Works(1031920.00)

## BOQ Summary
BOQ Summary Details Tender Title: Augmentation of Power Supply System for Localizer at Dehradun Airport Tender ID: 2021_AAI_99216_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 1031920.00 | L1
| 2 | Metropolitan Infrabuild Development And Services Pvt Ltd | 1079516.00 | L2
| 3 | ANU ENGINEERING CORPORATION | 1095580.00 | L3
| 4 | Manish Electricals | 1116600.00 | L4
| 5 | M/S VIJAYSHWARAM ELECTRICAL WORKS | 1124750.00 | L5
| 6 | Yash Energy Pvt. Ltd | 1174034.00 | L6
| 7 | DEEPAKELECTRICALS | 1204460.00 | L7
| 8 | ALFA DEAL PRIVATE LIMITED | 1342949.00 | L8
| 9 | BR Power Control and Automation Services | 1769614.00 | L9