## BoQ1
Government eProcurement System Created By: NARENDRA P Created Date/Time: 12-Jan-2022 03:43 PM Tender Title: Annual Operation and Comprehensive Maintenance (2021-23) of AHUs Split AC units at AAI Tender ID: 2021_AAI_99312_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, KIA AIRPORT, Bengaluru
Name of work : Annual Operation & Comprehensive Maintenance (2021-23) of AHU's, Split AC units at AAI Occupied area at KIA and DVOR-II Sidlaghatta at Bangalore Airport, Bangalore.
Contract No: 2021_AAI_99312_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | COOL STAR(GSTN-29AFJPP1758A1ZE) |  | AIRTECH ENGINEERS(GSTN-27AJHPB7042D1ZM) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | Gnosi Tech Services(GSTN-29AORPT9992D1ZT) |  | M/s AGFA(GSTN-19ACVPR5281M1ZG) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | HRJ REFRIGERATION PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
2.00 | Sub Head-I: Annual Operation of Split AC, VRF AC, Package AC and AHUs at AAI occupied area, KIA & Siddlaghatta.
3.00 | Round the clock operation of following Air-Conditioning Units including Recording of parameters reading on hourly basis and regular cleaning including providing documents to maintain the parameters readings for continues operation for all days including Sundays and Holidays as required as per the special conditions and scope of work detailed there in etc.as required. a) 59TR (13X2+11X3) Package AC plant at Radar Building. b) AHU's- 7 Nos at Alpha1 Building and ATC tower. c) 54HP (18x3) VRF AC at Alpha-1 Building as and when required. d) Ductable and Casstte AC at ATC Tower. (e) Split Ac's at KIA & Siddlaghatta | 24.00 | MONTH |  | 222000.00 | 5328000.00 | 228136.00 | 5475264.00 | 235000.00 | 5640000.00 | 201300.00 | 4831200.00 | 219500.00 | 5268000.00 | 223373.59 | 5360966.16 | 200000.00 | 4800000.00 | 190000.00 | 4560000.00 | 4560000.00 | HRJ REFRIGERATION PVT LTD
4.00 | Sub Head-II: Annual Comprehensive Maintenance of Following AC units
5.00 | Annual Comprehensive maintenance (periodical / preventive and break down as per OEM standard and Special condition of contract ) of following Air Conditioners along with all accessories & ancilliaries viz : compressor , cooling coil (Indoor Unit), blower , condenser , thermostat and electronic & electrical part upto socket out let etc. installed at ATC Tower BIAL, CNS Installations and DVOR at Sidhalagatta, inclusive of all spare parts, consumables, gas charging, overhauling, rewinding, insulating, repairing/replacement of electrical / electronics components of control panels, painting, cutting , fixing, plumbing, transportation, loading and unloading etc. complete as required.
6.00 | a) 02 Nos of 5 TR Ductable (Inverter Type) type AC unit. | 24.00 | MONTH |  | 6000.00 | 144000.00 | 1500.00 | 36000.00 | 1500.00 | 36000.00 | 2400.00 | 57600.00 | 500.00 | 12000.00 | 1833.33 | 43999.92 | 3000.00 | 72000.00 | 6000.00 | 144000.00 | 12000.00 | M/s AGFA
7.00 | b) 08 Nos of 4 TR Casstte (Inverter Type) type AC unit | 24.00 | MONTH |  | 5000.00 | 120000.00 | 2100.00 | 50400.00 | 2000.00 | 48000.00 | 3000.00 | 72000.00 | 1600.00 | 38400.00 | 3000.00 | 72000.00 | 5333.00 | 127992.00 | 24000.00 | 576000.00 | 38400.00 | M/s AGFA
8.00 | c) 07 Nos of 2 TR Split AC unit /2 TR Casette Type AC | 24.00 | MONTH |  | 2500.00 | 60000.00 | 2500.00 | 60000.00 | 1550.00 | 37200.00 | 3150.00 | 75600.00 | 700.00 | 16800.00 | 2333.33 | 55999.92 | 2600.00 | 62400.00 | 14000.00 | 336000.00 | 16800.00 | M/s AGFA
9.00 | d) 11 Nos of 2 TR Split AC unit (Inverter Type) | 24.00 | MONTH |  | 2800.00 | 67200.00 | 2500.00 | 60000.00 | 2800.00 | 67200.00 | 4950.00 | 118800.00 | 1100.00 | 26400.00 | 4125.00 | 99000.00 | 4200.00 | 100800.00 | 16500.00 | 396000.00 | 26400.00 | M/s AGFA
10.00 | e) 31 Nos of 1.5 TR Split AC unit (Inverter Type) | 24.00 | MONTH |  | 2500.00 | 60000.00 | 7500.00 | 180000.00 | 4600.00 | 110400.00 | 12400.00 | 297600.00 | 2325.00 | 55800.00 | 6666.67 | 160000.08 | 10000.00 | 240000.00 | 46500.00 | 1116000.00 | 55800.00 | M/s AGFA
11.00 | Sub Head-III: Annual Comprehensive Maintenance of Following AHU units
12.00 | Annual Comprehensive maintenance (periodical / preventive and break down as per OEM standard and Special condition of contract ) of following AHUs along with all accessories & ancilliaries viz : child water booster pump including VFD control panel, Blower motor (7.5HP), fire damper and motorized valve, thermostat, Chilled water lines, Ducting, Griller, diffuser and electronic & electrical part upto socket out let etc. installed at Alpha 1 Building, inclusive of all spare parts, consumables, belts, overhauling, rewinding, insulating, repairing/replacement of electrical / electronics components of VFD control panels, painting, cutting , fixing, plumbing, transportation, loading and unloading etc. complete as required.
13.00 | a) Alpha-1 ground floor AHU Capacity 26.87 TR, CFM: 10750 | 24.00 | MONTH |  | 4000.00 | 96000.00 | 1500.00 | 36000.00 | 900.00 | 21600.00 | 850.00 | 20400.00 | 900.00 | 21600.00 | 1100.00 | 26400.00 | 3000.00 | 72000.00 | 500.00 | 12000.00 | 12000.00 | HRJ REFRIGERATION PVT LTD
14.00 | b) Alpha-1 First floor AHU Capacity: 36.25 TR, CFM: 14500 | 24.00 | MONTH |  | 7000.00 | 168000.00 | 1500.00 | 36000.00 | 1100.00 | 26400.00 | 850.00 | 20400.00 | 1210.00 | 29040.00 | 2100.00 | 50400.00 | 4000.00 | 96000.00 | 900.00 | 21600.00 | 20400.00 | Gnosi Tech Services
15.00 | c) Alpha-1 Second floor AHU Capacity: 31.5 TR, CFM: 12600 | 24.00 | MONTH |  | 7000.00 | 168000.00 | 1500.00 | 36000.00 | 1000.00 | 24000.00 | 850.00 | 20400.00 | 1050.00 | 25200.00 | 2100.00 | 50400.00 | 4000.00 | 96000.00 | 500.00 | 12000.00 | 12000.00 | HRJ REFRIGERATION PVT LTD
16.00 | d) ATC Tower AHU Capacity: 30 TR, CFM: 12000 | 24.00 | MONTH |  | 7000.00 | 168000.00 | 1500.00 | 36000.00 | 1050.00 | 25200.00 | 850.00 | 20400.00 | 1000.00 | 24000.00 | 2100.00 | 50400.00 | 4000.00 | 96000.00 | 500.00 | 12000.00 | 12000.00 | HRJ REFRIGERATION PVT LTD
17.00 | e) Alpha-2 ground floor AHU Capacity 18.87 TR, CFM: 7550 | 24.00 | MONTH |  | 7000.00 | 168000.00 | 1500.00 | 36000.00 | 800.00 | 19200.00 | 850.00 | 20400.00 | 630.00 | 15120.00 | 1100.00 | 26400.00 | 2900.00 | 69600.00 | 400.00 | 9600.00 | 9600.00 | HRJ REFRIGERATION PVT LTD
18.00 | f) Alpha-2 First floor AHU Capacity 38.75, CFM: 15500 | 24.00 | MONTH |  | 7500.00 | 180000.00 | 2000.00 | 48000.00 | 1400.00 | 33600.00 | 850.00 | 20400.00 | 1290.00 | 30960.00 | 3500.00 | 84000.00 | 4400.00 | 105600.00 | 1000.00 | 24000.00 | 20400.00 | Gnosi Tech Services
19.00 | g) Alpha-2 Second floor AHU Capacity 40.5 TR, CFM: 16200 | 24.00 | MONTH |  | 8000.00 | 192000.00 | 2000.00 | 48000.00 | 1500.00 | 36000.00 | 850.00 | 20400.00 | 1350.00 | 32400.00 | 3500.00 | 84000.00 | 4800.00 | 115200.00 | 1250.00 | 30000.00 | 20400.00 | Gnosi Tech Services
20.00 | SH-IV :-Supply of Split & Ductable Air Conditioning Spares for the following tonnage capacity.
21.00 | a) PCB for 5 TR Ductable (Inverter Type) type AC unit (Blue star Make) ; Outdoor unit (Model No: IVRFB-07TC) | 3.00 | Each |  | 18000.00 | 54000.00 | 5500.00 | 16500.00 | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 17500.00 | 52500.00 | 21500.00 | 64500.00 | 15000.00 | 45000.00 | 28000.00 | 84000.00 | 9000.00 | SNOWMEX ENGINEERS LIMITED
22.00 | b) PCB for 5 TR Ductable (Inverter Type) type AC unit (Blue star Make) ; Indoor unit (Model No: DSD-60) | 3.00 | Each |  | 7200.00 | 21600.00 | 4500.00 | 13500.00 | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 9000.00 | 27000.00 | 21500.00 | 64500.00 | 15064.67 | 45194.00 | 13500.00 | 40500.00 | 9000.00 | SNOWMEX ENGINEERS LIMITED
23.00 | c) PCB for 4 TR Casstte (Inverter Type) type AC unit (Toshiba Make) ; Outdoor unit (Model No: IRAV-SM1402AT-E) | 3.00 | Each |  | 19000.00 | 57000.00 | 4500.00 | 13500.00 | 3500.00 | 10500.00 | 6000.00 | 18000.00 | 16500.00 | 49500.00 | 21500.00 | 64500.00 | 9500.00 | 28500.00 | 15500.00 | 46500.00 | 10500.00 | SNOWMEX ENGINEERS LIMITED
24.00 | d) PCB for 4 TR Casstte (Inverter Type) type AC unit (Toshiba Make) ; Indoor unit (Model No: IRAV-SM1402UT-E) | 3.00 | Each |  | 11000.00 | 33000.00 | 4500.00 | 13500.00 | 3500.00 | 10500.00 | 6000.00 | 18000.00 | 11500.00 | 34500.00 | 21500.00 | 64500.00 | 9500.00 | 28500.00 | 14000.00 | 42000.00 | 10500.00 | SNOWMEX ENGINEERS LIMITED
25.00 | e) PCB for 2 TR Split AC unit (Inverter Type) (Blue Star Make); Oudoor Unit (Model No; BO-3CNHW24NAFU) | 3.00 | Each |  | 14000.00 | 42000.00 | 4500.00 | 13500.00 | 2800.00 | 8400.00 | 4000.00 | 12000.00 | 7000.00 | 21000.00 | 2199.00 | 6597.00 | 6500.00 | 19500.00 | 9500.00 | 28500.00 | 6597.00 | ROSHAN REFRIGERATION AND ELECTRICALS
26.00 | f) PCB for 2 TR Split AC unit (Inverter Type) (Blue Star Make); Indoor Unit (Model No; BO-3CNHW24NAFU) | 3.00 | Each |  | 5400.00 | 16200.00 | 4500.00 | 13500.00 | 2800.00 | 8400.00 | 4000.00 | 12000.00 | 6000.00 | 18000.00 | 1999.00 | 5997.00 | 6500.00 | 19500.00 | 7000.00 | 21000.00 | 5997.00 | ROSHAN REFRIGERATION AND ELECTRICALS
27.00 | g) Oudoor Unit PCB for 1.5 TR Split AC unit (Inverter Type) (Make:Blue Star Make/Voltas/Carrier/LG) | 4.00 | Each |  | 12000.00 | 48000.00 | 4500.00 | 18000.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 2199.00 | 8796.00 | 4500.00 | 18000.00 | 10000.00 | 40000.00 | 8796.00 | ROSHAN REFRIGERATION AND ELECTRICALS
28.00 | h) Indoor Unit PCB for 1.5 TR Split AC unit (Inverter Type) (Make: Blue Star /Voltas/Carrier/LG) | 4.00 | Each |  | 4800.00 | 19200.00 | 4500.00 | 18000.00 | 2000.00 | 8000.00 | 4000.00 | 16000.00 | 5000.00 | 20000.00 | 1999.00 | 7996.00 | 5500.00 | 22000.00 | 7000.00 | 28000.00 | 7996.00 | ROSHAN REFRIGERATION AND ELECTRICALS
29.00 | i) Outdoor Fan Blades for AHU Capacity: 30 TR ( Model No: CPS-3/24) ( Voltas Make ) | 6.00 | Each |  | 4000.00 | 24000.00 | 4500.00 | 27000.00 | 750.00 | 4500.00 | 2800.00 | 16800.00 | 18000.00 | 108000.00 | 7500.00 | 45000.00 | 3500.00 | 21000.00 | 18000.00 | 108000.00 | 4500.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 7234200.00 |  | 6284664.00 |  | 6203100.00 |  | 5740400.00 |  | 5950220.00 |  | 6496352.08 |  | 6300786.00 |  | 7687700.00
Lowest Amount Quoted BY: Gnosi Tech Services(5740400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Comprehensive Maintenance (2021-23) of AHUs Split AC units at AAI Tender ID: 2021_AAI_99312_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Gnosi Tech Services | 5740400.00 | L1
| 2 | M/s AGFA | 5950220.00 | L2
| 3 | SNOWMEX ENGINEERS LIMITED | 6203100.00 | L3
| 4 | AIRTECH ENGINEERS | 6284664.00 | L4
| 5 | M K ENTERPRISES | 6300786.00 | L5
| 6 | ROSHAN REFRIGERATION AND ELECTRICALS | 6496352.08 | L6
| 7 | COOL STAR | 7234200.00 | L7
| 8 | HRJ REFRIGERATION PVT LTD | 7687700.00 | L8