## BoQ1
Government eProcurement System Created By: RAJEEV GUPTA Created Date/Time: 20-Jan-2022 10:56 AM Tender Title: Decongestion of Terminal Building at Kanpur Airport.SH Electrical Works. Tender ID: 2021_AAI_99633_1
Tender Inviting Authority: AGM (E-E)
Name of Work: Decongestion of Terminal Building at Kanpur Airport.SH:Electrical works
Contract No: 2021_AAI_99633_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | ANU ENGINEERING CORPORATION(GSTN-07AJDPK9181G1Z1) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL) |  | M/S HIGH TECH POWER SYSTEM(GSTN-NA) |  | ANUKOM ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of LED 600x600mm type recess mounting indoor Luminaire fitting having power consumption approx 36 Watt and lumen output minimum 100 lumens/w single piece integral metallic CRCA powder coated body, complete with electronics power driver, all its accessories with high transmitivity diffuser for uniform glarefree light distribution suitable for 230V, 50 Hz power supply, Average life of LED > 50000 burning hrs (lumen depreciates power factor > 0.90, and having minimum five years guarantee for the complete LED fixture as required. | 60.00 | Each |  | 2665.00 | 159900.00 | 2200.00 | 132000.00 | 2100.00 | 126000.00 | 1658.00 | 99480.00 | 1900.00 | 114000.00 | 1600.00 | 96000.00 | 1800.00 | 108000.00 | 2630.00 | 157800.00 | 96000.00 | Ganga Enterprises
2.00 | Supply of XLPE insulated PVC sheathed galvanised flat steel strip armoured aluminum conductor cable of grade 1.1 KV, of following size confirming to IS: 7098/Part-I(1988) with up-to date ammendments etc. complete as required. 3.5 x 35 sq.mm | 200.00 | Mtr |  | 185.00 | 37000.00 | 275.00 | 55000.00 | 275.00 | 55000.00 | 266.00 | 53200.00 | 225.00 | 45000.00 | 400.00 | 80000.00 | 210.00 | 42000.00 | 375.00 | 75000.00 | 37000.00 | Anoop Refrigeration
3.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 30.00 | Point |  | 600.00 | 18000.00 | 650.00 | 19500.00 | 1100.00 | 33000.00 | 1288.00 | 38640.00 | 950.00 | 28500.00 | 400.00 | 12000.00 | 450.00 | 13500.00 | 760.00 | 22800.00 | 12000.00 | Ganga Enterprises
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 75.00 | Mtr |  | 180.00 | 13500.00 | 220.00 | 16500.00 | 220.00 | 16500.00 | 258.00 | 19350.00 | 200.00 | 15000.00 | 450.00 | 33750.00 | 150.00 | 11250.00 | 195.00 | 14625.00 | 11250.00 | M/S HIGH TECH POWER SYSTEM
5.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Mtr |  | 250.00 | 37500.00 | 220.00 | 33000.00 | 260.00 | 39000.00 | 322.00 | 48300.00 | 250.00 | 37500.00 | 500.00 | 75000.00 | 220.00 | 33000.00 | 265.00 | 39750.00 | 33000.00 | Industrial Traders, M/S HIGH TECH POWER SYSTEM
6.00 | Supplying and fixing following rating, single pole, 240 volts, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. 6-32A | 10.00 | Each |  | 115.00 | 1150.00 | 145.00 | 1450.00 | 170.00 | 1700.00 | 206.00 | 2060.00 | 175.00 | 1750.00 | 150.00 | 1500.00 | 130.00 | 1300.00 | 225.00 | 2250.00 | 1150.00 | Anoop Refrigeration
7.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 10.00 | Each |  | 500.00 | 5000.00 | 115.00 | 1150.00 | 400.00 | 4000.00 | 773.00 | 7730.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 100.00 | 1000.00 | 225.00 | 2250.00 | 1000.00 | M/S HIGH TECH POWER SYSTEM
8.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRLSont on surface or in recess, including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 10.00 | Each |  | 600.00 | 6000.00 | 345.00 | 3450.00 | 495.00 | 4950.00 | 870.00 | 8700.00 | 480.00 | 4800.00 | 500.00 | 5000.00 | 150.00 | 1500.00 | 450.00 | 4500.00 | 1500.00 | M/S HIGH TECH POWER SYSTEM
9.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/LED Fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 60.00 | Each |  | 80.00 | 4800.00 | 65.00 | 3900.00 | 300.00 | 18000.00 | 418.00 | 25080.00 | 150.00 | 9000.00 | 300.00 | 18000.00 | 100.00 | 6000.00 | 380.00 | 22800.00 | 3900.00 | Industrial Traders
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 175.00 | Mtr |  | 45.00 | 7875.00 | 65.00 | 11375.00 | 75.00 | 13125.00 | 77.00 | 13475.00 | 100.00 | 17500.00 | 35.00 | 6125.00 | 50.00 | 8750.00 | 120.00 | 21000.00 | 6125.00 | Ganga Enterprises
11.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 x 35 sq.mm | 2.00 | Set |  | 568.00 | 1136.00 | 515.00 | 1030.00 | 150.00 | 300.00 | 773.00 | 1546.00 | 350.00 | 700.00 | 1000.00 | 2000.00 | 200.00 | 400.00 | 2180.00 | 4360.00 | 300.00 | ANU ENGINEERING CORPORATION
12.00 | Dismantling and re-installation of existing MCB DB at new location of required as per direction of Engineer-in charge. | 2.00 | No. |  | 500.00 | 1000.00 | 575.00 | 1150.00 | 2000.00 | 4000.00 | 1912.00 | 3824.00 | 200.00 | 400.00 | 1000.00 | 2000.00 | 100.00 | 200.00 | 1500.00 | 3000.00 | 200.00 | M/S HIGH TECH POWER SYSTEM
13.01 | Dismantling and re-installation , testing & Commissioning of following capacity Split Air / Tower AC units including Indoor/Outdoor unit complete as required. 1.5 TON Split AC | 2.00 | No. |  | 500.00 | 1000.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 5150.00 | 10300.00 | 3125.00 | 6250.00 | 2000.00 | 4000.00 | 150.00 | 300.00 | 8000.00 | 16000.00 | 300.00 | M/S HIGH TECH POWER SYSTEM
13.02 | 3 TON Tower AC | 4.00 | No. |  | 1800.00 | 7200.00 | 3000.00 | 12000.00 | 4000.00 | 16000.00 | 6438.00 | 25752.00 | 5000.00 | 20000.00 | 2000.00 | 8000.00 | 1500.00 | 6000.00 | 9500.00 | 38000.00 | 6000.00 | M/S HIGH TECH POWER SYSTEM
14.01 | Supply, installation, testing, & commissioning of suction/discharge copper pipe line 1.5 TR Split, 3.0 TR Tower Air condition unit including brazing nitride rubber installation etc. complete as required. Copper Tube size 1/4" | 28.00 | Mtr |  | 650.00 | 18200.00 | 600.00 | 16800.00 | 275.00 | 7700.00 | 496.00 | 13888.00 | 350.00 | 9800.00 | 150.00 | 4200.00 | 500.00 | 14000.00 | 220.00 | 6160.00 | 4200.00 | Ganga Enterprises
14.02 | Copper Tube size 1/2" | 28.00 | Mtr |  | 650.00 | 18200.00 | 620.00 | 17360.00 | 300.00 | 8400.00 | 470.00 | 13160.00 | 585.00 | 16380.00 | 175.00 | 4900.00 | 500.00 | 14000.00 | 250.00 | 7000.00 | 4900.00 | Ganga Enterprises
14.03 | Copper Tube size 3/8" | 25.00 | Mtr |  | 650.00 | 16250.00 | 700.00 | 17500.00 | 350.00 | 8750.00 | 560.00 | 14000.00 | 455.00 | 11375.00 | 200.00 | 5000.00 | 600.00 | 15000.00 | 310.00 | 7750.00 | 5000.00 | Ganga Enterprises
14.04 | Copper Tube size 5/8" | 25.00 | Mtr |  | 650.00 | 16250.00 | 810.00 | 20250.00 | 500.00 | 12500.00 | 611.00 | 15275.00 | 720.00 | 18000.00 | 225.00 | 5625.00 | 600.00 | 15000.00 | 375.00 | 9375.00 | 5625.00 | Ganga Enterprises
14.05 | copper wire 4 core X2.5 sq.mm | 75.00 | Mtr |  | 100.00 | 7500.00 | 220.00 | 16500.00 | 140.00 | 10500.00 | 142.00 | 10650.00 | 160.00 | 12000.00 | 250.00 | 18750.00 | 120.00 | 9000.00 | 210.00 | 15750.00 | 7500.00 | Anoop Refrigeration
15.00 | SITC of 3.0 TR Tower air conditioner fitted with Rotary type compressor operating on refrigerant R32, Control box of indoor unit shall withstand flame retardant, cooling capacity (W) : Min. 10400 W, total input minimum power 3200 W and air flow volume (max/min)CMH/CFM 877/704, suitable for wall mounting with cordless remote, suitable for operation on 415V, 50Hz, three phase A.C. and suitable size copper pipe, insulation, pvc drain pipe, control cable, supporting structure of outdoor unit, refrigeration gas for extra running pipe civil work for connect including all mounting arrangements on wall/floor of outdoor & indoor units and capable of performing following functions. Cooling, Heating, Air Circulating, Filtering, Ventilation etc. complete as required | 1.00 | No. |  | 95000.00 | 95000.00 | 144000.00 | 144000.00 | 125000.00 | 125000.00 | 118125.00 | 118125.00 | 105000.00 | 105000.00 | 120000.00 | 120000.00 | 147000.00 | 147000.00 | 160000.00 | 160000.00 | 95000.00 | Anoop Refrigeration
16.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. | 2.00 | Each |  | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 4500.00 | 9000.00 | 9012.00 | 18024.00 | 5500.00 | 11000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 8000.00 | 16000.00 | 6000.00 | M/S HIGH TECH POWER SYSTEM
17.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 60.00 | Mtr |  | 15.00 | 900.00 | 65.00 | 3900.00 | 180.00 | 10800.00 | 142.00 | 8520.00 | 25.00 | 1500.00 | 50.00 | 3000.00 | 20.00 | 1200.00 | 25.00 | 1500.00 | 900.00 | Anoop Refrigeration
18.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 4 way (4 + 12), Double door | 1.00 | Each |  | 5200.00 | 5200.00 | 6000.00 | 6000.00 | 10000.00 | 10000.00 | 10300.00 | 10300.00 | 5900.00 | 5900.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 4500.00 | 4500.00 | 3000.00 | M/S HIGH TECH POWER SYSTEM
19.00 | Supplying and fixing following rating, four pole, 63 A (three phase and neutral), 415 volts MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each |  | 1800.00 | 1800.00 | 1500.00 | 1500.00 | 1700.00 | 1700.00 | 2575.00 | 2575.00 | 1320.00 | 1320.00 | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 2200.00 | 2200.00 | 1200.00 | Ganga Enterprises
| Total in Figures |  |  |  |  | 494361.00 |  | 560315.00 |  | 541925.00 |  | 581954.00 |  | 496175.00 |  | 536050.00 |  | 458900.00 |  | 654370.00
Lowest Amount Quoted BY: M/S HIGH TECH POWER SYSTEM(458900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Decongestion of Terminal Building at Kanpur Airport.SH Electrical Works. Tender ID: 2021_AAI_99633_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S HIGH TECH POWER SYSTEM | 458900.00 | L1
| 2 | Anoop Refrigeration | 494361.00 | L2
| 3 | Awasthi Electric Works | 496175.00 | L3
| 4 | Ganga Enterprises | 536050.00 | L4
| 5 | ANU ENGINEERING CORPORATION | 541925.00 | L5
| 6 | Industrial Traders | 560315.00 | L6
| 7 | Yash Energy Pvt. Ltd | 581954.00 | L7
| 8 | ANUKOM ENTERPRISES | 654370.00 | L8