## BoQ1
Government eProcurement System Created By: Saurabh Rai Created Date/Time: 24-Dec-2021 05:37 PM Tender Title: RENOVATION OF PUNJ VIHAR PNB OFFICERS RESIDENTIAL COMPLEX, VIBHUTI KHAND, GOMTI NAGAR, LUCKNOW Tender ID: 2021_WAPCO_95579_1
Tender Inviting Authority: WAPCOS Limited
Name of Work: RENOVATION OF PUNJ VIHAR, PNB OFFICER’S RESIDENTIAL COMPLEX, VIBHUTI KHAND, GOMTI NAGAR, LUCKNOW (Re-Tender)
Contract No: WAP/PHIW/PV/2021/2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KUMAR ENTERPRISES AND COMPANY(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Cat (A-1) -Civil Works
2.00 | Providing and fixing soil, waste and vent pipes (kitchen drainage) of 75 mm diameter at all heights up to 8 floors all complete as per direction of the bank Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 220.00 | Meters | 0.00 | 760.00 | 167200.00 | 167200.00 | KUMAR ENTERPRISES AND COMPANY
3.00 | Providing and fixing soil, waste and vent pipes (Water closet drainage) of 100mm diameter at all heights up to 8 floors all complete as per direction of the bank Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 490.00 | Meters | 0.00 | 860.00 | 421400.00 | 421400.00 | KUMAR ENTERPRISES AND COMPANY
4.00 | Providing and fixing soil, waste and vent pipes (waste water drainage) of 75 mm diameter at all heights up to 8 floors all complete as per direction of the bank Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 980.00 | Meters | 0.00 | 760.00 | 744800.00 | 744800.00 | KUMAR ENTERPRISES AND COMPANY
5.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : 75 mm dia pipe | 355.00 | No | 0.00 | 115.00 | 40825.00 | 40825.00 | KUMAR ENTERPRISES AND COMPANY
6.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : 100 mm dia pipe | 145.00 | No | 0.00 | 135.00 | 19575.00 | 19575.00 | KUMAR ENTERPRISES AND COMPANY
7.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : For 75 mm dia pipe | 355.00 | No | 0.00 | 270.00 | 95850.00 | 95850.00 | KUMAR ENTERPRISES AND COMPANY
8.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : For 100 mm dia pipe | 145.00 | No | 0.00 | 280.00 | 40600.00 | 40600.00 | KUMAR ENTERPRISES AND COMPANY
9.00 | Providing and fixing plain bend of required degree. 75 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 90.00 | No | 0.00 | 220.00 | 19800.00 | 19800.00 | KUMAR ENTERPRISES AND COMPANY
10.00 | Providing and fixing plain bend of required degree.100 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 40.00 | No | 0.00 | 300.00 | 12000.00 | 12000.00 | KUMAR ENTERPRISES AND COMPANY
11.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 75x75x75x75 mm Sand cast iron S&S as per IS - 1729 | 355.00 | No | 0.00 | 550.00 | 195250.00 | 195250.00 | KUMAR ENTERPRISES AND COMPANY
12.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 100x100x100x100 mm Sand cast iron S&S as per IS - 1729 | 145.00 | No | 0.00 | 750.00 | 108750.00 | 108750.00 | KUMAR ENTERPRISES AND COMPANY
13.00 | Providing and fixing door piece, insertion rubber washer 3mm thick, bolts & nuts complete : 75 mm Sand cast iron S&S as per IS - 1729 | 355.00 | No | 0.00 | 350.00 | 124250.00 | 124250.00 | KUMAR ENTERPRISES AND COMPANY
14.00 | Providing and fixing door piece, insertion rubber washer 3mm thick, bolts & nuts complete : 100 mm Sand cast iron S&S as per IS - 1729 | 145.00 | No | 0.00 | 500.00 | 72500.00 | 72500.00 | KUMAR ENTERPRISES AND COMPANY
15.00 | Providing and fixing terminal guard : 75mm Sand cast iron S&S as per IS - 1729 | 45.00 | No | 0.00 | 250.00 | 11250.00 | 11250.00 | KUMAR ENTERPRISES AND COMPANY
16.00 | Providing and fixing terminal guard : 100mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 20.00 | No | 0.00 | 350.00 | 7000.00 | 7000.00 | KUMAR ENTERPRISES AND COMPANY
17.00 | Providing lead caulked joints to sand cast iron/ centrifugally cast (spun) iron pipes and fittings of diameter : 75 mm | 355.00 | No | 0.00 | 350.00 | 124250.00 | 124250.00 | KUMAR ENTERPRISES AND COMPANY
18.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 145.00 | No | 0.00 | 450.00 | 65250.00 | 65250.00 | KUMAR ENTERPRISES AND COMPANY
19.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 75 mm outlet ,Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 355.00 | No | 0.00 | 500.00 | 177500.00 | 177500.00 | KUMAR ENTERPRISES AND COMPANY
20.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :100 mm inlet and 100 mm outletHubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 145.00 | No | 0.00 | 650.00 | 94250.00 | 94250.00 | KUMAR ENTERPRISES AND COMPANY
21.00 | Painting sand cast iron/ centrifugally cast (spun) iron soil, waste vent pipes and fittings with two coats of synthetic enamel paint of any colour such as chocolate grey, or buff etc. over a coat of primer (of approved quality) for new work : 100 mm diameter pipe | 490.00 | Meters | 0.00 | 45.00 | 22050.00 | 22050.00 | KUMAR ENTERPRISES AND COMPANY
22.00 | Painting sand cast iron/ centrifugally cast (spun) iron soil, waste vent pipes and fittings with two coats of synthetic enamel paint of any colour such as chocolate grey, or buff etc. over a coat of primer (of approved quality) for new work :75 mm diameter pipe | 1200.00 | Meters | 0.00 | 35.00 | 42000.00 | 42000.00 | KUMAR ENTERPRISES AND COMPANY
23.00 | Providing and applying synthetic enamel paint on 100mm dia MS pipe (light pole) of approved brand and shade to give an even shade including scrapping and sand papering, primer, scaffolding etc. and making the surface good for the applications of the paint all complete as per satisfaction of the bank. Old work (Two or more coats) | 90.00 | Meters | 0.00 | 45.00 | 4050.00 | 4050.00 | KUMAR ENTERPRISES AND COMPANY
24.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal Work Exposed Wall
24.10 | 50MM DIA NOMONAL BORE | 500.00 | Meters | 0.00 | 735.00 | 367500.00 | 367500.00 | KUMAR ENTERPRISES AND COMPANY
24.20 | 40MM DIA NOMONAL BORE | 300.00 | Meters | 0.00 | 610.00 | 183000.00 | 183000.00 | KUMAR ENTERPRISES AND COMPANY
24.30 | 32MM DIA NOMONAL BORE | 525.00 | Meters | 0.00 | 450.00 | 236250.00 | 236250.00 | KUMAR ENTERPRISES AND COMPANY
24.40 | 25MM DIA NOMONAL BORE | 600.00 | Meters | 0.00 | 415.00 | 249000.00 | 249000.00 | KUMAR ENTERPRISES AND COMPANY
24.50 | 20MM DIA NOMONAL BORE | 240.00 | Meters | 0.00 | 320.00 | 76800.00 | 76800.00 | KUMAR ENTERPRISES AND COMPANY
24.60 | 15MM DIA NOMONAL BORE | 40.00 | Meters | 0.00 | 270.00 | 10800.00 | 10800.00 | KUMAR ENTERPRISES AND COMPANY
25.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
25.10 | 50MM DIA NOMONAL BORE | 55.00 | Each | 0.00 | 750.00 | 41250.00 | 41250.00 | KUMAR ENTERPRISES AND COMPANY
25.20 | 40MM DIA NOMONAL BORE | 105.00 | Each | 0.00 | 550.00 | 57750.00 | 57750.00 | KUMAR ENTERPRISES AND COMPANY
25.30 | 32MM DIA NOMONAL BORE | 14.00 | Each | 0.00 | 450.00 | 6300.00 | 6300.00 | KUMAR ENTERPRISES AND COMPANY
25.40 | 25MM DIA NOMONAL BORE | 275.00 | Each | 0.00 | 370.00 | 101750.00 | 101750.00 | KUMAR ENTERPRISES AND COMPANY
26.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
26.10 | 50MM DIA NOMONAL BORE | 55.00 | Each | 0.00 | 470.00 | 25850.00 | 25850.00 | KUMAR ENTERPRISES AND COMPANY
26.20 | 40MM DIA NOMONAL BORE | 105.00 | Each | 0.00 | 390.00 | 40950.00 | 40950.00 | KUMAR ENTERPRISES AND COMPANY
26.30 | 32MM DIA NOMONAL BORE | 14.00 | Each | 0.00 | 280.00 | 3920.00 | 3920.00 | KUMAR ENTERPRISES AND COMPANY
26.40 | 25MM DIA NOMONAL BORE | 275.00 | Each | 0.00 | 250.00 | 68750.00 | 68750.00 | KUMAR ENTERPRISES AND COMPANY
26.50 | 20MM DIA NOMONAL BORE | 20.00 | Each | 0.00 | 220.00 | 4400.00 | 4400.00 | KUMAR ENTERPRISES AND COMPANY
26.60 | 15MM DIA NOMONAL BORE | 10.00 | Each | 0.00 | 210.00 | 2100.00 | 2100.00 | KUMAR ENTERPRISES AND COMPANY
27.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 55000.00 | Per Litre | 0.00 | 11.00 | 605000.00 | 605000.00 | KUMAR ENTERPRISES AND COMPANY
28.00 | Disconnecting damaged overhead/terrace PVC water storage tank of any size from water supply line and removing from the terrace including shifting at ground level as per direction of Engineer-in- charge | 26.00 | Each | 0.00 | 5.00 | 130.00 | 130.00 | KUMAR ENTERPRISES AND COMPANY
29.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, up to 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 286.00 | Metre | 0.00 | 230.00 | 65780.00 | 65780.00 | KUMAR ENTERPRISES AND COMPANY
30.00 | Providing and fixing M.S. angle 50x50x5 mm to act as nosing with lugs of M.S. flat 10x5 mm, 10 cm long, forked at end 60cm apart (minimum three lugs to be provided), including necessary welding and applying a priming coat of approved primer on exposed surface etc. complete. | 250.00 | Kg | 0.00 | 105.00 | 26250.00 | 26250.00 | KUMAR ENTERPRISES AND COMPANY
31.00 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: Float glass panes of nominal thickness 5 mm (weight not less than 12.5kg/sqm) | 115.00 | Sqm | 0.00 | 800.00 | 92000.00 | 92000.00 | KUMAR ENTERPRISES AND COMPANY
32.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc. wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineering-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 7000.00 | Sqm | 0.00 | 220.00 | 1540000.00 | 1540000.00 | KUMAR ENTERPRISES AND COMPANY
33.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade One or more coats on old work | 18000.00 | Sqm | 0.00 | 50.00 | 900000.00 | 900000.00 | KUMAR ENTERPRISES AND COMPANY
34.00 | Finishing walls with Acrylic Smooth exterior paint of required shade: Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 3300.00 | Sqm | 0.00 | 60.00 | 198000.00 | 198000.00 | KUMAR ENTERPRISES AND COMPANY
35.00 | Finishing walls with textured exterior paint of required shade : Old work (Two or more coats on existing cement paint surface applied @ 3.28 ltr/10 sqm. | 20000.00 | Sqm | 0.00 | 140.00 | 2800000.00 | 2800000.00 | KUMAR ENTERPRISES AND COMPANY
36.00 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade: One or more coats on old work | 17100.00 | Sqm | 0.00 | 60.00 | 1026000.00 | 1026000.00 | KUMAR ENTERPRISES AND COMPANY
37.00 | Finishing walls with waterproofing cement paint of required shade : Old work(one or more coats applied @ 2.20 kg/10sqm) over priming coat of primer applied @ 0.80 litres/10 sqm complete including Priming coat | 1800.00 | Sqm | 0.00 | 55.00 | 99000.00 | 99000.00 | KUMAR ENTERPRISES AND COMPANY
38.00 | Repair to plaster of thickness 12mm to 20 mm in patches of area 2.5 sqm and under, including cutting the patch in proper shape, raking out joints and preparing plastering the wall surface with white cement based polymer modified self curing mortar, including disposal of rubbish, all complete as per the direction of Engineer-In-Charge. | 2000.00 | Sqm | 0.00 | 430.00 | 860000.00 | 860000.00 | KUMAR ENTERPRISES AND COMPANY
39.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached plasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing:1:3:6 (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size | 10.00 | Cum | 0.00 | 5000.00 | 50000.00 | 50000.00 | KUMAR ENTERPRISES AND COMPANY
40.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform with water proof ply 12 mm thick | 20.00 | Sqm | 0.00 | 500.00 | 10000.00 | 10000.00 | KUMAR ENTERPRISES AND COMPANY
41.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, havingthermal stability for hot & cold water supply, including all CPVC plain &brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solventcement and the cost of cutting chases and making good the sameincluding testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls 25 MM NOMINAL BORE | 320.00 | Meter | 0.00 | 500.00 | 160000.00 | 160000.00 | KUMAR ENTERPRISES AND COMPANY
42.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:White Vitreous china Orissa pattern W.C. pan of size580x440 mm with integral type foot rests | 20.00 | No | 0.00 | 4500.00 | 90000.00 | 90000.00 | KUMAR ENTERPRISES AND COMPANY
43.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 5.00 | No | 0.00 | 4000.00 | 20000.00 | 20000.00 | KUMAR ENTERPRISES AND COMPANY
44.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of bank. | 140.00 | No | 0.00 | 500.00 | 70000.00 | 70000.00 | KUMAR ENTERPRISES AND COMPANY
45.00 | Providing and fixing C.P. brass angle valve for basin mixer, cistern and geyser points of approved quality conforming to IS:8931 as per satisfaction the bank. 15mm nominal bore | 225.00 | No | 0.00 | 400.00 | 90000.00 | 90000.00 | KUMAR ENTERPRISES AND COMPANY
46.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 16.00 | No | 0.00 | 3200.00 | 51200.00 | 51200.00 | KUMAR ENTERPRISES AND COMPANY
47.00 | Providing and fixing long body bib cock including fitting and jointing complete as per specifications and direction of the Engineer- in-Charge. | 10.00 | No | 0.00 | 500.00 | 5000.00 | 5000.00 | KUMAR ENTERPRISES AND COMPANY
48.00 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms | 20.00 | Each | 0.00 | 90.00 | 1800.00 | 1800.00 | KUMAR ENTERPRISES AND COMPANY
49.00 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | 20.00 | Each | 0.00 | 4600.00 | 92000.00 | 92000.00 | KUMAR ENTERPRISES AND COMPANY
50.00 | Providing and fixing 600x450 mm bevelled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 25.00 | Each | 0.00 | 800.00 | 20000.00 | 20000.00 | KUMAR ENTERPRISES AND COMPANY
51.00 | Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete | 25.00 | Each | 0.00 | 820.00 | 20500.00 | 20500.00 | KUMAR ENTERPRISES AND COMPANY
52.00 | Providing and fixing PTMT soap Dish Holder having length of 138mm,breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 gms. | 140.00 | Each | 0.00 | 90.00 | 12600.00 | 12600.00 | KUMAR ENTERPRISES AND COMPANY
53.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 16.00 | Each | 0.00 | 500.00 | 8000.00 | 8000.00 | KUMAR ENTERPRISES AND COMPANY
54.00 | Providing and fixing PTMT grating of approved quality and colour 125 mm nominal dia with 25 mm waste hole | 300.00 | No | 0.00 | 35.00 | 10500.00 | 10500.00 | KUMAR ENTERPRISES AND COMPANY
55.00 | Providing and fixing Health faucet including fitting and jointing. Complete as per specifications and direction of the Engineer- in-Charge | 20.00 | Nos | 0.00 | 800.00 | 16000.00 | 16000.00 | KUMAR ENTERPRISES AND COMPANY
56.00 | Providing and fixing P.V.C. waste pipe for sink including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 62.00 | Each | 0.00 | 70.00 | 4340.00 | 4340.00 | KUMAR ENTERPRISES AND COMPANY
57.00 | Providing and fixing Sink Mixer including fitting and jointing. Complete as per specifications and direction of the Engineer- in-Charge. | 20.00 | Each | 0.00 | 2000.00 | 40000.00 | 40000.00 | KUMAR ENTERPRISES AND COMPANY
58.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D.40 mm nominal bore, 206mm long, weighing not less than 690 gm | 32.00 | Each | 0.00 | 500.00 | 16000.00 | 16000.00 | KUMAR ENTERPRISES AND COMPANY
59.00 | Cleaning and desilting of gully trap chamber, including removal of rubbish mixed with earth etc. and disposal of same, all as per the direction of Engineer-in-charge. | 28.00 | Each | 0.00 | 45.00 | 1260.00 | 1260.00 | KUMAR ENTERPRISES AND COMPANY
60.00 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge | 90.00 | Each | 0.00 | 45.00 | 4050.00 | 4050.00 | KUMAR ENTERPRISES AND COMPANY
61.00 | Providing and fixing connection pipe 15 mm including fitting and jointing. Complete as per specifications and direction of the Engineer- in-Charge. 45 cm length | 120.00 | Nos | 0.00 | 55.00 | 6600.00 | 6600.00 | KUMAR ENTERPRISES AND COMPANY
62.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | 300.00 | Sqm | 0.00 | 750.00 | 225000.00 | 225000.00 | KUMAR ENTERPRISES AND COMPANY
63.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry@ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., all complete as directed by the bank. (Basic rate of ceramic tiles= Rs. 40/sqft ) | 70.00 | Sqm | 0.00 | 750.00 | 52500.00 | 52500.00 | KUMAR ENTERPRISES AND COMPANY
64.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. (The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry.) | 110.00 | Sqm | 0.00 | 400.00 | 44000.00 | 44000.00 | KUMAR ENTERPRISES AND COMPANY
65.00 | Providing and laying broken Autoclaved Aerated concrete (AAC) blocks in cement mortar 1:4 (1 Cement : 4 Coarse sand) in the sunken portion of toilet all complete as directed by the bank | 20.00 | Cum | 0.00 | 5500.00 | 110000.00 | 110000.00 | KUMAR ENTERPRISES AND COMPANY
66.00 | Providing and placing almirah/ cupboard made with 19mm thick MDF board for shutter, shelves, drawers, sides etc. as per design/drawing. The back side of cupboard shall be made up of 12mm thick BWR grade plywood IS 303. The bottom of drawer shall be made up of 6mm thick BWR grade plywood IS 303. The front side/ shutter of cupboard shall be made of 19mm thick grade plywood IS 303 finished with 1mm thick laminate of approved colour and make along with PVC edge bending tape 2.00 mm thick of approved brand on all edges of cupboard. It shall include SS hanger rod, two drawers running on channels of approved make including handles, locks, catchers tec. All inside portions shall be painted with enamel paint enamel paint (two or more coats) from inside to give an even shade all complete as per satisfaction of the bank. (measurement from front elevation) | 300.00 | Sqm | 0.00 | 6000.00 | 1800000.00 | 1800000.00 | KUMAR ENTERPRISES AND COMPANY
67.00 | Providing and fixing under storage cabinet in kitchen of overall depth 600mm made up of 18 mm thick MDF board, boxed from all three sides and 12mm thick MDF grade plywood IS 303 on back side of overall depth 600mm & 750 mm height with front coverage in Double shutter in 18mm thick BWR grade plywood IS 303 with exposed edges of plywood with with PVC edge band of 2mm and 1mm laminate from outside of approved brand and shade including concealed hinges, magnets, SS handles etc. as per drawing. The box shall be painted with enamel paint (two or more coats) all complete as per direction of the bank.(measurement from Front Elevation) | 110.00 | Sqm | 0.00 | 8000.00 | 880000.00 | 880000.00 | KUMAR ENTERPRISES AND COMPANY
68.00 | Providing and fixing overhead cabinet made up of 18 mm thick MDF board, boxed from all three sides and 12mm thick grade plywood IS 303 on back side of overall depth 250mm & 600 mm height with front coverage in Double shutter in 18mm thick BWR grade plywood IS 303 with exposed edges of plywood with PVC edge band of 2mm and 1mm laminate from outside of approved brand and shade including concealed hinges, magnets, SS handles etc. all complete as directed by the bank. (measurement from Front Elevation) | 85.00 | Sqm | 0.00 | 7000.00 | 595000.00 | 595000.00 | KUMAR ENTERPRISES AND COMPANY
69.00 | Lettering with black Japan paint of approved brand and manufacture | 400.00 | Per Cm Height | 0.00 | 4.70 | 1880.00 | 1880.00 | KUMAR ENTERPRISES AND COMPANY
70.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Treatment at points of contact of wood work by chemical emulsion Chlorpyriphos/ Lindane (in oil or kerosene based solution) @ 0.5 litres per hole by drilling 6 mm dia holes at downward angle of 45 degree at 150 mm centre to centre and sealing the same. | 2221.00 | Metre | 0.00 | 220.00 | 488620.00 | 488620.00 | KUMAR ENTERPRISES AND COMPANY
71.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately).Second class teak wood | 8.00 | Cum | 0.00 | 110000.00 | 880000.00 | 880000.00 | KUMAR ENTERPRISES AND COMPANY
72.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 200.00 | No | 0.00 | 140.00 | 28000.00 | 28000.00 | KUMAR ENTERPRISES AND COMPANY
73.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 75.00 | Sqm | 0.00 | 1500.00 | 112500.00 | 112500.00 | KUMAR ENTERPRISES AND COMPANY
74.00 | Providing and fixing panelled or panelled or glazed shutters for windows, doors fixing with butt hinges of required size with necessary screws, all complete as per direction of Engineer-in-charge.Second class teak wood | 55.00 | Sqm | 0.00 | 1500.00 | 82500.00 | 82500.00 | KUMAR ENTERPRISES AND COMPANY
75.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. With 2nd class teak wood beading 62X19 mm | 120.00 | Sqm | 0.00 | 800.00 | 96000.00 | 96000.00 | KUMAR ENTERPRISES AND COMPANY
76.00 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge | 190.00 | Each | 0.00 | 230.00 | 43700.00 | 43700.00 | KUMAR ENTERPRISES AND COMPANY
77.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 250.00 | Each | 0.00 | 50.00 | 12500.00 | 12500.00 | KUMAR ENTERPRISES AND COMPANY
78.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868)transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 250.00 | Each | 0.00 | 35.00 | 8750.00 | 8750.00 | KUMAR ENTERPRISES AND COMPANY
79.00 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead :
79.10 | 75 to 80 mm dia pipe | 1200.00 | Metre | 0.00 | 35.00 | 42000.00 | 42000.00 | KUMAR ENTERPRISES AND COMPANY
79.20 | 100 mm dia pipe | 490.00 | Metre | 0.00 | 35.00 | 17150.00 | 17150.00 | KUMAR ENTERPRISES AND COMPANY
80.00 | Dismantling GI/CPVC/HDPE pipes (concealed) including disposal to approval municipal yard as per satisfaction of the bank 15 mm to 40 mm nominal bore | 320.00 | Metre | 0.00 | 70.00 | 22400.00 | 22400.00 | KUMAR ENTERPRISES AND COMPANY
81.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 320.00 | Metre | 0.00 | 35.00 | 11200.00 | 11200.00 | KUMAR ENTERPRISES AND COMPANY
82.00 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | 400.00 | Kg | 0.00 | 25.00 | 10000.00 | 10000.00 | KUMAR ENTERPRISES AND COMPANY
83.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitreous China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 25.00 | Each | 0.00 | 15.00 | 375.00 | 375.00 | KUMAR ENTERPRISES AND COMPANY
84.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 2000.00 | Sqm | 0.00 | 12.00 | 24000.00 | 24000.00 | KUMAR ENTERPRISES AND COMPANY
85.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.00 | Cum | 0.00 | 1350.00 | 13500.00 | 13500.00 | KUMAR ENTERPRISES AND COMPANY
86.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 100.00 | Each | 0.00 | 220.00 | 22000.00 | 22000.00 | KUMAR ENTERPRISES AND COMPANY
87.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :Of area 3 sq. metres and below | 170.00 | Each | 0.00 | 70.00 | 11900.00 | 11900.00 | KUMAR ENTERPRISES AND COMPANY
88.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 200.00 | Cum | 0.00 | 110.00 | 22000.00 | 22000.00 | KUMAR ENTERPRISES AND COMPANY
89.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 25.00 | No | 0.00 | 70.00 | 1750.00 | 1750.00 | KUMAR ENTERPRISES AND COMPANY
90.00 | Dismantling of existing sunken portion and disposal of rubbish to approved dumping yard including all lifts as per satisfaction of the Bank. | 20.00 | Cum | 0.00 | 750.00 | 15000.00 | 15000.00 | KUMAR ENTERPRISES AND COMPANY
91.00 | Removal of existing Wall Mixer along with existing Overhead Shower/ Hand Shower including all fittings all complete as per satisfaction of the bank. | 20.00 | No | 0.00 | 215.00 | 4300.00 | 4300.00 | KUMAR ENTERPRISES AND COMPANY
92.00 | Removal and refixing of existing Wash Basin fixed in the wall supported on new angle on size (25mm x 25mm x 5mm) including all fittings all complete as per satisfaction of the bank. | 16.00 | No | 0.00 | 350.00 | 5600.00 | 5600.00 | KUMAR ENTERPRISES AND COMPANY
93.00 | Removal and refixing (if Required)of existing Sink Mixer including all fittings all complete as per satisfaction of the bank. | 30.00 | No | 0.00 | 215.00 | 6450.00 | 6450.00 | KUMAR ENTERPRISES AND COMPANY
94.00 | Removal and refixing of existing Basin Mixer including all fittings all complete as per satisfaction of the bank. | 16.00 | No | 0.00 | 205.00 | 3280.00 | 3280.00 | KUMAR ENTERPRISES AND COMPANY
95.00 | Removal of existing Water Closet (European Type) including all fittings all complete as per satisfaction of the bank. | 5.00 | No | 0.00 | 195.00 | 975.00 | 975.00 | KUMAR ENTERPRISES AND COMPANY
96.00 | Removal of existing Towel Rail including all fittings all complete as per satisfaction of the bank. | 16.00 | No | 0.00 | 225.00 | 3600.00 | 3600.00 | KUMAR ENTERPRISES AND COMPANY
97.00 | Removal and refixing of existing short body Bib Cock including all fittings all complete as per satisfaction of the bank. | 16.00 | No | 0.00 | 215.00 | 3440.00 | 3440.00 | KUMAR ENTERPRISES AND COMPANY
98.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 43000.00 | Sqm | 0.00 | 13.00 | 559000.00 | 559000.00 | KUMAR ENTERPRISES AND COMPANY
99.00 | Dismantling 15 to 50 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer- in-Charge. (a) Internal Work- Exposed on wall | 2205.00 | Meter | 0.00 | 2.70 | 5953.50 | 5953.50 | KUMAR ENTERPRISES AND COMPANY
100.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 50.00 | Cum | 0.00 | 900.00 | 45000.00 | 45000.00 | KUMAR ENTERPRISES AND COMPANY
100.10 | Cat (A-2) - Electrical Works
101.00 | Providing and fixing Doorbell with complete connection in existing wiring (Anchor / Legrand / Havells) | 62.00 | Nos | 0.00 | 115.00 | 7130.00 | 7130.00 | KUMAR ENTERPRISES AND COMPANY
102.00 | Providing and fixing 6 A bell push switch for Doorbell with complete connection in existing wiring (Anchor / Legrand / Havells) | 62.00 | Nos | 0.00 | 20.00 | 1240.00 | 1240.00 | KUMAR ENTERPRISES AND COMPANY
103.00 | Removing existing old regulator & Providing and fixing two module step regulator (piano type) including connection with all accessories. | 326.00 | Nos | 0.00 | 260.00 | 84760.00 | 84760.00 | KUMAR ENTERPRISES AND COMPANY
104.00 | Removing existing old 16/20 A Switch & Providing and fixing new piano type 20 A Switch including connection with all accessories. | 350.00 | Nos | 0.00 | 125.00 | 43750.00 | 43750.00 | KUMAR ENTERPRISES AND COMPANY
105.00 | Removing existing old 16/20 A Socket & Providing and fixing new piano type 20 A Socket with safety shutter including connection with all accessories. | 350.00 | Nos | 0.00 | 125.00 | 43750.00 | 43750.00 | KUMAR ENTERPRISES AND COMPANY
106.00 | Removing existing old 6 A Switch & Providing and fixing new piano type 6 A Switch including connection with all accessories. | 450.00 | Nos | 0.00 | 25.00 | 11250.00 | 11250.00 | KUMAR ENTERPRISES AND COMPANY
107.00 | Removing existing old 6 A socket & Providing and fixing new piano type 6 A Socket including connection with all accessories. | 250.00 | Nos | 0.00 | 25.00 | 6250.00 | 6250.00 | KUMAR ENTERPRISES AND COMPANY
108.00 | Removing existing switch box and their switches & Providing and fixing complete 6 module modular box with modular plate, modular switches (4 nos) and 6/10 A modular Socket with including connection, all accessories. (In toilets where complete replacement work considered) | 232.00 | Nos | 0.00 | 440.00 | 102080.00 | 102080.00 | KUMAR ENTERPRISES AND COMPANY
109.00 | Removing existing switch box and their socket- switches & Providing and fixing suitable size GI box with modular plate and cover in front on surface on in recess i/c providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C"curve including connection painting etc. as required. The job shall be complete & to the entire satisfaction of the Bank. ( DSR (E&M)- 1.57) | 78.00 | Nos | 0.00 | 600.00 | 46800.00 | 46800.00 | KUMAR ENTERPRISES AND COMPANY
110.00 | Removing of Faulty 63 A DP MCB / RCCB & providing and fixing 63 A 2 POLE RCCB , 30mA. The job shall be complete & to the entire satisfaction of the Bank. ( DSR (E&M)- 2.14.3) | 20.00 | Nos | 0.00 | 2400.00 | 48000.00 | 48000.00 | KUMAR ENTERPRISES AND COMPANY
111.00 | Providing & fixing with wiring 2 x 2.5 sqmm CU FRLS wire in conduit in recess with suitable size GI box with modular plate and cover in front on surface on in recess i/c providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C"curve including connection painting etc. as required. The job shall be complete & to the entire satisfaction of the Bank. | 62.00 | Nos | 0.00 | 2000.00 | 124000.00 | 124000.00 | KUMAR ENTERPRISES AND COMPANY
112.00 | P & F of 1.5 sq mm FRLS PVC insulated 1100 v grade copper conductor wires in concealed manner/ surface in existing MS / PVC CONDUIT as required The above includes making necessary chase in brickwork and making good the same. | 1000.00 | Meters | 0.00 | 10.00 | 10000.00 | 10000.00 | KUMAR ENTERPRISES AND COMPANY
113.00 | P & F of 2.5 sq mm FRLS PVC insulated 1100 v grade copper conductor wires in concealed manner/ surface in existing MS / PVC CONDUIT as required The above includes making necessary chase in brickwork and making good the same. | 500.00 | Meters | 0.00 | 15.00 | 7500.00 | 7500.00 | KUMAR ENTERPRISES AND COMPANY
114.00 | P & F of 4 sq mm FRLS PVC insulated 1100 v grade copper conductor wires in concealed manner/ surface in existing MS / PVC CONDUIT as required The above includes making necessary chase in brickwork and making good the same. | 300.00 | Meters | 0.00 | 35.00 | 10500.00 | 10500.00 | KUMAR ENTERPRISES AND COMPANY
115.00 | P & F of 3 core 6 sq mm flexible PVC insulated 1100 v grade copper conductor wires in concealed manner/ surface with 8 swg GI wire as required The above includes making necessary chase in brickwork and making good the same. | 300.00 | Meters | 0.00 | 235.00 | 70500.00 | 70500.00 | KUMAR ENTERPRISES AND COMPANY
116.00 | P & F of 3 core 10 sq mm flexible PVC insulated 1100 v grade copper conductor wires in concealed manner/ surface with 8 swg GI wire as required The above includes making necessary chase in brickwork and making good the same. | 300.00 | Meters | 0.00 | 400.00 | 120000.00 | 120000.00 | KUMAR ENTERPRISES AND COMPANY
117.00 | Inverter Point:- Supply, Installation, testing, commissioning of inverter point with 3x4 sqmm FRLS PVC insulated 1100 V grade wire in PVC conduit of minimum wall thickness 1.5mm on surface/concealed manner by making chase in the wall as instructed by engineer in charge with two nos 20 A flush type modular socket in surface/recess mounted MS box for inverter input/output and making necessary connections in the distribution board. | 62.00 | Nos | 0.00 | 1000.00 | 62000.00 | 62000.00 | KUMAR ENTERPRISES AND COMPANY
118.00 | P & F of 3.5 core 35 sq mm armoured PVC insulated 1100 v grade AL conductor wires in concealed manner/ surface with 2nos. 8 swg GI wire as required and with proper saddling The above includes making necessary chase in brickwork and making good the same. | 100.00 | Meters | 0.00 | 220.00 | 22000.00 | 22000.00 | KUMAR ENTERPRISES AND COMPANY
119.00 | Installation of exhaust fans and fresh air fans with all frame, jali and louvers | 202.00 | Nos | 0.00 | 400.00 | 80800.00 | 80800.00 | KUMAR ENTERPRISES AND COMPANY
120.00 | Removing and handing over the existing Geyser and receiving and installation of 25 Litres storage Geyser with all accessories and top | 78.00 | Nos | 0.00 | 300.00 | 23400.00 | 23400.00 | KUMAR ENTERPRISES AND COMPANY
121.00 | Receiving and Installation of 3 litre instant Geyser with all accessories and top if required | 62.00 | Nos. | 0.00 | 200.00 | 12400.00 | 12400.00 | KUMAR ENTERPRISES AND COMPANY
122.00 | Spray metal body painting of all electrical panels | 5000.00 | sqft | 0.00 | 10.00 | 50000.00 | 50000.00 | KUMAR ENTERPRISES AND COMPANY
123.00 | Earthing pit works for panels with necessary connection (GI Earthing ) | 10.00 | Nos | 0.00 | 8000.00 | 80000.00 | 80000.00 | KUMAR ENTERPRISES AND COMPANY
124.00 | SITC of Wall Decorative Light (Philips comet or equivalent with 9 Watt LED Lamp) | 466.00 | Nos | 0.00 | 600.00 | 279600.00 | 279600.00 | KUMAR ENTERPRISES AND COMPANY
125.00 | SITC of surface light (10-12 watt) | 572.00 | Nos | 0.00 | 800.00 | 457600.00 | 457600.00 | KUMAR ENTERPRISES AND COMPANY
126.00 | SITC of bulkhead light | 143.00 | Nos | 0.00 | 900.00 | 128700.00 | 128700.00 | KUMAR ENTERPRISES AND COMPANY
127.00 | SITC of Batten light 4 feet | 376.00 | Nos | 0.00 | 315.00 | 118440.00 | 118440.00 | KUMAR ENTERPRISES AND COMPANY
128.00 | SITC of Batten light 2 feet (bathroom and mirrors) | 140.00 | Nos | 0.00 | 315.00 | 44100.00 | 44100.00 | KUMAR ENTERPRISES AND COMPANY
129.00 | Supply of Exhaust Fan 300 mm metal (havells DB 300 or equivalent) | 62.00 | Nos. | 0.00 | 1300.00 | 80600.00 | 80600.00 | KUMAR ENTERPRISES AND COMPANY
130.00 | Supply of Fresh air Fan for toilets | 140.00 | No. | 0.00 | 1800.00 | 252000.00 | 252000.00 | KUMAR ENTERPRISES AND COMPANY
131.00 | Supply of 5 star 25 litre storage Geyser (venus splash or equivalent) | 68.00 | Nos. | 0.00 | 6500.00 | 442000.00 | 442000.00 | KUMAR ENTERPRISES AND COMPANY
132.00 | Supply of 5 star 3 litre instant geyser | 62.00 | Nos. | 0.00 | 2000.00 | 124000.00 | 124000.00 | KUMAR ENTERPRISES AND COMPANY
133.00 | SITC of 60 CM Kitchen Chimney (Elica AH BF 260 or equivalent) | 16.00 | Nos | 0.00 | 9000.00 | 144000.00 | 144000.00 | KUMAR ENTERPRISES AND COMPANY
134.00 | Cat (B) - Buy Back Items
135.00 | Removal and disposal of 75 to 100 mm dia C.I. pipe with fittings and clamps (Exposed on wall) at all heights all complete as per satisfaction of the bank. | 1675.00 | Metre | 0.00 | 25.00 | -41875.00 | -41875.00 | KUMAR ENTERPRISES AND COMPANY
136.00 | Removal of Gate Valve all complete as per satisfaction of the bank | 120.00 | No | 0.00 | 15.00 | -1800.00 | -1800.00 | KUMAR ENTERPRISES AND COMPANY
137.00 | 15mm to 25 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer- in-Charge.(a) Internal Work- Exposed on wall | 880.00 | Metre | 0.00 | 7.00 | -6160.00 | -6160.00 | KUMAR ENTERPRISES AND COMPANY
138.00 | 32mm to 50 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer- in-Charge. (a) Internal Work- Exposed on wall | 1325.00 | Metre | 0.00 | 8.00 | -10600.00 | -10600.00 | KUMAR ENTERPRISES AND COMPANY
139.00 | Buyback, Dismantling and taking away Solar Heater, pipe and water tank of solar heater (within 50 metres lead) as per direction of Engineer- in-Charge. AS IS WHERE IS basis of 600 ltr capacity comparising of 6 Nos collectors, 1 No. insulated S&S hot water tank of 600 ltr capacity, GI Angle stands with all other accessories. Bidders are advised to visit the site before quoting the rate. Complete solar water heating system to be dismantled and taking away and make the site proper & workable under the guidance of Engineer-in-charge. | 16.00 | Nos | 0.00 | 8644.84 | -138317.42 | -138317.42 | KUMAR ENTERPRISES AND COMPANY
| Total in Figures |  |  |  |  | 22351001.08
Lowest Amount Quoted BY: KUMAR ENTERPRISES AND COMPANY(22351001.08)

## BOQ Summary
BOQ Summary Details Tender Title: RENOVATION OF PUNJ VIHAR PNB OFFICERS RESIDENTIAL COMPLEX, VIBHUTI KHAND, GOMTI NAGAR, LUCKNOW Tender ID: 2021_WAPCO_95579_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KUMAR ENTERPRISES AND COMPANY | 22351001.08 | L1