## BoQ1
Government eProcurement System Created By: Samar Kumar Biswas Created Date/Time: 07-Feb-2022 11:18 AM Tender Title: ARMO of E and M installations at M.B.B. Airport, Agartala 2021-22. SH Supply of Electrical and GLF spares. Tender ID: 2022_AAI_100583_1
Tender Inviting Authority: Airports Authority of India, Agartala Airport.
Name of Work: ARMO of E & M installations at M.B.B Airport, Agartala (2021-22). SH: Supply of Electrical and GLF Spares.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following mentioned different type of LED luminaires for outdoor application, made out of high pressure die-cast aluminum housing design & powder coated finishing, with heat resistant diffuser & toughened glass in front, with mounting bracket for aiming adjustment suitable to operate on 240 V, 50 Hz, AC supply with control gear and other accessories complete as required conforming to technical specification attachedsuitable for operation on 230 V, 50Hz, Single Phase, AC supply as required.
1.01 | (a) 350W LED type flood light luminaire with minimum IP-65 protection (Make: Havells, Item Description: JETA VALOURFL350W3MLED757 MODNBLT G or equivalent) | 4.00 | Each | 13819.00 | 19800.00 | 79200.00 | 19600.00 | 78400.00 | 32300.00 | 129200.00 | 20000.00 | 80000.00 | 78400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
1.02 | (b) 120W LED type flood light luminaire with minimum IP-65 protection (Make: Havells, Item Description: JETAIRISFLS 120WLED757SYMLT G or equivalent) | 10.00 | Each | 7415.00 | 5830.00 | 58300.00 | 5880.00 | 58800.00 | 4950.00 | 49500.00 | 4500.00 | 45000.00 | 45000.00 | electromach sales agencies
1.03 | (c) 70W LED type street light luminaire with minimum IP-66 protection (Make: Havells, Item Description: ENDURACITYLINERNEOSL70WLED757 PASYBOT G or equivalent) | 10.00 | Each | 4786.00 | 3000.00 | 30000.00 | 3200.00 | 32000.00 | 2790.00 | 27900.00 | 3300.00 | 33000.00 | 27900.00 | Bafna Electric Corp
1.04 | (d) 50 W LED type flood light luminaire with minimum IP-65 protection (Make: Havells, Item Description: JETAQUANTOPLUSFLP50WLED 757SYMLENS or equivalent) | 12.00 | Each | 2831.00 | 2660.00 | 31920.00 | 1600.00 | 19200.00 | 2400.00 | 28800.00 | 2700.00 | 32400.00 | 19200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.00 | Supply of light fitting for surface mounting indoor application, IP 20 protection, suitable to operate on 230V ±, 10% single phase, AC supply.
2.01 | 1x18W LED batten tube light fitting (Make: Havells, Ordering Code: LHEXACP7PN1W018 or equivalent) | 200.00 | Each | 237.00 | 238.00 | 47600.00 | 168.00 | 33600.00 | 220.00 | 44000.00 | 250.00 | 50000.00 | 33600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | Supply of 9 W LED Bulb suitable to operate on 230V ±, 10% single phase, AC supply. (Make: Havells, Ordering Code: LHLDEUEEMC8R009 or equivalent) | 75.00 | Each | 111.00 | 85.00 | 6375.00 | 85.00 | 6375.00 | 73.00 | 5475.00 | 100.00 | 7500.00 | 5475.00 | Bafna Electric Corp
4.00 | Supply of different type switch/socket suitable for operation on 230 V, 50Hz, Single Phase, AC supply.
4.01 | (a) 5A/6A piano type switch (Make Anchor , Code No.-14111 or equivalent). | 160.00 | Each | 16.00 | 13.00 | 2080.00 | 10.00 | 1600.00 | 14.00 | 2240.00 | 40.00 | 6400.00 | 1600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.02 | (b) 15A/16A piano type switch. (Make Anchor , Code No.-14401 or equivalent). | 80.00 | Each | 79.00 | 67.00 | 5360.00 | 52.00 | 4160.00 | 72.00 | 5760.00 | 100.00 | 8000.00 | 4160.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.03 | (c )5 pin 5A/6A piano type socket (Make Anchor , Code No.-14119 or equivalent). | 160.00 | Each | 31.00 | 26.00 | 4160.00 | 20.00 | 3200.00 | 28.00 | 4480.00 | 50.00 | 8000.00 | 3200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.00 | Supply of ding dong door bell suitable for operation on 230 V, 50Hz, Single Phase, AC supply. | 10.00 | Each | 142.00 | 124.00 | 1240.00 | 120.00 | 1200.00 | 135.00 | 1350.00 | 55.00 | 550.00 | 550.00 | electromach sales agencies
6.00 | Supply of Bell Push piano type switch on the existing switch box/ cover including connections etc. as required,suitable for operation on 230 V, 50Hz, Single Phase, AC supply. (Make Anchor , Code No.-14113 or equivalent). | 20.00 | Each | 30.00 | 26.00 | 520.00 | 20.00 | 400.00 | 30.00 | 600.00 | 45.00 | 900.00 | 400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Supply of 2.5 mfd, fan capacitor suitable for operation on 230 V, 50Hz, Single Phase, AC supply. (Make: Havells, Item Code: QHPCWC5002X5 or equivalent) | 150.00 | Each | 30.00 | 18.50 | 2775.00 | 25.00 | 3750.00 | 20.00 | 3000.00 | 33.00 | 4950.00 | 2775.00 | Yash Energy Pvt. Ltd
8.00 | Supply of following size Single Core Copper Conductor (flexible), ISI marked, FRLS PVC insulated Wire of 1.1 KV grade, conforming to IS : 694.
8.02 | (a) 1.0 sq. mm (coil of 90 metre), (Make Havells Basic code WHFFFN…A11X0 or equivalent as per list of approved make). | 2.00 | Coil | 1143.00 | 1261.00 | 2522.00 | 980.00 | 1960.00 | 1015.00 | 2030.00 | 1100.00 | 2200.00 | 1960.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.03 | (b) 1.5 sq. mm (coil of 90 metre), (Make Havells Basic code WHFFFN…A11X5 or equivalent as per list of approved make). | 2.00 | Coil | 1665.00 | 1841.00 | 3682.00 | 1430.00 | 2860.00 | 1466.00 | 2932.00 | 1700.00 | 3400.00 | 2860.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.04 | (c) 2.5 sq. mm (coil of 90 metre), (Make Havells Basic code WHFFFN…A12X5 or equivalent as per list of approved make). | 5.00 | Coil | 2655.00 | 2930.00 | 14650.00 | 2280.00 | 11400.00 | 2382.00 | 11910.00 | 2400.00 | 12000.00 | 11400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.05 | (d) 4.0 sq. mm (coil of 90 metre), (Make Havells Basic code WHFFFN…A14X0 or equivalent as per list of approved make). | 2.00 | Coil | 3892.00 | 4303.00 | 8606.00 | 3340.00 | 6680.00 | 3596.00 | 7192.00 | 3300.00 | 6600.00 | 6600.00 | electromach sales agencies
8.06 | (e) 6.0 sq. mm (coil of 90 metre), (Make Havells Basic code WHFFFN…A16X0 or equivalent as per list of approved make). | 1.00 | Coil | 5820.00 | 6429.00 | 6429.00 | 4998.00 | 4998.00 | 5370.00 | 5370.00 | 5400.00 | 5400.00 | 4998.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Supply of Multicore Round PVC insulated and FR PVC Sheathed, Copper Conductor (flexible), ISI marked, cable of 1100 Volt grade, conforming to IS:694.
9.01 | (a) 3 core 1.5 sq. mm (coil of 100 metre), (Make Havells Basic code WHMFDSKB31X5 or equivalent as per list of approved make). | 1.00 | Coil | 5779.00 | 6335.00 | 6335.00 | 5012.00 | 5012.00 | 5145.00 | 5145.00 | 6500.00 | 6500.00 | 5012.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.02 | (b) 3 core 2.5 sq. mm (coil of 100 metre), (Make Havells Basic code WHMFDSKB32X5 or equivalent as per list of approved make). | 1.00 | Coil | 9323.00 | 10218.00 | 10218.00 | 8086.00 | 8086.00 | 8170.00 | 8170.00 | 10000.00 | 10000.00 | 8086.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.03 | (c) 3 core 4.0 sq. mm (coil of 100 metre), (Make Havells Basic code WHMFDSKB34X0 or equivalent as per list of approved make). | 1.00 | Coil | 14192.00 | 15556.00 | 15556.00 | 12308.00 | 12308.00 | 12800.00 | 12800.00 | 16000.00 | 16000.00 | 12308.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Supply of following sizes of medium class PVC conduit as required. (a) 20 mm , Make :- Precision ,product code PRCS 20L or equivalent as per list of approved make. | 100.00 | Mtr | 27.00 | 25.00 | 2500.00 | 28.00 | 2800.00 | 26.00 | 2600.00 | 45.00 | 4500.00 | 2500.00 | Yash Energy Pvt. Ltd
11.00 | Supply of following size Aluminium /copper lugs of different types
11.01 | (a) 16 sq.mm aluminum lugs (Reducer terminal) make dowell's Cat No. AWP-23 or equivalent as per list of approved make. | 5.00 | Each | 14.00 | 14.00 | 70.00 | 9.26 | 46.30 | 14.00 | 70.00 | 19.00 | 95.00 | 46.30 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.02 | (b) 25 sq.mm aluminum lugs (Reducer terminal)make dowell's Cat No. AWP - 25 or equivalent as per list of approved make. | 5.00 | Each | 15.00 | 15.00 | 75.00 | 10.65 | 53.25 | 16.00 | 80.00 | 21.00 | 105.00 | 53.25 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.03 | (c )35 sq.mm aluminum lugs (Reducer terminal)make dowell's Cat No. AWP - 4 or equivalent as per list of approved make. | 5.00 | Each | 20.00 | 20.50 | 102.50 | 14.00 | 70.00 | 21.00 | 105.00 | 28.00 | 140.00 | 70.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.04 | (d) 16 sq. mm aluminium lugs (tube terminal). make dowell's Cat No. ALS - 252 or equivalent as per list of approved make. | 5.00 | Each | 3.00 | 3.55 | 17.75 | 2.35 | 11.75 | 6.00 | 30.00 | 5.00 | 25.00 | 11.75 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.05 | (e ) 25 sq. mm aluminium lugs (tube terminal). make dowell's Cat No. ALS -253 or equivalent as per list of approved make. | 5.00 | Each | 5.00 | 5.00 | 25.00 | 2.95 | 14.75 | 7.00 | 35.00 | 6.80 | 34.00 | 14.75 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.06 | (f) 35 sq. mm aluminium lugs (tube terminal). make dowell's Cat No. ALS - 254 or equivalent as per list of approved make. | 20.00 | Each | 6.00 | 6.00 | 120.00 | 3.90 | 78.00 | 10.00 | 200.00 | 8.20 | 164.00 | 78.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.07 | (g) 50 sq. mm Aluminium lugs (tube terminal). make dowell's Cat No. ALS -255 or equivalent as per list of approved make. | 40.00 | Each | 9.00 | 9.00 | 360.00 | 5.91 | 236.40 | 14.00 | 560.00 | 12.00 | 480.00 | 236.40 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.08 | (h) 70 sq. mm aluminium lugs (tube terminal). make dowell's Cat No. ALS - 256 or equivalent as per list of approved make. | 5.00 | Each | 13.00 | 14.00 | 70.00 | 8.85 | 44.25 | 18.00 | 90.00 | 19.00 | 95.00 | 44.25 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.09 | (i) 95 sq. mm aluminium lugs (tube terminal). make dowell's Cat No. ALS - 227 or equivalent as per list of approved make. | 5.00 | Each | 14.00 | 15.00 | 75.00 | 9.78 | 48.90 | 24.00 | 120.00 | 20.00 | 100.00 | 48.90 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.10 | (j ) 120 sq. mm aluminium lugs (tube terminal). make dowell's Cat No. ALS - 257 or equivalent as per list of approved make. | 20.00 | Each | 20.00 | 20.00 | 400.00 | 13.69 | 273.80 | 35.00 | 700.00 | 28.00 | 560.00 | 273.80 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.11 | (k) 150 Sq. mm luminium lugs (tube terminal). make dowell's Cat No. ALS - 258 or equivalent as per list of approved make. | 5.00 | Each | 26.00 | 27.00 | 135.00 | 17.72 | 88.60 | 46.00 | 230.00 | 37.00 | 185.00 | 88.60 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.12 | (l) 240 sq. mm Alluminium lugs (tube terminal). make dowell's Cat No. ALS - 236 or equivalent as per list of approved make. | 20.00 | Each | 56.00 | 57.00 | 1140.00 | 37.86 | 757.20 | 98.00 | 1960.00 | 78.00 | 1560.00 | 757.20 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.13 | (m) 4 sq. mm copper lugs (tube terminal). make dowell's Cat No. CUS-06 or equivalent as per list of approved make. | 5.00 | Each | 6.00 | 6.00 | 30.00 | 4.30 | 21.50 | 9.00 | 45.00 | 8.20 | 41.00 | 21.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.14 | (n) 6 sq. mm copper lugs (tube terminal). make dowell's Cat No. CUS-07 or equivalent as per list of approved make. | 5.00 | Each | 6.00 | 7.00 | 35.00 | 4.69 | 23.45 | 9.00 | 45.00 | 9.00 | 45.00 | 23.45 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.15 | (o) 10 sq. mm copper lugs (tube terminal). make dowell's Cat No. CUS-08 or equivalent as per list of approved make. | 15.00 | Each | 8.00 | 8.00 | 120.00 | 5.90 | 88.50 | 11.00 | 165.00 | 11.00 | 165.00 | 88.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.16 | (p) 16 sq. mm copper lugs (tube terminal). make dowell's Cat No. CUS-09 or equivalent as per list of approved make. | 10.00 | Each | 11.00 | 11.00 | 110.00 | 7.79 | 77.90 | 15.00 | 150.00 | 15.00 | 150.00 | 77.90 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.17 | (q) 35 sq. mm aluminium in Line Connector. (make dowell's Cat No. ALS - 2 or equivalent as per list of approved make). | 15.00 | Each | 4.00 | 4.00 | 60.00 | 3.00 | 45.00 | 4.00 | 60.00 | 4.50 | 67.50 | 45.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.18 | (r) 70 sq. mm aluminium in Line Connector. (make dowell's Cat No. ALS - 1 or equivalent as per list of approved make). | 15.00 | Each | 11.00 | 11.00 | 165.00 | 7.38 | 110.70 | 11.00 | 165.00 | 19.00 | 285.00 | 110.70 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.00 | Supply of following size single compression cable gland.
12.01 | (a) 32 mm Dowell's or equivalent as per list of approved make. | 1.00 | Each | 146.00 | 149.00 | 149.00 | 86.20 | 86.20 | 105.00 | 105.00 | 127.00 | 127.00 | 86.20 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.02 | (b) 35 mm Dowell's or equivalent as per list of approved make. | 1.00 | Each | 183.00 | 185.00 | 185.00 | 105.00 | 105.00 | 135.00 | 135.00 | 157.00 | 157.00 | 105.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.03 | (c) 38 mm Dowell's or or equivalent as per list of approved make. | 2.00 | Each | 216.00 | 218.00 | 436.00 | 127.00 | 254.00 | 170.00 | 340.00 | 189.00 | 378.00 | 254.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.04 | (d) 45 mm Dowell's or equivalent as per list of approved make. | 1.00 | Each | 261.00 | 265.00 | 265.00 | 147.00 | 147.00 | 200.00 | 200.00 | 251.00 | 251.00 | 147.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.05 | (e ) 50 mm Dowell's or equivalent as per list of approved make. | 1.00 | Each | 320.00 | 324.00 | 324.00 | 178.00 | 178.00 | 260.00 | 260.00 | 263.00 | 263.00 | 178.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.06 | (f ) 57 mm Dowell's or equivalent as per list of approved make. | 1.00 | Each | 410.00 | 416.00 | 416.00 | 264.00 | 264.00 | 330.00 | 330.00 | 388.00 | 388.00 | 264.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.07 | (g) 63 mm Dowell's or equivalent as per list of approved make. | 2.00 | Each | 476.00 | 482.00 | 964.00 | 315.00 | 630.00 | 395.00 | 790.00 | 464.00 | 928.00 | 630.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.00 | Supply of following type MCB, 'C' Series with short circuit fault indicator and suitable for operation on 240 V, 50Hz, 10kA, Single Phase, AC supply.
13.02 | (a) 10 Amp, SP MCB (Make L&T Cat No BB10100C or equivalent as per list of approved make.) | 12.00 | Each | 189.00 | 115.00 | 1380.00 | 115.00 | 1380.00 | 104.00 | 1248.00 | 210.00 | 2520.00 | 1248.00 | Bafna Electric Corp
13.03 | (b) 16 Amp, SP MCB (Make L&T Cat No BB10160C or equivalent as per list of approved make.) | 12.00 | Each | 189.00 | 115.00 | 1380.00 | 115.00 | 1380.00 | 104.00 | 1248.00 | 210.00 | 2520.00 | 1248.00 | Bafna Electric Corp
13.04 | (c) 40 Amp, SP MCB (Make L&T Cat No BB10400C or equivalent as per list of approved make.) | 24.00 | Each | 432.00 | 274.00 | 6576.00 | 263.00 | 6312.00 | 300.00 | 7200.00 | 425.00 | 10200.00 | 6312.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.05 | (d) 32 Amp, DP MCB (Make L&T Cat No BB20320C or equivalent as per list of approved make.) | 12.00 | Each | 591.00 | 403.00 | 4836.00 | 360.00 | 4320.00 | 358.00 | 4296.00 | 550.00 | 6600.00 | 4296.00 | Bafna Electric Corp
13.06 | (e) 40 Amp, DP MCB (Make L&T Cat No BB20400C or equivalent as per list of approved make.) | 6.00 | Each | 952.00 | 594.00 | 3564.00 | 580.00 | 3480.00 | 525.00 | 3150.00 | 900.00 | 5400.00 | 3150.00 | Bafna Electric Corp
13.07 | (f) 32 Amp, TP MCB (Make L&T Cat No BB30320C or equivalent as per list of approved make.) | 6.00 | Each | 956.00 | 640.00 | 3840.00 | 582.00 | 3492.00 | 565.00 | 3390.00 | 950.00 | 5700.00 | 3390.00 | Bafna Electric Corp
13.08 | (g) 100 Amp, FP MCB (Make L&T Cat No AU15S41003C or equivalent as per list of approved make.) | 1.00 | Each | 7811.00 | 5021.00 | 5021.00 | 4760.00 | 4760.00 | 5100.00 | 5100.00 | 7250.00 | 7250.00 | 4760.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Supply of fuse link as below:
14.01 | (a) Supply of 32A (Bolted type) HRC fuse link (Make: Havells, Cat No. IHHNS00032 or equivalent as per list of approved make.) | 5.00 | Each | 55.00 | 68.00 | 340.00 | 24.75 | 123.75 | 65.00 | 325.00 | 90.00 | 450.00 | 123.75 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.02 | (b) Supply of 100 A (DIN Type) HRC fuse link (Make: Havells, Cat No. IHHCD11100 or equivalent as per list of approved make. | 5.00 | Each | 269.00 | 330.00 | 1650.00 | 96.75 | 483.75 | 288.00 | 1440.00 | 450.00 | 2250.00 | 483.75 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.03 | (c)Supply of 125 A, (DIN Type) HRC fuse link (Make: Havells, Cat No. IHHCD00125 or equivalent as per list of approved make.) | 5.00 | Each | 321.00 | 330.00 | 1650.00 | 128.25 | 641.25 | 330.00 | 1650.00 | 450.00 | 2250.00 | 641.25 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.00 | Supply of following rating 3 pole/4 Pole Power Contactor,
15.01 | (a) MNX 110, 3 pole power conatctor (Make: L&T, Type, Cat No. CS94137 or euivalent as per list of approved make.) | 1.00 | Each | 14285.00 | 13812.00 | 13812.00 | 8707.50 | 8707.50 | 13350.00 | 13350.00 | 14000.00 | 14000.00 | 8707.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.02 | (b) MNX 50, 3 pole power contactor (Make: L&T, Type, Cat No. CS97075 or euivalent as per list of approved make.) | 2.00 | Each | 4669.00 | 4515.00 | 9030.00 | 2846.25 | 5692.50 | 4365.00 | 8730.00 | 4800.00 | 9600.00 | 5692.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.03 | (c) MNX 32, 3 pole power contactor (Make: L&T, Type, Cat No. CS94111 or euivalent as per list of approved make.) | 2.00 | Each | 2311.00 | 2234.00 | 4468.00 | 1408.50 | 2817.00 | 2160.00 | 4320.00 | 2300.00 | 4600.00 | 2817.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.04 | (d) MNX 18, 3 pole power contactor(Make: L&T, Type, Cat No. CS94100 or euivalent as per list of approved make.) | 2.00 | Each | 882.00 | 852.00 | 1704.00 | 659.25 | 1318.50 | 825.00 | 1650.00 | 900.00 | 1800.00 | 1318.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.05 | (e) MCX 13, 4 pole power contactor (Make: L&T, Type, Cat No. CS97015 or euivalent as per list of approved make.) | 2.00 | Each | 5131.00 | 4960.00 | 9920.00 | 3127.50 | 6255.00 | 4800.00 | 9600.00 | 5300.00 | 10600.00 | 6255.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.06 | (f) ML1.5, 3 Pole power contactor (Make: L&T, Type, Cat No.SS91851 or euivalent as per list of approved make.) | 2.00 | Each | 2746.00 | 2655.00 | 5310.00 | 1674.00 | 3348.00 | 2780.00 | 5560.00 | 3000.00 | 6000.00 | 3348.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.07 | (g) ML2, 3 Pole power contactor (Make: L&T, Type, Cat No. SS90701 or euivalent as per list of approved make.) | 1.00 | Each | 5101.00 | 4933.00 | 4933.00 | 3109.50 | 3109.50 | 5165.00 | 5165.00 | 5800.00 | 5800.00 | 3109.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.08 | (h) ML4, 3 Pole power contactor (Make: L&T, Type, Cat No. SS90910 or euivalent as per list of approved make.) | 1.00 | Each | 12310.00 | 11902.00 | 11902.00 | 7503.75 | 7503.75 | 12466.00 | 12466.00 | 12000.00 | 12000.00 | 7503.75 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.09 | (i) MNX-A1 or equivalent add on auxillary contact block front mounting 2 No and 2 NC (Make: L&T, Type, Cat No. CS94114^ or euivalent as per list of approved make.) | 5.00 | Each | 406.00 | 392.00 | 1960.00 | 247.50 | 1237.50 | 411.00 | 2055.00 | 520.00 | 2600.00 | 1237.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
16.00 | Supply of Digital Time Switch, L&T make Cat No. AUTS02DIG00 or equivalent as per list of approved make. | 5.00 | Each | 2407.00 | 2326.00 | 11630.00 | 1467.00 | 7335.00 | 2437.00 | 12185.00 | 3500.00 | 17500.00 | 7335.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
17.00 | Supply of folowing thermal over load relay
17.01 | (a) Supply of Thermal Over Load Relay, Type MN - 5, current range 66 - 110A, (Make L & T Cat No.. SS94137OOKO or equivalent as per list of approved make) | 2.00 | Each | 3540.00 | 3422.00 | 6844.00 | 2157.75 | 4315.50 | 3310.00 | 6620.00 | 3900.00 | 7800.00 | 4315.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
17.02 | (b) Suppply of Thermal over load relay of Type MN2, current range 14-23. (Make L & T Cat No. SS94144OODO or equivalent as per list of approved make) | 2.00 | Each | 1192.00 | 1152.00 | 2304.00 | 726.75 | 1453.50 | 1115.00 | 2230.00 | 1200.00 | 2400.00 | 1453.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
18.00 | Supply of HT scotch 23 insulating tape of size 38 mm x 9.1 m x 0.76 mm. (Make: 3M) | 70.00 | Each | 755.00 | 680.00 | 47600.00 | 350.00 | 24500.00 | 680.00 | 47600.00 | 900.00 | 63000.00 | 24500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | Supply of following size MCB sheet steel enclosure, powder painted with Din Rail (But without MCB) complete as requierd.
19.01 | (a) 2 Pole MCB sheet steel enclosure. (Make havells Cat No DHDESDP or equivalent as per list of approved make ) | 10.00 | Each | 256.00 | 226.00 | 2260.00 | 148.50 | 1485.00 | 230.00 | 2300.00 | 250.00 | 2500.00 | 1485.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.02 | (b) 4 Pole MCB sheet steel enclosure. (Make havells Cat No DHDESFP or equivalent as per list of approved make ) | 10.00 | Each | 312.00 | 267.00 | 2670.00 | 180.50 | 1805.00 | 275.00 | 2750.00 | 290.00 | 2900.00 | 1805.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Supply of following, MCB distribution board, Horizontal type 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted etc (But without MCB/RCCB/Isolator)
20.01 | (a) 6 way Double door SPN (Make Havells Cat No DHDQSHODRW06 or equivalent as per list of approved make) | 2.00 | Each | 1338.00 | 838.00 | 1676.00 | 775.50 | 1551.00 | 850.00 | 1700.00 | 1600.00 | 3200.00 | 1551.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.02 | (b) 8 Way, Double door SPN (Make Havells Cat No DHDPSHODRW08 or equivalent as per list of approved make) | 2.00 | Each | 1485.00 | 947.00 | 1894.00 | 860.50 | 1721.00 | 960.00 | 1920.00 | 1900.00 | 3800.00 | 1721.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.03 | (c) 4 way Double door TPN (Make Havells Cat No DHDNTHCDRW04 or equivalent as per list of approved make) | 2.00 | Each | 2852.00 | 1460.00 | 2920.00 | 1653.50 | 3307.00 | 2080.00 | 4160.00 | 3400.00 | 6800.00 | 2920.00 | Yash Energy Pvt. Ltd
21.00 | Supply of below mentioned SDF Type FN (TPN) S-D-F suitable for BOLTED fuse-link
21.02 | (a) Supply of switch disconnector fuse of 32 Amp. FN 32 TPN suitable for bolted fuse link, 3 phase supply, 415V, 50Hz. ( Make L & T, FN 32 TPN, Cat No. SK95653 or equivalent as per list of approved make) | 1.00 | Each | 1543.00 | 1420.00 | 1420.00 | 940.50 | 940.50 | 1560.00 | 1560.00 | 1900.00 | 1900.00 | 940.50 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.03 | (b) Supply of switch disconnector fuse of 63 Amp. FN 63 TPN suitable for bolted fuse link, fuse link type A1L, 3 phase supply, 415V, 50Hz. ( Make L & T, FN 63 TPN, Cat No. SK95651 or equivalent as per list of approved make) | 1.00 | Each | 2156.00 | 1985.00 | 1985.00 | 1314.00 | 1314.00 | 2180.00 | 2180.00 | 2500.00 | 2500.00 | 1314.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Supply of Autoranging Digital Multimeter suitable for measurement of Resistance, Frequency, Capacitance, Voltage, Current etc. as required. (Make: MECO, Model: 801 AUTO or equivalent as per list of approved make) | 1.00 | Each | 1717.00 | 2237.00 | 2237.00 | 2250.00 | 2250.00 | 2325.00 | 2325.00 | 2000.00 | 2000.00 | 2000.00 | electromach sales agencies
23.00 | Supply of submersible pump controller fully automatic Star-Delta starter suitable for 3 phase supply, 415V, 50Hz. ( Make L & T, Cat No. SS94364 or equivalent as per list of approved make) | 1.00 | Each | 11638.00 | 11967.00 | 11967.00 | 7885.00 | 7885.00 | 11790.00 | 11790.00 | 12000.00 | 12000.00 | 7885.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | Supply of submersible pump suitable for 3 phase supply, 415V, 50Hz.20HP, 15 kW (Make: Kirloskar, Model: KS6F-2013 SF, Code D12762006353 or equivalent as per list of approved make) | 1.00 | Each | 61828.00 | 53251.00 | 53251.00 | 85000.00 | 85000.00 | 80500.00 | 80500.00 | 65000.00 | 65000.00 | 53251.00 | Yash Energy Pvt. Ltd
25.00 | Supply of 1200 mm sweep ceiling fan ISI marked confirming to IS - 394/1979 specification and BEE 5 star rating suitable to operate on 230V ±, 10% single phase, AC supply along with all accessories except regulator. (Make: Orient, Model: Orient Hector BLDC or equivalent as per list of approved make) | 15.00 | Each | 2901.00 | 2345.00 | 35175.00 | 2150.00 | 32250.00 | 2630.00 | 39450.00 | 2500.00 | 37500.00 | 32250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.00 | Supply of following size lamp holder.
26.01 | (a) Batten holder | 100.00 | Each | 32.00 | 28.00 | 2800.00 | 20.40 | 2040.00 | 30.00 | 3000.00 | 50.00 | 5000.00 | 2040.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.02 | (b) Angle holder | 100.00 | Each | 30.00 | 28.00 | 2800.00 | 20.40 | 2040.00 | 30.00 | 3000.00 | 60.00 | 6000.00 | 2040.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.00 | Supplying 100W, Delux fan regulator rotary step suitable for operation on 230 V, 50Hz, Single Phase, AC supply etc. as required.Make :- Anchor Code white 14502 or equivalent as per list of approved make) | 15.00 | Each | 218.00 | 191.00 | 2865.00 | 156.60 | 2349.00 | 215.00 | 3225.00 | 250.00 | 3750.00 | 2349.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.00 | Supplying of straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
28.01 | (a) 3½ X 70-120 sq. mm (Make :- 3M or equivalent as per list of approved make) | 2.00 | Each | 3985.00 | 1472.00 | 2944.00 | 850.00 | 1700.00 | 1475.00 | 2950.00 | 2000.00 | 4000.00 | 1700.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.02 | (b) 3½ X 150-185 sq. mm (Make :- 3M or equivalent as per list of approved make) | 2.00 | Each | 3985.00 | 1699.00 | 3398.00 | 1295.00 | 2590.00 | 1985.00 | 3970.00 | 2500.00 | 5000.00 | 2590.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.03 | (c) 3½ X 240-300 sq. mm (Make :- 3M or equivalent as per list of approved make) | 3.00 | Each | 6087.00 | 2492.00 | 7476.00 | 1837.00 | 5511.00 | 2740.00 | 8220.00 | 2500.00 | 7500.00 | 5511.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
29.00 | Supply of 12 Volt 18 AH SMF batteries suitable for UPS. (Make: Exide Type EP18-12.) | 6.00 | Each | 2500.00 | 2096.00 | 12576.00 | 2250.00 | 13500.00 | 1980.00 | 11880.00 | 2500.00 | 15000.00 | 11880.00 | Bafna Electric Corp
30.00 | Supply of 200 Watt, 6.6 Amp., single ended, bi-pin Halogen lamp, suitable for elevated type Runway Edge lights / Approach lights / Threshold light fittings. OSRAM make Cat No. 64386 200W G6.35 or Philips make Cat No. 6373. | 300.00 | Each | 370.00 | 374.00 | 112200.00 | 550.00 | 165000.00 | 375.00 | 112500.00 | 475.00 | 142500.00 | 112200.00 | Yash Energy Pvt. Ltd
31.00 | Supply of Bi-pin lamp holder suitable for 200 watt halogen lamp. (Make: AMA Pvt. Ltd.) | 250.00 | Each | 420.00 | 243.00 | 60750.00 | 550.00 | 137500.00 | 195.00 | 48750.00 | 300.00 | 75000.00 | 48750.00 | Bafna Electric Corp
32.00 | Supply of 180˚ Green lens filter suitable for runway fittings. | 15.00 | Each | 2172.00 | 2209.00 | 33135.00 | 2100.00 | 31500.00 | 1500.00 | 22500.00 | 1600.00 | 24000.00 | 22500.00 | Bafna Electric Corp
33.00 | Supply of 180˚ Red lens filter suitable for runway fittings. | 15.00 | Each | 2172.00 | 2209.00 | 33135.00 | 2100.00 | 31500.00 | 1500.00 | 22500.00 | 1600.00 | 24000.00 | 22500.00 | Bafna Electric Corp
34.00 | Supply of electronic driver for LED taxi light having power consumption approx 7 watt, suitable for taxiway complete confirming to latest ICAO requirement. | 25.00 | Each | 2369.00 | 1750.00 | 43750.00 | 1350.00 | 33750.00 | 1450.00 | 36250.00 | 1500.00 | 37500.00 | 33750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
35.00 | Supply of following rating series type Isolating Transformers, encapsulated in polyester resin finally mould in neoprene type rubber with primary & secondary connections and ready to install as per the site requirement.
35.01 | (a) 200W, 20/6.6 Amps 5 KV grade | 40.00 | Each | 4443.00 | 4248.00 | 169920.00 | 4970.00 | 198800.00 | 4600.00 | 184000.00 | 3900.00 | 156000.00 | 156000.00 | electromach sales agencies
35.02 | (b) 200W, 6.6/6.6 A | 40.00 | Each | 4443.00 | 4248.00 | 169920.00 | 4970.00 | 198800.00 | 4600.00 | 184000.00 | 3900.00 | 156000.00 | 156000.00 | electromach sales agencies
35.03 | (c) 45W, 20/6.6A | 5.00 | Each | 3455.00 | 3115.00 | 15575.00 | 2740.00 | 13700.00 | 3100.00 | 15500.00 | 3300.00 | 16500.00 | 13700.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
35.04 | (d) 45W, 6.6/6.6 A | 10.00 | Each | 3455.00 | 3115.00 | 31150.00 | 2840.00 | 28400.00 | 3100.00 | 31000.00 | 3300.00 | 33000.00 | 28400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
36.00 | Supply of medium intensity elevated type omni directional AMA LED Taxiway Edge Light Fitting with 1 W LED complete with all accessories including blue lens for LED and CI base plate etc. | 5.00 | Each | 4443.00 | 4362.00 | 21810.00 | 4500.00 | 22500.00 | 5575.00 | 27875.00 | 5500.00 | 27500.00 | 21810.00 | Yash Energy Pvt. Ltd
37.00 | Supply of essna connector kit suitable for field attachment with 5 KV grade of following size PVC insulated PVC sheathed single core copper conductor cable conforming to the relevant IS specification
37.01 | (a) 6 sq. mm | 15.00 | Each | 568.00 | 509.00 | 7635.00 | 350.00 | 5250.00 | 350.00 | 5250.00 | 400.00 | 6000.00 | 5250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Bafna Electric Corp
37.02 | (b) 16 sq.mm | 15.00 | Each | 568.00 | 509.00 | 7635.00 | 350.00 | 5250.00 | 350.00 | 5250.00 | 400.00 | 6000.00 | 5250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Bafna Electric Corp
38.00 | Supply of three phase, 4 W kWh, 240V, 5-30 A, Energy meter. (Make: L&T, Cat No. WR301BC4D20) | 5.00 | Each | 2893.00 | 2664.00 | 13320.00 | 1959.00 | 9795.00 | 2930.00 | 14650.00 | 3000.00 | 15000.00 | 9795.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 1379780.25 |  | 1457492.95 |  | 1424907.00 |  | 1458278.50
Lowest Amount Quoted BY: Yash Energy Pvt. Ltd(1379780.25)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installations at M.B.B. Airport, Agartala 2021-22. SH Supply of Electrical and GLF spares. Tender ID: 2022_AAI_100583_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Yash Energy Pvt. Ltd | 1379780.25 | L1
| 2 | Bafna Electric Corp | 1424907.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 1457492.95 | L3
| 4 | electromach sales agencies | 1458278.50 | L4