## BoQ1
Government eProcurement System Created By: SOLOMON PRABHAKAR Created Date/Time: 22-Feb-2022 04:32 PM Tender Title: ARMO Works 2021 22 SH Testing and calibration and servicing of protective Relays Metering Devices and HT LT Breakers and panels at Hubballi Airport Tender ID: 2022_AAI_100841_1
Tender Inviting Authority: Asst. General Manager (Engg. – Electrical), AAI, Hubballi Airport.
Name of Work:ARMO Works-2021-22. SH:-Testing,calibration and servicing of protective Relays, Metering Devices and HT/LT Breakers and panels at Hubballi Airport.
Contract No: 2021_AAI_100841_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NS ENGINEERS(GSTN-24ALLPD3750G1ZD) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH : 1 - Testing, calibration of protective Relays and Metering Devices. Testing, callibration and recommissioning of analog relay set ( 3 over current + 1 Earth fault) of models eg REJ601( ABB), etc. with secondary injection kit etc. complete as required. | 4.00 | EACH |  | 1200.00 | 4800.00 | 3000.00 | 12000.00 | 4800.00 | NS ENGINEERS
2.00 | Testing, callibration and recommissioning of analog relay set master trip, , PQ8nCH2J(ABB) etc. with secondary injection kit etc. complete as required. | 4.00 | EACH |  | 900.00 | 3600.00 | 2000.00 | 8000.00 | 3600.00 | NS ENGINEERS
3.00 | Testing, callibration and recommissioning of analog relay set bush trip /alarm trip of models eg CU2D2J (ABB) etc. with secondary injection kit etc. complete as required. | 2.00 | EACH |  | 900.00 | 1800.00 | 4000.00 | 8000.00 | 1800.00 | NS ENGINEERS
4.00 | Testing, callibration and recommissioning of digital AMF controller etc. complete as required. | 2.00 | EACH |  | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 4000.00 | NS ENGINEERS
5.00 | Testing, callibration and recommissioning of Restricted /standby Earth fault relay with phantom loading etc. complete as required. | 6.00 | EACH |  | 1000.00 | 6000.00 | 3000.00 | 18000.00 | 6000.00 | NS ENGINEERS
6.00 | Testing, callibration and recommissioning of digital power analyzer / Multi function meter with secondary injection kit etc. complete as required. | 46.00 | EACH |  | 1000.00 | 46000.00 | 1300.00 | 59800.00 | 46000.00 | NS ENGINEERS
7.00 | Testing, callibration and recommissioning of analogue / digital ammeter( Conzerv / AE / Meco/ secure/Rishabh/ABB/Schnider EIC etc.) with phantom loading etc. complete as required. | 32.00 | EACH |  | 500.00 | 16000.00 | 500.00 | 16000.00 | 16000.00 | NS ENGINEERS, Manish Electricals
8.00 | Testing, callibration and recommissioning of analogue / digital volt meter( Conzerv / AE / Meco/ EIC/secure/Rishabh/ABB/Schnider etc.) with phantom loading etc. complete as required. | 20.00 | EACH |  | 500.00 | 10000.00 | 500.00 | 10000.00 | 10000.00 | NS ENGINEERS, Manish Electricals
9.00 | Testing, callibration and recommissioning of single core or double core current transformers for protection relays or metering ckts of HV/ MV Installations with secondary injection kit etc. complete as required. | 12.00 | EACH |  | 1200.00 | 14400.00 | 500.00 | 6000.00 | 6000.00 | Manish Electricals
10.00 | Testing, callibration and recommissioning of Transformers protection Relay of Model no :-TR7570 make Power Electronics & Control for dry type of transformer.secondary injection kit etc. complete as required. | 2.00 | EACH |  | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 4000.00 | Manish Electricals
11.00 | Testing, callibration and recommissioning of digital APFC Relay (EPCOS/L&T / syntron / PTL/ AE) etc. complete as required. | 2.00 | EACH |  | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 4000.00 | Manish Electricals
12.00 | Testing & Calibration of 5 KV Megger, Make:- Motwani. | 1.00 | EACH |  | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2000.00 | Manish Electricals
13.00 | Testing & Calibration of Multi meter cum Clamp meter, Make:-Fluke | 2.00 | EACH |  | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 2000.00 | Manish Electricals
14.00 | Testing & Calibration of Digital Earth tester Make:-Motwane,Model No:-DET-20 | 1.00 | EACH |  | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | NS ENGINEERS, Manish Electricals
15.00 | Testing & Calibration of Lux meter Make:- Amprobe,Model No LM-120 | 1.00 | EACH |  | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | NS ENGINEERS, Manish Electricals
16.00 | Testing & Calibration of Digital Sound meter Make:-Fluke | 1.00 | EACH |  | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 2000.00 | NS ENGINEERS
17.00 | Testing & Calibration of Temperature & Humidity meter Make FLUKE, Model No 971. | 1.00 | EACH |  | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 2000.00 | NS ENGINEERS
18.00 | SH:2- HT & LT Breaker/ Panel servicing & Overhauling. Servicing of 5 Panel 11 KV VCB (Make:-ABB, Model:- VD4 12.12.25) through OEM/ its Authorized Dealer by clearing, Checking, tightening, adjusting, replacing defective components, aligning, lubricating, greasing and complete health check of control wiring of HT panel etc complete as required without spare parts. (VCB Capacity-800A, I/C-2nos, O/G-2nos & B/C-01no ) | 1.00 | EACH |  | 72000.00 | 72000.00 | 30000.00 | 30000.00 | 30000.00 | Manish Electricals
19.00 | Servicing of 630 Amps -2500 Amps ABB Make MV Circuit Breaker through OEM or its authorized dealer by cleaning , checking, tightening, adjusting replacing defective components greasing oiling etc complete as required but without spare parts i/c Over load, Earth Fault, Short Circuit and Megger Testing through secondary injection kit etc complete as required. | 22.00 | EACH |  | 5000.00 | 110000.00 | 4000.00 | 88000.00 | 88000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 312500.00 |  | 290800.00
Lowest Amount Quoted BY: Manish Electricals(290800.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Works 2021 22 SH Testing and calibration and servicing of protective Relays Metering Devices and HT LT Breakers and panels at Hubballi Airport Tender ID: 2022_AAI_100841_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 290800.00 | L1
| 2 | NS ENGINEERS | 312500.00 | L2