## BoQ1
Government eProcurement System Created By: Rajesh Wani Created Date/Time: 09-Feb-2022 06:00 PM Tender Title: Testing for (Water Act / Air Act / Noise Act) for Environmental Tender ID: 2022_AAI_100921_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil) Airports Authority of India, Aurangabad Airport
Name of Work: Testing for (Water Act / Air Act / Noise Act) for Environmental Monitoring and Operational Consent 2021-22 at Aurangabad Airport
Contract No: 2022_100921_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SV ENVIRO LABS AND CONSULTANTS(GSTN-37ABTFS0415M1ZO) |  | Mitcon Consultancy and Engineering Services Ltd(GSTN-27AABCM2681H1ZG) |  | Nitya Laboratories(GSTN-06AURPD8528M1Z0) |  | EXCELL ENVIRO SERVICES(GSTN-27BAGPP4171E2ZO) |  | Sky Lab Analytical Laboratory(GSTN-27AKWPP4426B1ZX) |  | ABC TECHNO LABS INDIA PRIVATE LIMITED(GSTN-33AAGCA1121P1ZW) |  | Papilon Enviro Engineers(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | STP (Sewage treatment plant) sample analysis for parameters - Biochemical Oxygen Demand (BOD 27°C, 3 days), Chemical Oxygen Demand (COD), PH, Total Suspended Soilds (TSS), Oil & Grease, Total Dissolved Solids (TDS), Chlorides, Sulphates for STP inlet -raw water & outlet - treated water etc. complete as per the direction of Engineer-in Charge. | 12.00 | Each | 100.00 | 3000.00 | 36000.00 | 1500.00 | 18000.00 | 1600.00 | 19200.00 | 1899.00 | 22788.00 | 1530.00 | 18360.00 | 2870.00 | 34440.00 | 500.00 | 6000.00 | 6000.00 | Papilon Enviro Engineers
2.00 | Testing drinking water for parameters - Indian standards IS -10500-2002 (including pesticides & PAH), microbiological analysis etc. complete as per the direction of Engineer-in Charge. | 6.00 | Each | 100.00 | 5500.00 | 33000.00 | 7200.00 | 43200.00 | 3300.00 | 19800.00 | 9500.00 | 57000.00 | 8995.00 | 53970.00 | 9520.00 | 57120.00 | 10000.00 | 60000.00 | 19800.00 | Nitya Laboratories
3.00 | Testing drinking water for parameters - Indian standards IS -10500-2002 (excluding pesticides & PAH), Microbiological analysis etc. complete as per the direction of Engineer-in Charge. | 6.00 | Each | 10.00 | 3500.00 | 21000.00 | 6030.00 | 36180.00 | 2800.00 | 16800.00 | 6800.00 | 40800.00 | 6030.00 | 36180.00 | 6580.00 | 39480.00 | 2000.00 | 12000.00 | 12000.00 | Papilon Enviro Engineers
4.00 | Stack emision monitoring Nitrogen Dioxide (NO2), Sulphur Dioxide (SO2), Total Particulate Matter (TPM) for DG set 04 nos. capacity more than (100 KV) etc. complete as per the direction of Engineer-in Charge. | 24.00 | Each | 10.00 | 2500.00 | 60000.00 | 1200.00 | 28800.00 | 1500.00 | 36000.00 | 1499.00 | 35976.00 | 1240.00 | 29760.00 | 2285.00 | 54840.00 | 1000.00 | 24000.00 | 24000.00 | Papilon Enviro Engineers
5.00 | Ambient Air quality monitoring 24 Hourly - Ammonia (NH3), Arsenic (As), Benzene (C6H6), Benzo(a)pyrene (BaP), Carbon Monoxide (CO), Lead (Pb), Nickel (Ni), Nitrogen Dioxide (NO2), Sulphur Dioxide (SO2), Ozone (O3), Particulate Matter (PM2.5), Particulate Matter (PM10) etc. complete as per the direction of Engineer-in Charge. | 18.00 | Each | 10.00 | 5000.00 | 90000.00 | 5000.00 | 90000.00 | 3500.00 | 63000.00 | 7500.00 | 135000.00 | 7200.00 | 129600.00 | 4650.00 | 83700.00 | 4000.00 | 72000.00 | 63000.00 | Nitya Laboratories
6.00 | Noise Monitoring - 24 hours Ambient Noise Monitoring ( Day & Night) etc. complete as per the direction of Engineer-in Charge. | 8.00 | Each | 10.00 | 1000.00 | 8000.00 | 160.00 | 1280.00 | 500.00 | 4000.00 | 180.00 | 1440.00 | 140.00 | 1120.00 | 240.00 | 1920.00 | 300.00 | 2400.00 | 1120.00 | Sky Lab Analytical Laboratory
7.00 | Filling of monthly cess format and all the formats to be submitted to MPCB during the year etc. complete as per the direction of Engineer-in Charge. | 1.00 | Each | 10.00 | 20000.00 | 20000.00 | 1500.00 | 1500.00 | 10000.00 | 10000.00 | 1800.00 | 1800.00 | 1.00 | 1.00 | 12800.00 | 12800.00 | 1000.00 | 1000.00 | 1.00 | Sky Lab Analytical Laboratory
8.00 | Noise Monitoring - DG set Noise level monitoring etc. complete as per the direction of Engineer-in Charge. | 30.00 | Each | 10.00 | 500.00 | 15000.00 | 160.00 | 4800.00 | 400.00 | 12000.00 | 250.00 | 7500.00 | 100.00 | 3000.00 | 225.00 | 6750.00 | 100.00 | 3000.00 | 3000.00 | Papilon Enviro Engineers, Sky Lab Analytical Laboratory
9.00 | Filling of Environmental Statement in a prescribed format to MPCB during the year etc. complete as per the direction of Engineer-in Charge.. | 1.00 | Each | 10.00 | 10000.00 | 10000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 2900.00 | 2900.00 | 17800.00 | 17800.00 | 5000.00 | 5000.00 | 2500.00 | Mitcon Consultancy and Engineering Services Ltd
10.00 | Mobilization of testing personnel including equipments to conduct one set of samlpe collection & report submission at Airport. | 6.00 | Each | 10.00 | 5000.00 | 30000.00 | 4590.00 | 27540.00 | 15000.00 | 90000.00 | 1500.00 | 9000.00 | 4700.00 | 28200.00 | 4800.00 | 28800.00 | 1000.00 | 6000.00 | 6000.00 | Papilon Enviro Engineers
11.00 | Periodical maintenance of cleaning of STP - Proper cleaning of Aeration tank, Settling tank and Filter Feed tank of dead sludge is settled at the bottom of the tanks; need to remove sludge by pumping out and disposal of the same outside the AAI premises etc. complete as per the direction of Engineer-in Charge. | 1.00 | Each | 10.00 | 50000.00 | 50000.00 | 38000.00 | 38000.00 | 15000.00 | 15000.00 | 38000.00 | 38000.00 | 38000.00 | 38000.00 | 35850.00 | 35850.00 | 18000.00 | 18000.00 | 15000.00 | Nitya Laboratories
12.00 | Provision of new drain points if required at the bottom of settling tank, filter feed tank so that the dead sludge will not settle in these tanks etc. complete as per the direction of Engineer-in Charge. | 3.00 | Each | 10.00 | 20000.00 | 60000.00 | 9200.00 | 27600.00 | 15000.00 | 45000.00 | 3000.00 | 9000.00 | 9500.00 | 28500.00 | 55800.00 | 167400.00 | 2000.00 | 6000.00 | 6000.00 | Papilon Enviro Engineers
13.00 | Provision of new sludge circulation system with new pump of required capacity for the proper functioning of live culture etc. complete as per the direction of Engineer-in Charge. | 1.00 | Each | 10.00 | 25000.00 | 25000.00 | 16000.00 | 16000.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 12000.00 | 12000.00 | 37900.00 | 37900.00 | 5000.00 | 5000.00 | 5000.00 | Papilon Enviro Engineers
14.00 | MBBR (Moving bed biological reaction) media cleaning etc. complete as per the direction of Engineer-in Charge. | 1.00 | Each | 10.00 | 30000.00 | 30000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 154800.00 | 154800.00 | 15000.00 | 15000.00 | 5000.00 | Mitcon Consultancy and Engineering Services Ltd, Sky Lab Analytical Laboratory
15.00 | STP Commissioning - After cleaning of all tanks need to add new microbial culture to aeration tank & set up of inlet flow of STP etc. complete as per the direction of Engineer-in Charge. | 1.00 | Each | 10.00 | 50000.00 | 50000.00 | 15750.00 | 15750.00 | 15000.00 | 15000.00 | 12000.00 | 12000.00 | 15100.00 | 15100.00 | 355800.00 | 355800.00 | 24000.00 | 24000.00 | 12000.00 | EXCELL ENVIRO SERVICES
16.00 | Filling of six monthly compliance report, data sheet and monitoring report along with copy of Environment Clearance in a prescribed format to Ministry of Environment, Forests & Climate Change twice during the year etc. complete as per the direction of Engineer-in Charge.. | 2.00 | Each | 10.00 | 25000.00 | 50000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 12500.00 | 25000.00 | 5000.00 | 10000.00 | 22800.00 | 45600.00 | 60000.00 | 120000.00 | 10000.00 | Sky Lab Analytical Laboratory
| Total in Figures |  |  |  |  | 588000.00 |  | 386150.00 |  | 390800.00 |  | 416304.00 |  | 411691.00 |  | 1135000.00 |  | 379400.00
Lowest Amount Quoted BY: Papilon Enviro Engineers(379400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Testing for (Water Act / Air Act / Noise Act) for Environmental Tender ID: 2022_AAI_100921_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Papilon Enviro Engineers | 379400.00 | L1
| 2 | Mitcon Consultancy and Engineering Services Ltd | 386150.00 | L2
| 3 | Nitya Laboratories | 390800.00 | L3
| 4 | Sky Lab Analytical Laboratory | 411691.00 | L4
| 5 | EXCELL ENVIRO SERVICES | 416304.00 | L5
| 6 | SV ENVIRO LABS AND CONSULTANTS | 588000.00 | L6
| 7 | ABC TECHNO LABS INDIA PRIVATE LIMITED | 1135000.00 | L7