## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 21-Feb-2022 04:44 PM Tender Title: Provision of Split AC for NAV Aids and other locations at Civil Enclave, Jodhpur Tender ID: 2022_AAI_101279_1
Tender Inviting Authority: Asstt. General Manager (Engg.-Elect.), AAI, Civil Enclave, Jodhpur.
Name of Work: - “Provision of Split AC for NAV Aids and other locations at Civil Enclave, Jodhpur.”
Contract No: AAI/JOD/ENGG (E)/2021-22/WE-124
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | AQUATICS ENIGINEERS(GSTN-07AEMPM9860Q1ZE) |  | vinayak cooling services(GSTN-08AXJPS5197G1ZT) |  | Navyug Engineering(GSTN-08AARPG2253Q1Z4) |  | NIRMAN ELECTRIC STORE(GSTN-08AOIPS5332P1Z8) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | ANU ENGINEERING CORPORATION(GSTN-07AJDPK9181G1Z1) |  | Taral Electricals(GSTN-24ACMPR0280M1Z9)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 5 star rated energy efficient, 1.5 TR , single phase, wall mounting type split Air conditioner unit, consisting of indoor unit, out door unit, cordless remote control, refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. suitable for operation on 230 V, 50 HZ, 1-Ph AC supply capable of performing (a) Cooling (b) Dehumidifying (c) Air-circulating (d) filtering. The unit shall be auto-restart type without changing of existing settings etc. as per OEM standard and complete as required as per technical specifications Make Hitachi, (Model No:- RSB518HBEA) or equivalent. | 6.00 | Each | 0.00 | 36990.00 | 221940.00 | 35000.00 | 210000.00 | 32031.25 | 192187.50 | 35500.00 | 213000.00 | 33000.00 | 198000.00 | 33885.00 | 203310.00 | 34500.00 | 207000.00 | 34109.00 | 204654.00 | 192187.50 | vinayak cooling services
2.00 | Supply of 5 star rated energy efficient, 2 TR , single phase, wall mounting type split Air conditioner unit, consisting of indoor unit, out door unit, cordless remote control, refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. suitable for operation on 230 V, 50 HZ, 1-Ph AC supply capable of performing (a) Cooling (b) Dehumidifying (c) Air-circulating (d) filtering. The unit shall be auto-restart type without changing of existing settings etc. as per OEM standard and complete as required as per technical specifications Make Hitachi, (Model No:- RMB524HBEA) or equivalent. | 4.00 | Each | 0.00 | 43990.00 | 175960.00 | 45000.00 | 180000.00 | 38843.75 | 155375.00 | 42980.00 | 171920.00 | 41400.00 | 165600.00 | 41120.00 | 164480.00 | 47000.00 | 188000.00 | 43327.00 | 173308.00 | 155375.00 | vinayak cooling services
3.00 | Supply of 3 star rated energy efficient, 2 TR , single phase, wall mounting type split Air conditioner unit, consisting of indoor unit, out door unit, cordless remote control, refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. suitable for operation on 230 V, 50 HZ, 1-Ph AC supply capable of performing (a) Cooling (b) Dehumidifying (c) Air-circulating (d) filtering. The unit shall be auto-restart type without changing of existing settings etc. as per OEM standard and complete as required as per technical specifications Make Hitachi, (Model No:- RMI324HBEA) or equivalent. | 2.00 | Each | 0.00 | 32990.00 | 65980.00 | 32500.00 | 65000.00 | 26015.62 | 52031.24 | 32850.00 | 65700.00 | 31000.00 | 62000.00 | 31500.00 | 63000.00 | 32500.00 | 65000.00 | 31343.00 | 62686.00 | 52031.24 | vinayak cooling services
4.00 | Supply of 3 star rated energy efficient, 2 TR , single phase, wall mounting type split Air conditioner unit, consisting of indoor unit, out door unit, cordless remote control, refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. suitable for operation on 230 V, 50 HZ, 1-Ph AC supply capable of performing (a) Cooling (b) Dehumidifying (c) Air-circulating (d) filtering. The unit shall be auto-restart type without changing of existing settings etc. as per OEM standard and complete as required as per technical specifications Make Hitachi, (Model No:- RMI324HBEA) or equivalent. | 3.00 | Each | 0.00 | 41800.00 | 125400.00 | 41000.00 | 123000.00 | 32421.88 | 97265.64 | 41750.00 | 125250.00 | 39250.00 | 117750.00 | 39500.00 | 118500.00 | 39000.00 | 117000.00 | 40563.00 | 121689.00 | 97265.64 | vinayak cooling services
5.00 | Supply of 4 TR nominal capacity Cassette type Split Air conditioner with cooling function and fitted with hermetically sealed scroll compressor, operating on refrigerant R-32 / R-410 Non CFC suitable for ceiling mounted, operation on 415 V, 50 Hz three phase AC supply complete with Indoor, outdoor units, cordless remote and other accessories as per OEM standard complete as required Make Hitachi, (Model No:- RAG048HYDA3) or equivalent. | 2.00 | Each | 0.00 | 101990.00 | 203980.00 | 92000.00 | 184000.00 | 94921.88 | 189843.76 | 135000.00 | 270000.00 | 115000.00 | 230000.00 | 92180.00 | 184360.00 | 110000.00 | 220000.00 | 85786.00 | 171572.00 | 171572.00 | Taral Electricals
6.00 | Installation of 1.5 TR / 2 TR Single phase wall mounted type split Air conditioner including installation of indoor unit on wall as per manufacturer recommendations, installation of outdoor unit with providing stand dully powder coated suitable for 1.5 TR / 2 TR AC outdoor unit, connection of suction and return pipes, drain pipes, electrical connections of indoor and outdoor units, first refill of gas, testing & commissioning etc. complete as required. | 15.00 | Job | 0.00 | 1700.00 | 25500.00 | 2000.00 | 30000.00 | 1500.00 | 22500.00 | 2000.00 | 30000.00 | 1250.00 | 18750.00 | 1800.00 | 27000.00 | 2000.00 | 30000.00 | 2601.00 | 39015.00 | 18750.00 | NIRMAN ELECTRIC STORE
7.00 | Installation of 4 TR nominal capacity cassette type Split Air conditioner including hanging of indoor unit from ceiling as per manufacturer recommendations, installation of outdoor unit, connection of suction and return pipes, drain pipes, electrical connections of indoor and outdoor units, first refill of gas, testing & commissioning, including cutting of false ceiling and making support and fixing of false ceiling on supporting members etc. complete as required. | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 7000.00 | 14000.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 4025.00 | 8050.00 | 7000.00 | Anoop Refrigeration, AQUATICS ENIGINEERS, NIRMAN ELECTRIC STORE, ANU ENGINEERING CORPORATION
8.00 | Providing and fixing of copper refrigerant suction & liquid piping set for 1.5/2 TR Split AC including insulation, supports, clamps, fittings, connections, sleeves, insulation etc. in addition to standard length supplied with AC unit complete as required as per site conditions. | 100.00 | Metre | 0.00 | 600.00 | 60000.00 | 550.00 | 55000.00 | 950.00 | 95000.00 | 1400.00 | 140000.00 | 600.00 | 60000.00 | 745.00 | 74500.00 | 600.00 | 60000.00 | 731.00 | 73100.00 | 55000.00 | AQUATICS ENIGINEERS
9.00 | Providing and fixing of copper refrigerant suction & liquid piping set for 4 TR cassette AC including insulation, supports, clamps, fittings, connections, sleeves, insulation etc. in addition to standard length supplied with AC unit complete as required as per site conditions. | 30.00 | Metre | 0.00 | 790.00 | 23700.00 | 800.00 | 24000.00 | 1090.00 | 32700.00 | 2050.00 | 61500.00 | 720.00 | 21600.00 | 902.00 | 27060.00 | 700.00 | 21000.00 | 854.00 | 25620.00 | 21000.00 | ANU ENGINEERING CORPORATION
10.00 | Supply and fixing 3 C x 2.5 Sq. mm PVC insulated , PVC sheathed unarmoured multi stranded copper cable to connect indoor and outdoor units of 1.5 TR & 2 TR AC units extra after standard length of 10 ft. complete as required as per site conditions. | 100.00 | Metre | 0.00 | 122.00 | 12200.00 | 150.00 | 15000.00 | 140.00 | 14000.00 | 145.00 | 14500.00 | 100.00 | 10000.00 | 120.00 | 12000.00 | 125.00 | 12500.00 | 64.00 | 6400.00 | 6400.00 | Taral Electricals
11.00 | Supply and fixing 5 C x 2.5 Sq. mm PVC insulated, PVC sheathed unarmoured multi stranded copper cable to connect indoor and outdoor units of 4TR, 3 phase AC unit complete as required as per site conditions. | 30.00 | Metre | 0.00 | 208.00 | 6240.00 | 300.00 | 9000.00 | 165.00 | 4950.00 | 210.00 | 6300.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 250.00 | 7500.00 | 155.00 | 4650.00 | 4500.00 | VOLKS ENERGIE PVT LTD
12.00 | Supply and fixing of angle iron stand dully powder coated suitable for 4 ton cassette type AC outdoor unit complete as required. | 2.00 | Each | 0.00 | 4700.00 | 9400.00 | 2400.00 | 4800.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 350.00 | 700.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 1704.00 | 3408.00 | 700.00 | NIRMAN ELECTRIC STORE
13.00 | Providing & fixing of 25 mm medium mechanical stress, FRLS, CPVC Drain piping from indoor to nearest drain complete with fittings, supports etc. complete as required as per site conditions. | 75.00 | Metre | 0.00 | 130.00 | 9750.00 | 120.00 | 9000.00 | 160.00 | 12000.00 | 225.00 | 16875.00 | 220.00 | 16500.00 | 150.00 | 11250.00 | 150.00 | 11250.00 | 145.00 | 10875.00 | 9000.00 | AQUATICS ENIGINEERS
14.00 | Supply and fixing of following size ISI marks PVC Pannel Trunking of standard slot complet as required as per site conditions (Make : precision or equivalent).
14.10 | PVC Pannel Trunking 50mm x 50mm | 30.00 | Metre | 0.00 | 50.00 | 1500.00 | 250.00 | 7500.00 | 450.00 | 13500.00 | 500.00 | 15000.00 | 170.00 | 5100.00 | 180.00 | 5400.00 | 225.00 | 6750.00 | 175.00 | 5250.00 | 1500.00 | Anoop Refrigeration
14.20 | PVC Pannel Trunking 75mm x 75mm | 30.00 | Metre | 0.00 | 75.00 | 2250.00 | 300.00 | 9000.00 | 600.00 | 18000.00 | 600.00 | 18000.00 | 190.00 | 5700.00 | 260.00 | 7800.00 | 250.00 | 7500.00 | 285.00 | 8550.00 | 2250.00 | Anoop Refrigeration
15.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 0.00 | 1450.00 | 2900.00 | 1200.00 | 2400.00 | 3500.00 | 7000.00 | 1050.00 | 2100.00 | 600.00 | 1200.00 | 1452.00 | 2904.00 | 1000.00 | 2000.00 | 1023.00 | 2046.00 | 1200.00 | NIRMAN ELECTRIC STORE
16.00 | Supplying and fixing 20 amps, 415 volts, TPN industrial type, socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 0.00 | 2800.00 | 5600.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 2600.00 | 5200.00 | 1100.00 | 2200.00 | 2800.00 | 5600.00 | 2000.00 | 4000.00 | 1943.00 | 3886.00 | 2200.00 | NIRMAN ELECTRIC STORE
17.00 | Dismantling of existing 1.5TR / 2TR single phase, wall mounted type split ACs including indoor and outdoor units, stand, stablizer, refrigerant pipe etc. complete as required as per site conditions and shifting the material from site to AAI store. | 13.00 | Each | 0.00 | 1000.00 | 13000.00 | 700.00 | 9100.00 | 1600.00 | 20800.00 | 900.00 | 11700.00 | 500.00 | 6500.00 | 600.00 | 7800.00 | 300.00 | 3900.00 | 575.00 | 7475.00 | 3900.00 | ANU ENGINEERING CORPORATION
| Total in Figures |  |  |  |  | 972300.00 |  | 948800.00 |  | 950153.14 |  | 1184045.00 |  | 936100.00 |  | 932464.00 |  | 973400.00 |  | 932234.00
Lowest Amount Quoted BY: Taral Electricals(932234.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Split AC for NAV Aids and other locations at Civil Enclave, Jodhpur Tender ID: 2022_AAI_101279_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Taral Electricals | 932234.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 932464.00 | L2
| 3 | NIRMAN ELECTRIC STORE | 936100.00 | L3
| 4 | AQUATICS ENIGINEERS | 948800.00 | L4
| 5 | vinayak cooling services | 950153.14 | L5
| 6 | Anoop Refrigeration | 972300.00 | L6
| 7 | ANU ENGINEERING CORPORATION | 973400.00 | L7
| 8 | Navyug Engineering | 1184045.00 | L8