## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 25-Feb-2022 03:28 PM Tender Title: Transformer Oil Filtration, Calibration of protective and metering devices, servicing of circuit breakers at Bangalore Airport Tender ID: 2022_AAI_101283_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Transformer oil fitration, Calibration of Protective and Metering Devices, Servicing of Circuit Breakers etc at Bangalore Airport
Contract No: 2022_AAI_101283_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Reltec Engineers(GSTN-29AAPPU1908G1Z9) |  | ARK POWER SOLUTIONS PRIVATE LIMITED(GSTN-NA) |  | POWER WAY SOLUTIONS(GSTN-NA) |  | GENERAL ENGINEERING AND SERVICES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:1 RELAY/METER TESTING
1.10 | Testing Calbration and recommissioning of analog relay set (2 Over current +1 earth fault) of models eg CDG-31 (Alstom),TJM10/2TJM 100 (Easun Reyrolle) Etc with secondary injection Kit etc. | 9.00 | Set |  | 600.00 | 5400.00 | 550.00 | 4950.00 | 600.00 | 5400.00 | 600.00 | 5400.00 | 4950.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
1.20 | Testing,Calbration and recommissioning of analog auxiliary Relays (for Bucholz Relay etc) with secondary injection Kit etc. | 5.00 | Nos |  | 400.00 | 2000.00 | 450.00 | 2250.00 | 750.00 | 3750.00 | 500.00 | 2500.00 | 2000.00 | Reltec Engineers
1.30 | Testing, callibration and recommissioning of digital APFC relays(L&T / syntron / PTL/ AE) etc. | 4.00 | Nos |  | 600.00 | 2400.00 | 450.00 | 1800.00 | 1000.00 | 4000.00 | 800.00 | 3200.00 | 1800.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
1.40 | Testing, callibration and recommissioning of digital OV / UV relay (JRV014 of JVS etc..) with phantom loading etc. | 2.00 | Nos |  | 400.00 | 800.00 | 600.00 | 1200.00 | 750.00 | 1500.00 | 800.00 | 1600.00 | 800.00 | Reltec Engineers
1.50 | Testing, callibration and recommissioning of digital Earth fault relay (ELO-3 of PYOKDUS' etc..) with phantom loading etc. | 6.00 | Nos |  | 400.00 | 2400.00 | 500.00 | 3000.00 | 750.00 | 4500.00 | 500.00 | 3000.00 | 2400.00 | Reltec Engineers
1.60 | Testing, callibration and recommissioning of analog / digital trivecto meter with secondary injection kit etc. | 4.00 | Nos |  | 600.00 | 2400.00 | 800.00 | 3200.00 | 750.00 | 3000.00 | 1000.00 | 4000.00 | 2400.00 | Reltec Engineers
1.70 | Testing, callibration and recommissioning of digital power analyzer / Multi function meter with secondary injection kit etc. | 15.00 | Nos |  | 750.00 | 11250.00 | 800.00 | 12000.00 | 750.00 | 11250.00 | 300.00 | 4500.00 | 4500.00 | GENERAL ENGINEERING AND SERVICES
1.80 | Testing, callibration and recommissioning of analogue / digital ammeter( Conzerv / AE / Meco/ EIC etc.) with phantom loading etc. | 118.00 | Nos |  | 300.00 | 35400.00 | 230.00 | 27140.00 | 375.00 | 44250.00 | 300.00 | 35400.00 | 27140.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
1.90 | Testing, callibration and recommissioning of analogue / digital volt meter( Conzerv / AE / Meco/ EIC etc.) with phantom loading etc. | 96.00 | Nos |  | 300.00 | 28800.00 | 250.00 | 24000.00 | 250.00 | 24000.00 | 300.00 | 28800.00 | 24000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED, POWER WAY SOLUTIONS
2.00 | Testing, callibration and recommissioning of single core or double core current trnasformers for protection relays or metering ckts of HV/ MV Installations with secondary injection kit etc. | 10.00 | Nos |  | 800.00 | 8000.00 | 550.00 | 5500.00 | 750.00 | 7500.00 | 1000.00 | 10000.00 | 5500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
2.10 | Testing and calibration of analogue/digital clamp meter(Make VAR Tech up to 1000 Amps etc). | 1.00 | Nos |  | 1000.00 | 1000.00 | 1400.00 | 1400.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 500.00 | GENERAL ENGINEERING AND SERVICES
2.20 | Testing and calibration of analogue/digital cable megger (Make MECO, 5000V etc.). | 1.00 | Nos |  | 1700.00 | 1700.00 | 1400.00 | 1400.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 1000.00 | GENERAL ENGINEERING AND SERVICES
2.30 | Testing and calibration of analogue/digital Earth megger (Make MECO, 5000V etc.). | 1.00 | Nos |  | 1700.00 | 1700.00 | 900.00 | 900.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 900.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.00 | SH : 2 - Transfer oil filtration
3.10 | BDV and acidity testing of transformer oil to check the existing value i.e before filtration of oil etc. | 5.00 | Nos |  | 500.00 | 2500.00 | 550.00 | 2750.00 | 750.00 | 3750.00 | 500.00 | 2500.00 | 2500.00 | GENERAL ENGINEERING AND SERVICES, Reltec Engineers
3.20 | Filtration of Insulating oil and determination of electric strength & acidity of insulating oils,after filteration ( as per IS – 6792 : 1992 ) , of 800 KVA , 11 / 0.415 KV transformers with the help of high vacuum filtering machine etc. | 1.00 | Nos |  | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 2000.00 | GENERAL ENGINEERING AND SERVICES
3.30 | Filtration and determination of electric strength & acidity of insulating oils ( as per IS – 6792 : 1992 ) of 400 KVA , 11 / 0.415 KV transformers with the help of high vacuum filtering machine etc. | 2.00 | Nos |  | 5500.00 | 11000.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 4000.00 | GENERAL ENGINEERING AND SERVICES
3.40 | Filtration and determination of electric strength & acidity of insulating oils ( as per IS – 6792 : 1992 ) of 1000 KVA , 11 / 0.415 KV transformers with the help of high vacuum filtering machine etc. | 1.00 | Nos |  | 6000.00 | 6000.00 | 5500.00 | 5500.00 | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 2000.00 | GENERAL ENGINEERING AND SERVICES
4.00 | SH : 3 - HT & LT Breaker / Panel Overhauling
4.10 | Servicing of 11 KV OCB of Different make by cleaning,tightrening,greasing oiling i/c Filtration and determination of electric strength & acidity of insulating oils ( as per IS – 6792 : 1992 ) with the help of high vacuum filtering machine etc. | 3.00 | Nos |  | 5000.00 | 15000.00 | 5500.00 | 16500.00 | 4000.00 | 12000.00 | 8500.00 | 25500.00 | 12000.00 | POWER WAY SOLUTIONS
4.20 | Servicing of 11 KV VCB of Different make by cleaning,tightrening,adjusting,replacing defective components aligning,lubricating greasing and measuring Insulation resistance etc. | 1.00 | Nos |  | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 6500.00 | 6500.00 | 3000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
4.30 | Servicing of 5 Panel 11KV VCB (Make: MEI Model:VB-5) by clearing, checking, tightening, adjusting, replacing defective components aligning, lubricating greasing etc., complete as required without spare parts at GAGAN Complex, Bangalore. | 1.00 | Nos |  | 9500.00 | 9500.00 | 3000.00 | 3000.00 | 20000.00 | 20000.00 | 6500.00 | 6500.00 | 3000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
4.40 | Servicing of 15 Amps, 30 Volts Dubas Make, Battery Charger, FCBC+DVR of HT Panel excluding spares at GAGN Power House. | 1.00 | Nos |  | 17000.00 | 17000.00 | 3500.00 | 3500.00 | 10000.00 | 10000.00 | 1500.00 | 1500.00 | 1500.00 | GENERAL ENGINEERING AND SERVICES
5.00 | SH : 4 : Testing of MV Air Circuit Breaker
5.10 | Servicing of 630 Amps -2500 Amps L & T Make MV Circuit Breaker by cleaning , checking, tightening, adjusting replacing defective components greasing oiling etc complete as required but without spare parts i/c Over load, Earth Fault, Short Circuit and Megger Testing through secondary injection kit etc. | 12.00 | Nos |  | 4500.00 | 54000.00 | 1800.00 | 21600.00 | 3000.00 | 36000.00 | 5500.00 | 66000.00 | 21600.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
6.00 | SH-5 Supply as and when required
6.10 | Supply of Transformer Oil confirming to IS 335:1993 with latest amendments for top up. | 210.00 | Ltrs |  | 145.00 | 30450.00 | 128.00 | 26880.00 | 125.00 | 26250.00 | 120.00 | 25200.00 | 25200.00 | GENERAL ENGINEERING AND SERVICES
| Total in Figures |  |  |  |  | 258700.00 |  | 185470.00 |  | 247150.00 |  | 242600.00
Lowest Amount Quoted BY: ARK POWER SOLUTIONS PRIVATE LIMITED(185470.00)

## BOQ Summary
BOQ Summary Details Tender Title: Transformer Oil Filtration, Calibration of protective and metering devices, servicing of circuit breakers at Bangalore Airport Tender ID: 2022_AAI_101283_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ARK POWER SOLUTIONS PRIVATE LIMITED | 185470.00 | L1
| 2 | GENERAL ENGINEERING AND SERVICES | 242600.00 | L2
| 3 | POWER WAY SOLUTIONS | 247150.00 | L3
| 4 | Reltec Engineers | 258700.00 | L4