## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 27-Jan-2022 06:10 PM Tender Title: Replacement of Conventional light fixtures with suitable LED luminaries at Silchar Airport. SH- Replacement of Conventional light fixtures with LED luminaires and supply of new LED luminaires at Silchar Airport. Tender ID: 2022_AAI_101362_1
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Replacement of Conventional light fixtures with suitable LED luminaries and replacement of ceiling fans with energy efficient ceiling fans at CISF barrack/office at Silchar Airport. SH: Replacement of Conventional light fixtures with LED luminaires and supply of new LED luminaires at Silchar Airport.
Tender Id: 2022_AAI_101362_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | D.D.METAL CORPORATION(GSTN-18ACGPD4624F2ZW) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I: Supply of LED Luminaires Supply of 18-20W LED BATTEN type Luminaire of 4ft long having minimum system Lumen output of 1800 lumen , epoxy powder coated white CRCA housing for efficient dissipation equipped with high efficiency long life LED module to ensure better lumen output, Milky white, polycarbonate diffuser for glare-free efficient light distribution, elegantly designed white coloured end caps to enhance the aesthetic view of the fixture, integral electronic driver (SMPS based constant current supply) with output short-circuit protection, surge protection & other safety tests as per latest IS specification suitable for fixing directly on the wall / ceiling by mounting SS clips provided with the fixture complete as required as per technical specification of the item. | 300.00 | Nos | 0.00 | 252.00 | 75600.00 | 250.00 | 75000.00 | 1020.00 | 306000.00 | 209.00 | 62700.00 | 62700.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | SH I: Supply of LED Luminaires Supply of 30-40W FLOOD LIGHT LED FIXTURE having minimum system Lumen output of 3000 lumen, epoxy powder coated pressure die-cast aluminium housing with elegantly designed heat sink for effective thermal management, excellent corrosion resistant, high ingress protection, equipped with High quality toughened glass cover fixed to housing, thermal shock proof and impact resistant fixed to the housing with SS screws, High efficiency long life LED module with SMD LED package with PC lens / anodized reflector to ensure better uniformity of light distribution, potted Electronic driver with separate control gear box, internal surge protection, lower THD, suitable for mounting on glass wall / surface and suitable to complete as required as per technical specification of the item. | 20.00 | Nos | 0.00 | 1380.00 | 27600.00 | 1600.00 | 32000.00 | 1320.00 | 26400.00 | 3630.00 | 72600.00 | 26400.00 | Awasthi Electric Works
3.00 | SH I: Supply of LED Luminaires Supply of 15-18W reccessed type LED DOWNLIGHTER Luminaires having minimum system lumen output of 1200 lumens, single piece, integral, powder coated pressure die-cast aluminimum housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230 V + 10%, 50Hz AC supply, minimum ingress protection of IP20, thermal management with heat sinks, etc as required. | 20.00 | Nos | 0.00 | 576.00 | 11520.00 | 700.00 | 14000.00 | 610.00 | 12200.00 | 880.00 | 17600.00 | 11520.00 | D.D.METAL CORPORATION
4.00 | SH I: Supply of LED Luminaires Supply of 40-45W POST TOP LED FIXTURE having pressure die cast Aluminium alloy housing for effective thermal management, excellent corrosion resistant, high ingress protection, equipped with tempered protective toughened glass cover, thermal shock proof and impact resistant fixed to the housing with SS screws, High efficiency, high powered long life LED module to ensure better uniformity of light distribution, inbuilt Electronic driver with internal surge protection, lower THD, pole mounting complete as required as per technical specification of the item. | 40.00 | Nos | 0.00 | 5040.00 | 201600.00 | 6000.00 | 240000.00 | 4350.00 | 174000.00 | 7150.00 | 286000.00 | 174000.00 | Awasthi Electric Works
5.00 | SH I: Supply of LED Luminaires Supply of reccesse mounting type LED Lumanaires of size 600x600 mm having minimum system lumen output of 3200 lumens, maximum 36 watt input power, single piece, integral, powder coated pressure die-cast aluminium housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230V+ 10%, 50Hz AC Supply, minimum ingress protection of IP20, thermal management with heat sinks complete as required as per technical specification of the item. | 170.00 | Nos | 0.00 | 1560.00 | 265200.00 | 1800.00 | 306000.00 | 1550.00 | 263500.00 | 3300.00 | 561000.00 | 263500.00 | Awasthi Electric Works
6.00 | SH I: Supply of LED Luminaires Supply of 70-80W STREET LIGHT LED Lumanaires having minimum system Lumen output of 7000 lumen or more, pressure die cast Aluminium alloy housing for effective thermal management, excellent corrosion resistant, high ingress protection, equipped with tempered protective toughened glass cover, thermal shock proof and impact resistant fixed to the housing with SS screws, High efficiency, high powered long life LED module with SMD LED package with PC lens to ensure better uniformity of light distribution, inbuilt Electronic driver with internal surge protection, lower THD, ingress protection of minimum IP66 suitable for side entry, pole mounting and suitable to install at a height of about 9 to 12 Meter from floor level complete as required as per technical specification of the item. | 100.00 | Nos | 0.00 | 3360.00 | 336000.00 | 2500.00 | 250000.00 | 1950.00 | 195000.00 | 5016.00 | 501600.00 | 195000.00 | Awasthi Electric Works
7.00 | SH I: Supply of LED Luminaires Supply of low height canopy Light Lumanaires (medium bay) having minimum system lumen output of 3000 lumens, maximum 45 watt input power, single piece, integral, powder coated pressure die-cast aluminium housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230V+ 10%, 50Hz AC Supply, minimum ingress protection of IP20, thermal management with heat sinks complete as required as per technical specification of the item. | 35.00 | Nos | 0.00 | 2525.00 | 88375.00 | 3200.00 | 112000.00 | 1575.00 | 55125.00 | 1155.00 | 40425.00 | 40425.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | SH I: Supply of LED Luminaires Supply of 9-12W energy efficient LED retrofit bulb having minimum lumun efficacy of 90 Lm/W suitable for B22 base caps complete as required. | 300.00 | Nos | 0.00 | 120.00 | 36000.00 | 120.00 | 36000.00 | 120.00 | 36000.00 | 88.00 | 26400.00 | 26400.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | SH:II - Dismantling of Old Fixtures & ITC of new LED Fixtures Dismantling of old batten type luminares from different locations ,storing the same at AAI store and installation, testing & commissioning of new LED luminaires complete as required. | 300.00 | Nos | 0.00 | 260.00 | 78000.00 | 50.00 | 15000.00 | 120.00 | 36000.00 | 100.00 | 30000.00 | 15000.00 | RVD INFRA SOLUTION PVT.LTD.
10.00 | SH:II - Dismantling of Old Fixtures & ITC of new LED Fixtures Dismantling of old flood light type luminares from different locations ,storing the same at AAI store and installation, testing & commissioning of new LED luminaires complete as required. | 20.00 | Nos | 0.00 | 900.00 | 18000.00 | 100.00 | 2000.00 | 120.00 | 2400.00 | 300.00 | 6000.00 | 2000.00 | RVD INFRA SOLUTION PVT.LTD.
11.00 | SH:II - Dismantling of Old Fixtures & ITC of new LED Fixtures Dismantling of old reccessed type DOWNLIGHTER luminares from different locations ,storing the same at AAI store and installation, testing & commissioning of new LED luminaires including necessary cutting work on ceiling complete as required. | 20.00 | Nos | 0.00 | 325.00 | 6500.00 | 100.00 | 2000.00 | 120.00 | 2400.00 | 150.00 | 3000.00 | 2000.00 | RVD INFRA SOLUTION PVT.LTD.
12.00 | SH:II - Dismantling of Old Fixtures & ITC of new LED Fixtures Dismantling of old post top luminares from different locations ,storing the same at AAI store and installation, testing & commissioning of new LED luminaires complete as required. | 30.00 | Nos | 0.00 | 195.00 | 5850.00 | 200.00 | 6000.00 | 120.00 | 3600.00 | 150.00 | 4500.00 | 3600.00 | Awasthi Electric Works
13.00 | SH:II - Dismantling of Old Fixtures & ITC of new LED Fixtures Dismantling of old recessed panel type luminares from different locations ,storing the same at AAI store and installation, testing & commissioning of new LED luminaires including necessary cutting work on ceiling complete as required. | 170.00 | Nos | 0.00 | 325.00 | 55250.00 | 100.00 | 17000.00 | 120.00 | 20400.00 | 150.00 | 25500.00 | 17000.00 | RVD INFRA SOLUTION PVT.LTD.
14.00 | SH:II - Dismantling of Old Fixtures & ITC of new LED Fixtures Dismantling of old street light luminares from different locations ,storing the same at AAI store and installation, testing & commissioning of new LED luminaires complete as required. | 100.00 | Nos | 0.00 | 650.00 | 65000.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 450.00 | 45000.00 | 12000.00 | Awasthi Electric Works
15.00 | SH:II - Dismantling of Old Fixtures & ITC of new LED Fixtures Dismantling of old bay type luminares from different locations ,storing the same at AAI store and installation, testing & commissioning of new LED luminaires complete as required. | 35.00 | Nos | 0.00 | 325.00 | 11375.00 | 100.00 | 3500.00 | 120.00 | 4200.00 | 450.00 | 15750.00 | 3500.00 | RVD INFRA SOLUTION PVT.LTD.
| Total in Figures |  |  |  |  | 1281870.00 |  | 1125500.00 |  | 1149225.00 |  | 1698075.00
Lowest Amount Quoted BY: RVD INFRA SOLUTION PVT.LTD.(1125500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Conventional light fixtures with suitable LED luminaries at Silchar Airport. SH- Replacement of Conventional light fixtures with LED luminaires and supply of new LED luminaires at Silchar Airport. Tender ID: 2022_AAI_101362_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RVD INFRA SOLUTION PVT.LTD. | 1125500.00 | L1
| 2 | Awasthi Electric Works | 1149225.00 | L2
| 3 | D.D.METAL CORPORATION | 1281870.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 1698075.00 | L4