## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 10-Feb-2022 06:00 PM Tender Title: ARMO of EM Installations at Agatti Airport SH Supply of Electrical Spares for Internal External Electrical Installations GLF Spares for Runway Taxiway Edge light fittings etc and other Miscellaneous works Tender ID: 2022_AAI_101627_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work: ARMO of E&M Installation at Agatti Airport for the year 2021-22. SH:-Supply of Electrical Spares for Internal & External Electrical Installations & GLF spares for Runway/taxiway edge light fittings etc and other Miscellaneous works.
Contract No: <2022_AAI_101627_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mohammed Shafi C.K(GSTN-31ANRPM9306P1ZC) |  | KS Security Systems Home Automation(GSTN-32BHCPA2315N1ZU)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 1.5 Sq.mm FRLS PVC insulated (unsheated) multistranded single core copper conductor flexible cable of 1100 Volts grade. (90 Mtrs./Coil) | 4.00 | coil |  | 2150.00 | 8600.00 | 2200.00 | 8800.00 | 8600.00 | Mohammed Shafi C.K
2.00 | 2.5 Sq.mm FRLS PVC insulated (unsheated) multistranded single core copper conductor flexible cable of 1100 Volts grade. (90 Mtrs./Coil) | 2.00 | coil |  | 3500.00 | 7000.00 | 3600.00 | 7200.00 | 7000.00 | Mohammed Shafi C.K
3.00 | 4 Sq.mm FRLS PVC insulated (unsheated) multistranded single core copper conductor flexible cable of 1100 Volts grade. (90 Mtrs./Coil) | 3.00 | coil |  | 5350.00 | 16050.00 | 5400.00 | 16200.00 | 16050.00 | Mohammed Shafi C.K
4.00 | SP MCB 10A, 10KA, C Curve | 20.00 | nos |  | 250.00 | 5000.00 | 300.00 | 6000.00 | 5000.00 | Mohammed Shafi C.K
5.00 | SP MCB 20A, 10KA, C Curve | 20.00 | nos |  | 250.00 | 5000.00 | 300.00 | 6000.00 | 5000.00 | Mohammed Shafi C.K
6.00 | SP MCB 25A, 10KA, C Curve | 20.00 | nos |  | 250.00 | 5000.00 | 300.00 | 6000.00 | 5000.00 | Mohammed Shafi C.K
7.00 | DP MCB 20A, 10KA, C Curve | 10.00 | nos |  | 950.00 | 9500.00 | 1000.00 | 10000.00 | 9500.00 | Mohammed Shafi C.K
8.00 | DP MCB 32A, 10KA, C Curve | 10.00 | nos |  | 950.00 | 9500.00 | 1000.00 | 10000.00 | 9500.00 | Mohammed Shafi C.K
9.00 | TP MCB 40A, 10KA 'C' Series | 7.00 | nos |  | 1500.00 | 10500.00 | 1600.00 | 11200.00 | 10500.00 | Mohammed Shafi C.K
10.00 | TP MCB 63A, 10KA 'C' Series | 5.00 | nos |  | 1600.00 | 8000.00 | 1700.00 | 8500.00 | 8000.00 | Mohammed Shafi C.K
11.00 | FP MCB 63A, 10KA 'C' Series | 5.00 | nos |  | 2550.00 | 12750.00 | 2560.00 | 12800.00 | 12750.00 | Mohammed Shafi C.K
12.00 | RCCB DP- 40 A 300mA | 2.00 | nos |  | 3500.00 | 7000.00 | 3510.00 | 7020.00 | 7000.00 | Mohammed Shafi C.K
13.00 | RCCB 4P-63A 300mA | 5.00 | nos |  | 4800.00 | 24000.00 | 4810.00 | 24050.00 | 24000.00 | Mohammed Shafi C.K
14.00 | 6A 5Pin ordinary socket Anchor | 20.00 | nos |  | 60.00 | 1200.00 | 70.00 | 1400.00 | 1200.00 | Mohammed Shafi C.K
15.00 | 6A Modular type Switch | 20.00 | nos |  | 45.00 | 900.00 | 60.00 | 1200.00 | 900.00 | Mohammed Shafi C.K
16.00 | 6A 5 pin Modular type Socket | 20.00 | nos |  | 120.00 | 2400.00 | 130.00 | 2600.00 | 2400.00 | Mohammed Shafi C.K
17.00 | 16A Modular type Socket | 20.00 | nos |  | 180.00 | 3600.00 | 200.00 | 4000.00 | 3600.00 | Mohammed Shafi C.K
18.00 | 16A Modular type Switch | 20.00 | nos |  | 100.00 | 2000.00 | 150.00 | 3000.00 | 2000.00 | Mohammed Shafi C.K
19.00 | Exhaust fan 150 mm (PVC Body) | 2.00 | nos |  | 1500.00 | 3000.00 | 1600.00 | 3200.00 | 3000.00 | Mohammed Shafi C.K
20.00 | 2.5MFd fan capacitor | 20.00 | nos |  | 172.00 | 3440.00 | 200.00 | 4000.00 | 3440.00 | Mohammed Shafi C.K
21.00 | LED Tube 20W white coolday | 100.00 | nos |  | 250.00 | 25000.00 | 300.00 | 30000.00 | 25000.00 | Mohammed Shafi C.K
22.00 | 20W LED Batten type fitting,6500K | 10.00 | nos |  | 625.00 | 6250.00 | 700.00 | 7000.00 | 6250.00 | Mohammed Shafi C.K
23.00 | 70W LED Street light fittings | 5.00 | nos |  | 5850.00 | 29250.00 | 5900.00 | 29500.00 | 29250.00 | Mohammed Shafi C.K
24.00 | 20W LED Ball Lamp B22 | 30.00 | nos |  | 335.00 | 10050.00 | 400.00 | 12000.00 | 10050.00 | Mohammed Shafi C.K
25.00 | Aluminium power cable 3.5x70 sqmm | 200.00 | mtr |  | 425.00 | 85000.00 | 500.00 | 100000.00 | 85000.00 | Mohammed Shafi C.K
26.00 | Distribution Board TPN Double Door 6way DB,Horizontal | 2.00 | nos |  | 3950.00 | 7900.00 | 4000.00 | 8000.00 | 7900.00 | Mohammed Shafi C.K
27.00 | Two pin secondary plug assembly for PAPI (2.5 mtr long) | 3.00 | nos |  | 1425.00 | 4275.00 | 1500.00 | 4500.00 | 4275.00 | Mohammed Shafi C.K
28.00 | supply of 200W , 6.6A. Bi pin Halogen lamp | 40.00 | nos |  | 520.00 | 20800.00 | 600.00 | 24000.00 | 20800.00 | Mohammed Shafi C.K
29.00 | Bi pin Lamp holder for 200W halogen lamp | 30.00 | nos |  | 480.00 | 14400.00 | 500.00 | 15000.00 | 14400.00 | Mohammed Shafi C.K
30.00 | Bidirectional elevated type high intensity AMA Runway Edge light Fitting suitable for use with 200W 6.6 halogen lamp complete with all accessories including lamp and lens and filters and CI base plate. | 5.00 | nos |  | 9500.00 | 47500.00 | 9600.00 | 48000.00 | 47500.00 | Mohammed Shafi C.K
31.00 | Medium intensity elevated type omni directional AMA ALED Taxiway Edge light Fitting with 1W LED complete with all accessories including blue lens for LED and CI base plate. | 3.00 | nos |  | 5150.00 | 15450.00 | 5200.00 | 15600.00 | 15450.00 | Mohammed Shafi C.K
32.00 | 3600 blue lens for ALED | 5.00 | nos |  | 1850.00 | 9250.00 | 2000.00 | 10000.00 | 9250.00 | Mohammed Shafi C.K
33.00 | 1800 Yellow filter for Runway fitting | 10.00 | nos |  | 2420.00 | 24200.00 | 2500.00 | 25000.00 | 24200.00 | Mohammed Shafi C.K
34.00 | 1800 clear filter for Runway fitting | 10.00 | nos |  | 2450.00 | 24500.00 | 2500.00 | 25000.00 | 24500.00 | Mohammed Shafi C.K
35.00 | 1800 green/red filter for fitting | 10.00 | nos |  | 2500.00 | 25000.00 | 2600.00 | 26000.00 | 25000.00 | Mohammed Shafi C.K
36.00 | 3600 Outer clear lens for Runway fitting | 20.00 | nos |  | 3000.00 | 60000.00 | 3010.00 | 60200.00 | 60000.00 | Mohammed Shafi C.K
37.00 | Isolation Transformer 200W 6.6/6.6A | 10.00 | nos |  | 5150.00 | 51500.00 | 5200.00 | 52000.00 | 51500.00 | Mohammed Shafi C.K
38.00 | IsolationTransformer 200W 20/6.6A | 20.00 | nos |  | 5000.00 | 100000.00 | 5010.00 | 100200.00 | 100000.00 | Mohammed Shafi C.K
39.00 | Base plate (without gasket and bolts) | 5.00 | nos |  | 730.00 | 3650.00 | 800.00 | 4000.00 | 3650.00 | Mohammed Shafi C.K
40.00 | 400A MCCB,50kA (equivalent to make GE power controls,model LM400R,In 400A) | 1.00 | nos |  | 30000.00 | 30000.00 | 30100.00 | 30100.00 | 30000.00 | Mohammed Shafi C.K
41.00 | 125A MCCB,65kA (equivalent to make GE power controls,model LM125,) | 1.00 | nos |  | 14500.00 | 14500.00 | 14550.00 | 14550.00 | 14500.00 | Mohammed Shafi C.K
42.00 | 250A MCCB,65kA (equivalent to make GE power controls,model LM250B,) | 1.00 | nos |  | 2500.00 | 2500.00 | 2510.00 | 2510.00 | 2500.00 | Mohammed Shafi C.K
43.00 | Testing/Calibration of Protection Relays by secondary injection method with suitable testing kit with Govt approved laboratory/test centre including submission of report of calibration to AAI. a) Over Current & Earth Fault Relay ( 3 Element) ,Make: Alstom, type CDG31EG | 1.00 | job |  | 4900.00 | 4900.00 | 4910.00 | 4910.00 | 4900.00 | Mohammed Shafi C.K
44.00 | For tripping relay,Make: AREVA,type VAJH13YF,SlNo 130895320605001 | 1.00 | job |  | 1420.00 | 1420.00 | 1430.00 | 1430.00 | 1420.00 | Mohammed Shafi C.K
45.00 | Over Current & Earth Fault Relay ( 3 Element) ,Make: Alstom, type CDG31EG | 1.00 | job |  | 4700.00 | 4700.00 | 4710.00 | 4710.00 | 4700.00 | Mohammed Shafi C.K
46.00 | Auxilliary relay BT,WTT,OTT,Make: AREVA,type VAA33ZG,SLNo. 13091492061004 | 1.00 | job |  | 1380.00 | 1380.00 | 1390.00 | 1390.00 | 1380.00 | Mohammed Shafi C.K
47.00 | Auxilliary relay BA,WTA,OTA,Make: AREVA,type MVAA33,SLNo. 13091492061003 | 1.00 | job |  | 1350.00 | 1350.00 | 1360.00 | 1360.00 | 1350.00 | Mohammed Shafi C.K
48.00 | For tripping relay,Make: AREVA,type VAJH13YF,SlNo 130895320605010 | 1.00 | job |  | 1400.00 | 1400.00 | 1410.00 | 1410.00 | 1400.00 | Mohammed Shafi C.K
49.00 | Over Current & Earth Fault Relay ( 3 Element) ,Make: Alstom, type CDG31EG | 1.00 | Job |  | 5000.00 | 5000.00 | 5010.00 | 5010.00 | 5000.00 | Mohammed Shafi C.K
50.00 | Auxilliary relay BT,WTT,OTT,Make: AREVA,type VAA33ZG,SLNo. 13091492061001 | 1.00 | job |  | 1350.00 | 1350.00 | 1360.00 | 1360.00 | 1350.00 | Mohammed Shafi C.K
51.00 | Auxilliary relay BA,WTA,OTA,Make: AREVA,type MVAA33,SLNo. 13091492061002 | 1.00 | job |  | 1400.00 | 1400.00 | 1410.00 | 1410.00 | 1400.00 | Mohammed Shafi C.K
52.00 | For tripping relay,Make: AREVA,type VAJH13YF,SlNo 130895320605022 | 1.00 | job |  | 1450.00 | 1450.00 | 1460.00 | 1460.00 | 1450.00 | Mohammed Shafi C.K
53.00 | Servicing of siemens Make 11KV,50HZ vacuum circuit breaker including cleaning of CTs ,PTs ,Busbar and testing(using 5KV Megger test and contact resistance test )etc as required and as per manufacturers guidelines (a)1250Amp,VCB /N8 1480 | 1.00 | Each |  | 25000.00 | 25000.00 | 25100.00 | 25100.00 | 25000.00 | Mohammed Shafi C.K
54.00 | 1250Amp,VCB /N8 1481 | 1.00 | Each |  | 25000.00 | 25000.00 | 25100.00 | 25100.00 | 25000.00 | Mohammed Shafi C.K
55.00 | 1250Amp,VCB /N8 1482 | 1.00 | Each |  | 25000.00 | 25000.00 | 25100.00 | 25100.00 | 25000.00 | Mohammed Shafi C.K
56.00 | Filteration of transformer oil at power houses of Agatti Airport with not less than two circulation of oil and testing of oil after filtration so as to achieve a break down value of not less than 60 KV for a minute as per IS:1866/IS:6792-1972 with upto date amendments i/c hiring and transporting charges for filtration equipment, test kit etc. as required. | 250.00 | litre |  | 112.00 | 28000.00 | 120.00 | 30000.00 | 28000.00 | Mohammed Shafi C.K
57.00 | Supply of Transformer Oil conforming to IS:335 to be supplied in non-returnable barrel | 100.00 | litre |  | 340.00 | 34000.00 | 350.00 | 35000.00 | 34000.00 | Mohammed Shafi C.K
| Total in Figures |  |  |  |  | 916765.00 |  | 961080.00
Lowest Amount Quoted BY: Mohammed Shafi C.K(916765.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EM Installations at Agatti Airport SH Supply of Electrical Spares for Internal External Electrical Installations GLF Spares for Runway Taxiway Edge light fittings etc and other Miscellaneous works Tender ID: 2022_AAI_101627_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mohammed Shafi C.K | 916765.00 | L1
| 2 | KS Security Systems Home Automation | 961080.00 | L2