## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 21-Feb-2022 11:13 AM Tender Title: Provision of Water Treatment Softener Plant at Kumba Pump House (near river basin within tea garden area) with One year AMC and all required water treatment materials at Kumbhirgram Tender ID: 2022_AAI_101687_2
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Provision of Water Treatment Softener Plant at Kumba Pump House (near river basin within tea garden area) with One year AMC and all required water treatment materials at Kumbhirgram.
Tender Id: 2022_AAI_101687_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | J T ENTERPRISE(GSTN-NA) |  | BLUECLEAN PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH - I : Water Treatment Plant (SITC) Supplying, Installation, Testing & Commissioning of Pressure Sand Filter comprising of as specified as under: (a) Diameter : 63” (b) Height : 86” (c) Opening : 6” Top & Bottom (d) Base : Tripod (e) Filter media: White sand, Quartz Sand, Gravels & Pebbles-3 grades. (f) Pipeline : Frontal pipe with Multi Port Valve for service, Backwash, Rinse,with Pressure guage (g) Max Operating Pressure : 10 kg/cm2. (h) Interconnecting Pipelines & Fittings. (i) Stamped on vessel NSF,ANSI standards, CE certified (j) Material of Construction: FRP Composite “STRUCTURAL” (k) Make : TATA Steel | 1.00 | No. | 0.00 | 115000.00 | 115000.00 | 229000.00 | 229000.00 | 115000.00 | J T ENTERPRISE
2.00 | SH - I : Water Treatment Plant (SITC) Supplying, Installation, Testing & Commissioning of DUAL MEDIA MICRONIC Filter comprising of as specified as under: (a) Diameter : 63” (b) Height : 86” (c) Opening : 6” Top & Bottom (d) Base : Tripod (e) Filter media:16/32 Baraka Sand, Treated Sand media (Made in Germany) Gravels & Pebbles-3 grades. (f) Pipeline : Frontal pipe with Multi Port Valve for service, Backwash, Rinse, with Pressure gauge (g) Max Operating Pressure : 10 kg/cm2 (h) Interconnecting Pipelines & Fittings. (i) Stamped on vessel NSF,ANSI standards, CE certified. (j) Material of Construction: FRP Composite “STRUCTURAL” (k) Make : TATA steel | 1.00 | No. | 0.00 | 165000.00 | 165000.00 | 239800.00 | 239800.00 | 165000.00 | J T ENTERPRISE
3.00 | SH - I : Water Treatment Plant (SITC) Supplying and Treatment with required material for Disinfection comprising of as specified as under: Tank Capacity : 50000 Litres. Dosing rate as per the tank capacity. | 12.00 | Months | 0.00 | 6833.33 | 81999.96 | 3000.00 | 36000.00 | 36000.00 | BLUECLEAN PRIVATE LIMITED
4.00 | SH - II : Water Treatment Plant (AICMC) (After 01 Year of DLP) All Inclusive Comprehensive Maintenance Contract of the Water Treatment Softener Plant including attending fault/ breakdown, rectification, ensuring serviceability/ satisfactory work in condition of the system, preventive maintenance on monthly/quarterly/half yearly/ yearly basis as per requirement, maintenance of records/documentation etc. as per scope of work ensuring serviceability round the clock including all holidays complete as required. | 12.00 | Months | 0.00 | 6000.00 | 72000.00 | 2500.00 | 30000.00 | 30000.00 | BLUECLEAN PRIVATE LIMITED
| Total in Figures |  |  |  |  | 433999.96 |  | 534800.00
Lowest Amount Quoted BY: J T ENTERPRISE(433999.96)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Water Treatment Softener Plant at Kumba Pump House (near river basin within tea garden area) with One year AMC and all required water treatment materials at Kumbhirgram Tender ID: 2022_AAI_101687_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | J T ENTERPRISE | 433999.96 | L1
| 2 | BLUECLEAN PRIVATE LIMITED | 534800.00 | L2