## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 08-Mar-2022 12:08 PM Tender Title: ARMO of Electrical and Mechanical Installations 2022-24 at Visakhapatnam Airport.SH - Operation and Maintenance of E and M installations at EDVOR, MSSR at Yarada Hills and Residential Colony and AMC of SPOL Tender ID: 2022_AAI_102403_1
Tender Inviting Authority: Jt. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: ARMO of Electrical and Mechanical Installations 2022-24 at Visakhapatnam Airport. SH : Operation and Maintenance of E & M Installations at EDVOR, MSSR at Yarada Hills and Residential Colony and AMC of SPOL.
Contract No: 2022_AAI_102403_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of E & M Installations at MSSR building and DVOR Building on Yarada Hills by carrying out preventive maintenance, attending to the complaints & maintaining records by providing qualified manpower, tools, cleaning materials etc., round the clock including sundays and holidays in three shifts as per enclosed Special conditions of contract and particular specifications and as per the instructions of the Engineer-in-Charge or his authorized representative from time to time complete as required. (Note: Rs. 1000/- extra to be paid to each employee in addition to the minimum wages towards conveyance charges being remote site). | 24.00 | Months |  | 278670.00 | 6688080.00 | 271198.00 | 6508752.00 | 6508752.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Operation and Maintenance of E & M Installations at residential colony, new CISF barracks at Karasa and marripalem by carrying out preventive maintenance, attending to the complaints by providing qualified manpower, tools, cleaning materials etc., round the clock including sundays and holidays in three shifts as per enclosed Special conditions of contract and particular specifications and as per the instructions of the Engineer-in-Charge or his authorized representative from time to time complete as required. | 24.00 | Months |  | 133260.00 | 3198240.00 | 133422.00 | 3202128.00 | 3198240.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.00 | Filtration of following make transformer oil upto the required di electric strength, testing the same for the break down voltage. Performing acidity test at site by arranging the oil filtration machine andother testing equipments at site, cleaning and drying out the brether etc including cleanbing the transformer completely and arresting the leak if any by providing gasket and tightening the bolts etc required. a) 200KVA Transformer Kirloskar make (250 litre capacity) (Location of Transformers is at Yarada Hills). | 4.00 | Job |  | 5000.00 | 20000.00 | 5500.00 | 22000.00 | 20000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
4.00 | Supply of transformer oil with test report including transportation as and when required. | 80.00 | ltr |  | 300.00 | 24000.00 | 99.00 | 7920.00 | 7920.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Supply and replacement of Silica gel crystals for transformer breather including removing the detoriated one and refilling the new crystal etc as required. | 24.00 | Kg |  | 250.00 | 6000.00 | 385.00 | 9240.00 | 6000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.00 | Transportation of HSD oil from Airport power house / petrol bunk to MSSR at yarada hills. Approx. quantity of oil to be transported upto 800 ltrs in a single trip up an down. Approx. distance from the starting point is 20 Km. (approx. 5 Km travelling is on hill). Excluding loading and unloading. | 24.00 | Job |  | 3000.00 | 72000.00 | 1650.00 | 39600.00 | 39600.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Spray painting of LT panels / feeder pillars with one coat metal primer on rusted surface and two coats approved synthetic enamel paint i/c scraping the surface, lettering etc., as required upto the satisfaction of the Engineer-in-charge as and when required. | 200.00 | sqm |  | 250.00 | 50000.00 | 99.00 | 19800.00 | 19800.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Painting of street light poles with one coat of metal primer on rusted surface and two coats of approved aluminum paint i/c dismantling, re-fixing of fittings and scraping the surface as required to the satisfaction of the Engineer-in-charge as and when required. (a) Poles of height from 3 mtrs to 9 mtrs | 20.00 | each |  | 500.00 | 10000.00 | 880.00 | 17600.00 | 10000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.00 | Re-winding of following rating sub-mersible pump motors including dismantling, cutting of burnt out wire, re-assembling, testing of motor, transportation of the submersible pump motor set to the site etc as and on when required. a) upto 5.0 HP | 2.00 | Job |  | 7500.00 | 15000.00 | 4400.00 | 8800.00 | 8800.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Lifting of following submersible pumps upto 200 feet from the existing bore well / open well along with GI / MS pipe lines, cable and reinstallation of the same after repair / rectification of the defects as and when required. (Charges for repair / rectification of the pump or motor is not included). a) upto 7.5 HP | 2.00 | Job |  | 5000.00 | 10000.00 | 6600.00 | 13200.00 | 10000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
11.00 | Re-winding of following rating monoblock pump motors including dismantling, cutting of burnt out wire, re-assembling, testing of motor, transportation of the monoblock pump motor set to the site etc as and on when required. a) upto 5.0 HP | 1.00 | Job |  | 7500.00 | 7500.00 | 4400.00 | 4400.00 | 4400.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Annual Maintenance contract of Solar Powered Obstruction lighting system at 11 different locations on hill tops around Visakhapatnam Airport by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications etc. complete as required. (Spares shall be supplied by AAI). | 24.00 | Months |  | 59999.00 | 1439976.00 | 21187.00 | 508488.00 | 508488.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Supply of 12 V Flasher cards (Tech 31 model) for existing Solar Powered Obstruction lighting system Make : Avaids Technovators Pvt. Ltd. | 10.00 | each |  | 10000.00 | 100000.00 | 21000.00 | 210000.00 | 100000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
14.00 | Supply of Battery Charger (Pro star 30) for existing Solar Powered Obstruction lighting system Make : Avaids Technovators Pvt. Ltd. | 5.00 | each |  | 10000.00 | 50000.00 | 26250.00 | 131250.00 | 50000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
15.00 | Supply of Medium intensity light Unit ( AWL Model:TASS-MI-XLL) for existing Solar Powered Obstruction lighting system Make : Avaids Technovators Pvt. Ltd. suitable for operating at 12V D.C. | 5.00 | each |  | 25000.00 | 125000.00 | 57750.00 | 288750.00 | 125000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
16.00 | Supply of 12V,300Ah battery bank (6 No. x 2V VRLA battery) for existing Solar Powered Obstruction lighting system. | 5.00 | Set |  | 20000.00 | 100000.00 | 3885.00 | 19425.00 | 19425.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | SITC of three phase class 0.5 with display of voltage ,current and frequency digital multi function meter in single line LED Display panel mounted meter in 96x96 sq.mm Flush mounted case suitable for operation on three phase, 440 V, 50HZ AC supply (equivalent to model No: PMEBTN5LEDAT-VAF & Make:HPL) | 4.00 | Nos |  | 2500.00 | 10000.00 | 2970.00 | 11880.00 | 10000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
18.00 | Rewinding & servicing of ceiling fan motors with complete overhauling and replacement of worn out bearings and transportaion to the AAI site, etc as required. | 30.00 | Nos |  | 500.00 | 15000.00 | 330.00 | 9900.00 | 9900.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Supply of Lead Acid Battery 12 V, 100 Amp-hour, heavy duty maintenance free for DG Sets as per latest specification as required. (Simlar to Model No:XP 1000 Make: Exide) | 2.00 | Nos |  | 9900.00 | 19800.00 | 8800.00 | 17600.00 | 17600.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Supply of dry Lead Acid Battery 12 V, 25 plate, 180 Amp-hour, maintenance free for DG sets as per latest specification as required. (Simlar to Model No:XP 1800 Make: Exide) | 2.00 | Nos |  | 17500.00 | 35000.00 | 16500.00 | 33000.00 | 33000.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | Delhi schedule of rates (DSR) Electrical 2018 Execution of DSR 2018 schedule items as and when required (Electrical internal/external,civil,fire,AC) for Rs. 1,00,000/- [Note : The rate may be quoted in the following manner - (i) If quoted rate is Rs. 89,286/- then the percentage will considered as 0% above / below DSR 2018. (against Rs. 1,00,000/-) (ii) If quoted rate is Rs. 80,357/- then the percentage will considered as 10% below DSR 2018. (against Rs. 1,00,000/-) (iii) If quoted rate is Rs. 98,214/- then the percentage will considered as 10% above DSR 2018. (against Rs. 1,00,000/-) 1st Year | 1.00 | LS |  | 89290.00 | 89290.00 | 75893.00 | 75893.00 | 75893.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Delhi schedule of rates (DSR) Electrical 2018 Execution of DSR 2018 schedule items as and when required (Electrical internal/external,civil,fire,AC) for Rs. 1,00,000/- [Note : The rate may be quoted in the following manner - (i) If quoted rate is Rs. 89,286/- then the percentage will considered as 0% above / below DSR 2018. (against Rs. 1,00,000/-) (ii) If quoted rate is Rs. 80,357/- then the percentage will considered as 10% below DSR 2018. (against Rs. 1,00,000/-) (iii) If quoted rate is Rs. 98,214/- then the percentage will considered as 10% above DSR 2018. (against Rs. 1,00,000/-) 2nd Year | 1.00 | LS |  | 89290.00 | 89290.00 | 75893.00 | 75893.00 | 75893.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 12174176.00 |  | 11235519.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(11235519.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations 2022-24 at Visakhapatnam Airport.SH - Operation and Maintenance of E and M installations at EDVOR, MSSR at Yarada Hills and Residential Colony and AMC of SPOL Tender ID: 2022_AAI_102403_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 11235519.00 | L1
| 2 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 12174176.00 | L2