## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 08-Mar-2022 12:05 PM Tender Title: ARMO of Electrical and Mechanical Installations 2021-22 at Visakhapatnam Airport.SH- Operation and Maintenance of E and M installations at Terminal Building and Operational area Tender ID: 2022_AAI_102406_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: ARMO of Electrical and Mechanical Installations 2021 - 22 at Visakhapatnam Airport. - SH : O and M of E and M Installations at Terminal Building & Operational area.
Contract No: 2022_AAI_102406_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | VOLTAS LIMITED(GSTN-32AAACV2809D1ZV) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of Internal and External Electrical & Mechancial installations in Integrated Terminal Building including Linear Expension of Terminal Building, Cargo Building, Technical Block, Car parking, Garden areas, Internal Roads, CISF barracks (Viman Nagar), NAVAIDS (TDVOR, Glide Path and Localiser), Administrative offices, Engg. offices, taxi way edge lighting system including CCR at Old apron and new apron by carrying out Preventive maintenance Checks, attending complaints, maintaining all records by deploying qualified manpower, tools, cleaning materials etc., in three shifts per day including Sundays and Holidays as per the enclosed special conditions of contract, Particular specifications and as per the instructions of the Engineer-in-Charge or his authorized representative from time to time complete as required. | 24.00 | Months |  | 575400.00 | 13809600.00 | 585381.00 | 14049144.00 | 555000.00 | 13320000.00 | 545604.00 | 13094496.00 | 13094496.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Rewinding & servicing of ceiling fan motors with complete overhauling and replacement of worn out bearings and transportation to the AAI site, etc as required. | 50.00 | No |  | 650.00 | 32500.00 | 272.00 | 13600.00 | 400.00 | 20000.00 | 330.00 | 16500.00 | 13600.00 | VOLTAS LIMITED
3.00 | Operation of Lifts & Escalators in Integrated Terminal building by providing trained manpower including keeping the machines in neat and tidy condition by cleaning, monitoring and co-ordinating with OEM service persons for ensuring serviceability/ satisfactory working, rescue of users in case of requirement, maintaining the records etc. in two shifts per day including Sundays & holidays etc. as per enclosed Special conditions of contract, Particular specifications, and as per the instructions of Engineer-in-Charge or his authorised representative from time to time complete as required. | 24.00 | Months |  | 139900.00 | 3357600.00 | 195372.00 | 4688928.00 | 189250.00 | 4542000.00 | 183320.00 | 4399680.00 | 3357600.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | Supply and fixing of following rating 440V MPP heavy duty box type capacitors suitable to operate on 3 phase, 50Hz AC supply (Make : EPCOS, Model No. Square cap EHDLL/440V, series B 32459 or equivalent). 50 KVAR | 24.00 | No |  | 10940.00 | 262560.00 | 3815.00 | 91560.00 | 15000.00 | 360000.00 | 10238.00 | 245712.00 | 91560.00 | VOLTAS LIMITED
5.00 | Supply and fixing of following rating 440V MPP heavy duty box type capacitors suitable to operate on 3 phase, 50Hz AC supply (Make : EPCOS, Model No. Square cap EHDLL/440V, series B 32459 or equivalent). 25 KVAR | 11.00 | No |  | 5470.00 | 60170.00 | 3815.00 | 41965.00 | 7500.00 | 82500.00 | 5119.00 | 56309.00 | 41965.00 | VOLTAS LIMITED
6.00 | Supply and fixing of following rating 440V MPP heavy duty box type capacitors suitable to operate on 3 phase, 50Hz AC supply (Make : EPCOS, Model No. Square cap EHDLL/440V, series B 32459 or equivalent). 20 KVAR | 7.00 | No |  | 4368.00 | 30576.00 | 5232.00 | 36624.00 | 6000.00 | 42000.00 | 4095.00 | 28665.00 | 28665.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Supply and fixing of following rating 440V MPP heavy duty box type capacitors suitable to operate on 3 phase, 50Hz AC supply (Make : EPCOS, Model No. Square cap EHDLL/440V, series B 32459 or equivalent). 12.5 KVAR | 3.00 | No |  | 2730.00 | 8190.00 | 3270.00 | 9810.00 | 3650.00 | 10950.00 | 2562.00 | 7686.00 | 7686.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Supply and fixing of following rating 440V MPP heavy duty box type capacitors suitable to operate on 3 phase, 50Hz AC supply (Make : EPCOS, Model No. Square cap EHDLL/440V, series B 32459 or equivalent). 10 KVAR | 6.00 | No |  | 2184.00 | 13104.00 | 2616.00 | 15696.00 | 3000.00 | 18000.00 | 2048.00 | 12288.00 | 12288.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Supply and fixing of following rating 440V MPP heavy duty box type capacitors suitable to operate on 3 phase, 50Hz AC supply (Make : EPCOS, Model No. Square cap EHDLL/440V, series B 32459 or equivalent). 5 KVAR | 4.00 | No |  | 1092.00 | 4368.00 | 1308.00 | 5232.00 | 1500.00 | 6000.00 | 1024.00 | 4096.00 | 4096.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Supply of lead Acid Battery 12V, 180 AH, heavy duty maintenance free for DG sets as per latest specification as required. Similar to ( model No. XP 1800 Make : Exide or equivalent) | 17.00 | No |  | 13750.00 | 233750.00 | 3815.00 | 64855.00 | 18500.00 | 314500.00 | 15750.00 | 267750.00 | 64855.00 | VOLTAS LIMITED
11.00 | Supply of lead Acid Battery 12V, 150 AH, heavy duty maintenance free for Invertor as per latest specification as required. Similar to (Make : Exide, model No. INVA PLUS UPS inverter battery or equivalent) | 9.00 | No |  | 11362.00 | 102258.00 | 3815.00 | 34335.00 | 15250.00 | 137250.00 | 13230.00 | 119070.00 | 34335.00 | VOLTAS LIMITED
12.00 | Supply of lead Acid Battery 12V, 88 AH, heavy duty maintenance free for DG sets as per latest specification as required. Similar to (Make : Exide, model No. XP 880 or equivalent) | 1.00 | No |  | 6142.00 | 6142.00 | 7630.00 | 7630.00 | 8800.00 | 8800.00 | 7560.00 | 7560.00 | 6142.00 | LAKSHMI ELECTRICAL ENTERPRISES
13.00 | Supply of lead Acid Battery 12V, 65 AH, heavy duty maintenance free for DG sets as per latest specification as required. Similar to ( Make : Exide, model No. EP 65-12 or equivalent) | 2.00 | No |  | 4655.00 | 9310.00 | 5886.00 | 11772.00 | 7300.00 | 14600.00 | 5145.00 | 10290.00 | 9310.00 | LAKSHMI ELECTRICAL ENTERPRISES
14.00 | Supply of lead Acid Battery 12V, 18 AH, heavy duty maintenance free for Lift ARD batteries as per latest specification as required. Similar to (Make : Exide, model No. EP18-12 or equivalent) | 36.00 | No |  | 1650.00 | 59400.00 | 2398.00 | 86328.00 | 2900.00 | 104400.00 | 2205.00 | 79380.00 | 59400.00 | LAKSHMI ELECTRICAL ENTERPRISES
15.00 | Supply of lead Acid Battery 12V, 7 AH, heavy duty maintenance free for Fire alarm panels and VCB power pack as per latest specification as required. Similar to (Make : Exide, model No. EP 7-12 or equivalent) | 23.00 | No |  | 688.00 | 15824.00 | 2997.00 | 68931.00 | 1300.00 | 29900.00 | 735.00 | 16905.00 | 15824.00 | LAKSHMI ELECTRICAL ENTERPRISES
16.00 | Supply of lead Acid Battery 12V, 4 AH, heavy duty maintenance free for Lift ARD batteries as per latest specification as required,Similar to (Make : Exide, model No. B076V7F9MP or equivalent ) | 4.00 | No |  | 550.00 | 2200.00 | 2997.00 | 11988.00 | 1200.00 | 4800.00 | 578.00 | 2312.00 | 2200.00 | LAKSHMI ELECTRICAL ENTERPRISES
17.00 | Supply of Converter suitable for NASU make Guidance Signage Boards having input current range 2.8 to 6.6Amp, Frequency -50Hz, Power factor > 0.95, Out put - 35V DC max on load, Power - 80 W max., Output current - 2.3 Amp max suitable to operate on 7.5KW 6.6Amp CCR. | 15.00 | No |  | 8500.00 | 127500.00 | 4360.00 | 65400.00 | 4250.00 | 63750.00 | 7875.00 | 118125.00 | 63750.00 | Techno Electricals
18.00 | Supply of Driver Unit for the following make LED street light fixture with overall system wattage not exceeding 120W, suitable for operate on 240V, 50Hz AC supply (Make : Philips, Type: BRP322 64LED CW 95 PC S1 PSU GR). | 15.00 | No |  | 1200.00 | 18000.00 | 2779.00 | 41685.00 | 1000.00 | 15000.00 | 1155.00 | 17325.00 | 15000.00 | Techno Electricals
19.00 | Supply of Driver Unit for the following make LED street light fixture with overall system wattage not exceeding 80W, Uin : 240 Iin : 0.25Amp Iout : 530 ma, ULED : 60-84V DC, Uout : 115V DC, ta : 0-500, TC : +750 suitable for operate on 240V, 50Hz AC supply. (Make : Philips Driver Type: 4415 370 00970). | 5.00 | No |  | 1200.00 | 6000.00 | 2561.00 | 12805.00 | 800.00 | 4000.00 | 945.00 | 4725.00 | 4000.00 | Techno Electricals
20.00 | Supply of Driver Unit for the following make LED street light fixture with overall system wattage not exceeding 120W, suitable for operate on 240V, 50Hz AC supply, suitable for operate on 240V, 50Hz AC supply. Make: Havells 90W Endura Cityliner Neo LED Street Light Model No. LHETAXU7IN6J090, | 15.00 | No |  | 1300.00 | 19500.00 | 2779.00 | 41685.00 | 900.00 | 13500.00 | 1575.00 | 23625.00 | 13500.00 | Techno Electricals
21.00 | Execution of DSR 2018 schedule items as and when required (Electrical internal / external, civil, fire, AC) [Note : The rate may be quoted in the following manner - (i) If quoted rate is Rs. 1,78,571/- (Against Rs. 2,00,000/-) then the percentage will considered as 0% above / below DSR 2018. (ii) If quoted rate is Rs. 1,60,714/- (Against Rs. 2,00,000/-) then the percentage will considered as 10% below DSR 2018. (iii) If quoted rate is Rs. 1,96,428/- (Against Rs. 2,00,000/-) then the percentage will considered as 10% above DSR 2018. (a) 1 Year | 1.00 | LS |  | 160714.00 | 160714.00 | 160714.00 | 160714.00 | 178000.00 | 178000.00 | 160714.00 | 160714.00 | 160714.00 | LAKSHMI ELECTRICAL ENTERPRISES, VOLTAS LIMITED, ABHISHEK INTEGRATIONS LIMITED
22.00 | Execution of DSR 2018 schedule items as and when required (Electrical internal / external, civil, fire, AC) for Rs. 2,00,000/- per [Note : The rate may be quoted in the following manner - (i) If quoted rate is Rs. 1,78,571/- (Against Rs. 2,00,000/-) then the percentage will considered as 0% above / below DSR 2018. (ii) If quoted rate is Rs. 1,60,714/- (Against Rs. 2,00,000/-) then the percentage will considered as 10% below DSR 2018. (iii) If quoted rate is Rs. 1,96,428/- (Against Rs. 2,00,000/-) then the percentage will considered as 10% above DSR 2018. (b) 2 Year | 1.00 | LS |  | 160714.00 | 160714.00 | 160714.00 | 160714.00 | 178000.00 | 178000.00 | 160714.00 | 160714.00 | 160714.00 | LAKSHMI ELECTRICAL ENTERPRISES, VOLTAS LIMITED, ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 18499980.00 |  | 19721401.00 |  | 19467950.00 |  | 18853927.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(18499980.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations 2021-22 at Visakhapatnam Airport.SH- Operation and Maintenance of E and M installations at Terminal Building and Operational area Tender ID: 2022_AAI_102406_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 18499980.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 18853927.00 | L2
| 3 | Techno Electricals | 19467950.00 | L3
| 4 | VOLTAS LIMITED | 19721401.00 | L4