## BoQ1
Government eProcurement System Created By: Swapan Kumar Karmakar Created Date/Time: 16-Feb-2022 03:32 PM Tender Title: Minor Capital Works at Bagdogra Airport during 2021-22. SH. - Internal Facelifting Work at Bagdogra Airport. Tender ID: 2022_AAI_102561_1
Tender Inviting Authority: AGM (E-C)
Name of Work: Minor Capital Works at Bagdogra Airport during 2021-22. SH.: - Internal Facelifting Work at Bagdogra Airport.
Contract No: 01/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | unison construction(GSTN-19AENPG8335B3ZF) |  | Chinmoyee Construction(GSTN-19AGDPR3381C1ZE) |  | Om Construction(GSTN-24AIIPP4526E2ZD)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 9.50 | cum |  | 4800.00 | 45600.00 | 3450.00 | 32775.00 | 3800.00 | 36100.00 | 6200.00 | 58900.00 | 32775.00 | unison construction
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size). | 7.60 | cum |  | 3600.00 | 27360.00 | 2800.00 | 21280.00 | 3200.00 | 24320.00 | 5300.00 | 40280.00 | 21280.00 | unison construction
3.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 1.80 | cum |  | 5200.00 | 9360.00 | 4500.00 | 8100.00 | 6000.00 | 10800.00 | 7100.00 | 12780.00 | 8100.00 | unison construction
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. | 21.60 | sqm |  | 300.00 | 6480.00 | 144.00 | 3110.40 | 100.00 | 2160.00 | 602.00 | 13003.20 | 2160.00 | Chinmoyee Construction
5.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 270.00 | kg |  | 65.00 | 17550.00 | 82.00 | 22140.00 | 62.00 | 16740.00 | 80.00 | 21600.00 | 16740.00 | Chinmoyee Construction
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 22.80 | cum |  | 4800.00 | 109440.00 | 5500.00 | 125400.00 | 5800.00 | 132240.00 | 6020.00 | 137256.00 | 109440.00 | Youngmen Traders
7.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand). | 49.12 | sqm |  | 750.00 | 36840.00 | 450.00 | 22104.00 | 800.00 | 39296.00 | 890.00 | 43716.80 | 22104.00 | unison construction
8.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes. | 1531.88 | kg |  | 88.00 | 134805.44 | 110.00 | 168506.80 | 80.00 | 122550.40 | 107.00 | 163911.16 | 122550.40 | Chinmoyee Construction
9.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm. | 76.20 | sqm |  | 1050.00 | 80010.00 | 1150.00 | 87630.00 | 1150.00 | 87630.00 | 1430.00 | 108966.00 | 80010.00 | Youngmen Traders
10.00 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 1194.62 | sqm |  | 550.00 | -657041.00 | 750.00 | -895965.00 | 900.00 | -1075158.00 | 620.00 | -740664.40 | -1075158.00 | Chinmoyee Construction
11.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm. | 9.80 | sqm |  | 1080.00 | 10584.00 | 1150.00 | 11270.00 | 1180.00 | 11564.00 | 1520.00 | 14896.00 | 10584.00 | Youngmen Traders
12.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 1307.90 | sqm |  | 2400.00 | 3138960.00 | 1750.00 | 2288825.00 | 3088.00 | 4038795.20 | 4040.00 | 5283916.00 | 2288825.00 | unison construction
13.00 | Providing and fixing plain multipurpose cement board (Hight pressure steam cured) with suitable screws for cement particle board in ceiling etc. complete (frame work to be paid seperatately). 6 mm thick Cement fiber board as per IS: 14862. | 70.00 | sqm |  | 625.00 | 43750.00 | 350.00 | 24500.00 | 600.00 | 42000.00 | 1070.00 | 74900.00 | 24500.00 | unison construction
14.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 89.54 | sqm |  | 575.00 | 51485.50 | 700.00 | 62678.00 | 700.00 | 62678.00 | 620.00 | 55514.80 | 51485.50 | Youngmen Traders
15.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand). | 94.60 | sqm |  | 225.00 | 21285.00 | 150.00 | 14190.00 | 210.00 | 19866.00 | 305.00 | 28853.00 | 14190.00 | unison construction
16.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand). | 271.10 | sqm |  | 250.00 | 67775.00 | 180.00 | 48798.00 | 220.00 | 59642.00 | 305.00 | 82685.50 | 48798.00 | unison construction
17.00 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm). | 182.85 | sqm |  | 65.00 | 11885.25 | 50.00 | 9142.50 | 70.00 | 12799.50 | 89.00 | 16273.65 | 9142.50 | unison construction
18.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 295.00 | sqm |  | 95.00 | 28025.00 | 80.00 | 23600.00 | 80.00 | 23600.00 | 98.00 | 28910.00 | 23600.00 | unison construction, Chinmoyee Construction
19.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 72.00 | sqm |  | 65.00 | 4680.00 | 80.00 | 5760.00 | 70.00 | 5040.00 | 98.00 | 7056.00 | 4680.00 | Youngmen Traders
20.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix). | 3.00 | Cum. |  | 600.00 | 1800.00 | 900.00 | 2700.00 | 500.00 | 1500.00 | 800.00 | 2400.00 | 1500.00 | Chinmoyee Construction
21.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm. | 2502.52 | sqm |  | 35.00 | 87588.20 | 15.00 | 37537.80 | 50.00 | 125126.00 | 80.00 | 200201.60 | 37537.80 | unison construction
22.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 84.58 | sqm |  | 25.00 | 2114.50 | 15.00 | 1268.70 | 20.00 | 1691.60 | 40.00 | 3383.20 | 1268.70 | unison construction
23.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Anodised aluminium (anodised transparent or dyed to required shade according to IS:1868, Minimum anodic coating of grade AC 15). | 1303.00 | kg |  | 375.00 | 488625.00 | 395.00 | 514685.00 | 470.00 | 612410.00 | 503.00 | 655409.00 | 488625.00 | Youngmen Traders
24.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Anodised aluminium (anodised transparent or dyed to required shade according to IS:1868, Minimum anodic coating of grade AC 15). | 90.72 | kg |  | 400.00 | 36288.00 | 400.00 | 36288.00 | 490.00 | 44452.80 | 602.00 | 54613.44 | 36288.00 | Youngmen Traders, unison construction
25.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. Pre-laminated particle board with decorative lamination on both sides. | 170.00 | sqm |  | 850.00 | 144500.00 | 580.00 | 98600.00 | 800.00 | 136000.00 | 908.00 | 154360.00 | 98600.00 | unison construction
26.00 | Fixing Polished Granite stone slab of 18mm thickness with cement based high strength polymer modified quick-set adhesive (SOMANY Ezy Fix SEF 444 or equivalent) mixed with appropriate admixture (SOMANY Admix adhesive or equivalent) in proportion as specified by the manufacturer instead of water in average 6mm thickness conforming to ISI Grade. | 1194.62 | sqm |  | 750.00 | 895965.00 | 700.00 | 836234.00 | 200.00 | 238924.00 | 530.00 | 633148.60 | 238924.00 | Chinmoyee Construction
27.00 | Providing & fixing in position 3mm thick Aluminum composite panels in external face, column / wall cladding and canopy ceiling of approved make comprising virgin polyethylene core sandwiched between two skins of 0.25mm thick. Fixing of surface cladding to masonry / concrete faces / steel structure as called for (straight/slope and curvilinear profile and shapes), fixed on appropriate and adequate frame work of aluminium tubular sections (aluminium frame work to be paid separately) including all accessories and all incidental work. The cladding shall be done in accordance with the drawings, fixed to sides and faces of columns/ piers, to sills and soffits of window opening, returned over coping, to RCC / structureal steel system, etc, to line and level. The joints shall be properly sealed with approved silicon sealant to make the joints wateright and weather proof includding, fixing over aluminum frame using mechaical fasteners such as Aluminum cleats and stainless steel fasteners all complete as approved by the Engineer-in-charge. The work shall be completed as per specification and directions of Engineer-in-charge. | 132.00 | sqm |  | 1600.00 | 211200.00 | 2000.00 | 264000.00 | 1700.00 | 224400.00 | 2600.00 | 343200.00 | 211200.00 | Youngmen Traders
28.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With toughened glass panes of 6 mm thickness. | 56.74 | sqm |  | 1600.00 | 90784.00 | 1650.00 | 93621.00 | 1800.00 | 102132.00 | 1700.00 | 96458.00 | 90784.00 | Youngmen Traders
29.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With toughened glass panes of 12 mm thickness. | 27.84 | sqm |  | 2500.00 | 69600.00 | 2750.00 | 76560.00 | 3100.00 | 86304.00 | 2600.00 | 72384.00 | 69600.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 5217298.89 |  | 4045339.20 |  | 5245603.50 |  | 7668311.55
Lowest Amount Quoted BY: unison construction(4045339.20)

## BOQ Summary
BOQ Summary Details Tender Title: Minor Capital Works at Bagdogra Airport during 2021-22. SH. - Internal Facelifting Work at Bagdogra Airport. Tender ID: 2022_AAI_102561_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | unison construction | 4045339.20 | L1
| 2 | Youngmen Traders | 5217298.89 | L2
| 3 | Chinmoyee Construction | 5245603.50 | L3
| 4 | Om Construction | 7668311.55 | L4