## BoQ1
Government eProcurement System Created By: Arun Kumar Created Date/Time: 21-Feb-2022 04:55 PM Tender Title: REPLACEMENT OF AC AND WATER COOLERS Tender ID: 2022_AAI_102859_1
Tender Inviting Authority: Senior Manager Engg.(E), AAI Operational Offices, RHQ, NR, Rangpuri, New Delhi.
Name of Work: Replacement of Airconditioner & Water Coolers at Indian Aviation Academy (Old NIAMAR) & Fire Training Centre (FTC), New Delhi.
Tender ID No.: 2022_AAI_102859_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Pacific Depths(GSTN-07AAEPC7210N1ZU) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | RefAir Engineering Works(GSTN-07AAAPV0726G1ZV) |  | AQUATICS ENIGINEERS(GSTN-07AEMPM9860Q1ZE) |  | HONEY COLLECTION(GSTN-07ADPPT9971M1ZA) |  | LIFE STYLE INTERIORS(GSTN-08AEWPT8384E1ZJ) |  | STAR REFRIGERATION SALES AND SERVICE(GSTN-NA) |  | COOLREFENGINEERS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 5 star rated Split type Air-conditioners of 1.5 TR capacity fitted with hermetically sealed compressors operating on refrigerant R-32/ R-410A confirming to IS:1391 (part-2)/92 (except power consumption norms) suitable for operation on 230V, 1Phase, 50 HZ AC supply as per site requirement & capable of performing following functions:- a) Cooling b) Dehumidifying c) Air Circulating d) Filtering | 34.00 | Nos. |  | 33250.00 | 1130500.00 | 33100.00 | 1125400.00 | 32627.00 | 1109318.00 | 32000.00 | 1088000.00 | 29200.00 | 992800.00 | 31000.00 | 1054000.00 | 32000.00 | 1088000.00 | 34866.00 | 1185444.00 | 992800.00 | HONEY COLLECTION
2.00 | Supply of 5 Star rated Window type Air-conditoners of 1.5 TR capacity fitted with heremetically sealed compressor operating on Refrigerant R-32/R- 410 A suitable for operation on 230V, 50Hz Single phase AC supply as required capable of performing following functions:- a) Cooling b) Dehumidifying c) Air Circulating d) Filtering | 8.00 | Nos. |  | 26250.00 | 210000.00 | 26000.00 | 208000.00 | 27965.00 | 223720.00 | 27500.00 | 220000.00 | 25000.00 | 200000.00 | 29500.00 | 236000.00 | 25000.00 | 200000.00 | 27866.00 | 222928.00 | 200000.00 | STAR REFRIGERATION SALES AND SERVICE, HONEY COLLECTION
3.00 | Supply of Tower type Air-conditoners having minimum 4.0 TR capacity fitted with compressor operating on Refrigerant R-32/R-410A suitable for floor mounitng, wall mounting confirming to IS:1391 (part-2)/92 (except power consumption norms) suitable for operation on 3 phase AC supply, 415V, 50Hz, AC supply capable of performing following functions:- a) Cooling b) Dehumidifying c) Air Circulating d) Filtering | 3.00 | Nos. |  | 87500.00 | 262500.00 | 100000.00 | 300000.00 | 92400.00 | 277200.00 | 87000.00 | 261000.00 | 140000.00 | 420000.00 | 120000.00 | 360000.00 | 82500.00 | 247500.00 | 81266.00 | 243798.00 | 243798.00 | COOLREFENGINEERS
4.00 | Installation, testing & commissioning of Window type A/C units i/c making of new wooden frame of sutiable size, fixing the same, drilling holes, supporting /fixing arrangement using suitable fastners/ hooks, plastering/POP/painting if required at site & making good the surface as per requirement of the site. | 8.00 | Job |  | 600.00 | 4800.00 | 1500.00 | 12000.00 | 765.00 | 6120.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 2000.00 | 16000.00 | 2500.00 | 20000.00 | 1000.00 | 8000.00 | 4000.00 | AQUATICS ENIGINEERS, HONEY COLLECTION
5.00 | Installation, testing & commissioning of Split type A/C units i/c fitting/ fixing/ levelling of indoor & outdoor unit at their locations, drilling holes in the wall, ceiling supporting arrangement, Nitrogen testing of entire copper piping system, charging refrigerant gas in the unit, plastering/ POP/ Painting if required at site and making good the surface as per requirement of site. | 34.00 | Job |  | 1200.00 | 40800.00 | 1000.00 | 34000.00 | 1185.00 | 40290.00 | 1500.00 | 51000.00 | 1500.00 | 51000.00 | 2500.00 | 85000.00 | 2000.00 | 68000.00 | 1500.00 | 51000.00 | 34000.00 | Industrial Traders
6.00 | nstallation, testing & commissioning of tower type A/C units i/c fitting/fixing/ levelling of indoor & outdoor unit at their locations, drilling holes in the wall, ceiling supporting arrangement, Nitrogen testing of entire copper piping system, charging refrigerant gas in the unit, plastering/ POP/ Painting if required at site & making good the surface as per requirement of site. | 3.00 | Job |  | 3500.00 | 10500.00 | 1500.00 | 4500.00 | 5930.00 | 17790.00 | 3000.00 | 9000.00 | 3500.00 | 10500.00 | 6000.00 | 18000.00 | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 4500.00 | Industrial Traders
7.00 | Supply of 6 Core x 4 sq.mm, PVC insulated sheathed copper conductor multi core industrial cable (flexible) of voltage upto 1100 volts as per IS 694:1990 update for different capacity AC units as per site condition along with fixing of the same cable on existing surface/ wall/ ceiling/pipe etc. complete as required. | 21.00 | Mtr. |  | 300.00 | 6300.00 | 250.00 | 5250.00 | 382.00 | 8022.00 | 600.00 | 12600.00 | 250.00 | 5250.00 | 260.00 | 5460.00 | 400.00 | 8400.00 | 229.00 | 4809.00 | 4809.00 | COOLREFENGINEERS
8.00 | Supply & fixing following way, horizontal type three pole & neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess complete with tinned copper busbar, neutral busbar, earth bar, din bar, interconnections, powder painted i/c earthing etc. as required. (But without MCB/RCCB/Isolator) a) 4 Way (4 + 12), Double Door | 1.00 | Nos. |  | 3250.00 | 3250.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 1050.00 | 1050.00 | 3500.00 | 3500.00 | 10000.00 | 10000.00 | 2200.00 | 2200.00 | 1050.00 | HONEY COLLECTION
9.00 | Supply & fixing 20 A, 415 V, TPN Industrial type socket outlet, with 4 pole & earth, metal enclosed plug top alongwith 20A "C" curve, TPMCB in sheet steel enclosure on surface or in recess with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 4.00 | Nos. |  | 2450.00 | 9800.00 | 1000.00 | 4000.00 | 3810.00 | 15240.00 | 1500.00 | 6000.00 | 650.00 | 2600.00 | 900.00 | 3600.00 | 2500.00 | 10000.00 | 906.00 | 3624.00 | 2600.00 | HONEY COLLECTION
10.00 | Supply and fixing of following size PVC drain pipe from the respective units, clamping on different surface like wall/floor etc. i/c sealing the joints with making of openings as per site condition. (a) 25 mm | 111.00 | Mtr. |  | 100.00 | 11100.00 | 25.00 | 2775.00 | 75.00 | 8325.00 | 120.00 | 13320.00 | 90.00 | 9990.00 | 130.00 | 14430.00 | 250.00 | 27750.00 | 135.00 | 14985.00 | 2775.00 | Industrial Traders
11.00 | Supply & fixing of suitable size Copper Refrigerant piping (Supply & return) with expanded polythene foam insulation tubing covering for tower type 04 TR A/c units. (Measurement of 1 R.Mtr. will include both supply & return Cu. Piping with insulation). | 18.00 | Mtr. |  | 950.00 | 17100.00 | 125.00 | 2250.00 | 845.00 | 15210.00 | 800.00 | 14400.00 | 700.00 | 12600.00 | 1500.00 | 27000.00 | 2000.00 | 36000.00 | 1050.00 | 18900.00 | 2250.00 | Industrial Traders
12.00 | Supply & fixing of suitable size Copper Refrigerant piping (Supply & return) with expanded polythene foam insulation tubing covering for split type 1.5 TR A/c units. (Measurement of 1 R.Mtr. will include both supply & return Cu. Piping with insulation). | 80.00 | Mtr. |  | 800.00 | 64000.00 | 600.00 | 48000.00 | 575.00 | 46000.00 | 650.00 | 52000.00 | 550.00 | 44000.00 | 1000.00 | 80000.00 | 1500.00 | 120000.00 | 1050.00 | 84000.00 | 44000.00 | HONEY COLLECTION
13.00 | Dismantling of existing all sizes Window type Airconditioner units at various location i/c masonary work and shifting of all materials to AAI Stores etc. complete as required. | 8.00 | Job |  | 200.00 | 1600.00 | 500.00 | 4000.00 | 85.00 | 680.00 | 250.00 | 2000.00 | 200.00 | 1600.00 | 200.00 | 1600.00 | 500.00 | 4000.00 | 100.00 | 800.00 | 680.00 | RefAir Engineering Works
14.00 | Dismantling of existing all sizes Split type Airconditioner units (i/c indoor & outdoor units) at various location i/c preservation of existing coolant gas in compressor, Copper Refrigerant piping (Supply & return) with expanded polythene foam insulation tubing covering, drain pipe & shifting of all materials to AAI Stores etc. complete as reqd. | 34.00 | Job |  | 200.00 | 6800.00 | 500.00 | 17000.00 | 85.00 | 2890.00 | 900.00 | 30600.00 | 400.00 | 13600.00 | 500.00 | 17000.00 | 500.00 | 17000.00 | 100.00 | 3400.00 | 2890.00 | RefAir Engineering Works
15.00 | Dismantling of all sizes Tower type Airconditioner units (i/c indoor & outdoor units) at various places i/c preservation of exisiting coolant gas in compressor, Copper Refrigerant piping (Supply & return) with expanded polythene foam insulation tubing covering, drain pipe and shifting of all materials to AAI Stores etc. complete as required. | 3.00 | Job |  | 300.00 | 900.00 | 500.00 | 1500.00 | 85.00 | 255.00 | 1000.00 | 3000.00 | 700.00 | 2100.00 | 3000.00 | 9000.00 | 500.00 | 1500.00 | 100.00 | 300.00 | 255.00 | RefAir Engineering Works
16.00 | Supply of self contained water cooler having Stainless steel body & tank, adjustable cold water thermostat with float, tap & other accessories suitable for operation on 230V ± 10%, 50 cycles single phase AC supply having following storage & cooling capacity i/c all factory fitted accessories for its proper functioning complete as required.
16.01 | 150 ltrs. Storage and 150 ltrs/hr. Cooling capacity with R-22 coolant. | 3.00 | Nos. |  | 39500.00 | 118500.00 | 43000.00 | 129000.00 | 40700.00 | 122100.00 | 110000.00 | 330000.00 | 39000.00 | 117000.00 | 37000.00 | 111000.00 | 45000.00 | 135000.00 | 39177.00 | 117531.00 | 111000.00 | LIFE STYLE INTERIORS
16.02 | 80 ltrs. Storage and 60 ltrs/hr. Cooling Capacity with R-134a coolant. | 2.00 | Nos. |  | 27145.00 | 54290.00 | 31400.00 | 62800.00 | 30500.00 | 61000.00 | 67500.00 | 135000.00 | 32000.00 | 64000.00 | 27500.00 | 55000.00 | 30000.00 | 60000.00 | 27187.00 | 54374.00 | 54290.00 | Pacific Depths
17.00 | Installation, Testing & Commissioning of water cooler of all capacity and size i/c electrical connections, water connections, plumbing work (Elbow, 'T', Valve etc. if any). | 5.00 | Job |  | 500.00 | 2500.00 | 1000.00 | 5000.00 | 765.00 | 3825.00 | 1000.00 | 5000.00 | 500.00 | 2500.00 | 1200.00 | 6000.00 | 1000.00 | 5000.00 | 500.00 | 2500.00 | 2500.00 | Pacific Depths, HONEY COLLECTION, COOLREFENGINEERS
18.00 | Dismantling of the existing old water coolers i/c its all accessories and shifting of all materials to AAI Stores complete as required. | 4.00 | Job |  | 250.00 | 1000.00 | 500.00 | 2000.00 | 85.00 | 340.00 | 500.00 | 2000.00 | 200.00 | 800.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 100.00 | 400.00 | 340.00 | RefAir Engineering Works
| Total in Figures |  |  |  |  | 1956240.00 |  | 1968975.00 |  | 1961325.00 |  | 2240920.00 |  | 1955390.00 |  | 2106590.00 |  | 2069150.00 |  | 2024993.00
Lowest Amount Quoted BY: HONEY COLLECTION(1955390.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPLACEMENT OF AC AND WATER COOLERS Tender ID: 2022_AAI_102859_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HONEY COLLECTION | 1955390.00 | L1
| 2 | Pacific Depths | 1956240.00 | L2
| 3 | RefAir Engineering Works | 1961325.00 | L3
| 4 | Industrial Traders | 1968975.00 | L4
| 5 | COOLREFENGINEERS | 2024993.00 | L5
| 6 | STAR REFRIGERATION SALES AND SERVICE | 2069150.00 | L6
| 7 | LIFE STYLE INTERIORS | 2106590.00 | L7
| 8 | AQUATICS ENIGINEERS | 2240920.00 | L8