## BoQ1
Government eProcurement System Created By: kamlesh anand Created Date/Time: 22-Feb-2022 04:33 PM Tender Title: Provision of stand by cable for terminal building and other allied works at CAT Agra Airport. Tender ID: 2022_AAI_103016_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, RHQ-NR, New Delhi
Name of Work: Provision of stand by cable for terminal building and other allied works at CAT Agra Airport.
Tender ID: 2022_AAI_103016_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3.5C x 70 sqmm aluminium XLPE insulated /PVC sheathed armoured 1.1KV grade conforming to IS:7098 (Part-1) 1988 with up to date ammendments power cable etc. as required. | 300.00 | Mtr |  | 389.00 | 116700.00 | 395.00 | 118500.00 | 116700.00 | BR Power Control and Automation Services
2.00 | Supply of 3.5C x 35 sqmm aluminium XLPE insulated /PVC sheathed armoured 1.1KV grade conforming to IS:7098 (Part-1) 1988 with up to date ammendments power cable etc. as required. | 150.00 | Mtr |  | 231.00 | 34650.00 | 221.00 | 33150.00 | 33150.00 | Manish Electricals
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size above 35 sq. mm and upto 95 sq. mm in the existing masonry duct as required | 85.00 | Mtr |  | 83.00 | 7055.00 | 35.00 | 2975.00 | 2975.00 | Manish Electricals
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size above 35 sqmm and upto 95 sqmm size in the existing RCC/ HUME/ METAL pipe as required. | 106.00 | Mtr |  | 102.00 | 10812.00 | 30.00 | 3180.00 | 3180.00 | Manish Electricals
5.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size above 35 sqmm and upto 95sqmm(clamped with 25x3mmMS flat clamp) on wall surface complete as required. | 82.00 | Mtr |  | 108.00 | 8856.00 | 125.00 | 10250.00 | 8856.00 | BR Power Control and Automation Services
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable Above 35 sq. mm and upto 95 sq.mm (clamped with 25x3mm MS flat clamp) of 1.1 KV grade on existing cable tray as required. | 40.00 | Mtr |  | 102.00 | 4080.00 | 30.00 | 1200.00 | 1200.00 | Manish Electricals
7.00 | Laying and fixing of PVC insulated and PVCsheathed / XLPE power cable upto 35 sqmm size (clamped with 25x3mm MS flat clamp) of 1.1 KV grade on existing cable tray as required. | 125.00 | Mtr |  | 95.00 | 11875.00 | 135.00 | 16875.00 | 11875.00 | BR Power Control and Automation Services
8.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C X 70 sq mm PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Set |  | 1124.00 | 4496.00 | 600.00 | 2400.00 | 2400.00 | Manish Electricals
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C X 35 sq mm PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Set |  | 900.00 | 3600.00 | 500.00 | 2000.00 | 2000.00 | Manish Electricals
10.00 | Demolishing nominal concrete 1:2:4 or richer mix cement floor/road manually or by mechanical means including disposal of material within 50 meters lead for cable laying etc complete as required. | 2.00 | cum |  | 3173.00 | 6346.00 | 1000.00 | 2000.00 | 2000.00 | Manish Electricals
11.00 | Supply and fixing in position of 80mm dia medium class GI pipe in 1:2:4 cement concrete including repairing of floor and making good the same etc complete as required. | 15.00 | Mtr |  | 2446.00 | 36690.00 | 1200.00 | 18000.00 | 18000.00 | Manish Electricals
12.00 | SITC of Type 1+2, 3P+ N, 25kA per pole Surge protection device of approved make with maximum discharge current of 100KA Conforming to EN/IEC-61643-11 and compatible for installation with existing system suitable to work on 415V, 3 phase 50Hz AC system etc complete as required. | 1.00 | No. |  | 18938.00 | 18938.00 | 28000.00 | 28000.00 | 18938.00 | BR Power Control and Automation Services
13.00 | Supply of 1HP, single phase portable fully SS body, inside and outside mechanically sealed de-watering submersible pump having 4.2 l/s or more capacity, F-class insulated oil/air cooled, IP-68 or higher degree of protection,dual ball bearing structure etc suitable for working on 230V, 50Hz A.C supply complete as required. | 2.00 | Each |  | 11860.00 | 23720.00 | 15000.00 | 30000.00 | 23720.00 | BR Power Control and Automation Services
14.00 | Supply of LED Obstruction light of approved make conforming to IP-65 or higher degree of protection and suitable for working on 230V, 50Hz AC power supply etc complete as required. | 3.00 | Each |  | 7200.00 | 21600.00 | 6000.00 | 18000.00 | 18000.00 | Manish Electricals
15.00 | Supply and fixing of Class A, 2 mm thick, electrical insulating mat conforming to IS-15652-2006 specifications, ISI marked suitable for working voltage upto 3.3 KV of approved colour from a CPRI approved manufacturer etc complete as required. | 15.00 | Sqmtr |  | 813.00 | 12195.00 | 700.00 | 10500.00 | 10500.00 | Manish Electricals
16.00 | Supplying and fixing of following way, horizontal type, three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator).
16.10 | 6 Way, (8+18), Double Door | 10.00 | Job |  | 9000.00 | 90000.00 | 6000.00 | 60000.00 | 60000.00 | Manish Electricals
16.20 | 8 Way, (8+24), Double Door | 5.00 | Job |  | 11295.00 | 56475.00 | 7000.00 | 35000.00 | 35000.00 | Manish Electricals
16.30 | 12 Way, (8+36), Double Door | 1.00 | Job |  | 14819.00 | 14819.00 | 7800.00 | 7800.00 | 7800.00 | Manish Electricals
17.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
17.10 | 6 Way SPN, Double Door | 6.00 | Job |  | 2562.00 | 15372.00 | 3000.00 | 18000.00 | 15372.00 | BR Power Control and Automation Services
17.20 | 12 Way SPN, Double Door | 7.00 | Job |  | 3050.00 | 21350.00 | 4000.00 | 28000.00 | 21350.00 | BR Power Control and Automation Services
17.30 | 16 Way SPN, Double Door | 14.00 | Job |  | 3445.00 | 48230.00 | 5400.00 | 75600.00 | 48230.00 | BR Power Control and Automation Services
18.00 | Dismantling of existing single door 4way/6way/8way/12 way SPN/TPN MCB Distribution Board including disconnetion, removal of existing MCBs/Isolators/RCCBs etc and submitting it to AAI store etc complete as required. | 43.00 | Each |  | 900.00 | 38700.00 | 20.00 | 860.00 | 860.00 | Manish Electricals
19.00 | Fixing of existing 5 A to 125 A rating MCBs/Isolators/RCCBs in the existing double door MCB DB complete with connections, testing and commissioning etc. complete as required. | 500.00 | Each |  | 190.00 | 95000.00 | 20.00 | 10000.00 | 10000.00 | Manish Electricals
20.00 | Supplying and fixing of 25mm ISI marked of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | 50.00 | Mtr |  | 450.00 | 22500.00 | 120.00 | 6000.00 | 6000.00 | Manish Electricals
21.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 5.00 | Job |  | 1657.00 | 8285.00 | 500.00 | 2500.00 | 2500.00 | Manish Electricals
22.00 | Supply of 85 Watt wide beam LED higbay light with pressure aluminium die cast housing, IP-65 or better degree of protection and other specifications as per technical specification sheet suitable for working under 230V, 50Hz AC supply etc complete as reuired. (Similar to Philips, Model: TForce HB 100-85W) | 31.00 | Each |  | 1054.00 | 32674.00 | 4800.00 | 148800.00 | 32674.00 | BR Power Control and Automation Services
23.00 | Supply of Portable rechargeable Fibre glass/ABB body, IC Controlled Handheld 10W LED dragon light with sealed maintenance free battery overcharging and deep discharging protected,fire, moisture and damp proof body including adjustable shoulder strap etc complete as required. | 2.00 | Each |  | 7500.00 | 15000.00 | 4000.00 | 8000.00 | 8000.00 | Manish Electricals
24.00 | Supply of wall mounted, weather proof 250mm X 200mm X 100mm cable junction box for 10-16 sqmm cable with IP-65 or above degree of protection with in-built terminals and gromets etc. complete as required. | 7.00 | Each |  | 725.00 | 5075.00 | 2500.00 | 17500.00 | 5075.00 | BR Power Control and Automation Services
25.00 | Repairing of junction box of street light poles including disconnection of existing LED fittings, supplying and fixing of 3mm phenolic laminated sheet , 6A Class-B Series MCB, 16A 4way terminal Block/connector, incoming and outgoing terminations with 16 sqmm aluminium lugs, along with reconnection of LED fittings and closure of junction box with 2mm thick sheet metal paint coated electrical pole junction box cover plate including moulding of sheet in desired shape and size, fixation of 22mm Dia (nominal) panel lock and provision of nut/bolts suitable for installation with existing pole junction box etc complete as required. | 55.00 | Set |  | 1079.00 | 59345.00 | 200.00 | 11000.00 | 11000.00 | Manish Electricals
26.00 | Supply and fixing of 415V, 200A sheet steel enclosed FN type TPN Switch Disconnector Fuse Unit (SDF) of approved make and confirming to IS/IEC 60947-3 including terminal shrouds on both side, phase barriers , integrated cable gland box on top and bottom for cable entry with provision of door interlock / padlock facility suitable for HRC/Cylindrical/DIN fuse link etc complete as required. Make: L&T, Model: SK90488 or equivalent. | 4.00 | Each |  | 17508.00 | 70032.00 | 9000.00 | 36000.00 | 36000.00 | Manish Electricals
27.00 | Supplying and making end termination with aluminium lugs for 3.5C X 70 sq mm PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade complete as required. | 8.00 | Set |  | 900.00 | 7200.00 | 1000.00 | 8000.00 | 7200.00 | BR Power Control and Automation Services
| Total in Figures |  |  |  |  | 921670.00 |  | 770090.00
Lowest Amount Quoted BY: Manish Electricals(770090.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of stand by cable for terminal building and other allied works at CAT Agra Airport. Tender ID: 2022_AAI_103016_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 770090.00 | L1
| 2 | BR Power Control and Automation Services | 921670.00 | L2