## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 03-Mar-2022 11:54 AM Tender Title: Annual Operation and Maintenance Contract of E and M installations in New Terminal Building at SGRDJ International Airport, Amritsar (for 02 years). Tender ID: 2022_AAI_103027_1
Tender Inviting Authority: <Jt. General Manager Engg (Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Annual Operation & Maintenance of E &M installations in New Terminal Building at SGRDJ International Airport, Amritsar (for 02 years).>
Contract No: <AAI/ASR/ENGG-ELECT/eNIT-11/2021-22>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Maintenance Contract of preventive/ breakdown maintenance, repair and operation of Electrical & Mechanical installations in New Terminal Building, preminium Car parking lights, CISF Barrack, Fire Station, ATC cum Technical Block, ASR/ MSSR, SMR and NAV AIDS Buildings, Maintenance of RCC trench, Sewerage pumps (NTB) involving operation of fresh water and sewerage pumps attending day to day complaints/ faults/ breakdowns and taking recification action, ensuring serviceablility / satisfactory working condition of the systems. Maintenance of records / documentation etc. as per the detailed specifications & terms and conditions covered under this contract on all days including Sunday and holidays. | 24.00 | Months |  | 600000.00 | 14400000.00 | 575786.00 | 13818864.00 | 525000.00 | 12600000.00 | 12600000.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | Maintenance of Ceiling Fans upto 1400 mm sweep Overhauling, Oiling and greasing of fan, bush, replacement, quarter pins, wire with 1.5 sq.mm copper wire & other minor repairs i/c pasting of the sticker clearing mentioning date of maintenance complete as required. | 20.00 | Job | 414.00 | 300.00 | 6000.00 | 200.00 | 4000.00 | 10.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Maintenance of Exhaust Fans upto 450 mm Overhauling, Oiling and greasing of exhaust fan, bush, replacement, quarter pins, wire with 1.5 sq.mm copper wire & other minor repairs i/c pasting of the sticker clearing mentioning date of maintenance complete as required. | 20.00 | Job | 23.00 | 300.00 | 6000.00 | 150.00 | 3000.00 | 10.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
4.00 | Rewinding of Ceiling fan motor upto 1400 mm sweep with suitable copper winding wire as reqd complete in all respect i/c pasting of the sticker clearing mentioning date of rewinding . (Dismantle copper wire shall be kept by the contractor need not to be returned & rewound motor will have minimum waranty period of 06 (Six) months). | 20.00 | Job | 96.00 | 500.00 | 10000.00 | 400.00 | 8000.00 | 10.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
5.00 | Rewinding of Exhaust fan motor upto 450 mm sweep, desert coolers motor with suitable copper winding wire as reqd complete in all respect i/c pasting of the sticker clearing mentioning date of rewinding . (Dismantle copper wire shall be kept by the contractor need not to be returned & rewound motor will have minimum waranty period of 06 (Six) months). | 20.00 | Job |  | 500.00 | 10000.00 | 600.00 | 12000.00 | 10.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Overhauling of desert coolers i/c replacement of wood wool, manifold pipes, oiling greasing of fan motor, pump motor, painting etc as required complete in all respect. | 20.00 | Job |  | 2000.00 | 40000.00 | 750.00 | 15000.00 | 10.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
7.00 | Lifting / lowering of followings, sumbmersible pump motor / sewerage pump motor i/c dismantling, checking, re-installation after repairs etc as required complete in all respect.
7.01 | 0.5 /1/3 HP motor of submersible/ monoblock pump motor | 4.00 | Job | 142.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 100.00 | 400.00 | 400.00 | JCC ENGINEERS PRIVATE LIMITED
7.02 | 5/7.5/ HP motor of submersible/ monoblock pump motor | 4.00 | Job | 8.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 100.00 | 400.00 | 400.00 | JCC ENGINEERS PRIVATE LIMITED
7.03 | 10/12.5 HP motor of submersible/ monoblock pump motor | 4.00 | Job | 7639.00 | 4500.00 | 18000.00 | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 8000.00 | JCC ENGINEERS PRIVATE LIMITED
8.00 | Rewinding of followings,submersible pump motor / sewerage submersible pump motor / monoblock pump motor with suitable size of copper winding, Replacement of bush, bearing, seal and other worn out spares i/c testing commissioning etc. as required complete in all respect. (Dismantle copper winding shall be property of the contractor)
8.01 | 0.5 /1/3 HP motor of submersible/ monoblock pump motor | 4.00 | Job | 7637.00 | 2000.00 | 8000.00 | 700.00 | 2800.00 | 400.00 | 1600.00 | 1600.00 | JCC ENGINEERS PRIVATE LIMITED
8.02 | 5/7.5/ HP motor of submersible/ monoblock pump motor | 4.00 | Job |  | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
8.03 | 10/12.5 HP motor of submersible/ monoblock pump motor | 4.00 | Job |  | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 8000.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Repairing / Overhauling of pumps sewerage submersible / monoblock etc. i/c replacement of worn out / defective impellers, seals and any other associated parts etc. as required complete in all respect.
9.01 | 0.5 /1/3 HP motor of submersible/ monoblock pump motor | 4.00 | Job |  | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 300.00 | 1200.00 | 1200.00 | JCC ENGINEERS PRIVATE LIMITED
9.02 | 5/7.5 HP motor of submersible/ monoblock pump motor | 4.00 | Job |  | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 1000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
9.03 | 10/12.5 HP motor of submersible/ monoblock pump motor | 4.00 | Job |  | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 2000.00 | 8000.00 | 8000.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Annual Comprehensive Maintenance of Hydro pneumatic pump system (KSB make) including the cost of spares for trouble shooting, routine maintenance, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the original equipment manufacturer (OEM) and instructions of Engineer-in-charge for maintaining the system in acceptable, functional, operational and serviceable state of the following system. Hydro pneumatic pump system model: mBVT4/VCF25B04 + 7.5 kW / IE2/00 ( 03 working + 01 standby) 01 set consisting of suction and discharge manifold, NRV, DRP, VFD, Control panel, isolating valves, Pressure Gauge, pressure Transmitter, base Frame, GWS make Pressure tank 100 ltr. | 24.00 | Months |  | 6500.00 | 156000.00 | 6000.00 | 144000.00 | 2000.00 | 48000.00 | 48000.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Annual Maintenance of Hydro pneumatic pump system (Grundfos make) excluding the cost of spares for trouble shooting, routine maintenance, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the original equipment manufacturer (OEM) and instructions of Engineer-in-charge for maintaining the system in acceptable, functional, operational and serviceable state of the following system. Hydro pneumatic pump system model: Hydro MPC-3 x CR 32-4-2 (02 working + 01 standby) Total system flow: 69 Cumtrs. / Hr. (1150 LPM) & standby of 34.5 Cu. Mtr. / Hr. (575 LPM) Head 45 Mtrs. i) Grundfos Pump – Model: CR 32-4-2 – Qty. 3 Nos. ii) Suction & discharge Manifolds. iii) Non-Return Valves – 1 No. for each pump iv) Isolating Valves – 2 Nos. for each pump v) Pressure Gauge – 1 No. vi) Pressure Transmitter – 1 No. vii) Base Frame (made of Galvanised steel) viii) Dry-run protection ix) Control panel (IP54) including MPC controller, Main switches, all required fuses, Motor protection, switching equipments, VFD – 1 No. etc. | 24.00 | Months |  | 7000.00 | 168000.00 | 15000.00 | 360000.00 | 5000.00 | 120000.00 | 120000.00 | JCC ENGINEERS PRIVATE LIMITED
12.00 | Annual Comprehensive Maintenance Contract of mono block sewerage sludge pump of Kirloskar Make as detailed below including the cost of spares for trouble shooting, routine maintenance, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the original equipment manufacturer (OEM) and instructions of Engineer-in-charge for maintaining the system in acceptable, functional, operational and serviceable state of the following system.Mono block sewerage sludge pump model: SP3L+M (01 working + 01 standby), kW/HP 3.7/5, RMP: 1420, Size : 80x80, Capacity range of LPS: 17.0-3.50 and Head range 10-18 Mtrs. | 24.00 | Months |  | 800.00 | 19200.00 | 5000.00 | 120000.00 | 1000.00 | 24000.00 | 19200.00 | CENTRE TAP ENGINEERING
13.00 | Annual Comprehensive Maintenance Contract of 07 Nos. Automatic Sliding doors of Make Doormakaba by making regular visits on monthly basis including periodic checking and examining the door operator equipment as per OEM recommendations, cleaning, lubricating, adjusting and aligning the various components, checking all electrical circuits and connection of door operator and attending complaints/ faults/ breakdowns and taking recification action, ensuring serviceablility / satisfactory working condition of the systems. Maintenance of records / documentation etc. as per the detailed specifications & terms and conditions covered under this contract complete as required at site. | 24.00 | Months |  | 24000.00 | 576000.00 | 12000.00 | 288000.00 | 1000.00 | 24000.00 | 24000.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | Annual maintenance contract of Electronic Weighing Scales for routine, preventive and breakdown maintenance including all spares except load cells as per manufacturers standards/ AAI Guidelines of the following capacities and accquary class complete as required and as per direction of Engineer-in-charge.
14.01 | Capacity 150 Kg, accuracy class-II, Make ESSAE-TERAOKA | 2.00 | Each |  | 1600.00 | 3200.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 3200.00 | CENTRE TAP ENGINEERING
14.02 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC | 1.00 | Each |  | 4800.00 | 4800.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 4800.00 | CENTRE TAP ENGINEERING
14.03 | Capacity 150 Kg, accuracy class-II, Make ESSAE-TERAOKA | 2.00 | Each |  | 1600.00 | 3200.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 3200.00 | CENTRE TAP ENGINEERING
14.04 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC | 1.00 | Each |  | 4800.00 | 4800.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 4800.00 | CENTRE TAP ENGINEERING
15.00 | Govt. Fee for stamping
15.01 | Capacity 150 Kg, accuracy class-II, Make ESSAE-TERAOKA | 2.00 | Each |  | 560.00 | 1120.00 | 1200.00 | 2400.00 | 300.00 | 600.00 | 600.00 | JCC ENGINEERS PRIVATE LIMITED
15.02 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC | 1.00 | Each |  | 800.00 | 800.00 | 1000.00 | 1000.00 | 800.00 | 800.00 | 800.00 | JCC ENGINEERS PRIVATE LIMITED, CENTRE TAP ENGINEERING
15.03 | Capacity 150 Kg, accuracy class-II, Make ESSAE-TERAOKA | 2.00 | Each |  | 560.00 | 1120.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
15.04 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC | 1.00 | Each |  | 800.00 | 800.00 | 6000.00 | 6000.00 | 1000.00 | 1000.00 | 800.00 | CENTRE TAP ENGINEERING
16.00 | Supply of Load Cells, as and when required.
16.01 | Capacity 150 Kg, accuracy class-II, Make ESSAE-TERAOKA | 1.00 | Each |  | 800.00 | 800.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 800.00 | CENTRE TAP ENGINEERING
16.02 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC | 1.00 | Each |  | 2400.00 | 2400.00 | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 2400.00 | CENTRE TAP ENGINEERING
17.00 | Replacement of broken glass door (approx 10mm thick (size 2310 x 1210)) with new glass with same specifications of sliding door of make Doormakaba in ground floor of SGRDJI Airport, Amritsar. | 10.00 | Nos. |  | 8000.00 | 80000.00 | 12000.00 | 120000.00 | 7000.00 | 70000.00 | 70000.00 | JCC ENGINEERS PRIVATE LIMITED
18.00 | Supply of Insulating Tape (RYB) 0.125mm thickness X 1.80cm Width X 8m length complete as required. | 200.00 | Rolls |  | 10.00 | 2000.00 | 12.00 | 2400.00 | 8.00 | 1600.00 | 1600.00 | JCC ENGINEERS PRIVATE LIMITED
19.00 | Supply of following type of MCBs, RCCBs & Isolators suitable for 220V, 50Hz AC supply complete as required.
19.01 | MCB 40A C Series TPN | 25.00 | Nos. |  | 1050.00 | 26250.00 | 1450.00 | 36250.00 | 800.00 | 20000.00 | 20000.00 | JCC ENGINEERS PRIVATE LIMITED
19.02 | MCB 63A C Series TPN | 25.00 | Nos. |  | 1230.00 | 30750.00 | 1550.00 | 38750.00 | 800.00 | 20000.00 | 20000.00 | JCC ENGINEERS PRIVATE LIMITED
19.03 | MCB 100A C Series FP | 15.00 | Nos. |  | 4400.00 | 66000.00 | 6000.00 | 90000.00 | 3800.00 | 57000.00 | 57000.00 | JCC ENGINEERS PRIVATE LIMITED
19.04 | MCB 125A C Series FP | 15.00 | Nos. |  | 6600.00 | 99000.00 | 6000.00 | 90000.00 | 4000.00 | 60000.00 | 60000.00 | JCC ENGINEERS PRIVATE LIMITED
19.05 | MCB 40A C Series DP | 30.00 | Nos. |  | 1580.00 | 47400.00 | 700.00 | 21000.00 | 400.00 | 12000.00 | 12000.00 | JCC ENGINEERS PRIVATE LIMITED
19.06 | MCB 63A C Series DP | 30.00 | Nos. |  | 2400.00 | 72000.00 | 750.00 | 22500.00 | 500.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
19.07 | MCB 25A C Series SP | 80.00 | Nos. |  | 110.00 | 8800.00 | 180.00 | 14400.00 | 90.00 | 7200.00 | 7200.00 | JCC ENGINEERS PRIVATE LIMITED
19.08 | MCB 32A C Series SP | 50.00 | Nos. |  | 110.00 | 5500.00 | 180.00 | 9000.00 | 90.00 | 4500.00 | 4500.00 | JCC ENGINEERS PRIVATE LIMITED
19.09 | MCB 40A C Series SP | 25.00 | Nos. |  | 360.00 | 9000.00 | 450.00 | 11250.00 | 90.00 | 2250.00 | 2250.00 | JCC ENGINEERS PRIVATE LIMITED
19.10 | DP 40A RCCB, 300mA | 15.00 | Nos. |  | 2000.00 | 30000.00 | 3500.00 | 52500.00 | 1200.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
20.00 | Supply of Capacitor/Condenser for Ceiling fan/Exhaust fan, tube light & Vapour Lamps suitable for 240 volt and 50Hz A.C. Supply complete as required.
20.01 | 2.5 MFD | 30.00 | Nos. |  | 20.00 | 600.00 | 25.00 | 750.00 | 30.00 | 900.00 | 600.00 | CENTRE TAP ENGINEERING
20.02 | 3.15 MFD | 30.00 | Nos. |  | 20.00 | 600.00 | 30.00 | 900.00 | 30.00 | 900.00 | 600.00 | CENTRE TAP ENGINEERING
20.03 | 4 MFD | 30.00 | Nos. |  | 20.00 | 600.00 | 40.00 | 1200.00 | 30.00 | 900.00 | 600.00 | CENTRE TAP ENGINEERING
20.04 | 10 MFD | 30.00 | Nos. |  | 20.00 | 600.00 | 70.00 | 2100.00 | 30.00 | 900.00 | 600.00 | CENTRE TAP ENGINEERING
20.05 | 20 MFD | 30.00 | Nos. |  | 20.00 | 600.00 | 120.00 | 3600.00 | 30.00 | 900.00 | 600.00 | CENTRE TAP ENGINEERING
20.06 | 25 MFD | 20.00 | Nos. |  | 20.00 | 400.00 | 150.00 | 3000.00 | 30.00 | 600.00 | 400.00 | CENTRE TAP ENGINEERING
20.07 | 50 MFD | 10.00 | Nos. |  | 40.00 | 400.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 400.00 | CENTRE TAP ENGINEERING
21.00 | Supply of following sizes PVC insulated & PVC round sheathed copper conductor (flexible) industrial cable, 1100V confirming to IS: 694 (01 coil = 100 meter) complete as required.
21.01 | 2 x 2.5 Sqmm | 10.00 | Coil |  | 2300.00 | 23000.00 | 7500.00 | 75000.00 | 5000.00 | 50000.00 | 23000.00 | CENTRE TAP ENGINEERING
21.02 | 3 x 2.5 Sqmm | 10.00 | Coil |  | 2800.00 | 28000.00 | 9800.00 | 98000.00 | 7500.00 | 75000.00 | 28000.00 | CENTRE TAP ENGINEERING
21.03 | 3 x 4 Sqmm | 10.00 | Coil |  | 4200.00 | 42000.00 | 14000.00 | 140000.00 | 10000.00 | 100000.00 | 42000.00 | CENTRE TAP ENGINEERING
22.00 | Supply of following sizes (Nominal Cross sectional area based on CR value as per IS) PVC insulated, Stranded, Copper conductor, FRLS, House hold wiring cable of approved make and different colour (1 coil = 90 meters).
22.01 | 1.5 Sqmm, Single core | 20.00 | Coil |  | 1500.00 | 30000.00 | 2000.00 | 40000.00 | 1200.00 | 24000.00 | 24000.00 | JCC ENGINEERS PRIVATE LIMITED
22.02 | 2.5 Sqmm, Single core | 20.00 | Coil |  | 2300.00 | 46000.00 | 2750.00 | 55000.00 | 2000.00 | 40000.00 | 40000.00 | JCC ENGINEERS PRIVATE LIMITED
22.03 | 4.0 Sqmm, Single core | 20.00 | Coil |  | 3900.00 | 78000.00 | 4400.00 | 88000.00 | 2800.00 | 56000.00 | 56000.00 | JCC ENGINEERS PRIVATE LIMITED
23.00 | Suppy of Exhaust Fan (250mm) Plastic body complete as required. | 10.00 | Nos. |  | 1000.00 | 10000.00 | 1250.00 | 12500.00 | 900.00 | 9000.00 | 9000.00 | JCC ENGINEERS PRIVATE LIMITED
24.00 | Supply of 6 A/ 16 A uni switch socket combined unit with box complete as required. | 300.00 | Nos. |  | 40.00 | 12000.00 | 200.00 | 60000.00 | 125.00 | 37500.00 | 12000.00 | CENTRE TAP ENGINEERING
25.00 | Supply of spares, if required for maintenance of Grundfos make Hydro pneumatic pump as per item no. 11.
25.01 | MECHANICAL SHAFT SEAL | 2.00 | No |  | 4000.00 | 8000.00 | 8000.00 | 16000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.02 | MOTOR BEARING | 2.00 | No |  | 4000.00 | 8000.00 | 25000.00 | 50000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.03 | MOTOR FAN | 2.00 | No |  | 1600.00 | 3200.00 | 3000.00 | 6000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.04 | KIT COUPLING | 2.00 | No |  | 6400.00 | 12800.00 | 7500.00 | 15000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.05 | PRESSURE GUAGE | 2.00 | No |  | 1200.00 | 2400.00 | 500.00 | 1000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.06 | NRV 2.5" | 1.00 | No |  | 3200.00 | 3200.00 | 2000.00 | 2000.00 | 10.00 | 10.00 | 10.00 | JCC ENGINEERS PRIVATE LIMITED
25.07 | PRESSURE TRANSMITTER | 2.00 | No |  | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.08 | CONTROL TRANSFORMER | 2.00 | No |  | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.09 | FAN | 2.00 | No |  | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.10 | CONTACTOR | 2.00 | No |  | 2400.00 | 4800.00 | 4000.00 | 8000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.11 | IO 351 | 1.00 | No |  | 20000.00 | 20000.00 | 20000.00 | 20000.00 | 10.00 | 10.00 | 10.00 | JCC ENGINEERS PRIVATE LIMITED
25.12 | CU 352 CONTROLLER | 1.00 | No |  | 24000.00 | 24000.00 | 95000.00 | 95000.00 | 10.00 | 10.00 | 10.00 | JCC ENGINEERS PRIVATE LIMITED
25.13 | KIT PLUG | 2.00 | No |  | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.14 | KIT O-RING | 2.00 | No |  | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
25.15 | REWINDING CHARGES FOR EACH MOTOR | 2.00 | No |  | 8000.00 | 16000.00 | 20000.00 | 40000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
26.00 | Supply of 36W LED luminaire suitable for recess mounting in modular false ceiling system powder coated CRCA housing with acrilic diffuser size 2 x 2 ft comprising of LED's of approved makewith constant current output driver, having luminaire efficacy of not less than 95 lm/w etc as per specifications and complete as required. (Cat no.BZRSQL 36W LED GX cool white or similar). | 30.00 | Each |  | 1140.00 | 34200.00 | 1500.00 | 45000.00 | 900.00 | 27000.00 | 27000.00 | JCC ENGINEERS PRIVATE LIMITED
27.00 | Supply of 18/20 watt, 230 volts, 50 Hz, 1200mm ready to use retrofit LED tubelight having minimum technical specification as per Technical Annexure along with integrated electronic driver complete as required at site as per AAI Approved make list. | 200.00 | Each |  | 400.00 | 80000.00 | 250.00 | 50000.00 | 150.00 | 30000.00 | 30000.00 | JCC ENGINEERS PRIVATE LIMITED
28.00 | Supply of 10 HP Stainless steel Submersible pump motor set suitable for 415V, 50 Hz power supply having following specifications. HP-10, No of Stages-8 , Outlet size - 65 mm, Head range- 39 mtr to 94 mtr. Discharge- 0-516 LPM. ( Make: KSB, Model BPD 242/8 A or approved equivalent.) | 1.00 | Each |  | 7000.00 | 7000.00 | 48000.00 | 48000.00 | 36095.00 | 36095.00 | 7000.00 | CENTRE TAP ENGINEERING
29.00 | Supply of fully automatic Star/Delta type induction motor starter suitable for 10 hp to 12.5 hp submersible pumpset along with all accessories .( Make L&T or equivalent.) | 2.00 | Each |  | 2500.00 | 5000.00 | 6500.00 | 13000.00 | 4500.00 | 9000.00 | 5000.00 | CENTRE TAP ENGINEERING
30.00 | Supply of XLPE insulated & PVC sheathed Aluminium conductor aurmoured Cable of grade 1.1 KV confirming to IS:7098(part-1)/ IS:1554(part-1) with up to date amendments of following sizes as per AAI approved make list:
30.01 | 4x10 SQMM | 200.00 | Mtr |  | 600.00 | 120000.00 | 125.00 | 25000.00 | 10.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
30.02 | 4x25 SQMM | 200.00 | Mtr |  | 250.00 | 50000.00 | 170.00 | 34000.00 | 10.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
30.03 | 3.5x50 SQMM | 150.00 | Mtr |  | 200.00 | 30000.00 | 240.00 | 36000.00 | 10.00 | 1500.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
30.04 | 3.5x70 SQMM | 150.00 | Mtr |  | 230.00 | 34500.00 | 390.00 | 58500.00 | 10.00 | 1500.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
31.00 | Complete item of CPWD schedule of rates electrical 2018 (Rates shall be quoted in multiples eg. 0.99 or 1.01 % below/above. (Including Labour Cess & excluding GST @ 12%). | 412080.00 | Rs. |  | 1.00 | 412080.00 | .80 | 329664.00 | .50 | 206040.00 | 206040.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 17192920.00 |  | 16977328.00 |  | 13905555.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(13905555.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract of E and M installations in New Terminal Building at SGRDJ International Airport, Amritsar (for 02 years). Tender ID: 2022_AAI_103027_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED | 13905555.00 | L1
| 2 | Manish Electricals | 16977328.00 | L2
| 3 | CENTRE TAP ENGINEERING | 17192920.00 | L3