## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 04-Mar-2022 04:38 PM Tender Title: Annual repair, maintenance and operation of Conventional/Addressable Fire Alarm System with Auto Dialer facility and Fire Fighting system at SGRDJI Airport, Amritsar (for 02 years). Tender ID: 2022_AAI_103081_1
Tender Inviting Authority: <Jt. General Manager Engg (Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Annual repair, maintenance and operation of Conventional/Addressable Fire Alarm System with Auto Dialer facility and Fire Fighting system at SGRDJI Airport, Amritsar(for 02 years).>
Contract No: <AAI/ASR/ENGG-ELECT/eNIT-12/2021-22>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance Contract of Fire Alarm & Detection System at New Terminal Building, ATC-cum- Tech. Block, New Power House, Cargo Complex, AAI/BCAS Offie Complex, ASR/MSSR & SMR Building, DVOR, Localizer, Glide Path, NDB comprising of control panels, repeater panels, Manual Call Points, Detectors, Hootes, Mimic Panel, PA System, GSM/Landline based Autodialer, Batteries complete circuit & loop wiring etc. i/c all other associated accessories for satisfactory operation & making the system serviceable, periodically cleaning & testing all the associated accessories confirming to OEM specification and Special Terms and conditions attending the breakdown/ faults, preventive maintenance, ensuring serviceablility / satisfactory working condition of the system, maintenance of records / documentation etc. as per the detailed specifications, terms and conditions covered under this contract on all days including Sundays and holidays complete as required. | 24.00 | Months |  | 200000.00 | 4800000.00 | 163500.00 | 3924000.00 | 3924000.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | Operation and maintenance of Fire hydrant and sprinkler System on around the clock basis with the help of manpower as specified for New Terminal Building , ATC cum Technical Block, AAI/BCAS Office Complex, Air Cargo Complex ; comprising of different capacity of Electric pump motor sets, Diesel Engine Pump sets, De-watering pumps, Butterfly/sluice Valves, pipe line, Fire Hydrants, Sprinklers etc. as per good engineering practice complete in all respect as required and as per specification. | 24.00 | Months | 414.00 | 230000.00 | 5520000.00 | 210000.00 | 5040000.00 | 5040000.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Replacement of B Check Kit for the following capacity Diesel Engine i/c replacement of multi grade oil as required.
3.01 | 118 Kw, Model - 6SL9088T (Kirloskar make) | 4.00 | Job | 142.00 | 7000.00 | 28000.00 | 10000.00 | 40000.00 | 28000.00 | CENTRE TAP ENGINEERING
3.02 | Capacity 44.1 KW/ 60 HP , Model - 4R1040 NA (Kirloskar Make) | 4.00 | Job | 8.00 | 7000.00 | 28000.00 | 6000.00 | 24000.00 | 24000.00 | JCC ENGINEERS PRIVATE LIMITED
3.03 | 68 kw, Model - 6R1080 (Kirloskar Make) | 4.00 | Job | 7639.00 | 3500.00 | 14000.00 | 7000.00 | 28000.00 | 14000.00 | CENTRE TAP ENGINEERING
4.00 | Repairing, servicing sluice/ butterfly valves/ NRV etc. of different sizes provided in the fire system at various locations of fire hydrant and sprinkler system as required .(Item will be executed only if required) | 2.00 | Job | 7637.00 | 7000.00 | 14000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
5.00 | Repairing & servicing of following capacity pump sets after dismantaling and providing all necessary defective/wornout parts such as nut-bolts, rubber gasket, gland dori, rubber coupling, suitable bearings etc. and re- assembling the pump, making the pump set in perfect working condition as per good engineering practice complete in all respect as required at site.(Item will be executed only if required)
5.01 | Jockey Pump Set | 1.00 | Job | 142.00 | 7000.00 | 7000.00 | 3000.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
5.02 | Sprinkler Pump Set | 1.00 | Job | 8.00 | 14000.00 | 14000.00 | 100.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
5.03 | Hydrant pump | 1.00 | Job | 7639.00 | 14000.00 | 14000.00 | 5000.00 | 5000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Painting of Fire Hydtant/ Sprinklar pipeline of different sizes installed inside/ outside of terminal building / Cargo Terminal with two or more coats of painting with synthetic enamel paint to give an even shade, including cleaning of surface with detergent etc of approved brand or as approved by engineer-in-charge as required.
6.01 | 40 mm Dia | 200.00 | RM | 142.00 | 70.00 | 14000.00 | 10.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
6.02 | 80 mm Dia | 100.00 | RM | 8.00 | 140.00 | 14000.00 | 10.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
6.03 | 100 mm Dia | 200.00 | RM | 7639.00 | 210.00 | 42000.00 | 10.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
6.04 | 150 mm Dia. | 200.00 | RM | 8.00 | 280.00 | 56000.00 | 10.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
6.05 | 200 mm Dia. | 200.00 | RM | 7639.00 | 350.00 | 70000.00 | 10.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
7.00 | Supply and fixing of fire hydrant/ Sprinkler MS pipe line to bypass leaking underground inaccessible pipe line of following sizes inside/outside of terminal building on surface including cutting, threading, welding etc. and providing all fittings e.g. elbows, reducers, flanges, gaskets, nuts, bolts and washers including MS Fabricated support of suitable size for MS Pipe hanging on wall with MS Angle, clamps, hangers etc. including painting of pipes and fittings with red paint over a coat of ready mixed primer, both of approved quality and shade including cutting holes and chases in brick or RCC walls/ slabs and making good the same etc. complete in all respect as required.
7.01 | 100 mm Dia Class 'C' | 10.00 | Mtr. | 142.00 | 1750.00 | 17500.00 | 10.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
7.02 | 150 mm Dia Class 'C' | 50.00 | Mtr. | 8.00 | 2100.00 | 105000.00 | 10.00 | 500.00 | 500.00 | JCC ENGINEERS PRIVATE LIMITED
7.03 | 200mm Dia Class 'C' | 10.00 | Mtr. | 7639.00 | 3150.00 | 31500.00 | 10.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
8.00 | Supply and laying of fire hydrant/ Sprinkler MS pipe line to bypass leaking underground in accessible pipe line of following sizes inside/outside of terminal building on ground including cutting, threading, welding etc. and providing all fittings e.g. elbows, reducers, flanges, gaskets, nuts, bolts and washers including support of brick work upto a height of 600 mm from ground surface including painting of pipes and fittings with red paint over a coat of ready mixed primer, both of approved quality and shade etc. complete in all respect as required.
8.01 | 100 mm Dia Class 'C' | 10.00 | Mtr. | 142.00 | 1750.00 | 17500.00 | 10.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
8.02 | 200mm Dia Class 'C' | 10.00 | Mtr. | 8.00 | 3150.00 | 31500.00 | 10.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Replacement of existing damaged outdoor type hose cabinet by providing and fixing the new hose cabinet ( 1.0 m x 0.55m x 0.85m) made of not less than 3 mm aluminium sheet having central opening glazed door including necessary locking arrangement and painting work including also providing M.S. angles mounting frame suitable for accommodating external hydrant valve as per site requirement. | 1.00 | Each | 8.00 | 7000.00 | 7000.00 | 265.00 | 265.00 | 265.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Replacement of the damage door locks of Internal / External Fire Hydrant box. | 20.00 | Each | 8.00 | 350.00 | 7000.00 | 50.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Replacement of the damage door glass and aluminium frame of existing External Fire Hydrant box. | 15.00 | Each | 8.00 | 350.00 | 5250.00 | 250.00 | 3750.00 | 3750.00 | JCC ENGINEERS PRIVATE LIMITED
12.00 | Replacement of Pressure Gauges with new 150/100 mm dial Pressure Gauges including required modification and fixing of New 15 mm control valve and accessories as required at site. | 5.00 | Each | 8.00 | 1050.00 | 5250.00 | 1100.00 | 5500.00 | 5250.00 | CENTRE TAP ENGINEERING
13.00 | Replacement of Pressure Switches including required modification, electrical connections, fixing of new 15 mm control valve if required and accessories etc., as per site requirement. | 5.00 | Each | 8.00 | 2100.00 | 10500.00 | 1500.00 | 7500.00 | 7500.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | Constructing masonry chamber 90x90x100 cm inside with 7.5 class designation brick work in cement mortar 1:4( 1 cement: 4 coarse sand) for butterfly/sluice valve with C.I. surface box 100 mm top diameter,160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix(1cement:2coarse sand: 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10( 1 cement:5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3( 1 cement : 3 coarse sand), 12 mm thick, finished with a floating coat of neat cement complete as per standard design with FPS bricks. | 1.00 | Each | 8.00 | 7000.00 | 7000.00 | 100.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
15.00 | Providing and fixing of cast iron butterfly valves of following size on the existing M S Pipes, by cutting, and making exact gap on pipe and fixing including flanges, gaskets ,bolt ,nut & washers etc. as required:-
15.01 | 200mm dia | 1.00 | Each | 142.00 | 10500.00 | 10500.00 | 10.00 | 10.00 | 10.00 | JCC ENGINEERS PRIVATE LIMITED
15.02 | 150mm dia | 2.00 | Each | 8.00 | 7000.00 | 14000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
15.03 | 100mm dia | 2.00 | Each | 8.00 | 4200.00 | 8400.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
15.04 | 80mm dia | 2.00 | Each | 8.00 | 3500.00 | 7000.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
16.00 | Providing and fixing of Non-Return valve (dual type wafer plate NRV) of following size including bolt ,nut, washers and rubber gasket as required:-
16.01 | 200mm dia | 1.00 | Each | 142.00 | 8400.00 | 8400.00 | 10.00 | 10.00 | 10.00 | JCC ENGINEERS PRIVATE LIMITED
16.02 | 150mm dia | 2.00 | Each | 8.00 | 5600.00 | 11200.00 | 10.00 | 20.00 | 20.00 | JCC ENGINEERS PRIVATE LIMITED
16.03 | 100mm dia | 1.00 | Each | 8.00 | 3500.00 | 3500.00 | 10.00 | 10.00 | 10.00 | JCC ENGINEERS PRIVATE LIMITED
16.04 | 80mm dia | 1.00 | Each | 8.00 | 2800.00 | 2800.00 | 10.00 | 10.00 | 10.00 | JCC ENGINEERS PRIVATE LIMITED
17.00 | Providing and fixing of 150 mm dia “C” class MS pipe with 4mm wrapping coating as per IS 1022 : 2008 as required complete in all respect. | 50.00 | Metre | 8.00 | 2100.00 | 105000.00 | 10.00 | 500.00 | 500.00 | JCC ENGINEERS PRIVATE LIMITED
18.00 | Providing and laying ”C” class M.S. pipe of following size including all forged fittings and accessories complete including welding, jointing and painting with one coat of primer & two coats of post office red enamel paint fixed, including chasing of walls/ columns/ceiling etc. and making good the same complete as required.
18.01 | 150mm dia | 70.00 | Metre | 142.00 | 2100.00 | 147000.00 | 10.00 | 700.00 | 700.00 | JCC ENGINEERS PRIVATE LIMITED
18.02 | 100mm dia | 70.00 | Metre | 8.00 | 1750.00 | 122500.00 | 10.00 | 700.00 | 700.00 | JCC ENGINEERS PRIVATE LIMITED
19.00 | Providing and Fixing of 150 mm dia Dummy Plate. | 10.00 | Each | 8.00 | 350.00 | 3500.00 | 10.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
20.00 | Supplying & laying of 2 x 1.5 sqmm FRLS armoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete as required. | 100.00 | Metre | 8.00 | 70.00 | 7000.00 | 50.00 | 5000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
21.00 | Supplying & drawing of 2 x 1.5 sqmm FRLS unarmoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete in existing surface / recessed steel / PVC conduit as required. | 100.00 | Metre | 8.00 | 56.00 | 5600.00 | 50.00 | 5000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
22.00 | Supply of addressable optical smoke detector. | 50.00 | Each | 8.00 | 2100.00 | 105000.00 | 1500.00 | 75000.00 | 75000.00 | JCC ENGINEERS PRIVATE LIMITED
23.00 | Supply of addressable multi detector. | 10.00 | Each | 8.00 | 2450.00 | 24500.00 | 100.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
24.00 | Supply of addressable heat detector. | 20.00 | Each | 8.00 | 1750.00 | 35000.00 | 100.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
25.00 | Supply of addressable manual call point. | 10.00 | Each | 8.00 | 2100.00 | 21000.00 | 1500.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
26.00 | Supply of loop driver card compatible with existing panel. | 2.00 | Each | 8.00 | 28000.00 | 56000.00 | 1000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
27.00 | Supply of 12 V, 130 AH sealed maintenance free Battery (Battery Make-as per AAI Approved Make list)) | 2.00 | Each | 8.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 14000.00 | CENTRE TAP ENGINEERING
28.00 | Supply of 12 V, 150 AH sealed maintenance free Battery (Battery Make-as per AAI Approved Make list) | 2.00 | Each | 8.00 | 9100.00 | 18200.00 | 10000.00 | 20000.00 | 18200.00 | CENTRE TAP ENGINEERING
29.00 | Supply of 12 volt,26 AH sealed maintenance free battery for fire alarm panels of Terminal buildings/MSSR. | 4.00 | Each | 8.00 | 3500.00 | 14000.00 | 2200.00 | 8800.00 | 8800.00 | JCC ENGINEERS PRIVATE LIMITED
30.00 | Supply of 12 volt,7 AH sealed maintenance free battery for fire alarm panels at NAV AIDS | 12.00 | Each | 8.00 | 1050.00 | 12600.00 | 850.00 | 10200.00 | 10200.00 | JCC ENGINEERS PRIVATE LIMITED
31.00 | Supply of response indicator. | 5.00 | Each | 8.00 | 70.00 | 350.00 | 200.00 | 1000.00 | 350.00 | CENTRE TAP ENGINEERING
32.00 | Supply of Control/ Monitor module. | 5.00 | Each | 8.00 | 2100.00 | 10500.00 | 200.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
33.00 | Supply of 20 mm dia 30 mtr. Hose reel drum pipe. | 5.00 | Each | 8.00 | 4200.00 | 21000.00 | 3000.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
34.00 | Supply of 15 mtr. Hose pipe for hydrant point with male female stainless steel adaptors. | 5.00 | Each | 8.00 | 4900.00 | 24500.00 | 4000.00 | 20000.00 | 20000.00 | JCC ENGINEERS PRIVATE LIMITED
35.00 | Supply of hydrant cap 63mm Dia | 10.00 | Each | 8.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
36.00 | Supply of Nozzle ring (SS) 63mm Dia | 10.00 | Each | 8.00 | 1400.00 | 14000.00 | 800.00 | 8000.00 | 8000.00 | JCC ENGINEERS PRIVATE LIMITED
37.00 | Supply of hydrant coupling (SS) 63mm Dia | 10.00 | Each | 8.00 | 2100.00 | 21000.00 | 1200.00 | 12000.00 | 12000.00 | JCC ENGINEERS PRIVATE LIMITED
38.00 | Supply of Nozzle of hose reel 20mm Dia | 10.00 | Each | 8.00 | 1050.00 | 10500.00 | 400.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
39.00 | Supply of gland dori (heavy) for main / Jockey pump motor | 2.00 | Each | 8.00 | 700.00 | 1400.00 | 200.00 | 400.00 | 400.00 | JCC ENGINEERS PRIVATE LIMITED
40.00 | Supply of hydrant wheel 63mm Dia | 10.00 | Each | 8.00 | 560.00 | 5600.00 | 300.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
41.00 | Supply of coupling lock (small and big) | 10.00 | Each | 8.00 | 700.00 | 7000.00 | 900.00 | 9000.00 | 7000.00 | CENTRE TAP ENGINEERING
42.00 | Supply of Electonic Hooter Cum Speaker | 2.00 | Each | 8.00 | 2100.00 | 4200.00 | 950.00 | 1900.00 | 1900.00 | JCC ENGINEERS PRIVATE LIMITED
43.00 | Supply of conventional 02 Zone Fire Alarm Panel for NAV AIDS | 2.00 | Each | 8.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 14000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 11774250.00 |  | 9355555.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(9355555.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual repair, maintenance and operation of Conventional/Addressable Fire Alarm System with Auto Dialer facility and Fire Fighting system at SGRDJI Airport, Amritsar (for 02 years). Tender ID: 2022_AAI_103081_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED | 9355555.00 | L1
| 2 | CENTRE TAP ENGINEERING | 11774250.00 | L2