## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 11-Mar-2022 05:55 PM Tender Title: Composite rate contract for Minor Capital work related with providing Infrastructures like ASTI, officers mess etc. at RHQ Guwahati. SH- Electricals Works for Officer Mess. Tender ID: 2022_AAI_103445_1
Tender Inviting Authority:
Name of Work: Composite rate contract for Minor Capital work related with providing Infrastructures like ASTI, officers mess etc. at RHQ Guwahati. SH: Electricals Works for Officer Mess (G+1).
Contract No: 2021_AAI_103445_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHARMA TRADE AGENCY(GSTN-18ABDFM0295M2ZV) |  | D.D.METAL CORPORATION(GSTN-18ACGPD4624F2ZW) |  | M/s J H Associates(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. - Group C | 158.00 | Each | 0.00 | 1350.00 | 213300.00 | 1350.00 | 213300.00 | 1100.00 | 173800.00 | 173800.00 | M/s J H Associates
2.00 | Wiring for group controled (looped) points for light points with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable including all accessories etc. as required (excluding switch & switch box). - Group C | 47.00 | Each | 0.00 | 750.00 | 35250.00 | 550.00 | 25850.00 | 650.00 | 30550.00 | 25850.00 | D.D.METAL CORPORATION
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.- 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 447.00 | Metre | 0.00 | 200.00 | 89400.00 | 182.00 | 81354.00 | 200.00 | 89400.00 | 81354.00 | D.D.METAL CORPORATION
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. - 4x 10 sq. mm + 2 x 10 sq. mm | 424.80 | Metre | 0.00 | 1200.00 | 509760.00 | 1000.00 | 424800.00 | 1000.00 | 424800.00 | 424800.00 | M/s J H Associates, D.D.METAL CORPORATION
5.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. - 2x10sq.mm+1 x 10sq.mm | 47.20 | Metre | 0.00 | 650.00 | 30680.00 | 421.00 | 19871.20 | 600.00 | 28320.00 | 19871.20 | D.D.METAL CORPORATION
6.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 1732.50 | Metre | 0.00 | 308.00 | 533610.00 | 330.00 | 571725.00 | 300.00 | 519750.00 | 519750.00 | M/s J H Associates
7.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed medium class PVC conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 192.50 | Metre | 0.00 | 550.00 | 105875.00 | 481.00 | 92592.50 | 500.00 | 96250.00 | 92592.50 | D.D.METAL CORPORATION
8.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit/raceway as required.- 2 x 1.5 sq. mm + 1 x 1.5 sq. mm (For Fire Detection System+other) | 572.00 | Metre | 0.00 | 120.00 | 68640.00 | 110.00 | 62920.00 | 70.00 | 40040.00 | 40040.00 | M/s J H Associates
9.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit/raceway as required.- 2 x 4 sq. mm + 1 x 4 sq. mm | 192.50 | Metre | 0.00 | 270.00 | 51975.00 | 227.00 | 43697.50 | 150.00 | 28875.00 | 28875.00 | M/s J H Associates
10.00 | Supplying and fixing following modular switch /socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. - 15/16 A switch. | 45.00 | Each | 0.00 | 100.00 | 4500.00 | 230.00 | 10350.00 | 150.00 | 6750.00 | 4500.00 | SHARMA TRADE AGENCY
11.00 | Supplying and fixing following modular switch /socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. - 6 pin 15/16 A socket outlet. | 65.00 | Each | 0.00 | 130.00 | 8450.00 | 200.00 | 13000.00 | 200.00 | 13000.00 | 8450.00 | SHARMA TRADE AGENCY
12.00 | Supplying and fixing following modular switch /socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (5/6 A switch) | 92.00 | Each | 0.00 | 50.00 | 4600.00 | 115.00 | 10580.00 | 100.00 | 9200.00 | 4600.00 | SHARMA TRADE AGENCY
13.00 | Supplying and fixing following modular switch /socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. - 3 pin 5/6 A socket outlet ( shuttered type) | 92.00 | Each | 0.00 | 80.00 | 7360.00 | 136.00 | 12512.00 | 150.00 | 13800.00 | 7360.00 | SHARMA TRADE AGENCY
14.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. - 25 mm dia. for IEI. | 286.00 | Metre | 0.00 | 100.00 | 28600.00 | 140.00 | 40040.00 | 100.00 | 28600.00 | 28600.00 | SHARMA TRADE AGENCY, M/s J H Associates
15.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. - 25 mm for LAN & Telephone. | 192.00 | Metre | 0.00 | 100.00 | 19200.00 | 117.00 | 22464.00 | 100.00 | 19200.00 | 19200.00 | SHARMA TRADE AGENCY, M/s J H Associates
16.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. - 25 mm For Fire Detection System | 572.20 | Metre | 0.00 | 100.00 | 57220.00 | 117.00 | 66947.40 | 100.00 | 57220.00 | 57220.00 | SHARMA TRADE AGENCY, M/s J H Associates
17.00 | Supplying and fixing 25 Amps., 240 volts, Modular type, Motor starter , 2 module complete with connections, testing and commissioning etc. as required. | 20.00 | Each | 0.00 | 440.00 | 8800.00 | 624.00 | 12480.00 | 800.00 | 16000.00 | 8800.00 | SHARMA TRADE AGENCY
18.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. - 1 or 2 Module (75mmX75mm) for RJ11,RJ45, | 16.00 | Each | 0.00 | 110.00 | 1760.00 | 468.00 | 7488.00 | 250.00 | 4000.00 | 1760.00 | SHARMA TRADE AGENCY
19.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. - 3 Module (100mmX75mm)-for 5A,15A switch & Socket | 137.00 | Each | 0.00 | 155.00 | 21235.00 | 320.00 | 43840.00 | 290.00 | 39730.00 | 21235.00 | SHARMA TRADE AGENCY
20.00 | Supplying and fixing following way, single pole / three pole and neutral, pre wired, sheet steel, MCB distribution board, 240 V / 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) - 8 way SPN double door. | 2.00 | Each | 0.00 | 1750.00 | 3500.00 | 1600.00 | 3200.00 | 1400.00 | 2800.00 | 2800.00 | M/s J H Associates
21.00 | Supplying and fixing following way, single pole / three pole and neutral, pre wired, sheet steel, MCB distribution board, 240 V / 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) - 8 way (4+24), TPN, Double Door, horizontal type | 8.00 | Each | 0.00 | 4800.00 | 38400.00 | 5400.00 | 43200.00 | 4000.00 | 32000.00 | 32000.00 | M/s J H Associates
22.00 | Supplying and fixing following way, single pole / three pole and neutral, pre wired, sheet steel, MCB distribution board, 240 V / 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) - 6 way (4+18), TPN, Double Door, horizontal type | 2.00 | Each | 0.00 | 3800.00 | 7600.00 | 3900.00 | 7800.00 | 3500.00 | 7000.00 | 7000.00 | M/s J H Associates
23.00 | Supplying and fixing 63A, four pole, 415V, 'C' Series, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 0.00 | 1700.00 | 3400.00 | 1800.00 | 3600.00 | 1500.00 | 3000.00 | 3000.00 | M/s J H Associates
24.00 | Supplying and fixing 100A, four pole, 415V, 'C' Series, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 8.00 | Each | 0.00 | 6600.00 | 52800.00 | 8100.00 | 64800.00 | 6500.00 | 52000.00 | 52000.00 | M/s J H Associates
25.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 228.00 | Each | 0.00 | 170.00 | 38760.00 | 222.00 | 50616.00 | 210.00 | 47880.00 | 38760.00 | SHARMA TRADE AGENCY
26.00 | SITC of RJ-45 flush mounted informatrion outlet wired according to relevent IS standard with face plate in existing modular G.I. box complete as required. Single Outlet in One Plate | 8.00 | Each | 0.00 | 400.00 | 3200.00 | 442.00 | 3536.00 | 300.00 | 2400.00 | 2400.00 | M/s J H Associates
27.00 | SITC of RJ-11 flush mounted Telephone socket outlet wired according to relevent IS standard with face plate in existing modular G.I. box complete as required. Single Outlet in One Plate | 8.00 | Each | 0.00 | 180.00 | 1440.00 | 220.00 | 1760.00 | 130.00 | 1040.00 | 1040.00 | M/s J H Associates
28.00 | Supply of RECESS mounted, square shape 2' x 2', compact,White powder coated CRCA housing with LEDs. Seamless front frame with at white high transmission acrylic cover, 36 W ±10% (nominal) of minimum efficiency 95 Lumen/watt, LED luminaire compact square structure including driver; heat sink, acrylic or similar diffuser etc prewired, suitable for operations at 230±10% Volts, 50 Hz. including providing suitable ceiling mounting strings, hardwares/nuts -bolt etc. as specified in Technical specification complete as required. | 51.00 | Each | 0.00 | 1650.00 | 84150.00 | 3900.00 | 198900.00 | 3800.00 | 193800.00 | 84150.00 | SHARMA TRADE AGENCY
29.00 | Supply of LED Batten with Extruded polycarbonate housing of 4 ft x 20W, suitable for operation at 230±10% Volts, 50 Hz., complete as required. | 20.00 | Each | 0.00 | 360.00 | 7200.00 | 600.00 | 12000.00 | 250.00 | 5000.00 | 5000.00 | M/s J H Associates
30.00 | Supply of 30 W ±5 %, 3600K, energy efficient LED street light / roadway light luminaire suitable for pole mount applications with system efficient lumen output of 110 lm/W, IP 65/66 protected single piece pressure die-cast aluminium alloy housing with corrosion resistance powder coating suitable to operate on 230 V +/- 10% , 50 Hz AC complete as specified in Technical specification complete as specified in Technical specification complete as required. | 14.00 | Each | 0.00 | 1200.00 | 16800.00 | 2300.00 | 32200.00 | 1500.00 | 21000.00 | 16800.00 | SHARMA TRADE AGENCY
31.00 | Supply of 25 W, ±5 % energy efficient post top , made in die-cast aluminium cousing,IP 65/66 protection suitable for operations at 230±10% Volts, 50 Hz., complete as specified in Technical specification complete as required. | 8.00 | Each | 0.00 | 3800.00 | 30400.00 | 6000.00 | 48000.00 | 4500.00 | 36000.00 | 30400.00 | SHARMA TRADE AGENCY
32.00 | Design, Fabrication, Supply and fixing of TRIPPLE ARM LED light mounting bracket of each arm length 1200 mm extended at 120 degree apart , made from B-Class, MS pipe, 32-40 mm dia.. The central portion of the MS pipe shall be of 80-100 mm dia B-Class MS pipe, dully painted with 2-3 coats of synthetic enamelled paint of approves shade having cap on the top and necessary fixing/tightening nuts/bolts at 120 degree apart etc as per approved drawing of required. | 2.00 | Each | 0.00 | 2800.00 | 5600.00 | 3900.00 | 7800.00 | 4000.00 | 8000.00 | 5600.00 | SHARMA TRADE AGENCY
33.00 | Design, Fabrication, Supply and fixing of SINGLE ARM LED light mounting bracket of arm length 1200 mm , made from B-Class, MS pipe, 32-40 mm dia.. The central portion of the MS pipe shall be of 80-100 mm dia B-Class MS pipe, dully painted with 2-3 coats of synthetic enamelled paint of approves shade having pole cap on the top and ncessary fixing/tightening nuts/bolt etc. as per approved drawing of AAI as required. | 10.00 | Each | 0.00 | 1650.00 | 16500.00 | 1650.00 | 16500.00 | 1200.00 | 12000.00 | 12000.00 | M/s J H Associates
34.00 | Supply of recess mounted, circular shape, compact 12W ±10% (nominal) of minimum efficiency 95 Lumen/watt, LED luminaire compact circular structure including driver; heat sink, acrylic or similar diffuser etc prewired,suitable for operations at 230±10% Volts, 50 Hz., PF>=.95 complete as per the technical specifications of the agreement. | 72.00 | Each | 0.00 | 550.00 | 39600.00 | 780.00 | 56160.00 | 550.00 | 39600.00 | 39600.00 | SHARMA TRADE AGENCY, M/s J H Associates
35.00 | Supply of 300 mm sweep, star rated, 1400 RPM heavy duty exhaust fan suitable for 230V, 50 Hz AC supply complete with motor, capacitors, and all accessories as required. | 15.00 | Each | 0.00 | 2750.00 | 41250.00 | 3500.00 | 52500.00 | 2700.00 | 40500.00 | 40500.00 | M/s J H Associates
36.00 | Supply of 300 mm sweep, Wall mounted Fan with plastic blade and pull cord suitable for 230V, 50 Hz AC supply complete with motor, capacitors, and all accessories as required. | 30.00 | Each | 0.00 | 2000.00 | 60000.00 | 2100.00 | 63000.00 | 2100.00 | 63000.00 | 60000.00 | SHARMA TRADE AGENCY
37.00 | Supply of 1200mm sweep latest 5-Star, BLDC, 32-35 Watt, Ceiling fan, suitable for operations at 230±10% Volts, 50 Hz. (Excluding regulator price) | 27.00 | Each | 0.00 | 2800.00 | 75600.00 | 3700.00 | 99900.00 | 2800.00 | 75600.00 | 75600.00 | SHARMA TRADE AGENCY, M/s J H Associates
38.00 | Installation, testing and commissioning of recess/surface mounted LED type fittings of all sizes and shapes complete with all accessories including connections etc. as required. | 165.00 | Each | 0.00 | 165.00 | 27225.00 | 150.00 | 24750.00 | 100.00 | 16500.00 | 16500.00 | M/s J H Associates
39.00 | Installation of Exhaust fan in the existing opening including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 15.00 | Each | 0.00 | 440.00 | 6600.00 | 150.00 | 2250.00 | 200.00 | 3000.00 | 2250.00 | D.D.METAL CORPORATION
40.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 27.00 | Each | 0.00 | 135.00 | 3645.00 | 190.00 | 5130.00 | 100.00 | 2700.00 | 2700.00 | M/s J H Associates
41.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron ladder type cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, including horizontal and vertical bends, reducers, tees, cross members and other accessories as required, duly suspended from the ceiling/wall with M.S . Suspenders etc. as required.etc. as required. (a) 150 mm width x 50 mm depth x 1.6 mm thickness | 192.00 | Metre | 0.00 | 540.00 | 103680.00 | 715.00 | 137280.00 | 480.00 | 92160.00 | 92160.00 | M/s J H Associates
42.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 27.00 | Each | 0.00 | 250.00 | 6750.00 | 599.00 | 16173.00 | 450.00 | 12150.00 | 6750.00 | SHARMA TRADE AGENCY
43.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. For 6 way, Double door TPN MCBDB | 2.00 | Each | 0.00 | 1550.00 | 3100.00 | 2300.00 | 4600.00 | 1000.00 | 2000.00 | 2000.00 | M/s J H Associates
44.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. For 8 way, Double door TPN MCBDB | 8.00 | Each | 0.00 | 1950.00 | 15600.00 | 2100.00 | 16800.00 | 1000.00 | 8000.00 | 8000.00 | M/s J H Associates
45.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. (but with charcoal/ coke and salt ) as required. | 2.00 | Set | 0.00 | 6000.00 | 12000.00 | 6500.00 | 13000.00 | 6000.00 | 12000.00 | 12000.00 | SHARMA TRADE AGENCY, M/s J H Associates
46.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 9.00 | Metre | 0.00 | 700.00 | 6300.00 | 550.00 | 4950.00 | 500.00 | 4500.00 | 4500.00 | M/s J H Associates
47.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 10.00 | Metre | 0.00 | 220.00 | 2200.00 | 150.00 | 1500.00 | 1000.00 | 10000.00 | 1500.00 | D.D.METAL CORPORATION
48.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/submain wiring/ cable as required. | 40.00 | Metre | 0.00 | 65.00 | 2600.00 | 25.00 | 1000.00 | 380.00 | 15200.00 | 1000.00 | D.D.METAL CORPORATION
49.00 | SITC of wall mounted, indoor type , Double door , 6 way, 4 pole 250A, LOAD BANK, MCCB Based Distribution Panel, complete with Cable Alley, pre-wired meter module with VAF meter, inbuilt selector switch, CT Control fuse, MCCB-Terminals, LED Phase indication lamp for Incomer, tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. a. 250A 4P, 35/36kA, Ics=100%Icu MCCB-1 nos (incomer) b. 100A 4P, 35/36kA, Ics=100%Icu MCCB-5 nos (incomer) c. 63A 4P, 25kA, Ics=100%Icu MCCB- 1 nos (outgoing) | 1.00 | Each | 0.00 | 170000.00 | 170000.00 | 130000.00 | 130000.00 | 130000.00 | 130000.00 | 130000.00 | M/s J H Associates, D.D.METAL CORPORATION
| Total in Figures |  |  |  |  | 2686115.00 |  | 2898716.60 |  | 2590115.00
Lowest Amount Quoted BY: M/s J H Associates(2590115.00)

## BOQ Summary
BOQ Summary Details Tender Title: Composite rate contract for Minor Capital work related with providing Infrastructures like ASTI, officers mess etc. at RHQ Guwahati. SH- Electricals Works for Officer Mess. Tender ID: 2022_AAI_103445_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s J H Associates | 2590115.00 | L1
| 2 | SHARMA TRADE AGENCY | 2686115.00 | L2
| 3 | D.D.METAL CORPORATION | 2898716.60 | L3